Int. No. 341

By Council Members Dilan, Barron, Brewer, Cabrera, Chin, Comrie, Fidler, Garodnick, Gentile, Gonzalez, James, Koppell, Koslowitz, Lander, Mark-Viverito, Nelson, Palma, Rose, Vann, Williams, Rodriguez, Van Bramer, Levin, Lappin, Recchia, Vallone and Halloran

..Title

A Local Law to amend the New York city building code, in relation to allowing large solar rooftop installations.

..Body

Be it enacted by the Council as follows:

Section 1.  Legislative findings and intent.  The Council finds that solar energy can meet some of New York City’s energy needs, and that it is cleaner, cheaper, more sustainable and provides greater energy security.  Growth in the solar power industry is also expected to create many jobs in New York City because the City has adequate solar resources to aggressively pursue increased solar power installations.   Growth in the solar industry also has the potential to reduce energy costs over time.  However existing Building Code provisions limit the percentage of the area of a roof that photovoltaic and solar thermal panels may cover without counting as additional floor areas making it more costly to install solar power collection and generation systems now.  Therefore the Council finds that it is in the best interests of the City to remove these barriers and further incentivize installations of solar thermal and photovoltaic panels by permitting more than one third of the area of the roof to be covered by solar photovoltaic and solar thermal panels without counting as an additional floor.

§2. The definition of the term “rooftop structure” found in section BC 1502.1 of the New York city building code, as added by local law number 33 for the year 2007, is amended to read as follows:

“Rooftop structure” shall mean an enclosed or unenclosed structure on or above the roof of any part of a building including rooftop anchorage for the attachment of solar panels to a roof as part of a solar energy system installation .

§3. Section BC 504.3 of the New York city building code, as added by local law number 33 for the year 2007, is amended to read as follows:

Rooftop structures. Rooftop structures including, but not limited to, roof tanks and their supports, ventilating, air conditioning and similar building service equipment, bulkheads, penthouses, chimneys, and parapet walls 4 feet (1219 mm) or less in height shall not be included in the height of the building or considered an additional story unless the aggregate area of all such structures exceeds 33 and one-third percent of the area of the roof of the building upon which they are erected. Rooftop structures shall be constructed in accordance with Section 1509. Notwithstanding any provision of this section, solar thermal and solar electric (photovoltaic) collectors and/or panels and their supporting equipment, but not including any accessory plumbing or electrical equipment, shall not be included in the height of the building and shall not be included as rooftop structures subject to the thirty-three and one third percent limitation on roof coverage.

§4. This local law shall take effect ninety days after its enactment and shall be applicable to any construction documents pending before the department of buildings on such effective date and the commissioner of buildings shall take such measures as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

LS #    EF 14 SS

9/23/10 2:35 p.m.