Staff: 	Edward Atkin, Counsel to the Committee

Guillermo Patino, Legislative Policy Analyst

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Legislative Financial Analyst

THE COUNCIL

Briefing Paper of the Infrastructure Division

Robert Newman, Legislative Director

Baaba Halm, Deputy Director, Infrastructure Division

COMMITTEE ON HOUSING AND BUILDINGS

Jumaane D. Williams, Chair

March 17, 2014

INT. NO. 11:	By Council Members Ignizio, Matteo, Williams, Barron, Arroyo, Chin, Koo, Palma, Vallone, Lancman, Cohen, Rose, Levine, Dickens, Johnson, Vacca, Garodnick, Weprin, Ferreras, Rosenthal, Espinal, Cabrera, Constantinides, Cornegy, Crowley, Deutsch, Dromm, Gentile, Gibson, Greenfield, King, Koslowitz, Lander, Levin, Maisel, Mealy, Menchaca, Mendez, Miller, Richards, Torres, Wills, Reynoso, Cumbo, Kallos, Rodriguez, Treyger, Van Bramer, Eugene and Ulrich

TITLE:	A Local Law to amend the administrative code of the city of New York and Building Code of the city of New York, in relation to requiring carbon monoxide detectors in certain assembly spaces.

ADMINISTRATIVE CODE:	Adds a new section 28-312.6 to article 312 of chapter 1 of title 28.

BUILDING CODE:	Amends section 908.7.2.

Introduction

On March 17, 2014, the Committee on Housing and Buildings, chaired by Council Member Jumaane D. Williams, will conduct a hearing on Int. No. 11, a Local Law in relation to requiring carbon monoxide devices in certain assembly spaces. Those invited to testify include, but are not limited to, the Department of Buildings (DOB), the Fire Department (FDNY), housing advocates, legal service providers, members of the real estate industry, religious organizations, restaurant and tavern associations, chambers of commerce, hospitality industry advocates, theater associations, cabaret and club associations, community center owners and operators, colleges and universities, and other interested members of the public.

Background

“Carbon monoxide (CO) is a deadly, colorless, odorless, poisonous gas. It is produced by the incomplete burning of various fuels, including coal, wood, charcoal, oil, kerosene, propane, and natural gas. Products and equipment powered by internal combustion engines such as portable generators, cars, lawn mowers, and power washers also produce CO.” According to the New York State Department of Health, CO exposure is the leading cause of death due to poisoning in the United States and each year approximately 200 people are hospitalized because of accidental CO poisoning.

The City’s Building Code currently requires that certain types of spaces be equipped with CO detecting devices:

- In residential buildings, the following dwelling units must be equipped with CO detecting devices: (1) dwelling units located on the same floor as, or on a floor immediately above or below, CO-producing equipment or an enclosed parking area; (2) dwelling units in buildings that contain a CO-producing furnace, boiler, or water heater; or (3) dwelling units served by a CO-producing furnace, boiler, or water heater that is located within an adjacent building. Further, for buildings in occupancy group R-1 (e.g. hotels), the CO detecting device must send an alarm signal to a constantly attended location.

- In buildings that contain spaces classified as occupancy group E (e.g. schools), I-2 (e.g. hospitals), and I-4 (e.g. day nurseries), CO detecting devices must be installed in (1) any occupied area that is on the same floor as, or on a floor immediately above or below, CO-producing equipment or an enclosing parking area and (2) any unoccupied area containing CO-producing equipment.

The Council is concerned by recent incidents of CO poisoning occurring in locations where CO detecting devices are not currently required. For example, in November 2012, 35 adults and children were hospitalized with complaints of dizziness and nausea after attending a show at a local community center in Staten Island. The FDNY detected CO levels of approximately 300 parts per million at the center and noted that it considers “anything over 10 parts per million a danger.” In February 2014, a CO leak in the basement of a restaurant in a Long Island mall left one person dead and 27 hospitalized. And this month, elevated CO levels at a Staten Island restaurant sent two people to the hospital.

Int. No. 11

Int. No. 11 would require that certain assembly spaces be equipped with CO detecting devices.

Bill sections one and two would require that new and existing spaces classified in occupancy groups A-1, A-2 or A-3 be equipped with CO detecting devices. Group A spaces are generally those that are used for “the gathering together of any number of persons for purposes such as civic, social or religious functions, recreation, food or drink consumption, awaiting transportation, or similar group activities; or when occupied by 75 persons or more for education or instructional purposes.” Group A-1 spaces usually have fixed seating and are generally used for “the production and viewing of the performing arts or motion pictures.” Group A-1 spaces include, but not are not limited to, motion picture theaters, symphony and concert halls, television and radio studios with audiences, and theaters. Group A-2 spaces are those used for food or drink consumption and include, but are not limited to, banquet halls, cabarets, certain cafeterias, dance halls, night clubs, restaurants, taverns, and bars. Group A-3 spaces are those used for worship, recreation or amusement and include, but are not limited to, amusement arcades, art galleries, bowling alleys, cafeterias for children up to and including the 12th grade, classrooms and instructional rooms with 75 persons or more, community halls, courtrooms, certain custodial care facilities with 75 or more persons, dance studios, exhibition halls, funeral parlors, certain gyms, houses of worship, certain indoor swimming pools and tennis courts, lecture halls, museums, waiting areas in transportation terminals, pool and billiard parlors, and school auditoriums.

Bill section three contains the enactment clause and provides that Int. No. 11 would take effect on October 1, 2014.

THIS PAGE INTENTIONALLY LEFT BLANK.

Int. No. 11

By Council Members Ignizio, Matteo, Williams, Barron, Arroyo, Chin, Koo, Palma, Vallone, Lancman, Cohen, Rose, Levine, Dickens, Johnson, Vacca, Garodnick, Weprin, Ferreras, Rosenthal, Espinal, Cabrera, Constantinides, Cornegy, Crowley, Deutsch, Dromm, Gentile, Gibson, Greenfield, King, Koslowitz, Lander, Levin, Maisel, Mealy, Menchaca, Mendez, Miller, Richards, Torres, Wills, Reynoso, Cumbo, Kallos, Rodriguez, Treyger, Van Bramer, Eugene and Ulrich

A Local Law to amend the administrative code and the Building Code of the city of New York, in relation to requiring carbon monoxide detectors in certain assembly spaces.

Be it enacted by the Council as follows:

Section 1. Article 312 of Chapter 3 of title 28 of the administrative code of the city of New York, as added by local law number 75 for the year 2011, is amended by adding a new section 28-312.6 to read as follows:

§28-312.6. Carbon monoxide alarms or detectors required for certain existing assembly spaces. In all existing spaces classified as occupancy group A-1, A-2 or A-3, carbon monoxide alarms or detectors shall be installed in accordance with Section BC 908.7.2 by May 1, 2014.

§2. Section BC 908.7.2 of the New York city building code is amended to read as follows:

§908.7.2 Group A-1, A-2, A-3, E, I-2 and I-4 occupancies. Listed carbon monoxide detectors with built-in sounder bases shall transmit a signal to a central supervising station and shall be permitted to initiate an audible and visual supervisory alarm at a constantly attended location.

- Carbon monoxide detectors with built-in sounder bases shall be installed within any room containing carbon monoxide-producing equipment.

Exception: Kitchens or laboratories.

- Carbon monoxide detectors with built-in sounder bases shall be installed in corridors on the story where carbon monoxide-producing equipment unit is located, as well as one story above and one story below.

- Carbon monoxide detectors with built-in sounder bases shall be installed in all corridors on the story where enclosed parking is located, as well as one story above and one story below.

§3. This local law shall take effect on October 1, 2014.

Int 1008/2013

LS 56/2014

3/5/2014 12:11 PM

# Footnotes

Federal Consumer Products Safety Commission (CPSC), Carbon Monoxide Questions and Answers, available online at http://www.cpsc.gov/en/Safety-Education/Safety-Education-Centers/Carbon-Monoxide-Information-Center/Carbon-Monoxide-Questions-and-Answers-/.

New York State Department of Health, Fact Sheet: What You Need to Know about Carbon Monoxide, available online at http://www.health.ny.gov/environmental/indoors/air/carbon_monoxide_need_to_know.htm.

CO-producing equipment includes “any furnace, boiler, water heater, fireplace, cooking appliance, gas clothes dryer, apparatus, appliance or device that burns coal, kerosene, oil, wood, fuel gases and other petroleum products including, but not limited to, methane, natural gas, liquefied natural gas and manufactured fuel gases.” Building Code § 902.1.

Building Code § 908.7.1; see also Administrative Code §§ 27-981.1 and 27-981.2 and 1 RCNY § 28-02(b)(1).

Id.

It bears noting that classrooms and instructional rooms with 75 or more persons are classified as Group A-3, not Group E. Id.

Group I-4 spaces are “custodial care facilities providing care to more than two children under the age of 2, or to more than four persons over the age of 2 who are not capable of responding to an emergency situation without physical assistance from staff.” Building Code § 308.5.

Building Code § 908.7.2.

Stephanie Slepian, Elevated carbon monoxide levels sicken 35 at Staten Island CYO Center, Staten Island Advance (Nov. 28, 2012), available online at http://www.silive.com/southshore/index.ssf/2012/11/elevated_levels_of_carbon_mono.html.

Id.

Ashley Southall, Gas Leak Kills Man at Long Island Mall, NY Times (Feb. 23, 2014), available online at http://www.nytimes.com/2014/02/23/nyregion/gas-leak-kills-man-at-long-island-mall.html?_r=0.

Michael Sedon, Elevated carbon monoxide levels at Staten Island cheesesteak shop sends 2 to the hospital, Staten Island Advance (Mar. 12, 2014), available online at http://www.silive.com/news/index.ssf/2014/03/elevated_co2_levels_result_in.html

Building Code § 303.1.

Id.

Id.

Id.

Id.