Int. No. 1651

By Council Member Constantinides

..Title

A Local Law to amend the administrative code of the city of New York, in relation to real-time monitoring of energy usage and heat loss in city buildings

..Body

Be it enacted by the Council as follows:

Section 1.  Chapter 2 of title 4 of the administrative code of the city of New York is amended by adding a new section 4-207.2 to read as follows:

§ 4-207.2 Definitions. a. For the purposes of this section, the following definitions have the following meanings:

City building. The term “city building” has the same definition as the one set out in section 28-309.2.

Department. The term “department” means the department of citywide administrative services.

b. Report. The department shall, by December 31, 2018, and every year for a period of three years from that date, submit to the speaker of the council and the mayor, and make publicly available online, a report containing, at a minimum:

1. The following information for each city building:

(a) The street address of such building; and

(b) Whether the building has been fitted with or can be retrofitted with energy usage telemetry equipment and software such that energy usage and heat loss in the building can be measured and reported in real-time.

2. For each city building where it would be appropriate and practicable for it to be retrofitted with energy usage telemetry equipment and software, the following information:

(a) The cost of installing such equipment and software; and

(b) An estimated timeline for completion of the installation.

3. For each city building where the department finds that installation of energy usage telemetry equipment and software is not appropriate or practicable:

(a) The reasons for such finding; and

(b) Whether any reasonable steps can be taken toward ensuring future installation of the energy usage telemetry equipment and software in that building.

c. Installation of real-time energy usage and heat loss monitoring equipment. The department, in conjunction with any other appropriate city agency, shall coordinate the installation of energy usage telemetry equipment and any necessary software in all city buildings identified in accordance with paragraph 2 of subdivision b of this section.

d. Real-time monitoring of energy usage and heat loss in city buildings. Following installation of real-time energy usage and heat loss monitoring equipment, the department shall track and report real-time energy usage and heat loss in city buildings and shall make the reports publicly available on a weekly basis.

§ 2. This local law takes effect immediately.

MN

LS #10492

06/14/2017 10:31AM