Int. No. 657

# By Council Members Arroyo, White Jr., Dilan, Comrie, Gonzalez, James, Palma, Rivera, Stewart, Yassky, Jackson, Liu and Oddo

..Title

A Local Law to amend the administrative code of the city of New York, in relation to common sewers.

..Body

Be it enacted by the Council as follows:

Section 1.  Subdivision b of section 27 –901 of the administrative code of the city of  New York is amended to read as follows:

b. A public water supply system, and a sanitary or combined sewer for the purpose of conveying sewage, shall be deemed available to a one- and two-family dwelling if a property line of such dwelling is within one hundred feet (measured along a street, alley, or right-of-way) of  the public water supply system or the sewer. The connection shall be made in   accordance   with   the   applicable standards of the department of environmental protection, provided, however, that a one–family or two-family dwelling abutting on a street, alley or easement in which there is a public sewer shall connect to such public sewer regardless of the type of lot on which it is situated.

§2. Section PC 701.3 of the New York city plumbing code, as added by local law number 99 for the year 2005, is amended to read as follows:

701.3 Separate sewer connection. Every building having plumbing fixtures installed and intended for human habitation, occupancy or use on premises abutting on a street, alley or easement in which there is a public sewer shall have a separate connection with the sewer. Where located on the same lot, multiple buildings shall not be prohibited from connection to a common building sewer that connects to the public sewer, provided, however, that a one–family or two-family dwelling, abutting on a street, alley or easement in which there is a public sewer shall connect to such public sewer regardless of the type of lot on which it is situated.

§3. This local law shall take effect upon enactment.

LS#3658 & 4274

CJC –11/21/07