Plain Language Summary

Current Introduction Number:

Proposed Int. No. 660-A

Prime Sponsors:

By Council Members Bottcher, Sanchez, Powers, Hanif, Brewer, Restler, Hudson, Marte, Rivera, Ayala, Joseph, Banks, Hanks, Louis and Mealy (by request of the Manhattan Borough President)

Bill Title:

A Local Law to amend the New York city building code, in relation to the required lighting under sidewalk sheds

Bill Summary:

This plain language summary is for informational purposes only and does not substitute for legal counsel. For more information, you should review the full text of the bill, which is available online at legistar.council.nyc.gov.

This bill would double the required level of lighting under sidewalk sheds from 45 lumens per watt or greater to 90 lumens per watt or greater, and would require that lighting under sidewalk sheds be provided specifically by LED lights. Additionally, this bill would require lighting fixtures serving a sidewalk shed that is within a 20-foot radius of a window, glass door, or any other fenestration of a dwelling unit to be equipped with directional adjustment or shielding to eliminate light trespass toward the dwelling unit.

Effective Date:

On the same date that section two of a local law for the year 2025 amending the New York city building code, relating to studying sidewalk shed designs and improving the aesthetics of existing sidewalk sheds, as proposed in introduction number 391-A, takes effect

Legislative Impact:

☐ Agency Rulemaking Required: Is City agency rulemaking required?

☐ Report Required: Is a report due to Council required?

☐ Sunset Date Included: Does the legislation have a sunset date?

☐ Council Appointment Required: Is an appointment by the Council required?

☐ Other Appointment Required: Are other appointments not by the Council required?

Note: In the full bill text online at legistar.council.nyc.gov, language in proposed consolidated laws that is enclosed by [brackets] would be deleted, and language that is underlined would be new. Language in proposed unconsolidated laws, in contrast, will not have brackets or underlining because it would be entirely new. Consolidation means that the law would be placed in the New York City Charter or Administrative Code.

Session 13

APM

LS #10774

3/19/25 2:50pm

Session 12

EH

LS #10774

12/22/22 1:25p