Plain Language Summary

Current Introduction Number:

Proposed Int. No. 436-A

Prime Sponsors:

By Council Members Sanchez, Farías, Cabán, Louis, Salaam, Marte, Restler, Powers, Gutiérrez, Hudson and Nurse (by request of the Mayor)

Bill Title:

A Local Law to amend the administrative code of the city of New York, in relation to the electrical code and local law 55 for the year 2024, in relation to electric vehicle supply equipment in open parking lots and parking garages, and repealing chapter 3 of title 27 of the administrative code of the city of New York in relation thereto

Bill Summary:

This plain language summary is for informational purposes only and does not substitute for legal counsel. For more information, you should review the full text of the bill, which is available online at legistar.council.nyc.gov.

This bill would update the New York City (“NYC”) Electrical Code by adopting the standards of the 2020 National Electrical Code, with certain amendments based on unique conditions within the City. It would also incorporate the NYC Electrical Code into the City’s Construction Codes under Title 28 of the Administrative Code. The bill would also amend licensing, permitting, enforcement, disciplinary standards, and penalties related to the electrician trade, to be consistent with standards for other trades licensed by the Department of Buildings (“DOB”), and it would remove the quorum requirement for the Electrician License Board. The bill’s technical provisions would, among other things, set forth exceptions for the use of arc fault circuit interrupters in residences and the use of manufactured wiring systems, create guidelines for the use of PVC risers in buildings, and allow a “qualified person,” as defined in the National Electrical Code, to conduct low voltage work. Additionally, this bill would amend the due date of the electric vehicle charging report required by Local Law 55 of 2024 to June 30, 2026.

Effective Date:

1 year after it becomes law and applies to work performed pursuant to applications for construction document approval filed on and after such effective date, except that:

(i) at the option of an owner, the technical requirements of the New York city electrical code, added by section 25 of this local law, may apply to applications that are filed prior to such effective date for electrical work with respect to the construction of new buildings;

(ii) at the option of an owner, the technical requirements of the New York city electrical code, added by section 25 of this local law, may apply to applications that are filed not more than 120 days prior to such effective date for electrical work in existing buildings; and

(iii) the commissioner of buildings may take such measures as are necessary for the implementation of this local law, including the promulgation of rules, prior to such effective date.

Legislative Impact:

☒ Agency Rulemaking Required: Is City agency rulemaking required?

☒ Report Required: Is a report due to Council required?

☐ Sunset Date Included: Does the legislation have a sunset date?

☐ Council Appointment Required: Is an appointment by the Council required?

☐ Other Appointment Required: Are other appointments not by the Council required?

Note: In the full bill text online at legistar.council.nyc.gov, language in proposed consolidated laws that is enclosed by [brackets] would be deleted, and language that is underlined would be new. Language in proposed unconsolidated laws, in contrast, will not have brackets or underlining because it would be entirely new. Consolidation means that the law would be placed in the New York City Charter or Administrative Code.

APM

11/14/2024 3:29 PM