1

2  CITY COUNCIL

3

CITY OF NEW YORK

4

-------------------------------x

5

THE TRANSCRIPT OF THE MINUTES

6

of the

7

COMMITTEE ON HOUSING And BUILDINGS

8

-------------------------------x

9

10                 April 26, 2004

Start:  1:15 p.m.

11                 Recess: 5:15 p.m.

12                 City Hall

Council Chambers

13                 New York, New York

14

B E F O R E:

15

MADELINE PROVENZANO

16                                Chairperson,

17

COUNCIL MEMBERS:   Joel Rivera

18                                 Diana Reyna

Tony Avella

19                                 Gale Brewer

Leroy Comrie

20                                 Lewis Fidler

Robert Jackson

21                                 Melinda Katz

Latitia James

22                                 James Oddo

23

24       LEGAL-EASE COURT REPORTING SERVICES, INC.

17 Battery Place -  Suite 1308

25              New York, New York 10004

(800) 756-3410

2

1

2  A P P E A R A N C E S

3

Patricia Lancaster, FAIA

4  Commissioner

NYC Department of Buildings

5

Frank Lombardi

6  Chief Engineer

Port Authority of New York and New Jersey

7

James Fisher, Ph.D., PE

8  Vice President, Computerized Structural Design, Inc.

Milwaukee, WI

9  Consulting Engineer for the Steel Joist Institute

10  Timothy Day

Vice President, Sales

11  Immediate Past President

Steel Joist Institute

12

Peter Malkin

13  Partner, Wiener and Malkin, LLP

Governor of the Real Estate Board of New York

14

Timothy Collins

15  Fire Protection Engineer

Hughes Associates Fire Protection

16

Captain Harry Ackley, Sr.

17  Greater New York Health Care Facilities Association

18  Karen Levy-Lynch

Solutions Development Consultant

19  Johnsonite

20  Johnathan Shimshoni

CEO

21  Escape Rescue Systems, Ltd.

22  Michael Godwin

Inventor

23  Emergency Godwin Rapid Escape Safety System (EGRESS)

24  Ralph Baker

CEO

25  Baker Safety Equipment, Inc.

3

1

2  A P P E A R A N C E S (CONTINUED)

3

Mike Wintermute

4  Moserota, LTD

Israel

5

Herstik Arie

6  S.I.L. Technologies, LTD

Israel

7

David De Vries

8  Fire Protection Engineer

President

9  Fire Tech Engineering, Inc.

10  Sally Regengard

Founder and Chairperson

11  Skyscrapers Safety Campaign

12  Ted Price

Director Global Security

13  Lehman Brothers

14  Julie Greenberg

Easter Seals

15

Lawrence Shapiro

16  Professional Engineer and Partner

Howard I. Shapiro and Associates

17

Lawrence Blinn, Jr.

18  Senior Vice-President

Regional Scaffolding and Hoisting Co., Inc.

19

Stephen Kramer

20  Chief of Staff

NYC Department of Buildings

21

Robert Podmore

22  Deputy General Manager for Operations

NYC Housing Authority

23

24

25

4

1

2  A P P E A R A N C E S (CONTINUED)

3

Andrew Hoffman

4  President

Community Housing Improvement Program

5

Rick Bell

6  Executive Director

New York Chapter of the American

7  Institute of Architects

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

5

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 CHAIRPERSON PROVENZANO: Good

3  afternoon.  I am Councilwoman Madeline Provenzano.

4  I Chair the Committee on Housing and Buildings of

5  the New York City Council.  I would like to thank

6  all of you for attending today's hearing, so it is

7  going to be an unusual hearing.  I know that several

8  of you traveled great distances to be here, and I

9  would like to welcome you to New York City and to

10  the New York City Council.

11                 Today the Committee has three matters

12  on the agenda, two legislative bills, and one

13  oversight topic.  They are as follows:

14                 Proposed Intro. No. 126- A, a local

15  law to amend the Administrative Code of the City of

16  New York in relation to building safety.

17                 Secondly, our oversight topic, an

18  examination of external building evacuation systems.

19    I keep saying excavation systems, I got it right

20  this time.

21                 And three, Intro. No. 257, a local

22  law to amend the Administrative Code of the City of

23  New York in relation to emergency lighting and exit

24  signs.

25                 Proposed Intro. No. 126- A, a local

6

1  COMMITTEE ON HOUSING AND BUILDINGS

2  law to amend the Administrative Code of the City of

3  New York in relation to building safety reflects the

4  latest amendments as proposed by the Administration.

5    We had a prior hearing on this Intro. On February

6  24th, 2004, and the Committee has requested that

7  certain representatives come before it and clarify

8  some of the issues.

9                 As a reminder to some, and to provide

10  some brief background for others, this Intro. Is the

11  result of the World Trade Center Building Code Task

12  Force that was convened on March 19th, 2002 by the

13  New York City Department of Buildings.  It was set

14  up to review current building design, construction,

15  and operating requirements, and determines if

16  modifications for extreme events were needed to

17  ensure public safety in new and existing buildings.

18                 In response to the September 11th,

19  2001 terrorist attacks, and the subsequent collapse

20  of the World Trade Center, the Department of

21  Buildings established the Task Force to review the

22  events and conditions that led to a failure of

23  building operations.

24                 In February of 2003, the Task Force

25  formally announced 21 recommendations to the Mayor.

7

1  COMMITTEE ON HOUSING AND BUILDINGS

2  The Mayor accepted the recommendations of the Task

3  Force, and then through the Department of Buildings

4  identified 13 of the 21 recommendations for

5  incorporation into what is now proposed Intro. No.

6  126- A.  This is to enhance the safety of high- rise

7  office buildings after the events of September 11th.

8                 We have representatives from the

9  Department of Buildings, including our Commissioner,

10  Patricia Lancaster, who has returned to discuss this

11  legislation, and we will also be hearing from

12  representatives of the Port Authority of New York

13  and New Jersey.

14                 The second matter before the

15  Committee is an oversight entitled, "An Examination

16  of External Building Evacuation Systems."  This

17  Committee will conduct a hearing to begin the

18  process of reviewing recent developments and

19  concepts in building evacuation technology.  This

20  hearing will provide an opportunity for the

21  discussion of various methods of new and/or cutting

22  edge technologies that have been developed, or in

23  the process of being designed for the systematic

24  safe and orderly evacuation of buildings in the

25  event of fire or other emergency.

8

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 The terrorist attacks on the World

3  Trade Center raised concerns about the adequacy of

4  evacuation systems in high rise buildings.  This

5  tragedy and the possibility of similar attacks have

6  prompted governments and professionals to inquire

7  and explore whether the incorporation of external

8  evacuation systems can enhance public safety in a

9  practical way.  Particularly, many traditional modes

10  of evacuation are problematic for people in

11  wheelchairs and with other mobility difficulties.

12                 The Committee on Housing and

13  Buildings anticipates hearing testimony from

14  representatives of the Building Evacuation Industry,

15  advocates of people with disabilities, and experts

16  in fire safety, along with other members of the

17  public interested in this topic.

18                 With the advent of new technology the

19  Committee expects and hopes that comments and

20  suggestions will continue to be offered by

21  individuals with expertise in this area in order to

22  ensure the safety and economic viability of the

23  City.

24                 The final matter before the

25  Committee, today, is Intro. No. 257, a local law to

9

1  COMMITTEE ON HOUSING AND BUILDINGS

2  amend the Administrative Code of the City of New

3  York in relation to emergency lighting and exit

4  signs. Intro. No. 257 was introduced in response to

5  the blackout that occurred on August 14th, 2003,

6  which was the largest blackout in our nation's

7  history, and left approximately 50 million people

8  without power, including people residing in New York

9  City.  During this time, many New Yorkers

10  encountered great difficulty in leaving or entering

11  their homes because of inadequate or non- existing

12  emergency lighting and exit signs.

13                 Today, the Committee is conducting

14  its first hearing on Intro. No. 257, which would

15  impose new requirements in residential buildings

16  concerning the use of emergency power source or to

17  storage battery equipment for exit lighting.  The

18  Committee expects to hear from representatives of

19  the Department of Buildings and the New York Housing

20  Authority, and again, any interested members of the

21  general public.

22                 Anyone that wishes to testify, even

23  if you have previously spoken to my staff, you must

24  sign in with the Sergeant At- Arms.  And I do

25  request that all organizations be represented by

10

1  COMMITTEE ON HOUSING AND BUILDINGS

2  only one spokesperson.

3                 Our first item today is Proposed

4  Intro. No. 126- A, and our first witness will be

5  Patricia Lancaster, the Commissioner of the

6  Department of Buildings.  Welcome.

7                 COMMISSIONER LANCASTER:  Thank you.

8  Good afternoon, Chairperson Provenzano and members

9  of the Committee on Housing and Buildings.  My name

10  is Patricia Lancaster, and I am, in fact, the

11  Commissioner of the City's Department of Buildings.

12  I am joined today by Stephen Kramer, my Chief of

13  Staff, on my right.  Thank you for this opportunity

14  to testify today in support of Intro. 126- A,

15  considering the safety of high- rise office

16  buildings.

17                 As indicated at the prior hearing on

18  the earlier version of this bill, this legislation

19  constitutes an important advance in enhancing the

20  safety of our buildings in light of the collapse of

21  the World Trade Center structures.  While our task

22  is not finished, if this bill passes, once

23  additional studies are completed and we have more

24  information, more changes will come. Intro. 126- A

25  marks a clear advance in high- rise office building

11

1  COMMITTEE ON HOUSING AND BUILDINGS

2  safety without compromising the economic viability

3  of existing or new construction.

4                 Like Intro. 126, before it, Intro.

5  126- A is based upon the recommendations, as

6  Madeline said, of the World Trade Center Building

7  Code Task Force convened in March of 2002 to address

8  the concerns raised by the collapse of the Twin

9  Towers and 7 World Trade Center.  The Task Force

10  consisted of experts from government, the real

11  estate community, and the design and construction

12  professions.  It also received input from academia,

13  special needs communities, and 9/11 victims,

14  families, and their survivors.  After months of

15  meeting, and a review of literature and standards of

16  other nations, the Task Force proposed 21

17  recommendations to enhance standards for public

18  safety in high- rise office buildings during

19  emergency events.  Thirteen of those recommendations

20  form the basis of this bill's various technical

21  provisions.

22                 In the spirit of continuing the

23  openness and transparency represented in the Task

24  Force's processes, the Department carefully reviewed

25  the comments on Intro. 126 received from the various

12

1  COMMITTEE ON HOUSING AND BUILDINGS

2  stakeholders in the bill, and the comments presented

3  to this Committee, and by Committee members at the

4  hearing on the prior version of this bill.  Some of

5  these comments have led to minor changes in the

6  bill, which I will outline in a few moments.  Other

7  comments have led us to believe that further

8  explanation of the relevant provision is warranted.

9  Accordingly, I will first detail the difference

10  between Intro. 126 and 126- A, then I will discuss

11  three other controversial issues, and explain why

12  they did not justify concomitant bill amendments.

13                 The differences between Intro. 126

14  and 126- A involve the requirements concerning four

15  elements of building construction: Illuminated exit

16  signs; elevator vestibules; air intake locations,

17  and fuel oil transfer piping systems.  I will review

18  each change separately.

19                 The first set of changes affects

20  Sections 3 and 17 of the bill, concerning

21  illuminated egress signs.  In order to help ensure

22  that a building's egress path is clear, even during

23  power interruption, Intro. 126 mandated that certain

24  illuminated exit signs that do not currently have

25  backup power be connected to backup power by a

13

1  COMMITTEE ON HOUSING AND BUILDINGS

2  battery pack.  The prior version of the bill is not

3  clear enough as to which signs, in which buildings

4  fall under this retroactive requirement.  The new

5  version eliminates this vagueness.

6                 The next change can be found in

7  Section 9 of the bill involve elevator vestibules.

8  Intro. 126, the original bill, required smoke stop

9  elevator vestibules in new high- rise office

10  buildings of four or more stories.  In smoke

11  conditions, elevator shafts have a potential of

12  carrying smoke throughout a high- rise office

13  building.  These smoke stop vestibule areas serve to

14  prevent smoke in buildings from contaminating

15  elevator shafts, and further prevent smoke in

16  elevator shafts from spreading throughout the rest

17  of the building.

18                 The old version of the bill read as

19  if the elevator vestibule requirements applied to

20  any alteration of existing high rise office

21  buildings.  Such an expansive reading was not the

22  intent of the Task Force recommendations.  The Task

23  Force felt that applying the requirement to all

24  buildings was impractical from both an economic and

25  a design prospective.  The amended bill makes clear

14

1  COMMITTEE ON HOUSING AND BUILDINGS

2  that existing buildings are not effected by the

3  elevator vestibule requirement, except when two or

4  more elevator shafts are being added.

5                 The third change can be found in

6  Section 20 of the current bill, and involves air

7  intake locations.  To prevent the introduction of

8  unwanted fumes, gases, or particles into the

9  building ventilation system, either unintentionally

10  or by design, Intro. 126 required new air intake

11  serving mechanical ventilation systems to be 20 feet

12  above ground level, 20 feet from ventilation

13  exhausts, and 20 feet from loading base.  This

14  requirement unnecessarily applied to air intake

15  serving small ground for retail spaces not connected

16  to the building- wide ventilation systems.  To

17  address these concerns, Intro. 126- A limits this

18  requirement to air intakes from mechanical systems

19  serving spaces above a building second story, or

20  serving a space of greater than 10,000 square feet

21  of floor area.  This change makes the requirement

22  more practical while still protecting the systems

23  most at risk.

24                 The remaining changes to the bill are

25  in Section 22 and concern pure oil transfer piping.

15

1  COMMITTEE ON HOUSING AND BUILDINGS

2  The bill first clarified the applicability of the

3  new requirement that piping from a transfer pump to

4  equipment above the building's lowest floor, have a

5  fire rated enclosure.  The amended version further

6  clarifies the applicability of this requirement by

7  explicitly stating that these enclosures are not

8  required when the room containing the pump itself is

9  fire rated.  Thus, the new bill eliminates a

10  redundant and potentially expensive requirement.

11                 The original bill also restricted the

12  maximum new size of oil piping.  As a result of

13  meetings with various professional groups the method

14  for calculating the size of oil piping has been

15  clarified to take into account that there are two

16  types of oil transfer systems, which ought to have

17  their pipes calculated differently.  In addition,

18  the new version of the bill makes minor adjustments

19  to various parts of Section 22 so that the entity of

20  the Section accommodates new language described

21  above.

22                 Although some of the discussions that

23  the Department has held concerning Intro. 126

24  eventually led to the changes I have just described,

25  thoughtful and thorough consideration of other

16

1  COMMITTEE ON HOUSING AND BUILDINGS

2  issues that have been raised since the bill's

3  introduction have convinced us that certain key

4  requirements of the bill are to remain as originally

5  drafted.  These elements involve the bill's

6  provisions concerning:

7                 1.  Open web steel joists.

8                 2.  Photoluminescence egress

9  markings.

10                 3.  Sprinklers.

11                 Let's discuss open web steel joists

12  first.  As written, Section 25 of the bill imposes a

13  temporary prohibition on the use of open web steel

14  joists in new commercial high- rise construction.

15  Once further studies are completed, and we are

16  closely following the work of the National Institute

17  of Standards and Technology, or NIST, for guidance

18  and information, per Section 18 of the bill, the

19  Department will issue appropriate technical

20  standards of addressing their usage in New York

21  City.

22                 These provisions rose out of concern

23  raised by the Structural Strength Working Group of

24  the World Trade Center Building Code Task Force.

25  This working group consisted of representatives from

17

1  COMMITTEE ON HOUSING AND BUILDINGS

2  the Buildings and Fire Department, the City of

3  Office of Emergency Management, and Department of

4  Design and Construction, as well as engineers,

5  architects, and representatives of real estate

6  owners.  The major concern of the Structural

7  Strength Group was the ability of fireproofing to

8  work on open web steel joists, the type used in the

9  World Trade Center Towers.  Due to their lightweight

10  and efficient design, such materials all ready have

11  a low resistance to fire.  Furthermore, since their

12  decreased weight coincides with decreased mass, the

13  surface area to which fireproofing is applied on

14  these joists diminishes, further limiting their fire

15  resistance.

16                 The Working Group attempted to

17  develop a standard, which would use a ratio of a

18  joist's weight to surface area to produce a minimum

19  allowable size factor.  However, since insufficient

20  information was available about what would

21  ultimately constitute a safe minimum size, normal

22  final standard was able to be adopted.  Instead, the

23  Group felt that NIST would be more capable of making

24  such a determination.   Hence, the Working Group,

25  and ultimately the Task force itself, recommended

18

1  COMMITTEE ON HOUSING AND BUILDINGS

2  the temporary bans on open web steel joists until

3  NIST's standards are developed. Since these joists

4  are not actually used in New York City skyscrapers,

5  the temporary ban does not have any practical effect

6  on construction here.  However, a consensus of

7  stakeholders did agree that it was probably

8  appropriate to temporarily ban these items until a

9  code standard could be developed by a competent

10  entity.  The Department stands by this provision of

11  the bill.

12                 Considerable discussion has also

13  center on Sections 2 and 15 of the bills.  These

14  sections require new and existing high- rise office

15  buildings to installation markings that are

16  photoluminescence, that is the technical term for

17  things that glow in the dark, without needing an

18  electrical recharge, on exit doors and in exit

19  stairwells beginning January 1 of 2006.  The precise

20  nature of the technical standards for the materials

21  allowable in these markings and the extent of the

22  markings themselves are to be developed through the

23  Department's Public Reference Standard Adoption

24  Process.  The standards will depend on information

25  we glean from the literature, manufacturers, and

19

1  COMMITTEE ON HOUSING AND BUILDINGS

2  stakeholders, and will depend on the materials cost,

3  effectiveness, and durability.

4                 Photoluminescence materials will

5  provide guides for building occupants to exit even

6  when water, explosion, and other hazards have

7  knocked out the emergency batteries and/or

8  generators. The requirements will be minimum

9  requirements and do not in any way prevent an owner

10  from using additional types of luminescent sign

11  markings.

12                 Nevertheless, the Department has

13  heard suggestions that the word "photoluminescence"

14  be replaced with "luminescent." This would have the

15  effect of allowing electric luminescent lighting,

16  which is lighting powered by electricity and/or with

17  battery backup to be used for egress markings

18  instead of photoluminescence material, which does

19  not require electricity.

20                 Let me reiterate that nothing in the

21  bill prohibits the proprietor from using electric

22  luminescent lighting to mark a building's egress

23  route.  It is our position, however, that since

24  photoluminescence material is not depended on either

25  electricity or batteries, it is the most reliable

20

1  COMMITTEE ON HOUSING AND BUILDINGS

2  form of illumination in an emergency situation.

3  Remember that all of these buildings already have

4  emergency lighting in the stairwells that are

5  supposed to stay on when the regular power fails.

6  The photoluminescence lighting is supposed to be a

7  last resort for use when not only the regular power,

8  but also the emergency power fails.  It is in

9  circumstances like these that a tertiary system that

10  does not need electricity will help evacuate a

11  building safely.

12                 Finally, at the last hearing many

13  comments were made about the bill's sprinkler

14  requirements.  Specifically, its requirements that

15  buildings over 100 feet tall, as opposed to over 75

16  feet tall be fully sprinkled, and the 15- year time

17  frame for sprinkling these buildings.

18                 Let's first discuss why only

19  buildings over 100 feet will be required to be fully

20  sprinkled.  This was an issue discussed by the Task

21  Force's Fire Protection Working Group as their

22  recommendations were being developed.  When

23  retroactive sprinkling requirements for certain

24  office buildings were previously added to the

25  Building Code, such as in Section 27- 954- I, the

21

1  COMMITTEE ON HOUSING AND BUILDINGS

2  100- foot number was also used.  This was influenced

3  by the fact that the Fire Department's aerial

4  ladders reach approximately 65 to 95 feet, thereby,

5  providing occupants in high- rise buildings under

6  100 feet with an alternate means of escape.

7                 With Intro. 126- A, the Building Code

8  requirements for the retroactive sprinkling of tall

9  office buildings remain internally consistent.

10                 Regarding the 15- year time frame to

11  complete the sprinkling that the bill gives owners,

12  if cost and practicality were not constrained, a

13  shorter implementation might be desirable. And of

14  course, nothing in the bill precludes an owner from

15  sprinkling a building in a shorter time.  However,

16  sprinkling large buildings can be a massive

17  undertaking.  It is not only expensive, but it can

18  disrupt, and therefore, effect the economic

19  viability of tenants as well.  While many leases are

20  for shorter periods than 15 years, tenants typically

21  renew five- and ten- year leases for at least one,

22  five- year term without undergoing major renovations

23  such as removing and installing ceilings that new

24  sprinklers involve. The schedule in the bill allows

25  proprietors to phase- in their sprinkler projects as

22

1  COMMITTEE ON HOUSING AND BUILDINGS

2  tenancies expire.  Thereby, cushioning the cost and

3  minimizing the disruption to tenants.  It is a term

4  that is both realistic and economically viable.

5                 With the changes I have just outlined

6  in place, Intro. 126- A will have a significant and

7  positive impact on the safety of high- rise

8  buildings and their occupants, and the emergency

9  responders.  Of course, these changes do not

10  represent the end of the process of reviewing

11  improvement of the Building Code.  As additional

12  studies are completed and we obtain more

13  information, other changes may be made.  But these

14  are important steps in achieving major advances in

15  improving building design.

16  As I have mentioned above, further follow- up with

17  entities like NIST, as well as the Department's

18  review of the International Building Code will be

19  ongoing.  But these changes in Intro. 126- A are a

20  positive step to keep New York safe and to enhance

21  its competitiveness.  They do so in a manner that

22  all of the relevant stakeholders agree is

23  economically feasible and practical.  They deserve

24  to become law.

25                 Thank you for your time today.  I

23

1  COMMITTEE ON HOUSING AND BUILDINGS

2  would be happy to take some questions.

3                 CHAIRPERSON PROVENZANO:  Thank you,

4  Commissioner. I would like to introduce the

5  Committee members that are here.  To my right, we

6  have Council Member James Oddo; Council Member Lew

7  Fidler; Councilwoman Melinda Katz; Council Member

8  Robert Jackson. To my left, we have Council Member

9  Leroy Comrie; Council Member Tony Avella; and

10  Councilwoman Diana Reyna.

11                 Do we have any questions for the

12  Commissioner?  I cannot see her, where are you,

13  Letitia?  Okay, we have Councilwoman Letitia James.

14                 Council Member Jackson.

15                 COUNCIL MEMBER JACKSON:  Good

16  afternoon, Commissioner.  Concerning the luminescent

17  markings in order to leave the building, you are

18  recommending that the photo, in essence, the one

19  that received its energy from the existing light in

20  the building.  Is that correct?

21                 COMMISSIONER LANCASTER:  That is

22  correct.

23                 COUNCIL MEMBER JACKSON:  I mean, I

24  believe at the last hearing someone came and gave an

25  example of that.  Is that correct, Madam Chair?

24

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 Now it is my understanding that the

3  owners of the major buildings would like to use the

4  electricity backup for that, because there are cost

5  factors and longevity issues and all of that.  So is

6  that okay in order for us to move in that direction,

7  if the Committee wanted to?

8                 COMMISSIONER LANCASTER:  Well the

9  Department is still studying some of the technical

10  issues, such as the longevity, as you mentioned.  We

11  have, to date, felt that it was important to avoid

12  electricity as being necessary to mark the egress

13  path, and therefore, had specified

14  photoluminescence.  However, we have not ruled out

15  almost anything, and we are happy to take another

16  look at it, if that is what the Committee desires.

17                 COUNCIL MEMBER JACKSON:  Is your

18  Department, has your Department done research on the

19  positive aspects of both, and come up with any

20  conclusions?  I mean, I know that there are some

21  type of materials that can be charged from

22  electricity, and then have a life span, you know,

23  based on the charge that they receive from the

24  electricity.  Isn't that correct?

25                 COMMISSIONER LANCASTER:  That is

25

1  COMMITTEE ON HOUSING AND BUILDINGS

2  absolutely correct. And one of the things that we

3  heard when we were having our public forums for the

4  World Trade Center Building Code Task Force, was

5  that those markings in the Port Authority Buildings

6  that they did after the 1993 bombing were an

7  effective means of getting people out of the

8  building.  And in that case, and in others, that is

9  when not only regular power, but emergency power has

10  failed.

11                 COUNCIL MEMBER JACKSON:  What is the

12  time frame that is considered in order to evacuate

13  people out of the building?  I mean, what do you

14  look for as far as the time frame for the markings

15  to be illuminated?

16                 COMMISSIONER LANCASTER:  Frankly,

17  that is still under advisement.  But I think that

18  the exterior walls and the rating around the stair

19  enclosures and elevator shafts are a two hour

20  rating.  So something like that might be reasonable.

21    I mean it is a good question.

22                 COUNCIL MEMBER JACKSON:  So what is

23  your opinion at this point in time?  I am sorry,

24  after you have read your statement, but what is your

25  opinion at this point in time.  That area has not

26

1  COMMITTEE ON HOUSING AND BUILDINGS

2  really been concluded yet.

3                 COMMISSIONER LANCASTER:  That is

4  correct.  There are open issues from a technical

5  standpoint of human behavior in fire, and exactly

6  what would be the safest location for the markings.

7  And that is something we are still researching.

8                 COUNCIL MEMBER JACKSON:  Thank you,

9  Madam Chair.

10                 CHAIRPERSON PROVENZANO:  Council

11  Member Comrie.

12                 COUNCIL MEMBER COMRIE:  Thank you,

13  Madam Chair, good afternoon, Commissioner.

14                 COMMISSIONER LANCASTER:  Hi.

15                 COUNCIL MEMBER COMRIE:  Just a

16  follow- up question on the photoluminescence, so you

17  are saying that the Buildings Department is still

18  studying the issue as far as inclusion or the

19  ability for manufacturers or landlords to install

20  this, if they so choose?  Do you envision seeing a

21  combined system, or a fail- safe system?

22                 COMMISSIONER LANCASTER:  I am not

23  quite sure what you mean by that?

24                 COUNCIL MEMBER COMRIE:  Well, I am

25  not sure, you are saying on one hand that you have

27

1  COMMITTEE ON HOUSING AND BUILDINGS

2  not finished studying the possibilities of pursuing

3  the photoluminescence or luminescent, or the

4  electric luminescent, and I hope I am doing the

5  terms correctly.  And that you are still looking at

6  all the alternative proposals, or the proposals to

7  do it?

8                 COMMISSIONER LANCASTER:  More than

9  half of the entertainment information that comes

10  forward, and frankly, that is what is happening

11  here, especially with regard to how long it needs to

12  last, and where it goes, and then also the materials

13  are things that we are trying to keep an open mind

14  about.

15                 COUNCIL MEMBER COMRIE:  Okay, so you

16  are saying that it has to do with the advent of new

17  technology, it may be a possibility, if there is new

18  technology involved.

19                 COMMISSIONER LANCASTER:  There are

20  new products coming on the market as we speak.

21                 COUNCIL MEMBER COMRIE:  Okay.

22                 COMMISSIONER LANCASTER:  It is sort

23  of like the egress thing that you are going to hear

24  next.  You know there are new products being

25  developed daily, practically.

28

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER COMRIE:  Right.  And

3  just on the sprinklers, quickly, I want to thank you

4  for clearing that up a little bit, and just to

5  protect safety regarding the issue of installing it.

6    And the time, will it be installation of the

7  sprinklers over a 15- year period, will they be

8  activated floor by floor, or section by section

9  during that time, or will a building have to wait

10  for a full installation for it to be operable?

11                 COMMISSIONER LANCASTER:  Good

12  question.  The way that we envision it, it would

13  not, could not be done all at the same time, because

14  in high- rise office buildings the tenancies are not

15  usually moved at the same time.  So, in fact, we are

16  trying to allow for the possibility that tenants

17  will move at different times.  So, for instance, if

18  tenant A has three floors, then when that tenant,

19  you know, will use their lease for five years and

20  then they move out, those three floors would be

21  done.  And then when tenant B in the next two floors

22  above that, or whatever, move out, then those two

23  floors would be done.  Such that in a 15- year cycle

24  all floors would be done.

25                 COUNCIL MEMBER COMRIE:  Would those

29

1  COMMITTEE ON HOUSING AND BUILDINGS

2  three floors be active, was what I am saying, would

3  those three floors have the sprinkler systems that

4  would work, or will the building have to wait the

5  full 15 years before you turn on the system?

6                 COMMISSIONER LANCASTER:  I see what

7  you are saying. So from a technical standpoint the

8  way that you would accomplish this is you would put

9  the standpipe, the major vertical riser in first, in

10  probably the stairwell, and then you would do what

11  is called branch sprinkling piping off from that on

12  a floor by floor basis.  Such that if the standpipe,

13  once the standpipe goes in the full length of the

14  buildings, any floor can be, in effect, plugged into

15  the branch sprinkler piping.

16                 COUNCIL MEMBER COMRIE:  All right,

17  and that technology exists at this present moment.

18                 COMMISSIONER LANCASTER:  Absolutely.

19                 COUNCIL MEMBER COMRIE:  Okay.  And

20  you did not mention specifically on whether or not

21  there was any negative feedback to the that, but I

22  guess we will hear that a little bit later.  But I

23  just wanted to say, I appreciate the desire and the

24  time frame, and your consideration of the 15- year

25  period.  And now I feel more comfortable that, you

30

1  COMMITTEE ON HOUSING AND BUILDINGS

2  know, temporary measures will be in effect to

3  protect those people, at least, partially the

4  building can be taken care of during that time.

5  Hopefully, we would not have a large fire to be

6  concerned about.  But if you are doing it in stages,

7  then at least some of the building can be under

8  protection having the sprinklers within the building

9  during that time, so.

10                 COMMISSIONER LANCASTER:  Well I think

11  that is right. The other thing that is happening is,

12  that we hear, is that owners are voluntarily

13  sprinkling and also using the photoluminescence. A

14  lot of owners have now, now that we have come up

15  with our recommendation before it is signed into

16  law, they have chosen to install photoluminescence

17  materials in their stairways and exit corridors.  So

18  I am optimistic that what you are talking about will

19  happen on a mandated basis, but also voluntarily.

20                 COUNCIL MEMBER COMRIE:  Will these be

21  self certification types of installations, or will

22  the Buildings Department come out and monitor?

23                 COMMISSIONER LANCASTER:  Well we

24  monitor self certified jobs, and non- self-

25  certified jobs, so.

31

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER COMRIE:  All right,

3  thank you.  Thank you, Madam Chair.

4                 CHAIRPERSON PROVENZANO:  Do we have

5  any more questions?  Thank you, Commissioner.

6                 COMMISSIONER LANCASTER:  Thank you.

7                 CHAIRPERSON PROVENZANO:  Next person

8  to testify is Frank Lombardi, Chief Engineer of the

9  Port Authority.  Just make sure that you identify

10  yourself.

11                 MR. LOMBARDI:  Thank you.  Chairwoman

12  Provenzano and the members of the Committee, thank

13  you for the opportunity to appear before you on

14  Intro. 126.  My name is Francis J. Lombardi, and I

15  am the Chief Engineer of the Port Authority.

16                 I am here to express support for the

17  legislation of the Department of Buildings, World

18  Trade Center Building Code Task Force

19  recommendations to make buildings safer.  I would

20  also like to commend the efforts by the Department

21  of Buildings, and to express my appreciation to your

22  Chairwoman for your leadership on this critical

23  issue.

24                 As a bi- state agency, the Port

25  Authority is not subject to the Municipal Code

32

1  COMMITTEE ON HOUSING AND BUILDINGS

2  requirements.  The Port Authority is a responsive

3  and responsible agency, government agency, with a

4  longstanding policy to meet or exceed Municipal

5  Building and Fire Codes at all of its facilities.

6  The Port Authority has put this policy in writing

7  and has signed Memorandums of Understanding with New

8  York City's Department of Buildings, as well as the

9  Fire Department.

10                 The MOU stipulates the procedures to

11  be followed for any construction project in the City

12  by the Port Authority or any of its tenants.  This

13  approach has been endorsed by the New York City

14  Department of Buildings, World Trade Center Building

15  Task Force, which wrote in a February 2003 report,

16   "while not necessarily required to comply with New

17  York City Building Code, buildings within New York

18  City's geographical boundaries, such as diplomatic

19  missions, federal government buildings and those of

20  other quasi- governmental authorities, should ensure

21  that their facilities meet New York City Code

22  requirements.  This can be accomplished through a

23  Memorandum of Understanding and other types of

24  intergovernmental collaboration."

25                 Signed in 1993, the Port Authority's

33

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Memorandum of Understanding with New York City

3  continued to be in effect and applied to all new

4  construction at the World Trade Center site and all

5  other projects in the City.  In addition, the Port

6  Authority's net lease with Silverstein Properties

7  for the World Trade Center explicitly requires that

8  they meet Municipal Codes.  The requirements of the

9  net lease continue to be in effect as well.

10                 As the Chief Engineer of the Port

11  Authority, I personally know that all requirements

12  in the MOU are not only fully complied with, but in

13  many instances exceeded.

14                 Both Silverstein Properties and the

15  Port Authority are demonstrating their continuing

16  commitment to safety and security in the rebuilding

17  of 7 World Trade Center, across the street from the

18  16- acre World Trade Center site.  In collaboration

19  with the New York City Department of Buildings and

20  the New York City Fire Department, this building

21  will include enhancements that exceed Building and

22  Fire Code requirements, as well as state- of the-

23  art safety and security technologies.  The standards

24  applied to 7 World Trade Center will be applied to

25  all new construction at the World Trade Center site

34

1  COMMITTEE ON HOUSING AND BUILDINGS

2  and are expected to serve as a model for safe and

3  secure building construction across the nation.

4                 The Port Authority has agreed to work

5  toward the establishment of a peer review process,

6  during which experts would independently review

7  building plans for the World Trade Center site.

8  Also, New York City is being encouraged to conduct

9  unannounced building and fire inspections at 7 World

10  Trade Center and throughout the 16- acre World Trade

11  Center site during construction and at the

12  operations of the buildings.

13                 Despite the overwhelming grief felt

14  by the survivors, they literally dusted themselves

15  off that day and went right back to work.

16                 Through their remarkable efforts in

17  the days and weeks that followed, they provided calm

18  in a time of chaos, and security in a time of

19  uncertainty, helping with the rescue and recovery

20  efforts, and keeping vital, public transportation

21  facilities open.

22                 The Twin Towers were attacked in an

23  unprecedented and previously unimagined, extreme

24  way.  No public or commercial building complex has

25  ever been designed to withstand the impact of a

35

1  COMMITTEE ON HOUSING AND BUILDINGS

2  fuel- laden commercial airliners.  No office

3  building has ever been designed with such an assault

4  in mind.

5                 The Port Authority is fully committed

6  to implement the Task Force's recommendations once

7  enacted by the City Council in all buildings at the

8  World Trade Center site and all other Port Authority

9  facilities.

10                 Also, please be aware that we have

11  worked closely with Councilman Alan Gerson, Chair of

12  the Council's Select Committee on Lower Manhattan,

13  on a series of efforts designed to make the new

14  buildings at the World Trade Center site the safest

15  in the world.

16                 Thank you for your interest, and I

17  would be happy to answer any questions.

18                 CHAIRPERSON PROVENZANO:  Thank you.

19  We certainly appreciate those remarks, and

20  appreciate the fact that you are perfectly willing

21  to comply.

22                 We have been joined by Council Member

23  Joel Rivera, I think he is in back of me.

24                 Council Member Fidler, you have a

25  question.

36

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER FIDLER:  Thank you,

3  Madam Chairwoman. Mr. Lombardi, it almost seems to

4  me as if the first page and a half of your testimony

5  is a gyration.  I would just like to know, why? If

6  the Port Authority is agreeable to exceed the

7  standards of the New York City's Buildings Code, and

8  notwithstanding recommendations from a Task Force in

9  2003, and why you have gotten to this point, why, in

10  God's name are you doing everything you possibly can

11  at the Port Authority to make it so that we cannot

12  pass legislation that would put the Port Authority

13  under the jurisdiction of the Buildings Code, why

14  aren't you willing to comply with that?

15                 MR. LOMBARDI:  I am only talking here

16  as a Chief Engineer and as a Professional Engineer,

17  not as an attorney.  And I am committed to following

18  all the requirements that were signed by the two

19  entities, the Buildings Department and the Fire

20  Department, as far as any construction requirements

21  as signed off at the Memorandum of Understanding.

22  In effect, I am basically using those MOUs as law.

23                 COUNCIL MEMBER FIDLER:  So, I mean,

24  but what you are saying is that you are not the

25  policy maker.  But we had a great deal of discussion

37

1  COMMITTEE ON HOUSING AND BUILDINGS

2  and dialogue at the last hearing on this subject

3  about the Port Authority's refusal to accept

4  legislation, and to endorse legislation that would

5  subject Port Authority's properties within the City

6  of New York to the New York City's Buildings Code.

7                 I mean, you know, this testimony to

8  me, you know, could be summed up as, me thinks thou

9  protests too much.  And I am just curious as an

10  engineer, since you are telling me that you are

11  going to exceed the code anyway, do you have any

12  problem, as an engineer, subjecting Port Authority's

13  properties within the City of New York to the New

14  York City's Buildings Code?

15                 MR. LOMBARDI:  As a professional

16  engineer, I am here to let you know that I do not

17  have any problems because I am already doing it.

18                 COUNCIL MEMBER FIDLER:  So can you

19  imagine, could you maybe speculate, why the policy

20  makers of the Port Authority disagree with you?

21                 MR. LOMBARDI:  I cannot speculate,

22  Sir.

23                 COUNCIL MEMBER FIDLER:  All right.  I

24  think that answers a lot of questions for me.  Thank

25  you.

38

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 CHAIRPERSON PROVENZANO:  Do we have

3  any other questions for the PA?  Council Member

4  Jackson.

5                 COUNCIL MEMBER JACKSON:  I think I

6  have a question and a comment.  And I just want to

7  follow- up, Sir, and I appreciate your coming in,

8  and I appreciate you communicating with what the

9  MOUs state.  But it seems a little ironic to me as a

10  layperson, and I am not an engineer by any matter,

11  shape, or form, but clearly if the Port Authority

12  has agreed to follow all of the Buildings Codes as

13  far as the World Trade Center location and site, I

14  do not see, considering the safety issue, why you

15  would not agree to follow that stringent requirement

16  for all other properties in New York City.  I mean

17  the safety and security of all of the people in New

18  York City, and all of the firefighters and police

19  and other emergency people are of utmost concern to

20  us and are very, very sensitive in New York City

21  specifically concerning 9/11, and I just do not

22  understand the logic and reasoning why the Port

23  Authority will not agree to that.

24                 MR. LOMBARDI:  Well you are asking

25  basically about the same policy.

39

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER JACKSON:  Yes.

3                 MR. LOMBARDI:  As far as the World

4  Trade Center Department of Buildings Task Force,

5  they are acknowledging that there are entities out

6  there, such as the federal government and other

7  state governments that do not necessarily have to

8  legally comply with local Municipal Code.  And they

9  also recommended as one of their 21 recommendations

10  that a way of getting around that is to, in fact,

11  enact an MOU with the City, both the Department of

12  Buildings and the Fire Department, which we have

13  done.  And that is a way of dealing with, as far as

14  I am concerned as a professional engineer, dealing

15  with the issue of having our designs within New York

16  City, limit, adhere to the New York City Buildings

17  Code requirements and safety issues as well.

18                 And I am there to fulfill that

19  obligation.  I am there to fulfill that MOU with

20  both Departments.

21                 COUNCIL MEMBER JACKSON:  Right, I

22  understand the MOU.  But I am talking about a

23  broader issue.  I am talking about the broader issue

24  of the safety and security of all of the people on

25  Port Authority property in New York City, and

40

1  COMMITTEE ON HOUSING AND BUILDINGS

2  especially all of the firefighters and the emergency

3  people that will respond.

4                 Let me ask you a question.  As an

5  engineer would it not be in the best interest of

6  Port Authority of New York and New Jersey, and the

7  citizens and personnel of New York City, if in fact

8  the codes were standardized as far as the highest

9  level of safety so that in responding to emergency

10  situations that they know that the environment that

11  they are going to go into has met all of the

12  requirements of New York City law, wouldn't you

13  agree that that is the best way to handle business,

14  as an engineer?

15                 MR. LOMBARDI:  I am already saying

16  that, Sir.  I am saying that, as a professional

17  engineer.

18                 COUNCIL MEMBER JACKSON:  Have you

19  made that recommendation to your Board?  As a

20  professional, licensed engineer, the Chief Engineer

21  of the Port Authority of New York, have you made

22  that recommendation to your boss?

23                 MR. LOMBARDI:  It is not for me to

24  make a recommendation to the Board.

25                 COUNCIL MEMBER JACKSON:  No, I

41

1  COMMITTEE ON HOUSING AND BUILDINGS

2  disagree with you, Sir.  You are the Chief Engineer.

3                 MR. LOMBARDI:  Yes.

4                 COUNCIL MEMBER JACKSON:  And if you

5  are the Chief Engineer, part of your responsibility

6  is to make recommendations to your principal as to

7  safety and security.  Do you agree with that?

8                 MR. LOMBARDI:  Part of my

9  recommendation is basically, to basically tell them

10  that I am in compliance with the laws.

11                 COUNCIL MEMBER JACKSON:  I did not

12  ask you that question, Sir.  My question to you was,

13  would you agree, it is your job as a Chief Engineer

14  to recommend what the most appropriate safe and

15  secure situation is as far as engineering of

16  buildings within the Port Authority jurisdiction?

17                 MR. LOMBARDI:  I am doing that by

18  following the MOU, Sir, I am doing that.

19                 COUNCIL MEMBER JACKSON:  I am not

20  referring to the MOU, Sir.  I am talking, the MOU

21  deals with the World Trade Center location.  Is that

22  correct?

23                 MR. LOMBARDI:  No, it deals with all

24  the facilities within the City of New York.

25                 COUNCIL MEMBER JACKSON:  All right.

42

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 MR. LOMBARDI:  It deals with all the

3  facilities that are operated and that have tenants

4  at New York City, at the facilities of New York

5  City.  Every one of them, even if a tenant comes

6  into JFK and wants to build something, they have to

7  be in compliance with the City's codes.  That is

8  part of my obligation to make sure, and they have to

9  follow a procedure that does that.  In effect, we

10  act as a Building Department for the Port Authority

11  of New York and New Jersey in that regard.  So when

12  they come in and they want to propose a construction

13  they have to hire an architect and engineer,

14  licensed in the City, and they have to meet those

15  guidelines.  We have a criteria, we give them our

16  Tenant Alterations Application Code Manual that they

17  have to follow.  And we rigorously inspect and go

18  through that particular design, as well as the

19  construction to ensure that they are following the

20  codes.

21                 And when they do not do that, Sir, we

22  write to them. And many times, we point out where in

23  the Sections of the Code of the City that they are

24  not following.

25                 COUNCIL MEMBER JACKSON:  Well, Mr.

43

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Lombardi, I hear you, you sound like a bureaucrat,

3  to my opinion, let me just say that to you.

4                 MR. LOMBARDI:  I am sorry if I sound

5  like a bureaucrat, Sir, but I am acting and behaving

6  as a professional engineer as anyone else that is

7  really responsible and takes his responsibility

8  seriously.

9                 COUNCIL MEMBER JACKSON:  Okay, thank

10  you.

11                 MR. LOMBARDI:  Especially as defined

12  by the MOUs.

13                 COUNCIL MEMBER JACKSON:  Thank you

14  very much.

15                 CHAIRPERSON PROVENZANO:  Council

16  Member Fidler.

17                 COUNCIL MEMBER FIDLER:  Just to

18  follow- up, Mr. Lombardi, I am not questioning your

19  integrity or your competence in any shape, way,

20  matter, or form, I want to make that clear.  May the

21  Buildings Department come in and enforce your MOU?

22                 MR. LOMBARDI:  I have basically asked

23  the Building Department to encourage them to visit

24  our construction - -

25                 COUNCIL MEMBER FIDLER:  That is, in

44

1  COMMITTEE ON HOUSING AND BUILDINGS

2  all due respect, you have to answer the question

3  that was asked, may the Buildings Department

4  enforce, legally enforce the MOU, or can they only

5  encourage and visit?

6                 MR. LOMBARDI:  That is a legal

7  question, Sir.  I am not an attorney.

8                 COUNCIL MEMBER FIDLER:  But you know

9  the answer.  I mean, the answer is, the point of the

10  question is that Building Department inspectors

11  cannot come in and enforce the MOU.

12                 MR. LOMBARDI:  No, Sir, they can,

13  they can come in.

14                 COUNCIL MEMBER FIDLER:  They cannot.

15                 MR. LOMBARDI:  They are encouraged to

16  come in unannounced, Sir.  They can come in any

17  time.

18                 COUNCIL MEMBER FIDLER:  And issue

19  violations.

20                 MR. LOMBARDI:  They can issue any

21  violation and we will deal with them, we will talk

22  to them, and we will resolve those violations, Sir.

23                 COUNCIL MEMBER FIDLER:  So you are

24  telling us that there is no difference at Port

25  Authority site between a privately owned site, the

45

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Buildings Department may do everything at a Port

3  Authority site that they may do elsewhere?

4                 MR. LOMBARDI:  That is how I am

5  interpreting the MOU, Sir.

6                 COUNCIL MEMBER FIDLER:  I do not

7  think that is how it has been explained to us.

8                 MR. LOMBARDI:  They can come in

9  anytime, they can look at our project record, they

10  can look at all of the design reviews that we had on

11  any of our tenant facilities, any of our Port

12  Authority construction jobs, they can look at them.

13  They could have other people, if they want to, to

14  examine them to see whether or not they are in

15  compliance with New York City Code. They could ask

16  for our project file folder on any of our tenant

17  work.

18                 COUNCIL MEMBER FIDLER:  Then I do

19  not, frankly, understand, again, since you are

20  saying, you know, in every way except for

21  jurisdiction, the MOU is as good as the law, why you

22  would not, why the Port Authority, not you, because

23  you are not the policy maker, why the Port Authority

24  would not say, all right, we want to be subjected to

25  the same laws as everybody else.  I just do not

46

1  COMMITTEE ON HOUSING AND BUILDINGS

2  understand it.

3                 MR. LOMBARDI:  I am interpreting, for

4  your information, I am interpreting the MOU as law,

5  as far as I am concerned and how I deal with matters

6  of Code issues and safety as far as New York City

7  facilities are concerned.  And I encourage them to

8  come and investigate, I encourage them to look at

9  any of our project folders.  We, whenever we have an

10  issue with a particular tenant, we sometimes call

11  the Building Department and ask them.  We have a

12  good working relationship with them, and we ask

13  them, are we interpreting this the same way that you

14  would interpret the code, and many times we get

15  support from them, and encouraged.  And they say,

16  yes, you are interpreting it the same way.

17                 COUNCIL MEMBER FIDLER:  Mr. Lombardi,

18  I do not want to beat this to death, and earn the

19  enemy of my colleagues.  You know, something is

20  being requested and it is being turned down, and you

21  say we are doing it anyway, there is something going

22  on underneath the rock that I am not seeing.  And if

23  you are sitting here and telling me that it is the

24  same anyway, the MOU is just as good as subjecting

25  the Port Authority to the jurisdiction to the

47

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Buildings Department of the City of New York, it is

3  not some great principle of government that you

4  should not be, I do not see the moral issue.  I am

5  just growing curiouser (sic) and curiouser (sic) as

6  to what it is I am not seeing at the Port Authority

7  that is making the Port Authority so resistant to

8  being under the jurisdiction of the Buildings

9  Department.

10                 You know, maybe I am just blind to

11  it.  But if you are telling me it is all the same

12  anyway, I do not get it.

13                 MR. LOMBARDI:  I am telling you it is

14  the same, as far as I am concerned from a

15  professional engineer's point of view.

16                 COUNCIL MEMBER FIDLER:  Madam

17  Chairperson, I would ask if we can get some kind of

18  official correspondence from the policy makers at

19  the Port Authority.  Perhaps they can explain why in

20  light of the testimony of their Chief Engineer that

21  as far as he is concerned there is no difference

22  between being subject to the MOU and to State

23  Legislation that would subject the Port Authority to

24  the New York City Buildings Code, and the

25  jurisdiction of the New York City's Buildings

48

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Department.  Why the Port Authority is resistant to

3  it.  I would love to hear the answer.

4                 MR. LOMBARDI:  Those issues, I am

5  sure, Councilman, would apply also to other entities

6  that do not fall, from a legal point of view, like

7  the federal government.  I even had issues with the

8  federal government when they were doing work on Port

9  Authority facilities.

10                 COUNCIL MEMBER FIDLER:  I have issues

11  with the federal government too.

12                 MR. LOMBARDI:  No, but I am just

13  letting you know that there are other entities, and

14  what you are asking is of one entity and that is the

15  Port Authority.

16                 COUNCIL MEMBER FIDLER:  An entity

17  that is created by the State of New York and the

18  State of New Jersey, and which has massive real

19  estate holdings in the City of New York.

20                 MR. LOMBARDI:  Correct, and I am here

21  to let you know that as a professional engineer, I

22  am following the dictates of the MOU as if they were

23  law, Sir, that is what I am here for.

24                 CHAIRPERSON PROVENZANO:  Councilman

25  Fidler, we will discuss that more.  Not being an

49

1  COMMITTEE ON HOUSING AND BUILDINGS

2  attorney, I am not totally sure what the issue, I

3  would imagine that MOU is a legal, binding contract,

4  but we will discuss it.

5                 Do we have any other questions?  Mr.

6  Lombardi, thank you very much for coming.

7                 MR. LOMBARDI:  Thank you very much,

8  and thank you for your attention.

9                 CHAIRPERSON PROVENZANO:  We have

10  Timothy Day and Dr. James Fisher from the Steel

11  Joist Institute.  Dr. Fisher, I think you are the

12  spokesperson.

13                 DR. FISHER:  Thank you, Ma'am.

14  Another engineer in the hot seat here.  We do want

15  to thank you for allowing us to take this time to

16  discuss the issue of 126- A, relative to the ban of

17  the open web steel joist.  My name is Dr. James

18  Fisher.  I am the consulting engineer to the Steel

19  Joist Institute, as well as a practicing engineer,

20  and also Chairman of American Institute of Steel

21  Construction Specification Committee, which writes

22  the safety requirements for steel in the United

23  States.

24                 I would like to say a few words about

25  the Steel Joist Institute as recorded in the SJI's

50

1  COMMITTEE ON HOUSING AND BUILDINGS

2  earlier testimony on February 24th.  The SJI is the

3  governing body for manufacturer of steel joist,

4  which are defined in the construction industry as

5  open web joists.  These materials support directly

6  roof and floor deck and loads.  The SJI is a not-

7  for- profit organization comprised of 18 members,

8  companies, which operate 39 manufacturing facilities

9  throughout the United States, Canada, and Mexico.

10  The members of SJI produce 98 percent of steel joist

11  used in this country.  The SJI is also a member of

12  the American National Standards Institute, ANSI, and

13  as such are responsible for the development of the

14  ANSI standards as they relate to steel joists and

15  joist girders.

16                 In reviewing the latest proposal for

17  Intro. 126- A, the SJI finds no changes relative to

18  Sections 18 and 25 as previously stated.  The

19  position of SJI has not been altered from that

20  previously stated in February of this year.  In

21  spite of our request, the Department of Buildings

22  has failed to supply any evidence to support its

23  recommendation for the controlled use of open web

24  steel joists.  The Department of Buildings, as

25  stated in their letter of April 2, which is attached

51

1  COMMITTEE ON HOUSING AND BUILDINGS

2  to the handout we provided, continues to follow,

3   "studies being conducted by the National Institute

4  of Standards and Technology, NIST, and will rely on

5  the result, reports, and analysis by NIST when it

6  recommends RS 10- 7."  Neither NIST nor Department

7  of Buildings have supplied any evidence in reports

8  or analysis in support of its proposal.  For the

9  Department of Buildings to continually press for

10  imposing a ban prior to any documentation to support

11  such action, in my opinion, is unscientific and just

12  not right.

13                 The Department of Buildings is

14  placing the cart before the horse.  The open web

15  trusses utilized in the World Trade Center were not

16  in accordance with the then existing SJI

17  specifications and load tables, and they remain not

18  in accordance with current specifications.  These

19  members were not open web steel joists, but rather

20  special trusses.

21                 Regarding the investigative reports,

22  the Institute still has been not given the

23  opportunity to examine any evidence leading to

24  current recommendations.  The Institute continues to

25  be denied the opportunity to participate in the

52

1  COMMITTEE ON HOUSING AND BUILDINGS

2  process, all of which would seem to be a violation

3  of fundamental due process, when this Council is

4  considering a ban on the use of steel joists

5  industry products.  This treatment of the steel

6  joist industry in this entire investigation

7  continues to signal the industry being a victim

8  without any necessary facts to support such a

9  proposal.

10                 It should be noted that in the

11  original recommendations proposed by the World Trade

12  Center Building Code Task Force in February of 2003,

13  any ban on steel joists was to be considered on a

14   "temporary" basis pending further investigation.

15  However, as is witnessed in the review of the

16  current recommendations by DOB, the word "temporary"

17  has been omitted without factual support.

18                 We strongly contend that enactment of

19  such a proposal, recommendation banning the use of

20  steel joists prior to definite findings, in support

21  of such a recommendation, is arbitrary and

22  capricious restrain of trade.  The Institute asks

23  that any such action be deferred until such time as

24  definite results, if any, become available from

25  NIST.

53

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 Thank you for your time, I would be

3  happy to answer any questions that I can.

4                 CHAIRPERSON PROVENZANO:  Thank you.

5  Councilman Fidler.

6                 COUNCIL MEMBER FIDLER:  Sorry, if

7  this appears to be pick on an engineer day.

8                 CHAIRPERSON PROVENZANO:  It must be

9  pick on engineer's day.

10                 COUNCIL MEMBER FIDLER:  I should

11  start off by saying I am pleased that you shifted

12  the villain from the Fire Department that our

13  firefighters to the Department of Buildings, since

14  Mr. Hackworth's testimony.  I am going to read from

15  Commissioner Lancaster's testimony today, and ask

16  you to respond.

17                 And this is, her testimony is derived

18  from the Structural Strength Working Group of the

19  WTC Task Force.  "A major concern of the Structural

20  Strength Group was the ability of fireproofing to

21  work on open web steel joists, the type used in the

22  World Trade Center Towers.  Due to their

23  lightweight, such materials already have lower

24  resistance to fire.  Furthermore, since their

25  decreased weight coincides with decreased mass, the

54

1  COMMITTEE ON HOUSING AND BUILDINGS

2  surface area to which fireproofing is applied on

3  these joists diminishes, further limiting their fire

4  resistance."

5                 Is that a total fabrication?

6                 DR. FISHER:  No, Sir, it is not.

7  There is a difference in structural members

8  depending on mass and size of materials.  In order

9  to qualify for a given fire rating each type of

10  assembly, be it joists or be it steel beams or any

11  other product is subjected to fire tests by UL.

12                 In the case of steel joists,

13  different fireproofing amounts must be applied than

14  some other material.  Every system has to achieve a

15  certain hourly rating to meet the Building Code,

16  whether it is one- hour, two- hour, three- hour.

17  And in the case of the research that SJI has done,

18  certain things have to be done in order to achieve

19  that rating.  And that is one of our points, the

20  steel trusses that were in the World Trade Center

21  were not the same as what we produce with the steel

22  joist.  I do not know the fire rating for those

23  trusses.

24                 But technically, yes, you are correct

25  that there is a difference.  It does not make it

55

1  COMMITTEE ON HOUSING AND BUILDINGS

2  bad, however.

3                 COUNCIL MEMBER FIDLER:  Well I do not

4  know, it would seem to me that what I just read to

5  you would sound pretty bad.  I mean I am not an

6  engineer, and you lost me with some of that stuff.

7                 But what is it, factually, about what

8  the Commissioner testified to today that is bad,

9  sounds bad, that you are saying is inaccurate, I am

10  losing it?

11                 DR. FISHER:  If you took systems

12  side- by- side, one being a steel beam, and one

13  being an open web steel joist and applied the same

14  amount of fireproofing to them, they would behave

15  differently.  And that is why when products are

16  subjected to the fire tests by UL, different amounts

17  of fireproofing have to be applied.

18                 On the lighter members, more

19  fireproofing may have to be applied to achieve the

20  same hourly rating.  The Codes require a certain

21  hourly rating.  Steel joists have been subjected to

22  those tests, they satisfied the requirements of the

23  Building Code and I think the concern here with the

24  World Trade Center was, does the fireproofing come

25  off under the impact of an airplane.

56

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER FIDLER:  Well, I think

3  the testimony also said, and if I heard you

4  correctly, you are saying that more fireproofing is

5  required on the open web steel joist.  And the

6  testimony is that because of their decreased mass,

7  there is decreased surface area on which to apply

8  it.  So that would seem to be a big red flag to me,

9  it needs more, but you cannot apply more, you can

10  apply less.  Doesn't that strike you, you know, as a

11  problem?

12                 DR. FISHER:  The sound of that does

13  strike me as a problem.  But they cannot pass, steel

14  joists cannot pass the UL requirements unless a

15  proper amount is applied.  So even maybe a smaller

16  member, additional fireproofing has to be built up

17  and to achieve the hour rating.

18                 COUNCIL MEMBER FIDLER:  So why, Sir,

19  would you think that the Department of Buildings is

20  so insistent upon this?

21                 DR. FISHER:  I really do not know,

22  and what also bothers me is the fact that there is a

23  ban on open web steel joists.

24                 Now sprayed on fireproofing is only

25  one way to fireproof a structural member.  There are

57

1  COMMITTEE ON HOUSING AND BUILDINGS

2  other ways, fire- rated ceilings, gypsum (phonetic)

3  board.  We are banning a product based on sprayed on

4  fireproofing, when there are other methods of

5  achieving the hourly rating as well that have

6  nothing to do with sprayed on fireproofing.  I think

7  the problem is the question on the sprayed on

8  fireproofing, not the steel joist.

9                 COUNCIL MEMBER FIDLER:  And would you

10  know why the New York City Fire Department is so

11  adamantly against the open web steel joist?

12                 DR. FISHER:  No, I do not.

13                 COUNCIL MEMBER FIDLER:  So, you know,

14  we sit here, I mean, quite honestly I doubt anyone

15  of us has the personal expertise to make a judgement

16  about open web steel joists, which frankly, was a

17  term I never heard before the last hearing.  And you

18  know our firefighters and the Department of

19  Buildings are telling us this is a safety provision

20  that ought to be enacted, because these are more

21  dangerous.

22                 I mean, how could you expect me, as a

23  responsible elected official, not to accept that?

24                 DR. FISHER:  I cannot tell you what

25  to accept and what not to accept.  I have to go with

58

1  COMMITTEE ON HOUSING AND BUILDINGS

2  research data and information that is provided to us

3  engineers when we specify a product.  And we will

4  not specify a product unless it is guaranteed by

5  research data and testing to be a correct product.

6  So to me it may be an emotional issue, but it is not

7  a scientific issue.

8                 COUNCIL MEMBER FIDLER:  Well could

9  you, at least, acknowledge that apparently sprayed

10  on fireproofing on open web steel joists is

11  inadequate?

12                 DR. FISHER:  I do not know.  It may

13  be inadequate for not only steel joists, but for

14  other members that have been subjected to a massive

15  impact load, that knocks it off.  And until the

16  research is done, that is why I think it is wrong -

17   -

18                 COUNCIL MEMBER FIDLER:  I do not

19  think that anyone, in all due respect, Sir, I do not

20  think that anyone is trying to lay the collapse of

21  the World Trade Center, you know, squarely on open

22  web steel joists.  I mean, you know, I have a

23  different perspective as to who I would blame, and

24  it is certainly none of the people that built the

25  Trade Center.

59

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 It just, you know, I am in a little

3  quandary here because I would certainly want to air

4  on the side of caution.  And I cannot think of any

5  reason in the world why the Fire Department or the

6  Department of Buildings would pick on open web steel

7  joists without good reason.  And we did have

8  testimony at the last hearing, and we have had

9  testimony from the Commissioner here, and yet, you

10  use the term arbitrary and capricious, and no

11  evidence. And yet, I think you are being presented

12  with logical evidence, and it is certainly, you

13  know, any court reviewing it would not find a

14  decision to ban open web steel joists to be

15  arbitrary and capricious, which is a legal term I am

16  familiar with.

17                 So I do not really get it.  And

18  unless you can show me that the Department of

19  Buildings is just flat out wrong, or why, I see no

20  reason for the Department of Buildings to change

21  their recommendation on this legislation.

22                 DR. FISHER:  The problem that I have

23  is that the Department of Buildings has not

24  presented that argument.  They have presented only

25  the argument that NIST is doing studies, and that

60

1  COMMITTEE ON HOUSING AND BUILDINGS

2  will show what is right and what is wrong.

3                 In contacting my friends at NIST,

4  they are studying the progressive collapse issue,

5  which is an extremely important issue in

6  construction, and that is a major issue.  But

7  nothing has been presented to us in the form of new

8  research, new information that says that open web

9  steel joists with sprayed on fireproofing is a

10  dangerous product.

11                 COUNCIL MEMBER FIDLER:  So is the

12  NIST study on progressive study, or as Council

13  Member Oddo whispers pancaking, does that involve

14  open web steel joists?

15                 DR. FISHER:  I would assume it would,

16  yes.

17                 COUNCIL MEMBER FIDLER:  All right, it

18  sounds like another pretty good reason to be

19  concerned, don't you think?

20                 DR. FISHER:  But maybe a reason to be

21  concerned with all construction.  It is a reason to

22  be concerned with all construction.  We are now

23  having to design all buildings for the federal

24  government with columns removed.  You are going to

25  have to be able to take out a column, and the

61

1  COMMITTEE ON HOUSING AND BUILDINGS

2  building must stand.  And that is a very good rule.

3                 We engineers do realize though, that

4  if you take out, you know, a quarter of the columns

5  in a building, it is not going to stand, regardless

6  of what laws we pass.

7                 COUNCIL MEMBER FIDLER:  Well I think

8  the fact that so many different people with

9  expertise have their suspicious eye on open web

10  steel joists is a reason for concern, on my part.

11                 DR. FISHER:  We would just like to

12  know who those people are?

13                 COUNCIL MEMBER FIDLER:  Well

14  apparently, NIST, they are studying the open,

15  progressive collapse.  The Department of Buildings,

16  the Structural Safety Working Group of the WTC Task

17  Force, and the Fire Department, would be four.

18                 DR. FISHER:  It would be nice to have

19  them tell us they are doing that, but they are not

20  telling us that.

21                 CHAIRPERSON PROVENZANO:  Council

22  Member Jackson.

23                 COUNCIL MEMBER JACKSON:  Thank you.

24  Good afternoon. So, when you started to give your

25  presentation, I said, well they presented at the

62

1  COMMITTEE ON HOUSING AND BUILDINGS

2  last hearing, you were here.  And so is there

3  anything new from what you said last time to this

4  time, or is it just the same stuff?

5                 DR. FISHER:  It is basically the same

6  stuff, Sir, except the word "temporary" has been

7  removed from the wording.

8                 COUNCIL MEMBER JACKSON:  Because in

9  listening to the Commissioner's testimony, in her

10  testimony it has "temporary."

11                 DR. FISHER:  She said temporary, but

12  when we look at the documents --

13                 COUNCIL MEMBER JACKSON:  You mean the

14  proposed legislation.

15                 DR. FISHER: - -  in the proposed

16  legislation, the word "temporary" is not there.

17                 COUNCIL MEMBER JACKSON:  So it was

18  there two months ago, but it is not there now?

19                 DR. FISHER:  That is my

20  understanding, yes, Sir.

21                 COUNCIL MEMBER JACKSON:  Has your

22  Institute or the group that you represent, have you

23  had meetings with the Commissioner or

24  representatives from the Department of Buildings and

25  ask specific information in order to support, you

63

1  COMMITTEE ON HOUSING AND BUILDINGS

2  know, their recommendation for a "temporary" ban.

3                 DR. FISHER:  Yes, Sir, we had one

4  meeting a month or so ago, and we asked for

5  information, we asked to be consulted. And the

6  response was in the letter that was attached, that

7  really they are waiting for a positive response

8  after the NIST studies.

9                 COUNCIL MEMBER JACKSON:  And what

10  about the World Trade Center Groups, have you met

11  with them?

12                 DR. FISHER:  No, I know several other

13  people on the Committee, and we cannot find any

14  documentation that points to a problem with open web

15  steel joists.

16                 COUNCIL MEMBER JACKSON:  But when you

17  said you have not met with them, have you requested

18  to meet with them, do you think it is beneficial to

19  meet with them to discuss this situation and to

20  inform them what your, you know, technical, as an

21  engineer findings are?

22                 DR. FISHER:  Tim has pointed out to

23  me, and I did not introduce Tim, but I think Madam

24  Chairwoman did, Tim Day.

25                 COUNCIL MEMBER JACKSON:  Who is Tim,

64

1  COMMITTEE ON HOUSING AND BUILDINGS

2  again?

3                 MR. DAY:  Vice President of the Steel

4  Joist Institute.

5                 COUNCIL MEMBER JACKSON:  Okay, you

6  are the president, okay.

7                 DR. FISHER:  Our representation with

8  the World Trade Center Commission was done through

9  the American Institute of Steel Construction, they

10  represented SJI during those meetings.  And I am not

11  privy to what went on.

12                 COUNCIL MEMBER JACKSON:  Okay, but

13  you had a representative there.

14                 DR. FISHER:  Yes, Sir.

15                 COUNCIL MEMBER JACKSON:  And I tend

16  to go with what my colleague, Lew Fidler, said, you

17  know, I am a legislator and I am not an engineer.

18  We are listening to the information, the

19  recommendations of the Department of Buildings and

20  others.

21                 What type of position do you want us

22  to take as the legislative members that have to vote

23  on this, what is your recommendation?

24                 DR. FISHER:  My recommendation is to

25  base your vote on sound, scientific, and engineering

65

1  COMMITTEE ON HOUSING AND BUILDINGS

2  principles, of which none have been presented to us,

3  or that I know of any, unless NIST comes up with

4  something.  And if they do, then I would fully

5  support what NIST eventually finds.

6                 COUNCIL MEMBER JACKSON:  And do you

7  know, have any idea when that recommendation is

8  coming down?

9                 DR. FISHER:  No, Sir, I do not.

10                 COUNCIL MEMBER JACKSON:  A year, two

11  years, six months?

12                 DR. FISHER:  Yes, we have not been

13  told, I would hope it is soon.  I would hope it is

14  within a year, but I have no control over them,

15  certainly.

16                 COUNCIL MEMBER JACKSON:  Now I

17  believe you had given testimony earlier on that the

18  buildings in New York City there are very few that

19  are made of the materials that you are referring to.

20  Is that correct?

21                 DR. FISHER:  Mr. Hackworth may have

22  mentioned that, I did not do that testimony.  But

23  there are not that many buildings with open web

24  steel joists above the 75- foot level.  However, we

25  have many manufacturers that are coming out with a

66

1  COMMITTEE ON HOUSING AND BUILDINGS

2  brand new product called composite open web steel

3  joists, but that is the market that they are aiming

4  at.

5                 COUNCIL MEMBER JACKSON:  So would

6  this ban, or temporary ban, have an impact on that

7  future product that you are expecting to come out

8  with?

9                 DR. FISHER:  Very definitely.

10                 COUNCIL MEMBER JACKSON:  Okay, thank

11  you.

12                 CHAIRPERSON PROVENZANO:  Just to

13  clarify the record, the word "temporary" was not in

14  the original legislation, it is not in this, and it

15  was not in the original.

16                 You also raised a good point about

17  them testifying, because we only use, you know, let

18  you testify once.  But since it was an issue, we let

19  the Commissioner kind of emphasize her position, and

20  we allowed the rebuttal.

21                 DR. FISHER:  I would like to make one

22  more point if I could?  And that is, this business

23  of the banning of the joist rather than simply

24  saying banning of open web joists with sprayed on

25  fireproofing.  Do you understand the difference?

67

1  COMMITTEE ON HOUSING AND BUILDINGS

2  That there are fire ratings other than spray on that

3  could be used on these products, and there is no

4  evidence whatsoever that I know of about an issue

5  with the other types of fire rated systems, only

6  spray on here.  And the Department of Buildings

7  answered that question as well.

8                 CHAIRPERSON PROVENZANO:  Thank you

9  very much, I do not think we have any more

10  questions.  Thank you.

11                 DR. FISHER:  Thank you.

12                 CHAIRPERSON PROVENZANO:  Peter

13  Malkin.

14                 MR. MALKIN:  Madam Chairwoman and

15  members of the Committee, thank you very much for

16  the opportunity to make a presentation to you.  I am

17  here representing ownership of approximately 11

18  million square feet of Class E office buildings,

19  pre- war, Pre- World War II construction, masonry

20  steel, concrete, and also as a Governor of the Real

21  Estate Board of New York.

22                 My presentation is to express the

23  hope - -

24                 CHAIRPERSON PROVENZANO:  Could you

25  pull the mic maybe a little more towards you?

68

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 MR. MALKIN:  Can you hear me now?

3                 CHAIRPERSON PROVENZANO:  Yes, that is

4  better.

5                 MR. MALKIN:  Okay.  My presentation

6  is the expression of the hope that this Committee

7  will modify the pending legislation to draw a

8  distinction between Pre- World War II steel,

9  concrete, and masonry construction, and post- World

10  War II skin buildings with central air conditioning,

11  and without the same fire rating.

12                 We have owned buildings that are

13  subject to this law for 60 years.  We have never had

14  a fire or other impact incident, which has resulted

15  in multi- floor or major disaster.  I call your

16  attention specifically to the B- 25 Bomber, which

17  flew into the Empire State Building, which is one of

18  the buildings, which I am involved in owning.  Where

19  both the impact and the fire that resulted from the

20  fuel was restricted to the floors actually hit,

21  where there was no structural damage or impairment

22  of the building, where the fire did not spread.  And

23  the reason is that the construction of the Empire

24  State Building and other Pre- World War II buildings

25  is very different from the construction of the World

69

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Trade Center and post- World War II buildings.

3                 The Pre- World War II steel, masonry,

4  and concrete buildings are much heavier in mass and

5  weight, have much stronger columns support, do not

6  have exterior curtain walls through which fire and

7  smoke can circulate, but rather have

8  compartmentalized areas in the buildings, which are

9  concrete and fire rated, or concrete block.

10                 The result also, is that there is no

11  central air conditioning, fan- forced air, air

12  conditioning in these prior buildings.  And it is

13  through the central forced air systems that the

14  smoke and fire, and the pollution that impacts

15  people circulates.  And these do not exist in the

16  Pre- World War II buildings.

17                 Also, the emergency stairs in the

18  Pre- World War II buildings generally are not

19  interlocking, and they are at separate places in the

20  building.  So that you do not have the situation

21  where an impact or a fire, which effects one

22  emergency stairway, may effect both.  They are

23  different locations within the building separated by

24  considerable distance, and therefore, they are not

25  anywhere as near as likely to directly impact it.

70

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 There is no evidence of adequate,

3  statistical presentation presented to the Council

4  with regard to causes of fires and outcomes of

5  fires, or impacts in Pre- World War II concrete,

6  masonry, and steel buildings.  It is just a

7  completely different kind of structure design and

8  strength.  And we believe that there should be a

9  significant difference recognized in the

10  legislation.

11                 To give you an example of what is

12  involved in the buildings which I am involved in the

13  ownership, the estimate for the cost of putting in

14  the systems that have been required, or would be

15  required, is over $125 million.  In the Empire State

16  Building, it would be over $25 million alone.  And

17  yet, this is a building that sustained a bomber,

18  loaded bomber crash without any damage to the

19  structure, the building itself, or to any portion of

20  the building not directly actually hit by the plane.

21                 We also urge that a recognition be

22  given in multi tenant buildings generally, also, the

23  Pre- World War II buildings where you have multi-

24  tenants on a single floor.  The Commissioner spoke

25  about multi- tenant buildings where a tenant

71

1  COMMITTEE ON HOUSING AND BUILDINGS

2  occupies three full floors.  And you could put a

3  system in on those three full floors.  But in the

4  Empire State Building, in two million and a quarter

5  square feet we have 900 tenants, approximately.  We

6  have five, ten, twenty tenants on a floor.  And to

7  install a sprinkler system without taking into

8  account the expiration of these leases would create

9  tremendous hardship for the tenants on those floors.

10                 It is one thing in new construction,

11  it is one thing in construction where there are full

12  floor tenants where their leases expire and you can

13  do the work, if they have not renewed. But where

14  there are multiple tenants on a single floor, with

15  different lease expirations, it becomes a much more

16  difficult time to coordinate without terribly

17  upsetting the tenants in doing business, and also,

18  taking into account the fact that most of these

19  tenants tend to renew.  So simply saying that on the

20  expiration of a single tenant lease, on a single

21  floor, where there are multiple tenants is a time to

22  install sprinklers within the 15- year limit, we do

23  not think is reasonable.

24                 So basically, what I am saying is, I

25  think that there should be a separate set of rules

72

1  COMMITTEE ON HOUSING AND BUILDINGS

2  for the Pre- World War II construction, concrete,

3  masonry, and fireproof steel construction as

4  compared to Post- World War II, that there be a

5  waiver for such buildings which meet the

6  requirements.  That where the system is required to

7  be installed in such buildings that there be some

8  kind of cost mitigation in the form of a real estate

9  tax credit or deduction to cover this cost, which is

10  not recoverable from tenants or in rent.  And that

11  the 15- year limitation not apply strictly to those

12  buildings that have multiple tenants on a single

13  floor with different lease expirations.

14                 Thank you very much.

15                 CHAIRPERSON PROVENZANO:  Thank you.

16  Council Member Jackson.

17                 COUNCIL MEMBER JACKSON:  Thank you.

18                 CHAIRPERSON PROVENZANO:  We are glad

19  to have you here.

20                 COUNCIL MEMBER JACKSON;  Is your

21  organization, are you representing yourself, or do

22  you represent a group of an organization?

23                 MR. MALKIN: I am representing myself,

24  as an owner of these buildings.  I am also here as a

25  Governor of the Real Estate Board of New York, which

73

1  COMMITTEE ON HOUSING AND BUILDINGS

2  is concerned about this same issue for this type of

3  building.

4                 COUNCIL MEMBER JACKSON:  Has your

5  organization had meetings with the Department of

6  Buildings and express your concern about this

7  matter, and what, if anything, has the Department of

8  Buildings opinion or recommendation, has been as a

9  result of what you had to say?

10                 MR. MALKIN:  My understanding is that

11  these issues have been raised by the Real Estate

12  Board of New York with the Department of Buildings

13  reflecting not only the buildings I am involved in

14  ownership of, but of all buildings of similar

15  construction.  And we are awaiting a modification,

16  hopefully, in the recommendation.

17                 COUNCIL MEMBER JACKSON:  Now you

18  indicated that, what was it, a B- 52 Bomber?

19                 MR. MALKIN:  B- 25.

20                 COUNCIL MEMBER JACKSON:  B- 25, what

21  year was that, Sir?

22                 MR. MALKIN:  This is 1945.

23                 COUNCIL MEMBER JACKSON:  And the

24  Empire State Building was built when, in 1935?

25                 MR. MALKIN:  In 1931.

74

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER JACKSON:  In 1931.

3  What floor was the impact on?

4                 MR. MALKIN:   I think it was the 45th

5  floor, 45th and 46th floor that were actually hit.

6  I am not positive that is the right floor or not,

7  but approximately that.  And the plane flew right

8  into the building, and the fuel exploded, and we had

9  something, obviously, smaller than a 747, but a

10  similar incident with similar fuel.  And the

11  construction of that building, the steel did not

12  melt, the steel was fireproof, the

13  compartmentalization floors, with their separate

14  concrete floors separating without curtain walls

15  through which fire and smoke could travel, the fire

16  was contained.  And while there were some people who

17  were actually sitting by the window in the Catholic

18  Charities Office that got hit, who were killed, it

19  did not spread outside the spaces directly impacted.

20                 COUNCIL MEMBER JACKSON:  Thank you.

21                 CHAIRPERSON PROVENZANO:  Thank you

22  very much.

23                 MR. MALKIN:  Thank you.

24                 CHAIRPERSON PROVENZANO:  We have

25  three more witnesses, I am going to call you all up,

75

1  COMMITTEE ON HOUSING AND BUILDINGS

2  on this topic, I thought you all understood that.

3  Timothy Collins, Captain Harry Ackley, and Karen

4  Levey- Lynch.  Warren, do not get too close to those

5  guys, they are on the opposite side of the issue.

6  If you guys could move over a little bit.  Timothy

7  Collins, do you want to go first?

8                 MR. COLLINS:  Thank you, City Council

9  members for allowing us to come here and discuss our

10  interest in the changes for Intro. 126, specifically

11  the egress path marking system and exit lighting.  I

12  am a Fire Protection Engineer of the City of New

13  York working for an independent consulting firm.  I

14  do not represent any product or Fire Protection

15  entity, or building owner or manager.

16                 I am here to really provide my

17  professional opinion on this Intro. And what it

18  represents.  The change proposed by the City Council

19  is based upon language from the World Trade Center

20  Task Force from February 2003.  Item No. 6 of that

21  recommendation recommends "to improve marking of

22  egress path doors and stairs. However, it limits the

23  means by which these marking system are accomplished

24  by simply photoluminescence, this has been discussed

25  prior and including Ms. Lancaster.  It seems to

76

1  COMMITTEE ON HOUSING AND BUILDINGS

2  limit it just to photoluminescence type of materials

3  for egress paths and doors. Although, these

4  materials are useful for this application, I believe

5  they should still remain in the proposed change, it

6  is not the only recognized, and I mean recognized in

7  the industry as the only reliable egress path

8  marking technology.

9                 NFPA 101 and UL 1994 have two other

10  technologies, which are power operated.  I

11  understand that there was some concern about the

12  power operated, but I think they are actually very

13  reliable and should be included.  The other two are

14  simply defined at electroluminescence and self-

15  luminous type egress marking systems.  These two

16  other technologies have been applied and proven to

17  be successful and reliable for providing safe

18  marking and a multitude building occupancies for

19  egress proximity.  And I believe limiting the New

20  York City building to only one egress marking

21  technology, the photoluminescence, would be a true

22  and unjustified mistake.

23                 As an engineer, I do provide design

24  and consulting engineering to building and architect

25  and owners, and this would limit my ability on what

77

1  COMMITTEE ON HOUSING AND BUILDINGS

2  I could specify and design, simply as that.  I

3  believe we should go in the direction of including

4  in our code the option for building owners,

5  managers, architects and fire protection engineers,

6  like myself, to have the option to specify any or

7  all of these three:  Photoluminescence,

8  electroluminescence, or self- luminous.  We should

9  not limit the code to one of these technologies,

10  which by limiting it to one technology, and I

11  understand Ms. Lancaster is open to other

12  technologies, but if you are writing the code, as we

13  know, if you say photoluminescence, if you want

14  something else, you would have to go for a variance

15  or request for reconsideration to install something

16  else, unless somehow the Commissioner sees fit to

17  avoid that process and maybe just say luminescent

18  lighting.

19                 As a consulting engineer, maybe you

20  know they are actually changing the code, or looking

21  at changing the code in the City.  And the way the

22  codes and engineers work these days is on

23  performance- based.  We do not say photoluminescence

24  or even luminescent, we provide a specification

25  based on a performance.  It must perform and be

78

1  COMMITTEE ON HOUSING AND BUILDINGS

2  reliable for eight hours, one hour, two hours,

3  whatever, it is a performance base, and we do not

4  specify a type of product  It is a performance- base

5  code.

6                 So maybe not even going through

7  specifying a type of luminescent, just a

8  performance, and I would be willing to work with the

9  Committee and the Code Committee's to write that

10  language in the Code, if need be.

11                 In fact, in retrospect to the same

12  Task Force Item No. 6, which mentions this

13  photoluminescence in the same sentence, it proposes

14  to eliminate photoluminescence as it signs and make

15  them powered.  So why are we providing non- powered

16  egress marking, and telling our code in the same

17  sentence to eliminate the photoluminescence exit

18  sign and go to powered.  It seems like we are behind

19  the technology in the marking system, and bringing

20  our exit signs up to powered.  We are making our

21  marking systems non powered, and our exit signs

22  powered.  Building, since 1969, have been allowed to

23  have photophosphorescent (sic), I think is the word,

24  phosphorescent exit signs, non- lit.  Well that Task

25  Force is saying get rid of this phosphorescent-

79

1  COMMITTEE ON HOUSING AND BUILDINGS

2  glow- in- the- dark, we want lit powered exit signs.

3    But they are still allowing photoluminescence

4  half- marking.  Why not allow powered path marking,

5  why limit it to one technology?  That is my concern,

6  as an engineer I would be limited and so would be

7  the building's owners, managers, and the safety of

8  the people who occupy them.

9                 It is my belief that if we put this

10  in the code as photoluminescence, we will, one day,

11  be changing that, or being second- guessed on why we

12  only limited to photoluminescence.  Why would we

13  want to be second- guessed on providing just

14  photoluminescence now, when at the same time we are

15  getting rid of photophosphorescent exit signs?  I

16  think it would be a good idea to even require

17  electrical type powered systems in new buildings,

18  and maybe for retrofit, allow the photoluminescence

19  type for retrofit applications.

20                 Duly noted that the photoluminescence

21  technology definition in NFPA states that its light

22  will last for a length of time, as it was duly noted

23  before, and it is only as reliable as the exposed

24  light around it, the natural ambient light around

25  it. How long and how bright the photoluminescence

80

1  COMMITTEE ON HOUSING AND BUILDINGS

2  light will provide a safe level of path marking, of

3  course, depends on that surrounding light.

4                 In support of my testimony for

5  proposing to include the other two technologies that

6  are recognized already by NFPA and UL, these are

7  retro- luminescent, self- luminous egress, I offer

8  the following for how these two technologies perform

9  and would benefit our code and the safety of the

10  City building occupants for reliable egress.  They

11  are not dependent on ambient light, they are

12  recognized by UL and NFPA.  They provide high

13  visibility in smoke conditions for its lighted

14  duration, they do not diminish their light as time

15  goes on.  They show reliability of constant bright

16  lighting through reliable power sources, battery

17  backup, they can be connected to an emergency

18  generator.  They could be provided with U- redundant

19  battery backup, as well as the generator.  They

20  could be installed in a Class A, and this is an

21  engineering electrical term, Class A configuration,

22  where if part of the electronics to this lighted

23  system fails, there is a Class A redundant circuit

24  that will keep it lit.  If you lose one- half of the

25  circuit, there is a Class A or a redundant circuit

81

1  COMMITTEE ON HOUSING AND BUILDINGS

2  that can be installed to maintain its light

3  throughout the duration.  They can be activated upon

4  a fire alarm condition.  They can report a trouble

5  condition, trouble, if it goes into trouble, it

6  could tell the fire alarm, which can tell central

7  station facility that there is a trouble with this

8  emergency lighting.  It has its own self diagnostic

9  test, you can test it daily, hourly, you can do its

10  own self- test.  It is very low- power draw, and it

11  is easy installation for new, and retrofit

12  applications is very broad.  It has long life with

13  little maintenance costs.

14                 And presently, legislation is in

15  effect in California, Rhode Island, and being

16  considered in several other states.  And I just read

17  a document from the New Haven Public School that it

18  has been mandated to be put in all public schools.

19  And from what I heard from the Port Authority they

20  are going to and are putting it in Trade Center 7

21  and the remainder of the sites when they go up.

22                 Information, we should not expose our

23  code to future second- guessing by exclusion of the

24  power type, egress path marking technologies.  They

25  are highly reliable, offer continuous bright lighted

82

1  COMMITTEE ON HOUSING AND BUILDINGS

2  pathways that are recognized by national code and

3  standards, and should be seriously considered for

4  inclusion in the Recommendation No. 6, Task Force

5  Recommendation No. 6 under Intro. 126 incorporated

6  into the Building Code of the City of New York.

7                 I know in comparison, if I were to go

8  to buy, lease, or rent a car, I would not want to be

9  told that I can only get a compact car, if that car

10  does not meet the performances that I am looking

11  for.

12                 Thank you very much.  I am available

13  for questions.

14                 CHAIRPERSON PROVENZANO:   Mr. Ackley,

15  I just ask you to try to be brief because we are way

16  over, we still have two pieces to go through, and

17  try not to be repetitive.

18                 MR. ACKLEY:  Yes, Ma'am, I will be

19  very brief.

20                 CHAIRPERSON PROVENZANO:  Good.

21                 MR. ACKLEY:  Madam Chairwoman,

22  Committee, thank you very much for this opportunity

23  to address the electroluminescence paradigm change.

24  Electroluminescence is a paradigm change in the

25  science of fire safety, life safety, and building

83

1  COMMITTEE ON HOUSING AND BUILDINGS

2  construction.

3                 The fire science technology of

4  electroluminescence has opened the door to

5  significant new developments and expectations in

6  building evacuation and life safety systems.  A

7  powerful dimension into the future and the way in

8  which we ensure public safety is available, and when

9  I am talking public safety, I am also talking about

10  our emergency responders.  This new technology is an

11  extension of past lessons learned taking us into a

12  future in response to demand for greater resources

13  and availability of technology in the interest of

14  the safety and reliability of egress and occupancy

15  illumination.

16                 Electroluminescence is reliable.

17  Most of the time electroluminescence will go without

18  maintenance and it is reliable, 30 years without

19  maintenance.  I have been informed that it will go

20  up to 30,000 hours without a question, and now we

21  are beyond that in technology.

22                 Unsurpassed uniformity of

23  illumination, it is not sporadic, it is not spotty,

24  it is consistent and it is equal, and if you will

25  look at the diagram in front of me, you will see on

84

1  COMMITTEE ON HOUSING AND BUILDINGS

2  the floor what it will look like, and I will hold

3  that up for you in a second.

4                 It is compact, low profile, and its

5  ability to adjust to its avian condition is

6  outstanding and acceptable.

7                 It is brighter, it is ultra safe,

8  high visibility illumination, and we are going to

9  show you that shortly, with your permission.

10                 It exceeds the requirements of NFPA

11  101, the National Electric Code, OSHA, and all the

12  existing requirements.

13                 Energy consumption is excessively

14  low.  It consumes up to a half of a watt.

15                 It is durable, in many cases, when

16  electroluminescent panels are being used you can put

17  holes through them and they will still continue to

18  burn and operate.  It has no light bulbs to burn

19  out, and again, no maintenance to maintain that

20  system.

21                 It does not require external

22  illumination.  It does not require external

23  lamination to ensure its reliability and operation.

24                 And at this point, I would like just

25  to hold this up so you can see what we are talking

85

1  COMMITTEE ON HOUSING AND BUILDINGS

2  about and how a door would look in a total darkened

3  area under this type of system.  And my associate in

4  the back will hold up, with your permission, a

5  diagram.

6                 CHAIRPERSON PROVENZANO:  We really,

7  this,- -

8                 MR. ACKLEY:  Okay.

9                 CHAIRPERSON PROVENZANO: - -  we have

10  no demonstrations of this at this hearing, please.

11  Please just sum up so we can move on.

12                 MR. ACKLEY:  To ensure installation

13  flexibility and effectiveness, our basic in the

14  summary is to ask you, we are looking to you, the

15  public is looking to you, to establish a broad

16  parameter and allow us to use available

17  technologies, and not to limit those technologies in

18  the interest of public safety.

19                 Thank you.

20                 CHAIRPERSON PROVENZANO:  Thank you.

21  Karen.

22                 MS. LEVEY- LYNCH:  Hi, thank you for

23  the opportunity to address this Council, Madam

24  Chairperson.  I am Karen Levy- Lynch from

25  Johnsonite.  I am the Solutions Development

86

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Consultant for this region.  And I am here to speak

3  about photoluminescent markings.  We are a

4  manufacturer of this material.  We do a full system

5  of markings whether they are integrated into

6  flooring, signage, tape, or paint.  And I was

7  actually in touch with the New York City Building

8  Codes' Office, and with James Kellogg, and we were

9  discussing that in the last hearing there were some

10  issue regarding the cost of this system, as far as

11  whether it being viable, as far as cost, and also,

12  whether it is viable exposed to two- foot candles of

13  lighting, which is the Code within the New York

14  City, current Code within the New York City

15  requirement.  And so I am here to give testimony on

16  those issues.

17                 The photoluminescence material is

18  rechargeable indefinitely.  It does not wear out.

19  It is a fail- safe system that it operates from

20  borrowed light within the environment, and it does

21  not rely on any secondary source.  If there is a

22  blackout, this material will operate because it

23  naturally will emit illuminates that it will be, has

24  been charged from the borrowed light in the

25  environment.

87

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 I want to give you the idea that it

3  is affordable as far as the costs.  I have been

4  asked to evaluate a one stairwell like 16 steps, an

5  area of that size with perhaps some markings,

6  nosings, handrails, and signage, and I have been

7  able to come up with an idea that it would run in

8  the range of $550 to $650 for one floor.  So just to

9  give a sense of what this type of system might cost,

10  I think there was a lot of concern as far as the

11  cost effectiveness of the material.

12                 Also, we have been, we have had the

13  opportunity, we have been called upon to supply this

14  material in areas where there would only be two-

15  foot candles of light.  And the system does work, it

16  does charge with that amount of light, and it is,

17  you know, it is a fail- safe system.

18                 So, again, it is terrific that this

19  is being looked at as an option, and the system does

20  not rely on other outside sources for its energy, as

21  far as electricity or batteries, which in the past

22  have proven to not be reliable 100 percent of the

23  time. And you know, we have had failures within the

24  lit areas of egress.

25                 So that is what I wanted to testify

88

1  COMMITTEE ON HOUSING AND BUILDINGS

2  on today.

3                 CHAIRPERSON PROVENZANO:  Okay, thank

4  you.  Council Member Jackson.

5                 COUNCIL MEMBER JACKSON:   Karen, so

6  your group deals with photo?

7                 MS. LEVEY- LYNCH:  Photoluminescence,

8  yes, it is the technology that was being

9  recommended.

10                 COUNCIL MEMBER JACKSON:  Okay, now,

11  and the question for this young man here.  What is

12  your name?

13                 MR. COLLINS:  Tim Collins.

14                 COUNCIL MEMBER JACKSON:  Mr. Collins.

15                 MR. COLLINS:  Yes, Sir.

16                 COUNCIL MEMBER JACKSON:  Now, I think

17  you have indicated before in your opening statement

18  that you are not here representing any group?

19                 MR. COLLINS:  Correct.

20                 COUNCIL MEMBER JACKSON:  Were you

21  hired by any group as a consultant to come give

22  testimony?

23                 MR. COLLINS:  No, I was not hired by

24  any group, Sir.

25                 COUNCIL MEMBER JACKSON:  Okay.

89

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 MR. COLLINS:  Just that I was aware

3  of the Council meeting and felt that as an engineer

4  who designs these systems that I would not want

5  myself or the community to be limited to one type of

6  technology.  I support all three.

7                 COUNCIL MEMBER JACKSON:  I am sorry,

8  Sir, you are saying electroluminescence.

9                 MR. ACKLEY:  Electroluminescence,

10  correct.

11                 COUNCIL MEMBER JACKSON:  So in

12  essence, you are talking about, you are here

13  supporting electro-- Karen, you are here supporting

14  photo, and you are saying it should be any of the

15  options, as long as performance is the criteria.

16                 MR. COLLINS:  Correct.

17                 MS. LEVEY- LYNCH:  Correct.

18                 MR. ACKLEY:  Correct.

19                 COUNCIL MEMBER JACKSON:  Okay, all

20  right, thank you very much.

21                 CHAIRPERSON PROVENZANO:  Thank you

22  all very much. It has been very illuminating.  That

23  ends this conversation on 126 A.

24                 We now move to External Evacuation

25  Systems.  And we have Mr. Shimshoni.  If you are

90

1  COMMITTEE ON HOUSING AND BUILDINGS

2  off, you are on.

3                 MR. SHIMSHONI:  Okay.

4                 CHAIRPERSON PROVENZANO:  Okay.

5                 MR. SHIMSHONI:  Madam Chair and

6  members of the Council, thank you for calling and

7  convening these important hearings on the question

8  of External Evacuation Solutions for High Rise

9  Buildings.  My name is Dr. Yoni or Johnathan

10  Shimshoni.  I am the CEO of the Escape Rescue

11  Systems, a company that was established and

12  dedicated to meeting the challenge of high- rise

13  evacuation.

14                 In the short time at my disposal, I

15  would like to share with you some thoughts on why

16  this issue, which is not new, should and can be

17  dealt in more creative ways that could make

18  skyscrapers a lot safer and more attractive than

19  they are today.

20                 Why is this issue so important, and

21  why is it worth so much attention and time?  I would

22  like to start by showing maybe a 10- 15 second clip.

23    This is a short clip that really should explain

24  why this is worth this kind of attention and time.

25                 (Video shown).

91

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 Okay, experience has shown us, and

3  before that, I would like to say that this, Jose

4  Viragos (phonetic) was saved, and this courageous

5  fireman to the best of my knowledge, perished in the

6  tragic 9/11 later on.

7                 Experience has shown us that, in some

8  cases, for all the care in design and safety, people

9  get trapped in buildings, and sometimes they die.

10  Even in cases in which many people can get out of

11  buildings in such situations, many people of all

12  ages, abilities and disabilities, simply cannot make

13  it out, and so are discriminated against in the

14  worst possible way.

15                 Why are new approaches so important

16  to consider? Because trying to further push the

17  improvement other traditional solutions, such as

18  widening staircases, is simply not good enough and

19  not economically feasible, especially for existing

20  buildings, but not only for them.

21                 New York, as the urban capital of the

22  world, has the opportunity to take a real leadership

23  position in this critical area where much is being

24  done and much is being developed.  Indeed, two of

25  the primary organizations that define safety and

92

1  COMMITTEE ON HOUSING AND BUILDINGS

2  building codes, and standards, have already taken

3  important steps toward acknowledging the need for

4  external evacuation systems.  We believe that New

5  York should join this kind of lead.

6                 Why External Evacuation?

7                 High- rise buildings can be traps.

8  Their basic geometry is such that the surface area

9  for egress, that is the base of the building, is

10  very tiny relative to the height and huge number of

11  people in them.  Therefore, act of nature and acts

12  of people, both malicious acts and unintentional

13  acts, can have devastating effects on life and

14  property.

15                 The inadequacy of current solutions

16  is recognized by many important policy and

17  professional bodies, both in the US and elsewhere.

18  These include the World Trade Center Task Force, and

19  we were just dealing with some of their findings,

20  legislative initiatives in New York and Chicago,

21  policies pursued overseas, such by the Israel

22  Homeland Security Command and Fire Commission, the

23  Federal Emergency Management Agency (FEMA), NIST,

24  which we heard about just recently, and many other

25  organizations.

93

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 The International Standards

3  Organization, or ISO, has placed the improvement of

4  high- rise evacuation at the center of its agenda.

5  And in one of its recent publications ISO wrote,

6   "Should we actually design buildings to withstand a

7  severe impact, which may be a very low probability

8  of occurring?  Probably not. However, should we

9  design routes and methods of getting people out of

10  buildings, which experienced the catastrophic event?

11    Of course we should."

12                 Improving the possibility of

13  evacuation through the interior of building is

14  important, but is not enough.

15                 No matter how much we improve the

16  staircases, banking on basically one way out means

17  that if the route is compromised, tenants are left

18  with no way out.

19                 Internal routes, such as stairs, are

20  inherently inequitable, and cannot be negotiated by

21  people of all abilities.

22                 These solutions do not address the

23  challenge of getting responders up and into the

24  buildings, often critical to successful evacuation.

25                 And, improving on internal solutions

94

1  COMMITTEE ON HOUSING AND BUILDINGS

2  can be inordinately expensive.  Just think of

3  widening a staircase in an existing building, or the

4  cost of wider staircases in new construction, direct

5  cost, indirect, social costs, et cetera. Therefore,

6  we should broaden the portfolio of solutions to

7  include the external dimension of high- rise

8  buildings.

9                 Actually, external evacuation is not

10  really a new paradigm or a new direction.  And life

11  safety in other codes recognizes External Escape

12  Solutions for various circumstances. Fire

13  Departments in the US and all over the world

14  purchases and uses ladders and platforms to access

15  emergencies, fight fires, and evacuate people.  But

16  these solutions are limited today to the lower 11 or

17  12, or sometimes 13 floors of a buildings, and have

18  limited evacuation capacities.  Thus, today's use of

19  the exterior is legitimate and is used, but in

20  practice discriminates against the occupants of

21  higher floors.  Thus, the use of the exterior is not

22  a revolution, but rather an approach that needs

23  considered and policy- directed evolution.

24                 While we consider policy, innovation

25  is busy creating solutions, and you can see our

95

1  COMMITTEE ON HOUSING AND BUILDINGS

2  plethora of external solutions being developed and

3  offered by various innovators and entrepreneurs.

4  These include control descent cables and devices,

5  helium balloons, personal parachutes, escape chutes

6  and slides, single platform devices, and multiple-

7  platform devices.   As in any new endeavor and

8  direction, not all of these will prove to be equally

9  effective, equitable, or safe.  But the approach

10  should be adopted and developed professionally, and

11  the solution should be studied and tried.

12                 The following short video described

13  the solution developed and offered by my company.

14  Other vendors that are present today will, I am

15  sure, demonstrate their offering.  Note that despite

16  the animated presentation you will see on this

17  video, the system like many of the others you will

18  see, is well developed, and our particular system is

19  what we truly believe, from its first operational

20  installation on a high- rise building in Tel Aviv.

21                 (Video shown.)

22                 As I said, that is one example of

23  many initiatives in this area, and later on you will

24  probably be seeing several more.

25                 Fortunately, professional

96

1  COMMITTEE ON HOUSING AND BUILDINGS

2  organizations, as I mentioned earlier, have decided

3  to move forward in this direction. The means of

4  Egress Committee of the National Fire Protection

5  Association has recently acted to accept this

6  approach to evacuation and to begin a definition of

7  acceptable solutions.

8                 In its meeting last December, the

9  Committee voted to give preliminary recognition to

10  exclude certain types of systems, such as

11  helicopters, parachutes, helium balloons, define

12  critical system requirements, such as capacity,

13  redundancy, safety, and noted in its deliberations

14  the importance of providing ascendability or a way

15  up for responders, and the true importance of the

16  capability of transporting "small children and

17  disabled persons" when evacuating a building.

18                 The Committee on the Performance of

19  Buildings of the American Society for Testing and

20  Materials (ASTM) has very recently decided to

21  undertake the definition of standards for external

22  evacuation systems of high- rise buildings, and in

23  defining the scope of activity this Committee,

24  adopted exclusion similar to those of the NFPA, and

25  directed that standards be developed expeditiously

97

1  COMMITTEE ON HOUSING AND BUILDINGS

2  for control descent devices, escape shoots, and

3  platform- base system similar of the kind that you

4  just saw in this video.  Thus, we can see that two

5  of the most prestigious and influential,

6  professional organizations in the areas of fire

7  safety and building standards have decided that this

8  new area should be taken seriously, adopted, and

9  approached in a most professional manner.

10                 In conclusion, innovation has created

11  a real opportunity for new and far more effective

12  approaches to making skyscrapers safe, and safer for

13  everyone in them, regardless of the floor they are

14  on and their person ability to move.  Exploiting the

15  exterior is not really a revolution, but rather a

16  traditional approach that can now be developed and

17  extended in truly effective ways.  Like any

18  departure from current practice, doing so requires

19  leadership, often by professional bodies, and we saw

20  this is happening, and by policy- makers, such as

21  the City government of New York.

22                 We ask that you consider, or as you

23  consider City policy in this area, you initiate

24  experimentation and study in and by the City, and

25  keep this issue in mind as you address the City's

98

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Building Code in the coming months.

3                 Thank you very much for your

4  attention and time.

5                 ACTING CHAIRPERSON JACKSON:  Leroy,

6  Council Member Comrie.

7                 COUNCIL MEMBER COMRIE:  This Escape

8  System that you have here.

9                 ACTING CHAIRPERSON JACKSON:  Could

10  you speak a little bit more into the mic, please?

11                 COUNCIL MEMBER COMRIE:  I am sorry.

12                 ACTING CHAIRPERSON JACKSON:  Thank

13  you.

14                 COUNCIL MEMBER COMRIE:  What is the

15  maintenance required?  What is the cost of one of

16  these units?

17                 MR. SHIMSHONI:  Okay, the cost of,

18  specifically, you are about the particular system

19  that I showed, the cost, the unit is a building,

20  first of all.  So if I am outfitting an entire

21  building, and that could have between some two and

22  three of these systems on it, so you would have

23  enough redundancy for cases where you could not

24  access one of the sides of the building, we are

25  talking about, and I did not mention the capacity in

99

1  COMMITTEE ON HOUSING AND BUILDINGS

2  each one of these subsystems to evacuate about 150

3  people each time it runs.

4                 COUNCIL MEMBER COMRIE:  One hundred

5  and fifty people for each?

6                 MR. SHIMSHONI:  For each subsystem,

7  for each RA.

8                 COUNCIL MEMBER COMRIE:  Each RA.

9                 MR. SHIMSHONI:  Each cabin would have

10  30 people, each RA has five cabins, it got about 150

11  people per RA, and you have two or three on the

12  building.  So each run, you are evacuating 450 or

13  500 people out of the building.

14                 COUNCIL MEMBER COMRIE:  How is this

15  being operated? I mean you heard earlier testimony

16  about the electrical systems being cut, or how are

17  you going to operate a system like this?

18                 MR. SHIMSHONI:  In terms of command

19  and control of the system, it has a wireless, a

20  radio- control system.  The control panel is about

21  the size of a laptop computer, and they would be

22  redundant pieces of that equipment, so if one went

23  or blew up in the lobby, you would still have

24  another one.  That is the command and control, and

25  it goes directly through the roof where there are

100

1  COMMITTEE ON HOUSING AND BUILDINGS

2  antennae, and it gets operated.  In terms of the

3  electrical source, in terms of the energy to run the

4  system, the system runs on the business emergency

5  power, and it has its own generator, in case that

6  gets cut off.

7                 COUNCIL MEMBER COMRIE:  Okay, but the

8  example that you showed in the video, you got from

9  here, I am looking on this picture here.

10                 MR. SHIMSHONI:  Yes.

11                 COUNCIL MEMBER COMRIE:  You have one,

12  two, three, four, five, six systems in place, and

13  that is from what you showed. How much is this

14  system costing?

15                 MR. SHIMSHONI:  Okay, first of all,

16  we are expecting the regulators that NFPA have

17  directed us to have fewer systems, more like two or

18  three, and the cost for an entire building, if it is

19  40- or 45- story building it is probably in the

20  order of one to one and a half million dollars.

21                 COUNCIL MEMBER COMRIE:  And you are

22  asking us to consider, you are asking us to consider

23  making this part of our regulation, that we would

24  not just consider your system, but systems in

25  general, correct?

101

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 MR. SHIMSHONI:  What I am asking is

3  that you consider External Evacuation Solutions in

4  general, not necessarily this particular system, as

5  you consider the Building Code going forward, and

6  also specifically that you condone and support the

7  execution of pilots and experimentation in the City

8  so that you and the executive bodies could learn

9  more about it.

10                 COUNCIL MEMBER COMRIE:  Okay.  But

11  don't you think that this system would require a

12  high degree of tutoring, or training and operation?

13  I mean I saw where you had personnel that were going

14  on to go up, personnel that was, I mean, you already

15  have, technically, fire marshals for each floor, if

16  people are doing a fire evacuation system.

17                 You said you are getting ready to

18  install one of these systems, where, in Tel Aviv.

19                 MR. SHIMSHONI:  Yes.

20                 COUNCIL MEMBER COMRIE:  Have you

21  installed the system before?  I mean, what is the

22  human fear ratio with this kind of system?

23                 MR. SHIMSHONI:  Well the system is

24  intended to be used as an extra or redundant level

25  for evacuation when the normal way out, are not

102

1  COMMITTEE ON HOUSING AND BUILDINGS

2  operable.  So I guess it is relative here, I mean

3  what is relative to you being stuck behind in a

4  building and burning in it or collapsing with it

5  versus getting out of a system that may be

6  problematic in terms of fear to get out.

7                 The way we designed this particular

8  system is that getting on it is very similar to

9  getting onto an elevator, and that is the feeling.

10  We have experimented with this, and the people

11  getting on, it is not quite an elevator, but it is

12  very similar, you do not see the sky, you do not see

13  ground.  You see an opening, you have been drilled,

14  you know that that is the place you go, if you are

15  instructed to.  And getting on it is quite simple,

16  you walk up some stairs, and if you are in a

17  wheelchair, you can be ramped up and you find

18  yourself on it.

19                 COUNCIL MEMBER COMRIE:  And this

20  system that you proposed, are you putting it in a

21  new building in Tel Aviv?  Is the building being

22  designed for it, or are you putting it in, in an

23  existing building?

24                 MR. SHIMSHONI:  No, we are putting it

25  in, in an existing building.  There is no point in

103

1  COMMITTEE ON HOUSING AND BUILDINGS

2  having solutions that are only good for buildings in

3  the future, since, look outside, I mean. We have the

4  buildings we have.

5                 COUNCIL MEMBER COMRIE:  Right.  And

6  are you offering some kind of rebate or discount to

7  the landlords?  Have you been shopping this in New

8  York City at all, what has been the response from

9  the real estate community on it?

10                 MR. SHIMSHONI:  We have spoken to a

11  fair number in the real estate community, and I do

12  not want to speak for them. But their response has

13  been quite positive, we have three owners who are

14  willing, that is, desirous of having a pilot project

15  performed on their property.  And they would

16  actually like to apply with us for approval to do a

17  pilot project.

18                 COUNCIL MEMBER COMRIE:  Yes.  And I

19  am still not understanding, if a building loses its

20  power, how do you maintain and operate this system.

21                 MR. SHIMSHONI:  Okay, the system has

22  its own emergency generator on the roof by the

23  system.  And that emergency generator will kick in

24  automatically on a standby basis when the building's

25  power fails.  First it will draw on the regular

104

1  COMMITTEE ON HOUSING AND BUILDINGS

2  power, and then the emergency power of the building,

3  and if that fails, it will draw on its own emergency

4  generator.

5                 COUNCIL MEMBER COMRIE:  Yes, and this

6  system would be primarily for fires, or it would

7  work if there was no structural damage to the

8  building.  If there was something like a bombing or

9  an earthquake, how would it work if there were

10  structural, or a plane crashing into it, how would

11  it operate, if there were structural damage to the

12  building?

13                 MR. SHIMSHONI:  I think that would

14  require a situation assessment by whoever is

15  commanding.  And if there are situations in which

16  there could be a bombing in the lobby, and there is

17  enough structural integrity of the building columns

18  to operate the system --

19                 COUNCIL MEMBER COMRIE:  Well those

20  rails you have on the side of the building, those

21  are fixed, right?  They do not sway, they are, what

22  are they, rubber, or what is it, steel?

23                 MR. SHIMSHONI:  The rails on the side

24  of the building do not support the system, they only

25  prevent lateral movement in the wind.

105

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER COMRIE:  What are they

3  made out of?

4                 MR. SHIMSHONI:  They are made either

5  out of steel, or in buildings that have a rail for

6  the window cleaning rig, the system actually locks

7  into that, so you do not add a rail.

8                 COUNCIL MEMBER COMRIE:  Well I

9  appreciate your ingenuity, and I am curious to see

10  if anyone is going to actually utilize this system.

11  It just looks pretty complicated to me, I do not

12  know if there is an easier solution, to tell you the

13  truth. But I just appreciate your coming today.

14                 Is that video on this?

15                 MR. SHIMSHONI:  Yes, it is.

16                 COUNCIL MEMBER COMRIE:  And how long

17  have you been working on this in the New York City

18  area?

19                 MR. SHIMSHONI:  In the New York City

20  area, several months.

21                 COUNCIL MEMBER COMRIE:  Okay, all

22  right.  I have a lot of questions, but I know we

23  have a limited amount of time.  I am just curious to

24  see what the human interaction with this kind of

25  system would be.

106

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 CHAIRPERSON PROVENZANO:  What I am

3  going to do, is changing the plan a little bit here.

4    I am going to have, I think we have three

5  presenters.  So what I am going to do, is have all

6  the presenters present.

7                 COUNCIL MEMBER COMRIE:  I am done,

8  thank you, Madam Chair.

9                 CHAIRPERSON PROVENZANO:  And then we

10  can do questions, if you, I do not know if they can

11  all stay, you know, like can you?

12                 MR. SHIMSHONI:  Sure.

13                 CHAIRPERSON PROVENZANO:  Okay.

14                 COUNCIL MEMBER COMRIE:  Thank you,

15  Madam Chair, I will wait.

16                 CHAIRPERSON PROVENZANO:  We have also

17  been joined, I did not get a chance to introduce

18  you, Councilwoman Gale Brewer. Do you have

19  questions, or, okay, okay?

20                 COUNCIL MEMBER JACKSON:  We are going

21  to ask questions later?

22                 CHAIRPERSON PROVENZANO:  Yes, I

23  figured let us hear all three presentations.

24                 COUNCIL MEMBER JACKSON:  Okay.

25                 CHAIRPERSON PROVENZANO:  It also

107

1  COMMITTEE ON HOUSING AND BUILDINGS

2  forces you to stay. Michael Godwin.

3                 MR. GODWIN:  Good afternoon, Madam

4  Chair, and members of the Committee.  I am an

5  Englishman, come across from the UK to present you

6  with my system, and thank you very much, indeed, for

7  the opportunity that you are giving me.  We all know

8  something of 9/11, and each of us, I am sure, has a

9  reaction to it, probably everyone's is different.

10  Mine, having spent 45 years in the elevator lift

11  business, I turned my attention to thinking that

12  lifts, of course, take you into buildings and move

13  you around them, but do not do anything to get you

14  out in an emergency.

15                 And so, a year later, I turned my

16  mind to that subject of getting out, and invented

17  EGRESS.  My chief concern, I think, was the people

18  who will be going into the new World Trade Center to

19  serve and perhaps need some additional safeguards

20  and safety for evacuation of that building in an

21  emergency, other than the stairs.  And so to this

22  end, I think each worker, each individual should

23  have their own personal means of rapid escape. That

24  will give a very important psychological assurance

25  to each individual that their safety, to a large

108

1  COMMITTEE ON HOUSING AND BUILDINGS

2  extent, is in their own hands and they are in

3  control.  And this can be brought about at a cost of

4  less than $100 dollars per person.

5                 So what is EGRESS?  As I have said,

6  we have thought about lifts, and having spent 47

7  years with elevators, there are certain things that

8  may be proposed and could be done, but that is not

9  the same as having the psychological assurance that

10  you are in control and have your own means of

11  getting out of the building.

12                 So, EGRESS is a self- powered,

13  gravity operated, rapid escape life jacket.  We have

14  life jackets for ships, life jackets for aircraft,

15  but we have not, as of yet, had life jackets for

16  tall buildings.

17                 Basically, each person has a very,

18  has something similar to this.  It is a simple,

19  parachute harness with a plastic backboard, and an

20  energy conversion unit at the back.  This unit is to

21  all intents and purposes an electric generator.

22  When engaged in a track that has permanent magnet,

23  it can produce a retarding force equal to the weight

24  of the person, as well as providing the speed

25  regulation that is also required.

109

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 Here we see a person with the

3  parachute harness and the backboard, and the energy

4  conversion unit engaged in a track, which is about

5  five inches wide, generating sufficient counter

6  force to allow them to float gently downward at

7  something of the order two meters per second.

8                 Now how does this happen?  Well the

9  laws of magnetism and induction have not changed in

10  150 years, every motor, every generator works in the

11  same way.  There is nothing new about those rules.

12  A moving coil in a magnetic field will induce a

13  voltage, and that voltage, if allowed, to a circuit

14  or to current is allowed to circulate in the coil

15  that will produce a breaking effect, a dynamic

16  breaking effect.  And by adjusting the sizing of the

17  magnetic energy transfer device, then the weight of

18  the person is substantially, is totally counter

19  weighted.

20                 As far as the speed regulation is

21  concerned, that is achieved by tuning the generator

22  to an appropriate frequency depending on the number

23  of poles that you see in the unit.  So that two

24  meters per second, I am sorry to be using meters, I

25  should be using feet a minute, but at two meters a

110

1  COMMITTEE ON HOUSING AND BUILDINGS

2  second that frequency will be around 60 cycles per

3  second.

4                 Now it is a serial transfer all the

5  way down the building.  The track may be on the

6  outside of the building, or it could be in the

7  protected core of the building.  And with one single

8  track the flow rate of person is of the order of 200

9  every 15 minutes, this allows at least four and one-

10  half seconds for the transfer onto the track from a

11  revolving, at the particular muster station.

12                 Here you see an overview of the track

13  that contains the permanent magnets and the moving,

14  energy conversion unit, the backflap, and the

15  harness, somebody going down.

16                 There is a the minimum of circuitry

17  on this unit. There are no electronics, no switches.

18    There are but three passage components, a

19  capacitor or condenser, a conductant, and the

20  resistance.  There are no maintenance, it is a

21  completely passive unit.  And to add to the comfort

22  of the person, there is a powerful light at the top

23  of its head, energized by the amount of the

24  electricity generated in his or her descent.

25                 Now, how the people get onto tracks

111

1  COMMITTEE ON HOUSING AND BUILDINGS

2  and get away. Well there are enough tracks to divide

3  the building up and the population up, and you are

4  going to deal with 200 people in 15 minutes.  That

5  gives you some idea of the number of tracks that may

6  be required.  But there would be muster stations at

7  particular points, and each person would go to their

8  muster station, and they may have their life-

9  jackets under their chairs or on the backs of their

10  chairs, collect them and put them on.  They would

11  then go to, with all I can say, a form of revolving

12  door, which would permit as the door is moved around

13  each quadrant for it to engage with a descending

14  track.  And of course, there being at least four

15  phases to this door, people would be getting ready

16  on the other phases as it moves around.  There are

17  no power required, it is just moved around by hand,

18  it locks itself in the position where the track is

19  engaged, and once that track is engaged, the person

20  and the unit is released, and down they go.

21                 And as fast as those people can get

22  onto the revolving door, where I tentatively put one

23  every four seconds, then they evacuate the building.

24                 So, we see now how they may come

25  down.  In this case, it is not the revolving door,

112

1  COMMITTEE ON HOUSING AND BUILDINGS

2  there are just two panels there.  But you can see

3  the principle, whereby, the person comes against one

4  of the tracks, there is a track on every side of the

5  four, of the revolving door.  And as each one

6  engages it, it revolves around, and down they go.

7  And the faster you can turn the revolving the door,

8  down they go.

9                 So, recapping on the important

10  aspects of this, I think, first of all, the high

11  rate of egress from the building. And then, of

12  course, there is nothing in the track that

13  negligible, architectural alterations to the facade,

14  as I say, it is only five inches wide.  And the cost

15  of the track is something like $200 a foot.  But

16  finally, the most significant value, I think of

17  egress, will be the psychological reassurance that

18  it will give as an additional safety measure, when

19  you consider the cost of that is only $100 for the

20  life jacket, to all the New York office workers who

21  are about to enter the new tall buildings in the

22  World Trade Center, because they are given that

23  independence to get out.

24                 Now that is all very well, and that

25  is an artist's impression, and you might say, well,

113

1  COMMITTEE ON HOUSING AND BUILDINGS

2  there is an awful lot of work to be done to make it

3  go.  Well, I am a hands- on inventor, and if I could

4  ask my colleague to move, to work the computer, to

5  go to the next slide, oh, he disappeared?  Where is

6  the escape?

7                 CHAIRPERSON PROVENZANO:  Where is

8  that tech guy?

9                 MR. GODWIN:  I have a one- minute

10  video.

11                 CHAIRPERSON PROVENZANO:  No, the

12  other guy, yellow tie, the other guy.

13                 MR. GODWIN:  Can you take it onto the

14  next thing, that is it, that is the one, yes, it is

15  Windows Media.  There we are, can you turn the music

16  up?  Off we go then.

17                 In a little garage workshop, here I

18  am taking a piece of normal, standard, chair lift

19  track and fitting it with magnets.  There you see

20  the permanent magnets, and there you see the energy

21  conversion unit.

22                 Here we are machining the parts and

23  trying to make them all fit, and of course, the

24  height of the garage limits how far I can travel.

25                 CHAIRPERSON PROVENZANO:  Can I just

114

1  COMMITTEE ON HOUSING AND BUILDINGS

2  interrupt you at this point?

3                 MR. GODWIN:  Just a few seconds, that

4  is all.

5                 CHAIRPERSON PROVENZANO:  Okay,

6  because we have two more presenters.

7                 MR. GODWIN:  Just 30 seconds.

8                 CHAIRPERSON PROVENZANO:  This is

9  something that just shows how you zip down the side

10  of the building?

11                 MR. GODWIN:  That is right.

12                 CHAIRPERSON PROVENZANO:  Okay.

13                 MR. GODWIN:  Indeed, the side of the

14  building being only, I am afraid, two and a half

15  meters high, that is all I have got.

16                 There we have the track and the

17  magnets fitted.  Now he is a pretty hefty bloke, and

18  he is going to try to pull it, because he did not

19  believe it would do anything, and it stopped him

20  dead.

21                 Here you see the seat, I put a seat

22  on it in order that several people could ride it in

23  different ways.  And there is the track nailed to

24  the garage wall.  Finally, the connection of the

25  capacitors and some test loads.

115

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 There it goes.  The elevator fellows,

3  will no doubt, recognize the buffer, and here am I

4  coming down.  This, by the way, is about one meter

5  per second, because that is all, it goes much faster

6  two meters a second.  Here is another test load.

7                 And here we are, here is the big

8  heavy fellow coming down.  Now one of my sons, quite

9  a lightweight.  And finally, the inventor.

10                 And there it is, a $100 life jacket

11  and the psychological reassurance for all those

12  people that will have to, some day re- enter the

13  World Trade Center.

14                 Thank you very much.

15                 CHAIRPERSON PROVENZANO:  Thank you

16  very much.  Also, we understand, thank you for

17  making the trip from London.  If you want to hang

18  out, we will have our next presenter.  Ralph Baker,

19  Mark Baker, The Baker's Safety Equipment folks.  Is

20  there someone else, Tony Quattro with you?

21                 MR. BAKER:  Right here.

22                 CHAIRPERSON PROVENZANO:  Oh, okay.

23  Could we ask you to limit your introductory remarks?

24                 MR. BAKER:  Good afternoon,

25  Chairwoman Provenzano, members of the City Council

116

1  COMMITTEE ON HOUSING AND BUILDINGS

2  of New York City, and all that is in attendance here

3  today.  First, I would like to thank you for this

4  opportunity to come before you to discuss the

5  extremely important topic of External Building

6  Evacuation Systems in New York.

7                 My name is Ralph T. Baker.  I am CEO

8  of Baker Safety Equipment, Incorporated based in

9  Townsend, Delaware, USA.  I am Past CEO of Baker

10  Petroleum Transportation with a major 64- year- old

11  Bulk Petroleum Transportation Company.  I am Past

12  President of the Delaware Motor Transport

13  Association, and for the past six years I have been

14  appointed by the Governor of the State of Delaware

15  to the Emergency, State of Delaware Emergency

16  Response Commission, and I am working on my second

17  term.

18                 I would like to introduce my son,

19  Mark Baker, Vice President of my company, and he is

20  on the video camera right over there.  This is Tony

21  Quattro.  Tony is a life- long friend, and a

22  Colonel, retired Colonel of the US Army, and he is

23  our sales manager.

24                 In 1980, following the disastrous MGM

25  Grand fire in Las Vegas, which took 84 lives, I

117

1  COMMITTEE ON HOUSING AND BUILDINGS

2  invented the Baker Life Chute, which is a patented

3  device invented for the purpose of evacuating people

4  from high- rise structures in case of fire,

5  earthquake, terrorism, or any other catastrophe.

6                 I would like to make a few remarks,

7  show you a 6 minute video, and then take questions

8  and answers, if I may?

9                 Recent events here in New York City

10  and around the world, certainly are more than

11  evidence enough to point out the dire need for

12  External Building Evacuating Systems that will

13  provide for the safety and security beyond those

14  that are permanently available to the masses who

15  have to go to work in the many high- rise structures

16  every day.  They do so, fully aware that in life-

17  threatening emergencies existing means of escape may

18  not be adequate to ensure their ultimate safety to

19  the ground.

20                 My device, the Baker Life Chute, is

21  designed to permit escape where existing fire

22  equipment or Building Code fire exit measures are

23  incapable of providing a safe method due to inherent

24  limitations in design and construction of mobility

25  or availability.

118

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 Let me add here that the Baker Life

3  Chute is not intended for a substitute for any fixed

4  fire escape, fire suppression or fire detection

5  devices.  Rather, it offers another dimension for

6  safety and precaution by providing a passage to

7  safety for threatened victims when other means of

8  escape may be damaged or inaccessible, or when all

9  else fails.

10                 The Baker Life Chute is a unique

11  device that permits, rapid, mass- evacuation and is

12  designed for quick and easy deployment.  It is

13  essentially is a nylon mesh tube with a tensile

14  strength of more than 80,000 pounds with three feet

15  diameter metal rings attached at each end, and can

16  carry a continuous flow of evacuees.

17                 There are several models of the Baker

18  Life Chute, which I will elaborate on later.

19  However, the model I would envision that would be

20  the most likely used in New York City would be our

21  industrial model, which requires a fixed stainless

22  steel cable, and is ideally suited for a roof top -

23   -

24                 CHAIRPERSON PROVENZANO:  Mr. Baker?

25                 MR. BAKER:  Yes, Ma'am.

119

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 CHAIRPERSON PROVENZANO:  Could you

3  possibly show the video as you speak?

4                 MR. BAKER:  I think it would kind of

5  conflict with what I am trying to say.  I will be

6  through this very quick.

7                 CHAIRPERSON PROVENZANO:  Okay.

8  Because we have your testimony here, we do not

9  really --

10                 MR. BAKER:  Yes, I know, but I think

11  a lot of people would like to hear what I have to

12  say.

13                 CHAIRPERSON PROVENZANO:  We are

14  trying to move this along.

15                 MR. BAKER:  I am going to go as fast

16  as I can.  I appreciate it.

17                 CHAIRPERSON PROVENZANO:  Okay.

18                 MR. BAKER: - -  fixed stainless cable

19  ideally suited for a roof- top to roof- top

20  configuration, as well as direct evacuation to the

21  ground.

22                 It is simple to use and requires

23  little or no instruction during times of emergency.

24  Because the Baker Life Chute is designed to carry

25  you out and away from the burning structure, when

120

1  COMMITTEE ON HOUSING AND BUILDINGS

2  you enter the Chute, you are immediately transported

3  away from the dangers of the burning structure,

4  rather than go straight down to the ground, where

5  you might still be in danger from fire or falling

6  debris, et cetera.  Also, once you enter the Chute,

7  you are cradled in it and you really cannot see the

8  ground, so there is no sensation of height, and you

9  will see it in the video, when you look down you

10  will see that you cannot see the ground.

11                 Escape is accomplished by sliding

12  down the Chute, slowing and controlling your

13  descent, as appropriate by applying outward pressure

14  with your feet and hands over your head.  There is

15  no power, no electric, there is no mechanical, your

16  body performs to do this.

17                 Winds and rains do not affect it

18  because the elements can pass through.

19                 Retrieval is completed by retracting

20  the Baker Life Chute up the cable accomplished by a

21  Base Mount Electric Winch, installed solely for the

22  purpose of retrieving the Life Chute following

23  deployment, whether it be training or whatever.

24                 When stored and packed, the Baker

25  Life Chute is housed in the Industrial Model Canopy,

121

1  COMMITTEE ON HOUSING AND BUILDINGS

2  which is mounted on the roof- top of the high- rise

3  structure from which the evacuation had been

4  preplanned.  Everything in our device is preplanned.

5                 The Life Chute is virtually

6  maintenance free, when properly stored in its

7  Canopy, thus protected from the elements. Also, we

8  recommend physical and visual inspections during

9  training sessions, which could be once a year, twice

10  a year, whatever.

11                 Test cords are incorporated in every

12  Life Chute, expressly for test cord degradation and

13  strength testing purposes. We are pleased to report

14  that after nearly 15 years in service, the test

15  results from other installations indicate that there

16  has been minimal degradation.

17                 We have several models:

18                 The Portable Model provides maximum

19  flexibility for safe evacuation from structure up to

20  150 feet or approximately 15 stories.  This model

21  has been installed on approximately 32 US Air

22  Traffic Control Towers, located at various

23  installations around the world.  I am talking Japan,

24  Germany, England, Honduras, Alaska, we have done a

25  lot of Air Control Towers.

122

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 The Heavy Duty Model is a permanently

3  located device, which is appropriate for roof

4  structures over 150 feet and can be moved rapidly to

5  any of several predetermined roof- top locations.

6  This model can also be adapted to an Air- Lift

7  variation, which may be transported by helicopter

8  for use during emergency operations.

9                 The Cable- Guided Industrial Model is

10  especially designed for use in highly congested

11  complexes and ideally suite for going from one high-

12  rise structure to nearby adjacent high- rise

13  structure, roof- top to roof- top of any height.

14                 This model has been readily accepted

15  by the Oil Refining Industry.  There is an insert in

16  the Baker Safety Brochure that you have been given

17  that provides pertinent information on a few of the

18  Oil Refineries that have had the - -

19                 CHAIRPERSON PROVENZANO:  Mr. Baker, I

20  am going to ask you to start the video, because we

21  are running out of time.  We have other presenters.

22  And as the video is going, you can give this

23  information.

24                 MR. BAKER:  Well I do hope you go

25  through the rest of this, because there is pertinent

123

1  COMMITTEE ON HOUSING AND BUILDINGS

2  information in regards to having these.

3                 CHAIRPERSON PROVENZANO:  We have it

4  and we can distribute it.  Would you please start

5  the video?

6                 MR. BAKER:  We will show the video

7  and take your questions.

8                 (Video shown).

9                 CHAIRPERSON PROVENZANO:  I mean good.

10    Thank you, Mr. Baker.  We are going to take the

11  next presenter and then we will have questions for

12  all the presenters after that.

13                 There is one more, it is Mike

14  Wintermute.

15                 MR. BAKER:  Thank you.

16                 CHAIRPERSON PROVENZANO:  Good you are

17  right there.

18                 MR. WINTERMUTE:  I will be brief.  I

19  had a short talk presentation and then a very short

20  video.

21                 Thank you for having us and providing

22  this opportunity.  My name is Mike Wintermute.  I

23  represent Moserota, LTD., Israel.  This is the

24  Spider Rescue System, it is a controlled, descent

25  device.  Of course, these things are being looked at

124

1  COMMITTEE ON HOUSING AND BUILDINGS

2  and considered ever since skyscrapers.  Moserota

3  took out the scandalous challenge a few years ago,

4  and recognizing that there is a need for safe and

5  reliable system, easy to operate, always available,

6  no power required.  Assures quick evacuation that

7  does not endanger people.  It can easily work in

8  buildings up to 100 floors, and able to evacuate

9  people away as much as 350 pounds.

10                 Moserota is a company that has been

11  in existence for over 30 years, and they are grouted

12  in safety and security systems, and noted for their

13  wired rope.

14                 The results of their efforts, they

15  actually bought a patent to the US, took it to

16  Israel and refined the design, and came up with two

17  configurations.  One is the Spider office on the

18  left, which is designed so that multiple people can

19  have cassettes with cable on it.

20                 Using the same mechanism with

21  slightly different configuration, what we call the

22  Spider Home, which is designed for smaller groups of

23  people, such as condo dweller families, or small

24  offices.

25                 It is easy to use, you just take it

125

1  COMMITTEE ON HOUSING AND BUILDINGS

2  out of the storage case, which you take it outside.

3  Okay, now we are working, I am sorry.  So it comes

4  in a case that stores and protects it from the

5  elements.  It is easily removed.  You take out a

6  harness, put on a harness, attach it to the steel

7  cable, and exit to the nearest window or off the

8  balcony, or whatever it might be.

9                 I am not going to show that, to save

10  some time. Benefits, it is easy to use, compact,

11  easy to install.  It is very small, you can see it

12  is 18 and one- half inches by 16.1, and 12.5 high.

13  It does not rely on any power source.  Two people

14  can go down simultaneously, and it is very

15  affordable.

16                 It is built to comply with EN341,

17  which is European standard.  It took into account

18  all the standards that relate to controlled descent

19  devices and apparatus associated with it.  It is

20  made on a heavy- duty base.  It can be attached to

21  the floor or to the wall.  It has two braking

22  systems, the primary system is a the hydraulic

23  system which rotates continually and provides a

24  constant release of the cable, dependent on the

25  weight of the individual. And the second brake is if

126

1  COMMITTEE ON HOUSING AND BUILDINGS

2  for some reason somebody jumps onto the cable or

3  whatever it might be and increases the weight, a

4  second braking system automatically activates itself

5  and holds the speed to eight feet per second.  So

6  the basic descent speed is between three and six

7  feet per second, depending on the weight of the

8  individual from 65 to 350 pounds.

9                 The whole system is designed to a

10  10:1 safety factor.  That means if we have a 350-

11  pound person, the testing is being done to 3,500

12  pounds, so it has very good strength.

13                 I am not going to talk about other

14  systems here, but I just want to go down the line

15  very quickly.  Descent speed is moderate and safe.

16  Its required storage space is very small.  Its

17  rescue height can be adapted to any building.  It is

18  very easy to install it, even though we train and

19  require certified installers. The window ledge

20  requirements is egress methods are very, very

21  flexible.

22                 I am not going to talk about those,

23  but I will just tell you that in small quantities,

24  one unit will cost approximately $1,500.  It is

25  modular design so it is intended for multiple

127

1  COMMITTEE ON HOUSING AND BUILDINGS

2  installation in a building.  Perhaps apartment

3  dwellers make their own decisions, companies leasing

4  space in a high- rise may make a decision to

5  implement this for their personnel.  And so we will

6  call it the modular system that is cost- effective.

7                 I will not spend a lot of time with

8  Moserota, they are a well- established company.

9  They are an IS 9000 Company in design and

10  production, and have been so for many years.  They

11  have a lot of good customers.

12                 And Spider, in summary, is safe and

13  reliable.  This is the result, we are now testing

14  it, finishing testing it within days in Israel

15  against all of the standards that we have applied to

16  it.  It is easy to operate it, it is easy to install

17  it, it is affordable, compact, always available, no

18  power required.  It ensures quick evacuation, it

19  does not endanger people using it. Easily able to

20  cope with high buildings, and can handle people up

21  to 350 pounds, and two people can go together.

22                 Now I want to find the video, thank

23  you, Sir.  In the hand- out that I gave you, there

24  is a summary sheet, there are some talking points

25  that has a lot more to say than I am going to do

128

1  COMMITTEE ON HOUSING AND BUILDINGS

2  right now.  It talks about maintenance, there is no

3  maintenance requirement, but we require annual

4  inspection and that type of thing.  And I will talk

5  during the video a little bit.

6                 This was done in Tel Aviv about a

7  year and a half ago.  And you know, you wonder about

8  the fear factor issue, because you are high, and you

9  are going to go over the edge of the building.  But

10  I guess, you know, in thinking about this, it seems

11  to me that today in this world there are scarier

12  things to do in amusement parks than this.

13                 She comes down at a rate of speed at

14  about the rate of a slow walk.  She can manage her

15  descent and move herself around obstacles like

16  flagpoles.  When she comes to a roof, there is no

17  fly wheel attached, so the cable does not continue

18  to spill out. When she steps on the ledge and

19  removes the weight, the cable stops, she walks over

20  to the edge and then it continues, then she lands at

21  a very comfortable speed.

22                 Now this is designed, this is the

23  home unit, it is designed to be reeled back up by

24  hand, or using a power drill or something like that,

25  no hard power.  You pull back up in a few seconds

129

1  COMMITTEE ON HOUSING AND BUILDINGS

2  and use it again, if you had more people and family

3  than you could do it in one trip.

4                 The harness is an OSHA- approved

5  harness that is approved for use in just exactly in

6  this type of rescue.  See he is moving himself

7  about, and he manages his descent comfortably.

8                 And that is really the end of the

9  video, and I thank you for your time, and I will be

10  pleased to answer any questions.

11                 ACTING CHAIRPERSON JACKSON:  Well

12  thank you very much.  I am going to call the next

13  presenter, Mr. Herstik Arie, from S.I.L.

14  Technologies, LTD.  Thank you.

15                 MR. ARIE:  Good afternoon, thank you

16  for the chance to present the MSH 2000 Rescue

17  System.  I am from Israel, and I was an ex- soldier

18  for the Government of Israel.  And following the

19  bombing in the 1993 in the World Trade Center here,

20  we established a case, and I was assigned to find

21  solutions for such a case.  And what was difficult

22  in this moment was that the bomb was in the

23  basement, and all the electrical system came down,

24  and there was also a great risk for the blocking of

25  the staircases.

130

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 So I have worked for many, many years

3  to develop a system, a solution for the high- rise

4  building, and I reached one system, which I am going

5  to present to you, and I will make it very short.  I

6  have a big lecture, but since everybody told, made

7  all that vocation for the system, I will elaborate

8  only one point, which I did not hear from anybody

9  here, which our conclusion is that the most

10  important point is in past reaction to the fire.

11                 And the past reaction depends on the

12  speed that you can deliver upstairs the

13  firefighters, the command, and the gear to control

14  the fire, to evacuate the people, and to control the

15  incident.  And this system that I am going to

16  present over here is mainly important because it

17  gives the answer for innovating the firefighters up,

18  the gear up, and all the equipment and enables

19  better control of the incident.

20                 Now I will present a video, and

21  answer questions.

22                 (Video shown).

23                 That is a very short presentation of

24  the system.  I just want to add that the system is

25  working, already tested by the General Standard and

131

1  COMMITTEE ON HOUSING AND BUILDINGS

2  good approval of TUV for safety.  And it is already

3  patented.  And I want to show you, because this is a

4  question that everybody asks, what is the beam that

5  we are talking about, because this is a fixed

6  composite that we are going to attach to the

7  building.  And this is a cross section of the beam

8  that is attached to the building like this.  These

9  are all the stories.

10                 The track that you see, we take a

11  City like New York, we need only five tracks, and

12  the only question is to attach beams like this to

13  the buildings.  And the price is very, very cheap,

14  when we are talking about $1,000 per floor.

15                 About the tracks, the tracks are

16  $300,000, but this is a legible cost because for the

17  complete City it needs about five, six tracks, this

18  is about one and a half, two million dollars.  And

19  with this system, you can solve the problems of all

20  building, existing buildings, and also new

21  buildings.  We can give many, many solutions to the

22  quality points and to absorb the problem of making

23  the building ugly, and we have also double ups and

24  solutions, also hide the beam that nobody can see.

25                 This is very short, of course, I can

132

1  COMMITTEE ON HOUSING AND BUILDINGS

2  elaborate, but there is no time, I will finish it.

3                 Thank you.

4                 CHAIRPERSON PROVENZANO:  Okay, thank

5  you very much. What we are going to do, of course,

6  we only have two Council members left, but we are

7  going to take questions.  So somehow if we could get

8  one person, Mr. Baker, Mr. Shimshoni, Mr. Godwin,

9  who did I forget, somebody, and Mr. Mike Wintermute,

10  I never did pronounce your name correctly.  So if we

11  can kind of get you all there, Israel, if you would

12  work that out for us?  Can we close up, okay, good.

13                 Council Member Brewer is our

14  questionnaire.

15                 COUNCIL MEMBER BREWER:  Thank you

16  very much, Madam Chair.  And I also appreciate the

17  effort that you all have put into research and

18  design, and thinking about this very challenging

19  issue.

20                 I just have a few questions.

21  Obviously, one of our biggest challenges, I think,

22  as more of us age and continue working, and as more

23  workers are able to work because of physically

24  challenged, thanks to the ADA legislation can get

25  into buildings. You know that is a very good thing.

133

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Then, of course, the challenge for those of us in

3  policy- making positions is to make sure that the

4  so- called temporarily, abled body and the

5  physically challenged can get out of a building.

6  And that is what we saw during the World Center was

7  a big problem.

8                 We have a memo here from Alexander

9  Wood, who is a wonderful advocate for the disabled

10  in our City stating what we already know is that

11  many people who are physically challenged did not

12  get out of the World Trade Center.

13                 So one of my questions is, for

14  whomever, what size building, what height do you

15  recommend?  I mean, obviously, if it is a small

16  building, it would not be necessary.  And the other

17  question I have is, what kinds of disasters would

18  your project be able to address?  I mean from my

19  layperson's view, it looked like in some cases, if

20  the entire building collapsed, unfortunately, we

21  have some experience with that, that I do not know

22  that even your project would be able to bring people

23  out of the building.  So it is what size building,

24  and what kind of disaster are you strategizing for?

25                 MR. BAKER:  In a case like the World

134

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Trade Center, unless I am mistaken, there was about

3  an hour and 45 minutes before they collapsed.  And

4  what could have been done in that hour and 45

5  minutes would have amazed everybody.  And our

6  device, we use anywhere, when you run out of hook

7  and ladders, that is where we come in, and we are

8  proud of that fact.

9                 MR. SHIMSHONI:  Just to add, in terms

10  of the kind of disaster, it is any time that the

11  core of the building is not accessible and not

12  negotiable by people.  And you can start, it is a

13  question of using your imagination, it could be

14  fire, it could be terrorist attack, it could be

15  chemical attack, it could be a blackout.  We saw

16  that, that a New York blackout, by the following

17  morning, when all the granola bars were done and

18  people wanted to start getting out, there was a real

19  challenge getting up there, getting emergency

20  responders up there and carrying people down.

21                 COUNCIL MEMBER BREWER:  But what size

22  building do you recommend that your device be

23  applicable to?

24                 MR. SHIMSHONI:  Well it is a matter

25  of degree, but surely when the hook and ladders run

135

1  COMMITTEE ON HOUSING AND BUILDINGS

2  out.  It is probably anything above a 12- story, if

3  you are up there, you are stuck, unless there is

4  some other way out.

5                 COUNCIL MEMBER BREWER:  Okay.  The

6  other question I had was in some cases, some of the

7  devices, obviously, they are not expensive, do not

8  require a lot of maintenance.  But one of the

9  questions I have is, obviously, all in our high-

10  rises we have elevators.  And is there some way that

11  both your device and an elevator could be

12  compatible?  In other words, so there would be less

13  cost to the person building the building.  Is it

14  something that could be used, or is it only possible

15  to be used during a disaster, is there a secondary

16  use that is possible?

17                 MR. ARIE:  I would like to make it

18  clear that according to the safety standards, when

19  it is an emergency, evacuation system, I know it is

20  in Europe, you cannot use it usually continuously.

21  So there is no way to interact between these two

22  systems.

23                 MR. WINTERMUTE:  I would just like to

24  say that our product, the Spider is designed for

25  unique application.  Specific applications can be

136

1  COMMITTEE ON HOUSING AND BUILDINGS

2  terror to those. You mentioned the issue of

3  handicapped or partially disabled people, physical

4  limitations.  We had a series of accessories that we

5  are looking at, for instance, the ability to

6  actually use the wheelchair that the person is on as

7  part of the harness for the descent.  And for

8  stretcher born people, and things like that.

9                 That is an evaluation, but we are

10  specifically addressing that issue.  And we can work

11  at any floor level.

12                 COUNCIL MEMBER BREWER:  How many

13  people could the Spider, for instance, take out in

14  any given situation?

15                 MR. WINTERMUTE:  We have a study that

16  we did that, said if you had 100 people that you

17  wanted to evacuate in an office situation, using the

18  office configuration, you could use four base units,

19  and I think the number is 68 of the cassettes.

20  Because as long as it is people together that weighs

21  less than 350 pounds, more than one person could

22  come down.  I forget the exact height, don't hold me

23  to it, I have to go look at the literature, but it

24  was 30 minutes to evacuate 100 people in that

25  situation.

137

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 MR. GODWIN:  Yes, in answer to the

3  first part of your question, if there was a surface

4  of the World Trade Center that was still intact then

5  everyone would have got out at the top. I do not

6  know if there was a complete surface, but as long as

7  there was one surface then the people would have got

8  out.

9                 As far as less enabled people, the

10  unit is quite capable of having the wheelchair

11  attachment and can take up to, at least, 240

12  kilograms of dead weight and at the same controlled

13  speed.  That is important that the speeds,

14  irrespective of weight, are the same, which are not

15  generally true of mechanical systems or anything

16  like that.  They vary somewhat.

17                 What was your last point?

18                 COUNCIL MEMBER BREWER:  No, that was

19  fine, it was the size of the building, which has

20  been answered, and kinds of disasters, which you

21  answered, I think.

22                 MR. GODWIN:  Well as I say, mainly

23  the psychological side of having your own means

24  there, available to you, to get out. And always

25  available for working.

138

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER BREWER:  The Spider

3  had in its literature, safety factor 10:1, what does

4  that mean?  Just out of curiosity.

5                 MR. WINTERMUTE:  It is designed to be

6  used by people weighing or combinations of people

7  weighing 350 pounds.  It is designed to and tested

8  at 3,500 pounds.  That is exactly what it means.

9                 COUNCIL MEMBER COMRIE:  Good

10  afternoon, gentlemen. I want to thank you all for

11  coming.  I was intrigued by your presentation.  The

12  gentleman from the UK, you said that a handicapped

13  attachment would be available for, so that someone

14  with a wheelchair could roll right on this?

15                 MR. GODWIN:  No, the energy unit

16  remains the same. The wheelchair has the adapter on

17  it to take it as a wheelchair complete.

18                 COUNCIL MEMBER COMRIE:  And the

19  gentleman from MSH 2000, is that in actual use

20  somewhere?

21                 MR. ARIE:  It is now, the first

22  project is now in the process of definition and

23  erection in the Israel Diamond Bus together with the

24  Israel Home Port Command and the Fire Commissioner,

25  this is a combined project, which will be working in

139

1  COMMITTEE ON HOUSING AND BUILDINGS

2  three months.  And what you have seen in the movie

3  is the prototype working, testing, and everything.

4                 COUNCIL MEMBER COMRIE:  And the

5  gentleman from Escape, you said that your

6  installation will be up and running by the end of

7  this year?

8                 MR. SHIMSHONI:  Yes, the information

9  is the first operation installation should be

10  beginning in the next three to four weeks.

11                 COUNCIL MEMBER COMRIE:  And what are

12  those compartments made of?

13                 MR. SHIMSHONI:  Compartments are made

14  of fabrics, so that they can fold.  Fabric is very

15  sturdy, it is fireproof, and between the layers of

16  fabric, there is a layer of kevlar (phonetic) which

17  gives it a firmness quality as well.

18                 COUNCIL MEMBER COMRIE:  So people are

19  standing on kevlar.

20                 MR. SHIMSHONI:  No, they are standing

21  on metal.  The sizes of the compartments are

22  basically a combination of fireproof fabric and

23  kevlar.

24                 COUNCIL MEMBER COMRIE:  Okay.  And

25  the gentleman from the, Mr. Baker, you said, where

140

1  COMMITTEE ON HOUSING AND BUILDINGS

2  is this installed, they are in the airport towers?

3                 MR. BAKER:  We had 32 Air Traffic

4  Control Towers that we had done.  Our first one was

5  in Phoenix, Arizona.  We have been to the Air Base

6  in Japan, Ramstein, Germany.  We just, last year,

7  finished Lichen Youth in London, England.  We did

8  Sotto Canto (phonetic), Honduras in Central America,

9  and next week we will be in Salt Lake City, Utah

10  doing a second tower for the Air Force at the Air

11  Force Base.

12                 COUNCIL MEMBER COMRIE:  So you are

13  primarily in military?

14                 MR. BAKER:  Well military or oil, all

15  refineries love our product.  And in the past, they

16  had no way out in an emergency.  And when they have

17  an emergency in an oil refinery, it is generally

18  disastrous, the results are generally not too good.

19                 COUNCIL MEMBER COMRIE:  And just a

20  question for the panel, have you gotten the sense

21  that the Port Authority was considering an

22  evacuation system in their World Trade Center

23  design?

24                 MR. BAKER:  Not that I know of.

25                 COUNCIL MEMBER COMRIE:  All right.

141

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Well again, I want to thank you all for coming.  It

3  was an intriguing afternoon. Thank you, Madam Chair.

4                 CHAIRPERSON PROVENZANO:  Thank you

5  all very much. Again, particularly those of you that

6  came from afar, and we appreciate all your

7  testimony.  Thank you.

8                 MR. BAKER:  Thank you.

9                 CHAIRPERSON PROVENZANO:  We still

10  have a couple of folks, David De Vries, Ted Price,

11  Sally Regenhard, the three of you.

12                 If you want to, you could remove one

13  of those chairs, Israel.

14                 I know I do not have to ask you to be

15  brief.

16                 MR. DE VRIES:  Good afternoon, Madam

17  Chairperson and Committee members.  Thank you for

18  inviting the interested public to participate in

19  this hearing.  My name is David De Vries.  I am a

20  Fire Protection Engineer.  I am President of my own

21  firm, Fire Tech Engineering, Inc., based in the

22  Chicago suburb of Evanston, Illinois.

23                 I also serve as the Chairman of the

24  National Fire Protection Association's Technical

25  Committee on means of Egress, and I am on the Cook

142

1  COMMITTEE ON HOUSING AND BUILDINGS

2  County Commission investigating the 69 West,

3  Washington Building fire where six people died last

4  October in a smoke-filled stairwell.  I am pleased

5  to be here today, and I am, in the interest of

6  disclosure, I am here at the expense of Escape

7  Rescue Systems, one of the earlier presenters.

8                 I hope you have, or you will have

9  shortly, my written presentation. I'm going to skip

10  about half of it in the interest of time, and

11  address this issue as an opportunity for the City

12  Council of New York.

13                 Historically, the development of

14  Building and Safety Codes has been reactive.  That

15  is, when a tragedy happens the typical response is

16  to examine the code, address the specific issues of

17  that tragedy, and then adopt new code requirements.

18  This can result in a patchwork that has gaps,

19  conflicts, or other problems.

20                 We suggest that you consider another

21  approach, a proactive one.  By using analytical

22  tools to foresee building system failures, the

23  Building Code can then be used to prevent the

24  resulting tragedies.  Recognizing that in tall

25  buildings, a single event, whether accidental or

143

1  COMMITTEE ON HOUSING AND BUILDINGS

2  deliberate, such as an explosion, fire, chemical

3  release, or structural collapse, can compromise all

4  avenues of vertical escape.  Provisions for external

5  evacuation and access is not only desirable, but

6  will be needed again in the future.  Supporting

7  pilot programs and providing the code language that

8  recognizes methods of external escape and access is

9  a proactive approach that will add options for

10  building owners and occupants that are not currently

11  available.

12                 New York City is in a unique position

13  of being the first governmental body to specifically

14  address this issue of innovative, external

15  evacuation methods.  Other governmental entities and

16  model code organizations will look to New York City

17  and see what you have accomplished.  You have an

18  opportunity to set a proactive direction that

19  enhances building occupants' safety first by

20  partnering with building owners and system

21  innovators to launch pilot programs.

22                 And second, by formally recognizing

23  external evacuation in your Building Code and

24  providing criteria for its safe and effective use.

25                 We urge your favorable considerations

144

1  COMMITTEE ON HOUSING AND BUILDINGS

2  of these comments, and thank you for your attention

3  today.

4                 CHAIRPERSON PROVENZANO:  Thank you.

5  Sally.

6                 MS. REGENHARD:  Hello, I am going to

7  be very, very brief.  Sally Regenhard, founder and

8  chairperson of the Skyscraper Safety Campaign, a

9  project of parents and families of firefighters and

10  World Trade Center victims.  We represent thousands

11  of family members, professionals, academic people,

12  and related people in the field of fire safety.

13                 I am here today to make five short

14  points:

15                 1.  The membership and all the

16  academic advisors, many of whom were on the World

17  Trade Center Building Code Review Task Force,

18  unanimously support the passage of Intro. 126- A.

19  Thirteen of the 21 recommendations, and we look

20  forward to the day when the other eight

21  recommendations will also be passed for the safety

22  and security of the public.

23                 2.  These various Escape Systems,

24  while the Skyscraper Safety Campaign does not

25  endorse any specific product or practice, we do

145

1  COMMITTEE ON HOUSING AND BUILDINGS

2  support research and development of these

3  alternative systems.

4                 And I want to compliment your

5  Committee for bringing these systems and these

6  different people to the forefront.  We must learn

7  how to evacuate people from existing buildings.  And

8  I thank you very much for that.  Keep up the good

9  work, keep up with the research.

10                 3.  The emergency lighting.  I really

11  have to say that thank God, I am also not an

12  engineer, but I do want to say we certainly need

13  lighting from electricity.  We need a backup,

14  battery type of things, when that goes out.  And

15  then you need a third thing, we need these either,

16  some type of phosphorescent lighting.  We do need

17  what Mr. Jackson said, a fail- safe system. When one

18  thing goes, we need backup after backup.  I would

19  like to see all three different methods, or more

20  than that utilized in the building.  We cannot put

21  our eggs into one basket, as we saw from 9/11.

22                 4.  While I really enjoy the man from

23  RDNY and the person who is the owner of the Empire

24  State Building speak, he gave, you know, a very good

25  presentation.  I have to say, I really believe that

146

1  COMMITTEE ON HOUSING AND BUILDINGS

2  15 years is long enough to put retrofit sprinklers

3  into these buildings.  And he is true, the World

4  Trade Center was probably the most dangerous

5  building in the world, and the Empire State Building

6  is probably the safest building in the world.

7  However, it still needs to have sprinklers for

8  redundancy, 15 years is long enough.  Please pass

9  that part.

10                 Finally, I just wanted to say that,

11  you know, Frank Lombardi from the Port Authority,

12  you know, spoke and made several statements.

13  Briefly, I really do want to say that Memorandums of

14  Understanding are not worth the paper they are

15  written on.  They are not legal documents.  A

16  Memorandum of Understanding is like a kiss and a

17  promise.

18                 Secondly, I would like to say that if

19  the Port Authority goes by "its own codes," I would

20  like the Port Authority to provide a copy of "its

21  own codes" to New York City Department of Buildings

22  and to your fine Committee for you to review,

23  compare, and contrast.

24                 3.  I would like to say, regarding

25  this truss passage and truss construction.  The

147

1  COMMITTEE ON HOUSING AND BUILDINGS

2  representative from that industry really made a very

3  telling point, and that was that while he has one

4  type of established truss construction, the truss

5  construction in the World Trade Center was not the

6  standard truss construction.  It was an invention

7  that the Port Authority created, and he feels that

8  he is being, you know, unfairly compromised by that.

9    I have to say that I am against the use of truss

10  construction, however, his point illustrates the

11  fact that the Port Authority says that they not only

12  meet, but they exceed New York City Codes.  The fact

13  is, it is a matter of public record, regarding the

14  spray- on fireproofing on the truss construction of

15  the World Trade Center, there is no evidence that

16  any fire testing was ever done on that innovative,

17  spray- on fireproofing of those trusses.  It is a

18  matter of public record, it is in the archives of

19  the New York Times.  The NIST investigation reported

20  that in one of their meetings.

21                 Consequently, we have people who say

22  they meet and exceed, there are example after

23  example of clear violations that these people did

24  not meet and exceed the Code.  I will end my

25  comments by saying, I work for the day when the new

148

1  COMMITTEE ON HOUSING AND BUILDINGS

2  World Trade Center development will be under the

3  legal jurisdiction of the New York City Building and

4  Fire Department.  And as Mr. Fidler said, if indeed,

5  they do meet and exceed the Code, why would they

6  object to being under the legal jurisdiction?

7                 Finally, finally, my last comment

8  before closing is, Mr. Lombardi stated that the

9  Buildings Department, the Fire Department is

10  welcomed to come in, and they are welcome to write

11  up things.  That is really true.  However, whatever

12  they find, whatever they write up, the Port

13  Authority has no legal obligation to do anything

14  about it.  We must change it for public safety, for

15  confidence, so the City can rise again, and so no

16  one, ever again, will ever needlessly die in

17  buildings that were not safe enough for human

18  inhabitation.

19                 Thank you very much.

20                 CHAIRPERSON PROVENZANO:  Thank you,

21  Sally, as always, we appreciate your input.

22                 MR. PRICE:  Madam Chair, members of

23  the Council, let me be very brief.  I represent,

24  actually, a firm that experienced evacuation on 9/11

25  first- hand.  Every single employee of Lehman

149

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Brothers was displaced on 9/11.

3                 CHAIRPERSON PROVENZANO:  Could you

4  just state your name?

5                 MR. PRICE:  My name is Ted Price, I

6  am the Director of Global Security at Lehman

7  Brothers.

8                 What happened on that day, we had

9  over 600 people in the World Trade Center.  Thank

10  God we only lost one of our employees, and the rest

11  of our 6,000 employees were across the street in One

12  World Phi and Three World Phi, every single employee

13  was evacuated on that day.

14                 And so the problem is a real problem,

15  and I represent, in many ways, you have heard the

16  solution providers, I represent the client.  And the

17  problem from my perspective is the anxiety that

18  employees face every day in today's environment of

19  going into a high- rise building in the City.  And

20  we hear about it, and so what we did in taking a

21  look at solving this problem was first, we did task

22  forcing around, studies around our stairwells.

23                 How can we increase the ambient

24  light?  What can we do about the redundancy to make

25  announcements in the stairwells? How, in fact, can

150

1  COMMITTEE ON HOUSING AND BUILDINGS

2  we increase the flow of people out of a building?

3                 Having studied that problem, and then

4  ordered and actually done the work around how many

5  handicapped people we had in our building, we

6  ordered the type of safety equipment that we could

7  use in a stairwell with a handicapped person.  And

8  those are present in all of our three buildings in

9  Manhattan today.

10                 Next, we looked at the daunting

11  problem that you are facing today, and that is,

12  external evacuation.  Non- trivial, expensive,

13  costly, depends on whether you own the building,

14  depends whether or not you are retrofitting a

15  building.  We have actually done engineering studies

16  with two of the presenters today, and we have a good

17  deal of experience.

18                 The problems are multiple.  The

19  principal problem could be cost.  We looked at, for

20  instance, and ruled out very quickly, external

21  staircases.  We looked at pedestrian bridges, which

22  were basically, also, too costly.

23                 Then we narrowed it down, and we

24  started to look at independent systems, parachutes,

25  much too costly in terms of danger.

151

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 We looked at these hoist systems that

3  were, one of them that was presented today, and

4  there are some worries, and my concern about the

5  number of cables that would be involved in that

6  hoist system, how many cables would be off your

7  building, how fast you could get, you know, the

8  cable rewound.  And also, it is a much more daunting

9  experience on a 30- story building to have an

10  individual actually harnessed in a safety device and

11  essentially go over the side of the building.

12                 In a word, what we are looking for is

13  an external egress system that moves the flow of

14  occupants from the top floors of a 30- plus- story

15  building.  Ideally, we want a cost- effective system

16  with a small number of building parts, modest power

17  requirements that could be permanently mounted and

18  maintained in all- weather conditions.  Importantly,

19  we require a system that meets the stringent

20  criteria of our building engineers, the City's

21  authorities, and the Fire Department.

22                 We have not found a solution.  We

23  have looked for two years, we are still open, we are

24  still talking to several of the presenters that

25  presented today.  Our employees care, they are very

152

1  COMMITTEE ON HOUSING AND BUILDINGS

2  concerned about how to get off the tallest floors of

3  our building.  It could be a terrorist incident, but

4  it could be a fire or an internal bomb that

5  essentially disables and makes the stairwells

6  unusable.

7                 Thank you very much.

8                 CHAIRPERSON PROVENZANO:  Thank you.

9  Council Member Comrie.

10                 COUNCIL MEMBER COMRIE:  Mr. Price, I

11  want to thank you, you are quite illuminating.

12  Could you inform the Council when you have selected

13  or focused on a system that you think would meet

14  those requirements that you just espoused?

15                 MR. PRICE:  We will, indeed.  As a

16  matter of fact, several of these systems actually,

17  probably, have got to come before the Council or in

18  front of the City's authorities in terms of, for

19  instance, the Baker System involves a cable.  The

20  cable has to cross to another roof- top or to the

21  street.  It has got to be permanently mounted.  And

22  basically, cables, it looks simple, but in terms of

23  actually, the deployment of that system is not

24  simple.

25                 You have to have a certain degree of,

153

1  COMMITTEE ON HOUSING AND BUILDINGS

2  in terms of the Baker Chute point of view.  If you

3  drop it off the side of a building, you actually

4  have to pull it away from the building. Non- trivial

5  when you look at the weight of what the Baker Chute

6  is, as it is on the ground dead weight that you

7  would have to pull away from a building.  In that

8  particular instance, you would not need a cable.

9  But if you were to cross to another roof- top, you

10  would need a cable.

11                 In many of these systems, escape

12  systems as well, you would actually have to have the

13  full authority of the City to essentially implement

14  this system.  But we are concerned, we got that top

15  level guidance of our firm to say, keep on looking,

16  let's see if we can find a system that will work in

17  extremist.

18                 COUNCIL MEMBER COMRIE:  Thank you.

19  Thank you, Madam Chair.

20                 COUNCIL MEMBER BREWER:  I have a

21  question, are a lot of the big firms that have big

22  buildings in the City coordinating, collaborating,

23  talking about this, how is the discussion?

24  Obviously, you are very knowledgeable, you have a

25  background that lends itself.  But I was just

154

1  COMMITTEE ON HOUSING AND BUILDINGS

2  wondering if the topic that is taking place amongst

3  other firms, or is it just, are you taking the lead

4  from Lehman?

5                 MR. PRICE:  Well in many ways it is

6  our personal lead simply because of the anxiety that

7  the employees have, actually having had that

8  experience.  If you work on a daily basis with

9  people who are on the 31st floor, and the 30th

10  floor, and the 29th floor, in essence, when you have

11  got a fire alarm activation, people are actually

12  looking to evacuate the building almost immediately.

13    I mean, this is a principle problem for us.

14  Indeed, if we have any incident external to our

15  building, we have an extraordinary problem around

16  education of how we would convince people to stay in

17  place.  Because sheltering in place could save

18  people's lives, rather than going out into the

19  chaos, stay in the building.

20                 However, I think you will find, and

21  this is something that we do share with our other

22  corporate security directors in a lot of high- rise

23  buildings has said, employees are probably going to

24  evacuate as quickly as possible, if the stairwells

25  are available.

155

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 Now, have we talked to some of our

3  other colleagues about external systems?  Yes, but

4  they are all looking for proof of concept.  Frankly,

5  with the people that you have talked with today, the

6  only system that is actually deployed is the Baker

7  System.  And it is deployed off of Air Traffic

8  Control Towers.

9                 Indeed, interestingly, my security

10  director in Tokyo, because Lehman is New York,

11  London, Tokyo, like a lot of other banks, and in

12  essence, my security director in Tokyo comes out of

13  the Air Force and actually has been in a Baker

14  Chute.  And as he said to me, it is a daunting

15  experience first time in the Chute.  But it is

16  basically not very difficult, and really will serve

17  your purpose say for 15 stories.

18                 Now can we make it work at 30

19  stories, there are some real challenges.

20                 COUNCIL MEMBER BREWER:  Thank you

21  very much.

22                 CHAIRPERSON PROVENZANO:  Thank you,

23  gentlemen and lady, thank you very much.

24                 We have Larry Blinn, these are the

25  last folks to testify.  Lawrence Shapiro, Julie

156

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Greenberg.  Again, you are the last three, please, I

3  ask you to be brief.  We still have another matter

4  on.

5                 MS. GREENBERG:  Good afternoon, thank

6  you so much for your time and consideration.  My

7  name is Julie Greenberg.  I am here from Cassara

8  Consulting.  I am actually reading some testimony

9  that is being submitted by Easter Seals.  We are

10  very appreciative of the opportunity to provide

11  testimony and comment on the External Rescue System,

12  and it is currently under development by Escape

13  Rescue Systems.

14                 It gives us great hope to learn that

15  the New York City Council's Committee on Housing and

16  Buildings will be examining alternate means of

17  egress from high- rise buildings.  Easter Seals is

18  the United States' oldest and non- profit

19  organization, serving both children and adults with

20  all types of disabilities.

21                 As a result of the tragedy for

22  September 11th, Easter Seals has spearheaded a

23  national education initiative called, "Safety First:

24    Working Together for Safe Communities," to

25  emphasize the need for evacuation planning that

157

1  COMMITTEE ON HOUSING AND BUILDINGS

2  leaves no one behind.  We were especially pleased to

3  learn the concept for external building evacuation

4  systems, specifically addresses escape movement of

5  people with disabilities.

6                 Based upon discussions with

7  representatives of Escape, we were made aware of

8  several proposals that are pending before the

9  National Fire Protection Association, Means of

10  Egress Committee, and other NFPA committees

11  concerning alternate means of egress and escape from

12  buildings.

13                 As the founder of the effort to

14  standardized building accessibility in the 1960s,

15  and the first Secretariat for the ANFIA- 117

16  Committee, Easter Seals has promoted a universal

17  design concept and construction that facilitate use

18  of buildings for the broadest range of people,

19  including those who use mobility aids and devices.

20  As you can imagine, many people with even moderate

21  mobility impairments, convert, traverse stairs only

22  with difficulty, and often, not at all.  Across the

23  country, and particularly in cities with high- rise

24  buildings, safety and evacuation procedures are more

25  important than ever, especially for the more than 54

158

1  COMMITTEE ON HOUSING AND BUILDINGS

2  million people in the US, with a disability.

3                 Most safety and emergency plans,

4  however, do not address specific needs of people

5  with disabilities, older adults, those who have an

6  injury or illness, or others who may be pregnant.

7  Escape's concept provides a solution to this problem

8  in many buildings, including existing ones, but

9  needs to achieve a level of recognition, acceptance,

10  in the Fire Safety and Building Safety communities

11  before there is likely to move ahead to actual

12  installations.

13                 Therefore, we support a critical

14  review of current concepts, and look forward to the

15  findings of the Council's Committee on Housing and

16  Buildings on External Building Evacuation System,

17  and alternate escape devices and systems with design

18  intended for us by disabled persons.  We will follow

19  closely the result of today's Committee hearing, and

20  their efforts in seeking the best solutions to

21  problems of safe egress from buildings that leaves

22  no one behind.

23                 And it is signed from Christine

24  McMahon, the Chief Operating Officer of Easter

25  Seals.

159

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 Thank you.

3                 CHAIRPERSON PROVENZANO:  Thank you.

4                 MR. SHAPIRO:  Madam Chairwoman

5  Provenzano and esteemed members of the Committee, my

6  name is Lawrence Shapiro.  I am a third generation

7  Professional Engineer, a partner in the firm of

8  Howard I. Shapiro and Associates.  Our practice is

9  centered on means and methods of construction,

10  predominantly in New York City. Design of numerous

11  crane, derrick, hoist, construction elevator, and

12  scaffold installations on construction sites

13  throughout the City come out of our office.  You see

14  our work every day without knowing its authorship.

15                 I have been asked to speak here by

16  Escape Rescue Systems to offer my assessment for the

17  practicality of their proposed system.  I am here as

18  a professional and civic interest, not compensated,

19  and do not expect to benefit from the commercial

20  introduction of this company's products.  I am a

21  nuts and bolts practitioner with little patience for

22  chimerical schemes.

23                 My professional expertise gives me a

24  practical view of several aspects of the proposed

25  system.  In particular, its structural mounting on a

160

1  COMMITTEE ON HOUSING AND BUILDINGS

2  building roof is similar to a derrick, its

3  mechanical workings resemble a crane, and its

4  functionality has parallels to the operations of a

5  construction elevator.

6                 On the basis of its specifications, I

7  have formed a general impression of the proposed

8  system:  I believe that this equipment could work as

9  advertised.  Of course, saying that it could work is

10  not the same as saying that it will, nor can I speak

11  with authority about economics or marketability, but

12  on a technical level, the concept is practicable.

13                 The weight of the equipment on the

14  roof is similar to the loading imposed by a derrick.

15    Having engineered derrick installations to

16  numerous new and existing buildings, I can say with

17  authority that most modern major buildings can be

18  made to accommodate the design loads.

19                 Except for the accordion- like

20  cabins, components are comparable to those that are

21  used commonly for other types of hoisting equipment.

22    This is not new technology, just an adaptation of

23  tried- and- true equipment to a new usage.

24                 Deployment to the floors is not

25  fundamentally different from methods that are in

161

1  COMMITTEE ON HOUSING AND BUILDINGS

2  current use for elevators for high- rise

3  construction.  While new buildings could be readily

4  designed to accommodate such systems, many, if not

5  most, existing buildings could be fitted as well.

6                 Existing regulations properly protect

7  the public from brash ideas, but on occasion,

8  something new comes along that warrants a chance to

9  be proven.  With regard to building escape systems,

10  I believe now is such an occasion.  We will never

11  know how effectively these devices can work until

12  they are installed on some real buildings.  Why not

13  start in New York, the place that has the most

14  potential to benefit?

15                 CHAIRPERSON PROVENZANO:  Thank you.

16                 MR. BLINN:  Good afternoon,

17  Chairperson Provenzano and members of the Council.

18  My name is Larry Blinn.  I am the Senior Vice-

19  President and Principal Owner of Regional

20  Scaffolding and Hoisting.  Our company specializes

21  in complicated scaffolding jobs, specialty rigging

22  jobs, temporary and permanent elevators throughout

23  the tri- state area.

24                 This is my esteemed colleague,

25  sitting next to me, that has just said, Regional

162

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Scaffolding and Hoisting sees a real need and

3  benefit for the Escape Rescue System.  We have

4  looked at all points of it.  We feel it is a

5  wonderful idea, and we see no reason why it cannot

6  be installed in any building in the tri- state area.

7                 It is imperative for the City of New

8  York to take a good look at this.  We believe it is

9  an innovative system, and in our opinion, is a new

10  lifeboat and escape rescue system.  We feel it

11  should be employed, or at least looked into.

12                 CHAIRPERSON PROVENZANO:  Thank you

13  very much.  Next, Intro. No. 57, in case you forgot.

14  It is a local law to amend the Administrative Code

15  of the City of New York in relation to emergency

16  lighting and exit sign.  We have Stephen Kramer,

17  Chief of Staff to Commissioner Lancaster from the

18  Department of Buildings. Peter Cantillo, New York

19  City Housing Authority, and Robert Podmore from the

20  New York City Housing Authority.  Again, I thank

21  everyone that attended the hearing today, and I am

22  sorry that some of you had to stay so long.

23                 Steve, if you want to start?

24                 MR. KRAMER:  Good afternoon, almost

25  good evening, Chair Provenzano, and members of the

163

1  COMMITTEE ON HOUSING AND BUILDINGS

2  Committee.  My name is Stephen Kramer, and I am the

3  Chief of Staff for the Department of Buildings, and

4  appearing on behalf of Patricia Lancaster, who is

5  unavailable at this time.  On her behalf, I thank

6  you for the opportunity to testify concerning Intro.

7  257, regarding backup power for emergency lighting

8  and exit signs.

9                 Under the correct Code, beginning in

10  1984, the exit lighting and exit signage for all new

11  buildings were required to have backup power from

12  batteries or emergency generators.  In that statute,

13  Local Law 16 of '84, also required retroactive

14  upgrades for certain groups of buildings.  These

15  buildings included pre- 1984 office buildings,

16  schools, and hotels, and all pre- 1984 high- rise

17  mercantile, industrial, and institutional buildings.

18    These retroactive requirements gave proprietors

19  three options:  They could connect the exit lights

20  and signs to battery packs; they could connect them

21  to emergency generators; or they could connect them

22  to special dedicated circuits.  The last option,

23  connecting the exit lights and signs to dedicated

24  circuits is less desirable. This is because

25  connecting the lights or signs to dedicated circuits

164

1  COMMITTEE ON HOUSING AND BUILDINGS

2  still leaves them dependent upon an external source

3  of power making them vulnerable in case of a

4  blackout or other failure of power.  Intro. 257

5  would eliminate the third option for the pre 1984

6  buildings, requiring buildings that connected their

7  emergency lights and exit markings to dedicated

8  circuits to connect them to battery packs or

9  generators, like post- 1984 buildings.  The bill

10  would give owners until January 1st, 2007 to

11  upgrade.

12                 Local Law 16 of 1984 did not set

13  forth retroactive requirements for apartment

14  buildings or apartment hotels. Therefore, only

15  apartment buildings built after 1984 required to

16  have emergency backup power for exit lights and

17  signs.

18                 Intro. 257 requires that all

19  residential high- rises, including the apartment

20  buildings and apartment hotels install those

21  emergency lights and exit signs backup by either

22  battery packs or generators.  This means that even

23  in the event of complete power outage the means of

24  egress of these high- rise buildings will be

25  visible.  The bill further requires that these

165

1  COMMITTEE ON HOUSING AND BUILDINGS

2  emergency backup installations occur on or before

3  January 1st, 2007.

4                 To ensure compliance, the bill also

5  requires that the Fire Department conduct annual

6  inspections.

7                 The Department supports the overall

8  intent, but cautions that when evaluating any new

9  proposal it is important to weigh the proposal's

10  benefits against the cost.  This is particularly

11  true where, as here, and there may be other

12  technological solutions that would achieve similar

13  goals.

14                 In addition, we would like to make

15  two minor comments concerning the bill, which are

16  technical and major.

17                 First, a drafting comment:

18  Subdivisions (d) of Sections 27- 382 and 27- 384

19  only need to be applicable to J- 2 buildings and to

20  J- 1 buildings that are residential hotels.  J- 1

21  buildings that are not residential hotels are

22  already covered in proposed subdivision (c) of both

23  sections.

24                 Second, Intro. 126- A, which we

25  finished discussing just a while ago, contains a

166

1  COMMITTEE ON HOUSING AND BUILDINGS

2  requirement that is identical in effect to one of

3  this bill's proposals, both require emergency backup

4  for the high- rise buildings previously exempted

5  from that requirement.  If Intro. 126- A is passed,

6  this bill's corresponding section will be redundant

7  and unnecessary.

8                 Thank you.

9                 MR. PODMORE:  Chairperson Provenzano,

10  members of the Committee, good afternoon.  I am

11  Robert Podmore, Deputy General Manager for

12  Operations of the New York City Housing Authority.

13  I am here to testify with regard to Intro. 257 and

14  its potential impact on the Housing Authority.

15  Joining me is Peter Cantillo --

16                 CHAIRPERSON PROVENZANO:  Could you

17  pull the mic a little closer to you?

18                 MR. PODMORE:  Joining me is Peter

19  Cantillo, Assistant Deputy General Manager for

20  Operations.  NYCHA manages 345 developments

21  throughout the five boroughs with a population

22  exceeding 418,000 residents in 2,702 buildings.

23                 The safety of our residents is of

24  paramount concern to the Authority.  We have made it

25  a priority to institute a full range of up- to- date

167

1  COMMITTEE ON HOUSING AND BUILDINGS

2  fire- safety, emergency procedures, and equipment in

3  our buildings, from fire safety plan advisories in

4  every apartment, self- closing doors, smoke alarms,

5  and regular inspections to be sure these are in good

6  working order.

7                 Health and safety is also the highest

8  priority of our capital program as we maintain and

9  modernize our buildings, their elevators, plumbing,

10  heating and electrical systems, fire standpipes,

11  brickwork and roofs.

12                 Intro. 257 would require all exit

13  lighting and exit signs to be connected to a battery

14  or emergency power source in all our buildings by

15  January 1st, 2007.  For NYCHA that would mean six to

16  twelve emergency lights on 44,188 floors, a minimum

17  of 265,104 fixtures.  We estimate the cost of

18  compliance at approximately $150 million.

19                 As there will be no funding to meet

20  the requirements of Intro. 257, difficult choices

21  would have to be made between the demands of our

22  maintenance and modernization program and the

23  emergency lighting system.  We would need to stretch

24  our limited capital resources and delay or eliminate

25  other capital improvements.

168

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 The size of NYCHA and the relatively

3  short time period in which to meet these

4  requirements would mean that NYCHA would have to

5  assign a large portion of this undertaking to

6  electrical contractors outside the Authority, which

7  would contribute significantly to the cost.

8                 The costs of upkeep and maintenance

9  of an emergency lighting system at NYCHA

10  developments also need to be factored in. The design

11  and installation of the system would have to be

12  resistant to thefts and vandalism.

13                 As I said, NYCHA has an ongoing

14  maintenance and modernization program.  Rather than

15  a calendar period, NYCHA could meet the requirement

16  of Intro. 257 more cost effectively in the course of

17  our regular maintenance and modernization.  Rather

18  than attempting to retrofit all our 2,702 buildings

19  in a little over two year's time, we suggest it

20  would be more economical and practical for NYCHA to

21  install emergency lighting for exits and signs as

22  part of projects already in progress.

23                 There is no higher priority than

24  safety at the Housing Authority.  The deportment of

25  our employees and residents during last summer's

169

1  COMMITTEE ON HOUSING AND BUILDINGS

2  blackout was exemplary, as was the reaction of our

3  employees and residents on 9/11.  In both

4  emergencies, NYCHA was in the forefront of the

5  City's response and recovery.

6                 NYCHA stands ready to work with you.

7  I am happy to answer any questions you may have.

8                 CHAIRPERSON PROVENZANO:  Councilwoman

9  Brewer.

10                 COUNCIL MEMBER BREWER:  Thank you

11  very much, and I appreciate your testimony.  These

12  are some of our very best agencies, and I know the

13  work you do, I think you hear me complimenting you

14  all the time.

15                 My question is, I know that Stephen

16  Kramer talked about alternative technologies.  I do

17  think that during the blackout we did hear,

18  particularly on the West Side because we have a lot

19  of tall buildings, even in well managed buildings,

20  we heard people going up to try to find elderly

21  relatives and the stairwells were dark.  And so the

22  question is, what kinds of alternatives are less

23  expensive, possibilities for the NYCHA building and

24  non- NYCHA building might be possible?  Obviously if

25  you are, you know, extremely vigilant, I suppose,

170

1  COMMITTEE ON HOUSING AND BUILDINGS

2  you would have already thought about some of these

3  longer lasting opportunities in terms of lighting,

4  but they are probably expensive.

5                 So I am just wondering, we all

6  realize that there is a problem, meaning that at

7  some point the blackout, or other kinds of incidents

8  are going to take place, and people will be trying

9  to find relatives and friends and get home and so

10  on.  And I think we need to think of a way of

11  addressing it, and the new technology may allow us

12  to do it more efficiently.

13                 MR. PODMORE:  We, first of all, I

14  just want to say that in the blackout last summer,

15  it was an extended blackout.

16                 COUNCIL MEMBER BREWER:  Yes.

17                 MR. PODMORE:  That we really have not

18  had to deal with in the course of many years.

19                 COUNCIL MEMBER BREWER:  I understand.

20                 MR. PODMORE:  We attempted to deal

21  with that through human resources as much as we

22  could.  Putting people in the buildings with

23  flashlights.

24                 COUNCIL MEMBER BREWER:  NYCHA

25  actually might be better suited for that than other

171

1  COMMITTEE ON HOUSING AND BUILDINGS

2  buildings because you have a staff there.  Whereas,

3  other buildings are harder to find, would be my

4  guess.

5                 MR. PODMORE:  We have an Emergency

6  Service Department that works 24 hours, seven days a

7  week.

8                 COUNCIL MEMBER BREWER:  Right.

9                 MR. PODMORE:  So again, we may have

10  resources that others may not have.

11                 The generators, the backup generators

12  would be very, very expensive to try to have in over

13  2,700 buildings, and require major rewiring for

14  emergency fixtures to be tied for that.

15                 The scenario we laid out here in

16  costs are really based on battery backup.  But they

17  would only give you a few hours, at best, of

18  emergency lighting.  So these are really good for

19  evacuation procedures, but they would not really

20  extend for a longer electrical outage.

21                 Again, we think that, again, we

22  talked, we heard earlier about the photoluminescence

23  and the electroluminescence, and some of these

24  things may be beneficial once they are looked into.

25  And we defer to the DOB, on which would be the best

172

1  COMMITTEE ON HOUSING AND BUILDINGS

2  to use. There are some benefits to having emergency

3  lighting and backup lighting.  They are limited

4  residential space, and residential buildings are a

5  little bit different than commercial buildings.

6                 In commercial buildings you easily,

7  as long as it is determined evacuation is

8  appropriate, it is done quickly, and people return

9  to their residence, of which they would be returning

10  to our buildings.

11                 COUNCIL MEMBER BREWER:  Right.

12                 MR. PODMORE:  So there was a little

13  bit of a difference.

14                 COUNCIL MEMBER BREWER:  There is a

15  difference.  I just think that it is in all of our

16  best interest to use our limited resources for the

17  most benefit, and we are willing to do that.  I just

18  think that we should all be cautious as to what we

19  choose would be the best way to go.

20                 COUNCIL MEMBER BREWER:  I should know

21  this, what is in your stairwells now for the

22  evacuation, in terms of lighting? What is it?  It is

23  all regular electrical.

24                 MR. PODMORE:  Yes, it has fluorescent

25  lights.

173

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 COUNCIL MEMBER BREWER:  And the exit

3  sign as well as the stairwell lighting, I assume.

4                 MR. PODMORE:  They are exit lights.

5  I know on the lower floors, I am not sure if that

6  goes all the way up.

7                 COUNCIL MEMBER BREWER:  The exit

8  signs would be on the lower floors.

9                 MR. PODMORE:  Yes.

10                 COUNCIL MEMBER BREWER:  Yes, and then

11  otherwise --

12                 MR. PODMORE:  The illuminated ones.

13                 COUNCIL MEMBER BREWER: - -  you use

14  stairwell lighting.

15                 MR. PODMORE:  And the signs.

16                 COUNCIL MEMBER BREWER:  The signs.

17                 MR. PODMORE:  Right.

18                 COUNCIL MEMBER BREWER:  Okay.  Mr.

19  Kramer, in terms of residential, because I know you

20  were talking about commercial earlier, are there

21  some lower costs or alternative?

22                 MR. KRAMER:  The only one that has

23  been suggested, and I really do not know its

24  capability in the Housing Authority type of

25  situation, but it would be, perhaps,

174

1  COMMITTEE ON HOUSING AND BUILDINGS

2  photoluminescence, which could be, perhaps,

3  feasible.  Where you do a lot of painting, there are

4  classes may not last as long, but on the other hand,

5  if you are using strips in areas where there isn't

6  paint, it might be a viable option.

7                 COUNCIL MEMBER BREWER:  Okay.  And

8  this is my ignorance, again, we did get quite a few

9  calls for, not for NYCHA, but for other buildings

10  during the extended blackout.  Although, people did

11  show up as early as possible in order to see aging

12  relatives.  Each stairwell is supposed to have what

13  currently, in terms of the Buildings Department

14  Code?

15                 MR. KRAMER:  I believe that in

16  residential buildings, I believe that it is a

17  battery pack, and the battery packs, as I think we

18  have all learned, I think it is a four- hour rated

19  minimum.  And so, after that period of time you

20  would have to be dependent on flashlights.

21                 And even photoluminescence has a

22  limited life until it has been recharged with light.

23                 COUNCIL MEMBER BREWER:  Okay, all

24  right.  Thank you very much, Madam Chair.

25                 CHAIRPERSON PROVENZANO:  Thank you.

175

1  COMMITTEE ON HOUSING AND BUILDINGS

2  No more questions?  Thank you very much.

3                 MR. PODMORE:  Thank you very much,

4  thank you for the support.

5                 CHAIRPERSON PROVENZANO:  Andrew

6  Hoffman and Rick Bell, must be tired of sitting.

7  You are the last ones.

8                 MR. HOFFMAN:  My name is Andrew

9  Hoffman.  I am the President of the Community

10  Housing Improvement Program, (CHIP).  It is a

11  Property Owners Trade Association.  I am also the

12  owner operator of Rent Regulated Housing in New York

13  City.

14                 While Intro. 257 regarding the

15  mandatory installation of battery powered exit

16  lighting is good intention, due to the high cost

17  factors and limited benefit, I believe the Council

18  should reject this introduction.  Emergency lighting

19  is expensive.  You cannot just go to Home Depot or

20  some hardware store and buy battery backup fixtures,

21  you must hire a license electrician to wire the

22  devices into the buildings power supply, and this

23  can cost upwards of $500 per fixture, even higher

24  for smaller buildings.

25                 High cost is certainly a major issue,

176

1  COMMITTEE ON HOUSING AND BUILDINGS

2  but I believe the larger issue is the benefit these

3  fixtures will provide.  The fixtures we are

4  discussing typically have an operating of 90

5  minutes.  They will provide light for 90 minutes.

6  In the last blackout, the lights went off at 3:00

7  p.m.  If you remember, it was a nice day, and by

8  sunset all the batteries all over the City were

9  expended and the stairways were dark.

10                 While it may make sense in an office

11  building while tenants in the event of a power

12  outage are required to leave because they really

13  cannot stand there, in their buildings, offices, and

14  work.  For a home, an apartment building, it is

15  much, much different as we just discussed.

16                 People come and go all the time, up

17  and down, they are not being evacuated out of their

18  apartment building. Typically, in a short duration

19  blackout where the 90- minute light fixture may be

20  applicable, people do not want to stay home.

21  Remember the Mayor at the beginning of the blackout

22  last time was telling people to stay home, use your

23  flashlight, read a book, listen to the radio, stay

24  home.

25                 Commercial and residential buildings

177

1  COMMITTEE ON HOUSING AND BUILDINGS

2  are much different, you cannot work in a commercial

3  building.  You are supposed to leave, and that is

4  why there is the emergency lighting.

5                 I believe that these arguments were

6  made in 1986 when Local Law 89 from 1986 was passed,

7  which exempted residential buildings, and that is

8  why only commercial buildings are required to have

9  the emergency lighting.

10                 I suggest that the same facts are

11  true as they were in 1986, and I ask the Committee

12  to reject this measure.  Thank you for giving me the

13  opportunity to present to you today.

14                 MR. BELL:  Good afternoon.  It is

15  quite a privilege to be here to speak, and to speak

16  last.  I will not take advantage of that by going on

17  and on, but I do appreciate your patience in staying

18  and listening.  My name is Rick Bell.  I am

19  Executive Director of the New York Chapter of the

20  American Institute of Architects, and I am speaking

21  here today on behalf of our 3,500 professional and

22  affiliated members, and for Chapter President Mark

23  Gingberg who was here earlier, but had to leave.

24                 We believe that the City Council's

25  Intro. 257 has some good ideas, but requires further

178

1  COMMITTEE ON HOUSING AND BUILDINGS

2  study before enactment, and that this should occur

3  with the adoption of the new International Building

4  Code.  The proposed legislation would require

5  emergency lighting and exit signs in all new

6  apartment buildings, and in all existing apartment

7  buildings by January 1st, 2007.

8                 When architectural firms design

9  housing, we recommend to our clients that we put

10  emergency lighting and exit signs in the buildings.

11  But we also know that the value of the emergency

12  lighting, from experience during the recent

13  blackout, is mitigated, as we have heard from other

14  speakers,  by the duration of the battery packs.

15  And that there are problems when emergency lighting

16  does not work.

17                 The proposed changes will also raise

18  the cost of housing, as others have noted and has

19  have other co- changes on occasion.  This increased

20  cost should be reflected in increased budgets for

21  the New York City Housing Authority and the

22  Department of Housing Preservation and Development.

23  Previous Code changes made by the Council have not

24  always been coupled with increased budgets for these

25  agencies, thereby, reducing the production of

179

1  COMMITTEE ON HOUSING AND BUILDINGS

2  affordable housing.  We need to be very careful to

3  study the cost and benefits of all Code changes.

4  They are suggested often with the best of

5  intentions, and are usually worth the additional

6  cost, but other solutions may be better or have

7  initial or lower maintenance cost, for example, the

8  discussion of photoluminescence tape, may be a

9  better way to achieve part of the goals of the

10  proposed legislation.

11                 With the Council's participation and

12  the support of the City, we have been going through

13  a process of adopting, we hope, the International

14  Building Code with locally required amendments.  The

15  IBC code, currently, does require exit signs and

16  emergency lighting in residential buildings.  We

17  would suggest that the issues in this legislation,

18  particularly, the requirement of retrofitting

19  existing buildings be part of the larger upgrading

20  of our Building Code.  This would permit these ideas

21  to be studied in the context of an updated code

22  allowing for improved life safety in the most cost-

23  effective matter.

24                 Thank you for your time and

25  consideration, and the opportunity to testify here

180

1  COMMITTEE ON HOUSING AND BUILDINGS

2  today.  Thank you.

3                 CHAIRPERSON PROVENZANO:  Council

4  Member Jackson.

5                 COUNCIL MEMBER JACKSON:  Good

6  afternoon.  I wanted to ask you a question, Sir, I

7  am sorry, I forgot your name.

8                 MR. HOFFMAN:  Andrew Hoffman.

9                 COUNCIL MEMBER JACKSON:  Andrew, you

10  suggest that, you recommend that we reject this

11  proposal; is that correct?

12                 MR. HOFFMAN:  Yes.

13                 COUNCIL MEMBER JACKSON:  And I guess

14  because of the cost factor involved; is that

15  correct?

16                 MR. HOFFMAN:  The cost and the

17  benefit, the ratio is just not there.  You know you

18  do not get much benefit for the cost that this

19  incurs.

20                 COUNCIL MEMBER JACKSON:  Okay.  I

21  remember clearly during the blackout, I live in a

22  residential building, pre- World building, six-

23  floor elevator, and it was totally pitch black.  And

24  even with the stairwell at the end where there is

25  big windows, once it got dark, you just could not

181

1  COMMITTEE ON HOUSING AND BUILDINGS

2  see at all.

3                 What do you suggest that we do in

4  order to ensure, and especially with the environment

5  that experts predicts that there are going to be

6  more blackouts in the future, what do you suggest

7  that we do in order to address the situation,

8  besides just rejecting it?

9                 MR. HOFFMAN:  Well some of the things

10  we have talked about earlier as far as Intro. 126

11  with luminescent stripping, may actually be

12  applicable here.  Because what you are looking to do

13  in the staircase is navigate the staircase.  You

14  want to know where the wall is, you want to know

15  where the door is.

16                 COUNCIL MEMBER JACKSON:  And the

17  chairs, I mean the handle.

18                 MR. HOFFMAN:  Yes, I know myself, I

19  navigated through the use of my palm, this light was

20  enough for me.  And a lot of people had little

21  flashlights on their key chains.  It is going to be

22  impossible to cover all the parameters here.  But

23  you came home, and it was certainly an hour and a

24  half after the blackout started.  So there is not

25  much that can be done as far as the current

182

1  COMMITTEE ON HOUSING AND BUILDINGS

2  technology is concerned, as far as battery backup

3  lighting.  It is impossible to get a battery big

4  enough in order to give you enough of a range where

5  you will really provide some sort of service for

6  somebody.

7                 I know like NYCHA said earlier, the

8  human resources are certainly key.  You know all my

9  guys have battery, have flashlights, and we were

10  walking people up stairways in my buildings.  And

11  the neighbors all pitched in.  You know, you cannot

12  account for everything that is going to happen.

13                 COUNCIL MEMBER JACKSON:  I do know,

14  at least now, at the bottom of each door it has that

15  with apartment number and supposedly the Fire

16  Department should be able to look at that, is that

17  correct, when there is a fire.  Do you know what I

18  am talking about?

19                 MR. HOFFMAN:  Yes, that is not a

20  Building Code requirement.

21                 COUNCIL MEMBER JACKSON:  No?

22                 MR. HOFFMAN:  No.

23                 COUNCIL MEMBER JACKSON:  So you do

24  that voluntarily?

25                 MR. HOFFMAN:  Some buildings maybe

183

1  COMMITTEE ON HOUSING AND BUILDINGS

2  doing that voluntarily.

3                 COUNCIL MEMBER JACKSON:  Okay.  You

4  know, quite frankly, I am not, I do think that the

5  landlords need to be able to, building owners need

6  to be able to do something in order to ensure that

7  when there are blackouts that the residents of the

8  building should be able to navigate.  And it may be,

9  like we said, the illuminating stripes, and I am not

10  saying if it is photo or whatever, but in some sort

11  of way in order for people to navigate in and out of

12  the building.

13                 MR. HOFFMAN:  I think it is certainly

14  something that we could all sit down and discuss.

15                 COUNCIL MEMBER JACKSON:  Okay, thank

16  you, Madam Chair.

17                 CHAIRPERSON PROVENZANO:  No more

18  questions, I thank you very much.  I also thank my

19  colleagues, Councilwoman Brewer and Councilman

20  Jackson for hanging out with me.  Hey, Leroy, you

21  are still here, and Councilman Leroy Comrie, it is

22  always nice to have faithful Committee members.

23                 We have a Memorandum in Opposition to

24  Intro. 257, submitted by RSA, that will be included

25  in the record.

184

1  COMMITTEE ON HOUSING AND BUILDINGS

2                 And Intro. No. 126- A and Intro. No.

3  257 are laid over.

4                 Thank you all, this hearing is

5  adjourned.

6                 (Hearing adjourned at 5:15 p.m.)

7                 (The following was read into the

8  record.)

9

10  Testimony of:

11  Rent Stabilization Association

12                 Memorandum in Opposition, Intro. 257

13                 The Rent Stabilization Association of

14  New York represents over 25,000 owners and managers

15  of multiple dwellings in New York that collectively

16  contain over one million members and we agree with

17  the stated intent of Intro. 257.  However, in its

18  current form owners simply could not afford.

19  Because of the economic hardship, we must oppose

20  Intro. 257 at this time.

21                 Intro. 257 would require all

22  residential apartment buildings to install emergency

23  lighting and exit signs (all equipped with a battery

24  backup) in halls and stairwells for use in the event

25  of a power outage.  Rewiring existing lighting

185

1  COMMITTEE ON HOUSING AND BUILDINGS

2  systems and adding the required backup is a job only

3  licensed electricians are qualified to perform.

4  Prices for such work would range from $200.00 to

5  $500.00 per floor per stairwell.

6                 Given the severe economic situation

7  many owners are facing with the dramatic rise in

8  real property taxes, fuel and insurance this

9  proposal is prohibitively expensive at this time.

10  The RSA would be happy to sit down and discuss these

11  issues with the Council.

12

13  Testimony of:

14  Alexander Wood

15  Director

16  Disabilities Network of NYC

17                 Good afternoon.  I am Alexander Wood,

18  and I am the director of the Disabilities Network of

19  NYC.

20                 The Disabilities Network of New York

21  City is a coalition of consumers, advocates and

22  professional organizations representing and working

23  of behalf of people of all ages with physical

24  disabilities in the life of the City by

25  strengthening appropriate citywide policies,

186

1  COMMITTEE ON HOUSING AND BUILDINGS

2  resources, services and legal protections; assuring

3  reasonable accommodations; and building informed and

4  accurate public perception about people with

5  disabilities.

6                 I want to thank the City Council

7  Committee on Housing & Buildings for conducting this

8  hearing.  Other members of the Disabilities Network

9  and I over the past year have been paying close

10  attention to accessibility issues in the codes

11  regulating the built environment.  The

12  administration has been responsive, and included

13  people with disabilities and advocates for community

14  concerns on some of the 13 technical committees,

15  which will propose amendments to the International

16  Building Code to make it fit the needs of all New

17  Yorkers.

18                 Like every other New Yorker, after

19  September 11, I have been much more focused on

20  emergency planning.  A story that has not come out

21  in the news very much is that many people with

22  disabilities working in the World Trade Center never

23  made it out of the building.  Last Fall, I learned

24  about Escape Rescue Systems and their external

25  evacuation systems, and how rapidly they can be

187

1  COMMITTEE ON HOUSING AND BUILDINGS

2  deployed like a lifeboat system for a sinking ship,

3  and so long as accessibility is factored into the

4  design, I think this is an excellent concept that

5  New York City should allow to be developed for local

6  use and amend the relevant fire safety codes and

7  building codes.

8                 Primarily the Disabilities Network

9  supports the innovations of egress that Escape

10  Rescue Systems represents and appreciates the

11  potential for this technology to save lives.

12                 Thank you.

13

14  Testimony of:

15  Jerrold Nadler

16  Congressman, 8th District, New York

17  Congress of the United States

18                 Good afternoon.  As the Congressional

19  representative for Lower Manhattan, I am here today

20  to urge the City to take the lead in examining new

21  technologies that can help ensure that we are better

22  prepared for future emergencies.

23                 The tragic loss of thousands of lives

24  on 9/11 is something we cannot ever forget.  Every

25  day we are reminded of the tragedy that occurred.

188

1  COMMITTEE ON HOUSING AND BUILDINGS

2  And, while we must move forward, we must also look

3  back and evaluate how the systems we rely on in

4  emergencies performed.  It is our responsibility to

5  analyze the evacuation systems and methods employed

6  on that day in order to ensure that we are as

7  prepared as possible for future emergencies, a fire

8  in a skyscraper as occurred in Chicago, or another

9  widespread blackout or any other situation during

10  which use of the primary means of evacuation from

11  high- rise buildings is not sufficient.  Hopefully,

12  none of these situations will come to pass. However,

13  we must prepare for every eventuality and ensure

14  that we examine every possible solution to increase

15  the chances of saving as many lives as possible in

16  an emergency situation.  And, we must ensure that

17  new solutions work not only for the able- bodied,

18  but also for people of all ages and physical

19  abilities.

20                 New York City is in the process of a

21  long overdue revision of its Building Code.  It is

22  incumbent on the City to not only bring the Building

23  Code up to date, but to revise the Code so that it

24  is flexible enough to meet future needs.  We have

25  seen time and time again that, in some

189

1  COMMITTEE ON HOUSING AND BUILDINGS

2  circumstances, simply relying on stairwells and

3  other traditional new solutions that are being

4  developed and tested in other countries, and adopt a

5  Building Code that can evolve with new technologies

6  to ensure that the City of New York stays ahead of,

7  rather than behind, the curve.

8                 It is my understanding that the

9  Technical Committee on Means of Egress of the

10  National Fire Protection Association (NFPA), one of

11  the primary standard setting organizations in the

12  country, recently voted to amend the Life Safety

13  Code promulgated by the NFPA to recognize external

14  evacuation devices and systems as an added means of

15  escape and egress.  We have the perfect opportunity

16  to do the same of New York City as the process of

17  revising our Building Code progresses.  It would be

18  a travesty for the City of New York to adopt a new,

19  updated Building  Code without providing the

20  flexibility needed to ensure that new systems for

21  evacuation could be thoroughly analyzed and, if

22  deemed appropriate, approved.

23                 Why should we limit evacuation

24  systems to those located inside a building, when it

25  has been proven time and time again that current

190

1  COMMITTEE ON HOUSING AND BUILDINGS

2  systems, stairwells, fire exits, et cetera,

3  sometimes cannot be used to quickly and safely

4  evacuate everyone during an emergency and bring fire

5  and rescue workers into the building to help control

6  the situation?  The City of New York should be

7  leading the way in exploring new solutions to old

8  problems.  I applaud the Buildings Committee for

9  holding this hearing.

10                 Thank you for your time and

11  attention.

12

13  Testimony of:

14  Joseph Zicherman, Ph.D., SFPE

15  Principal

16  Fire Cause Analysis, Richmond, California

17                 Since the World Trade Center incident

18  of September 11, 2001, many suggestions have been

19  suggested in the fire safety community concerning

20  evacuation techniques for high- rise buildings

21  during an emergency.  Ideas offered have ranged from

22  widening existing exit stairways to using

23  specialized equipment to help occupants escape in

24  non- traditional manners.  In general, such

25  suggestions can be classified as either conventional

191

1  COMMITTEE ON HOUSING AND BUILDINGS

2  or traditional approaches, i.e. Methods used for

3  high- rise applications before 9/11, or

4  unconventional or non- traditional, i.e. Methods

5  representing relatively new, or untried concepts, or

6  concepts which until now have been prohibited in the

7  United States or on which the codes have been

8  silent.

9                 While existing codes do not yet

10  recognize anything but traditional means of egress,

11  the mainstream media has nonetheless published

12  articles about some of these unorthodox measures,

13  many of which have been around years.  As fire

14  safety professionals, I believe that our community

15  should, as a minimum, be familiar with them, even if

16  we do not condone use of specific systems.

17                 Unconventional exit strategies:

18                 Conventional approaches to high- rise

19  fire safety planning currently integrated active and

20  passive construction features, such as

21  compartmentation, fire sprinklers, and pressurized

22  stairwells, that have proven reliable over the

23  years. Unconventional exiting approaches, on the

24  other hand, may include such non- traditional safety

25  measures as winch- like lowering systems, escape

192

1  COMMITTEE ON HOUSING AND BUILDINGS

2  chutes, and parachutes designed to dissipate the

3  kinetic energy developed by descending evacuees to

4  deposit them safely on the ground at a manageable

5  speed.  Such devices pose significant questions

6  about potential regulatory issues and human

7  behavior.  Currently, unconventional exiting

8  strategies are not typically part of the U.S. System

9  design, emergency planning, or regulatory review,

10  although NFPA 101, Life Safety Code, and NFPA 5000,

11  Building Construction and Safety Code, do address

12  evacuation slides to a limited extent since they are

13  used by industrial facilities, such as oil- cracking

14  towers, and in air traffic control towers on some

15  military bases.  Despite our lack of familiarity and

16  use of such systems in the United States, however,

17  many used in other countries.

18                 For example, more than 100,000 UL-

19  listed evacuation systems, based on a Japanese

20  external evacuation device, which can hold

21  individuals weighing up to 225 pounds (102

22  kilograms), are reportedly in use in that country.

23                 Examples can be found in other

24  countries as well as the US, and these include

25  chute- and slide- based devices that typically use a

193

1  COMMITTEE ON HOUSING AND BUILDINGS

2  fabric tube or slide deployed at locations as high

3  as 30 stories above ground with sufficient run- out

4  room to allow evacuees to slow before making a safe

5  exit.  An example of such a chute- based system has

6  been installed at the Ramstein Air Force Base air-

7  traffic control tower.

8                 Regulatory and listing issues are

9  important for any technologies used to provide

10  assurances of life safety to building occupants, and

11  development of regulations governing these systems

12  will be challenging for a variety of reasons.

13                 Such regulations will have to

14  acknowledge that controlled- descent devices are

15  last resorts, to be used only when conventional

16  exits are no longer serviceable, and address the

17  significantly different expectations for conditions

18  and risks under which these systems will be used.

19                 Precedent for the use of

20  unconventional approaches already exists in Sections

21  7.2 and 7.2.10 of NFPA 101.  Section 7.2.10,

22  entitled "Slide Escapes," specifically recognizes

23  slide escapes as a means of egress, when permitted

24  in Chapters 12 through 42 of NFPA 101.

25                 Section 7.2.10 also states that slide

194

1  COMMITTEE ON HOUSING AND BUILDINGS

2  escapes must be of an approved type and that the

3  rated capacity of such slides must be taken into

4  account in overall egress planning.  Chapter 40,

5   "Industrial Occupancies," allows slides to be used

6  for 100 percent of the emergency exiting capacity of

7  high- hazard occupancies, but only when potential

8  evacuees are regularly trained in their use. And

9  Appendix A.11.2.2 states that escape chutes,

10  controlled descent devices, and elevators "should

11  not be substituted for the provisions of this Code."

12                 Some unconventional controlled

13  descent components and devices have already been

14  listed by UL and are thus subject to ongoing

15  inspection programs to maintain those listings.

16  However, UL's documentation notes that the devices

17  have been evaluated for mechanical operation only

18  and are other intended for use as a means of egress,

19  during fires.  The evaluations conducted to date

20  address only specific properties, such as rate of

21  descent speed, capacity, and durability or

22  resistance to corrosion.

23                 Enhancements to building performance

24  in the coming years will certainly entail another

25  look at non- traditional means of building

195

1  COMMITTEE ON HOUSING AND BUILDINGS

2  evacuation.

3                 Broader use of elevators for

4  evacuation, simultaneous evacuation of all floors in

5  a high- rise, new ways of evacuating occupants with

6  mobility impairments, and use of unconventional

7  systems are all open for discussion.

8                 First responders already use some of

9  the systems descried here, and their use in high-

10  hazard occupancies or tall structure with limited

11  numbers of occupants, especially those who are

12  physically fit, may be reasonable.

13                 Developing necessary codes and

14  standards to address this problem area will be

15  challenging.  Positive steps have been taken in this

16  direction by the NFPA in general by acting as a

17  clearing house and focus for discussion for these

18  systems, and in particular by the NFPA 101 Life

19  Safety Committee, which has acknowledged these

20  systems, albeit as last resorts in extreme

21  emergencies, in recent ballot activities updating

22  NFPA 101. Likewise, ASTM is apparently going to

23  consider this area of technology thru its committee

24  E- 06, which deals with building performance issues.

25                 Issues to be addressed, based on my

196

1  COMMITTEE ON HOUSING AND BUILDINGS

2  observations, include the following:

3                 Use issues associated with the

4  question of "when" external evacuation systems may

5  be needed, as when core systems are unavailable.

6                 Issues of movement of the disabled

7  when core systems may be unavailable or cannot be

8  used for their means of movement.

9                 First responder use of these systems.

10                 Organized categorization and research

11  into relevant human factors issues.

12                 Impact of adoption of regulations and

13  technology on existing life safety pre- planning and

14  budgeting.

15                 I believe that, given New York City's

16  unfortunate experience in this area and the very

17  attenuated focus on emergency egress issues that

18  exists, the current legislative initiative is

19  worthwhile.  Pursuing this initiative to explore and

20  hopefully address finding an appropriate place for

21  these technologies in the NYC Building Code and

22  encouraging the development of responsible,

23  underlying technologies for their applications and

24  regulation, subject to the caveats I recommend

25  above, as well as those of others, will, I believe,

197

1  COMMITTEE ON HOUSING AND BUILDINGS

2  benefit the City of New York in the long run.

3                 For Fire Analysis;

4                 Joseph B. Zicherman, Ph.D., SFPE.

5                 (Hearing concluded 5:15 p.m.)

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

198

1

2              CERTIFICATION

3

4

5     STATE OF NEW YORK   )

6     COUNTY OF NEW YORK  )

7

8

9                 I, PAT WTULICH, do hereby certify

10  that the foregoing is a true and accurate transcript

11  of the within proceeding.

12                 I further certify that I am not

13  related to any of the parties to this action by

14  blood or marriage, and that I am in no way

15  interested in the outcome of this matter.

16                 IN WITNESS WHEREOF, I have hereunto

17  set my hand this 26th day of April 2004.

18

19

20

21

22

23

---------------------

24                          PAT WTULICH

25

199

1

2             C E R T I F I C A T I O N

3

4

5

6

7

8

9            I, PAT WTULICH, do hereby certify the

10  aforesaid to be a true and accurate copy of the

11  transcription of the audio tapes of this hearing.

12

13

14

15

16

17

18

19

20

21

22                 -----------------------

PAT WTULICH

23

24

25