Int. No. 564

By Council Members Garodnick, Brewer, Fidler, Gonzalez, James, Koppell, Martinez, Sanders Jr., Seabrook, Weprin, White Jr. and Gerson

..Title

A Local Law to amend the administrative code of the city of New York, in relation to enforcing the Energy Conservation Construction Code of New York State.

..Body

Be it enacted by the Council as follows:

Section 1. Statement of findings and purpose.

The Energy Conservation Construction Code of New York State (the Energy Code) sets standards for the energy performance of buildings throughout New York.  However, while the Energy Code states that its administration and enforcement within municipalities is the “responsibility” of that municipality, the Code does not dictate the manner of such enforcement.  In addition, for existing buildings, the Energy Code only applies when a renovation leads to the replacement of at least 50% of a building’s subsystem or subsystems, meaning there are no energy efficiency requirements for many renovation projects of a lesser magnitude or lower threshold.

Accordingly, the Council declares that it is reasonable and necessary to establish parameters to enforce the Energy Conservation Construction Code of New York State within New York City and to impose energy standards for renovation projects of a lower threshold than that mandated by the Energy Code.

§2. Chapter one of title 27 of the administrative code of the city of New York is amended by adding a new subchapter 20 to read as follows:

# Subchapter 20

Energy Performance

§27-1080	Definitions.

§27-1081	Enforcement of the energy code.

§27-1082	Inspection of compliance documents.

§27-1083	Guidance for renovations.

§27-1080 Definitions.  a. The following definitions shall apply for the purposes of this subchapter:

(1) “Design professional” means a registered architect or professional engineer licensed by the New York state department of education;

(2) “Energy code” means the energy conservation construction code of New York state as provided for in article 11 of the energy law, or any portion thereof, and any modification of or amendments thereto;

(3) “Equipment” means plumbing, heating, electrical, insulating, ventilating, air conditioning, and refrigerating equipment, elevators, escalators, and other mechanical additions or installations but does not include any items constituting an industrial or commercial process;

(4) “Subsystem” shall mean a building assembly made up of various components which serve a specific function, including but not limited to exterior walls, roof and ceiling, floors, lighting, piping, ductwork, and equipment.

§27-1081 Enforcement of the energy code.  a. The department shall enforce the energy code and shall not grant any permit for the construction or alteration of a building or structure or for any other type of permit for a project that is subject to the energy code unless the department has received a signed written statement from a design professional stating that to the best of his or her knowledge, belief and professional judgment, the plans and specifications are in compliance with the energy code or a statement from such design professional that such plans or specifications did not meet the minimum threshold necessary to mandate compliance with the energy code or any energy performance measures established pursuant to this subchapter.

b. A design professional shall provide to the department a written certification that after the completion of any test or series of tests, such as those for heating, ventilation and air conditioning and system balancing required under the energy code, in the professional opinion of the design professional, the appropriate system is operating as designed.  The design professional shall retain copies of the test reports for a minimum period of twenty years.

c. Whenever plans or specifications are submitted in connection with applications for building permits, such plans or specifications shall show all data and features of the building, the equipment, and the subsystems in sufficient detail to permit an evaluation by the department of such plans or specifications for compliance with the energy code.  The plans shall clearly note the applicable provisions of the energy code and the method used to achieve compliance.

d. Documentation to verify compliance with the energy code shall be made available when requested by the department to permit an evaluation by the department of any plans or specifications for compliance with such energy code.

§27-1082 Inspection of compliance documents.  The department shall inspect the plans and any necessary documentation required under or requested pursuant to subdivisions c and d of section 27-1081 of this code prior to granting a permit for at least twenty percent of the applications for permits for projects subject to the energy code in any given fiscal year.

§27-1083 Guidance for lesser renovations.  By July 1, 2008, the department shall develop rules to impose energy performance measures for a building subsystem or subsystems not subject to the energy code because less than fifty percent of such building subsystem or subsystems is being replaced.  Such rules shall, at a minimum, include requirements for lighting, windows, heating, air conditioning and ventilation.

§3. If any section, subdivision, sentence, clause, phrase or other portion of this local law is, for any reason, declared unconstitutional or invalid, in whole or in part, by any court of competent jurisdiction, such portion shall be deemed severable, and such unconstitutionality or invalidity shall not affect the validity of the remaining portions of this law, which remaining portions shall continue in full force and effect.

§4. This local law shall take effect on July 1, 2007; provided, however, that if Local Law 99 of 2005 becomes effective after July 1, 2007, this local law shall take effect on such later date; and further provided that the commissioner of buildings shall take all actions necessary, including the promulgation of rules, to implement this local law on or before the date upon which it shall take effect.

LS# 727

TNN

07-14-06, 12:30 pm