Int. No. 920

By Council Members Wong, Louis, Morano and Ariola

..Title

A Local Law to amend the New York city fire code, in relation to storing and charging mobility devices

..Body

Be it enacted by the Council as follows:

Section 1. Section FC 309.3 of the New York city fire code, as added by local law number 47 for the year 2022, is amended to read as follows:

309.3 Battery-powered industrial trucks, industrial equipment and mobility devices. Powered industrial trucks, powered industrial equipment and powered mobility devices using a storage battery shall be designed in accordance with FC 309.3.1, and shall be charged and stored in a storage, charging and/or repair facility, including any storage or charging area in Group B, R-2 or M occupancy, that is designed, installed, operated and maintained in accordance with the construction codes, electrical code and FC 309.3.2 through 309.3.4.

Exceptions.

1. Storage and charging in a Group R-3 occupancy [or in a dwelling unit in a Group R-2 occupancy] of not more than 5 powered mobility devices using a storage battery, provided that such devices are for personal use.

2. Charging of a single powered mobility device by and in the presence of its owner or user.

§ 2. This local law takes effect immediately.

DPM

LS #21714

4/30/2026 10:21 AM