Proposed Int. No. 657-A

By Council Members Garodnick, Johnson, the Public Advocate (Ms. James) and Council Members Gentile, Koo, Rose, Espinal, Levine, Williams, Lancman, Cabrera, Mendez, Crowley, Constantinides, Koslowitz, Kallos, Torres, Vacca, Rosenthal, Richards, Levin, Salamanca, Barron, Cornegy and Menchaca

..Title

A Local Law to amend the administrative code of the city of New York, in relation to the creation of a water tank inspection report database

..Body

Be it enacted by the Council as follows:

Section 1. Subdivision b of section 17-194 of the administrative code of the city of New York is amended to read as follows:

b. Any owner of a building that has a water tank as part of its drinking water supply system shall have such water tank inspected at least once annually. Such inspection shall ensure that the water tank complies with all provisions of the administrative code of the city of New York, the construction codes of the city of New York and the health code of the city of New York. The results of such inspection shall be recorded in a manner prescribed by the commissioner. Such results shall be maintained by the owner for at least five years from the date of inspection and shall be made available to the department upon request within five business days. Documentation of such annual inspection shall be submitted to the department in a form and manner prescribed by the department. Such documentation shall state whether or not all applicable requirements were met at the time of inspection and provide a description of any non-compliance with applicable requirements. The department shall request such information from the building owner or manager when contacted pursuant to subdivision c of this section.

§ 2. Subdivision e of section 17-194 of the administrative code of the city of New York is relettered subdivision f.

§ 3. Subdivision d of section 17-194 of the administrative code of the city of New York is amended, and a new subdivision e is added to such section, to read as follows:

d. Beginning March 1, [2010] 2016, and each year thereafter [for three years], the department shall submit to the council a report which shall provide information about water tank inspections for the preceding calendar year including, but not limited to:

1. the estimated number of building water tanks and the estimated number of buildings serviced by such tanks;

2. the number of complete building water tank inspection results received by the department pursuant to subdivision b of this section;

3. the number of building water tank inspection results [examined by the department and the number] received by the department that [were in] documented compliance with [subdivision b of this section] applicable requirements[;

3. the estimated compliance rate with subdivision b of this section for the city]; and

4. the number of violations issued by the department pursuant to subdivision [e] f of this section or section 141.07 of the health code.

e. The department shall forward a copy of any documentation of annual inspection received pursuant to subdivision b of this section or section 141.07 of the health code to the department of buildings within five business days of receiving such documentation.

§ 4. Article 103 of title 28 of the administrative code of the city of New York is amended by adding a new section 28-103.24 to read as follows:

§ 28-103.24 Water tank inspection information on website. The department shall provide to the public on its website, free of charge, a database that contains a copy of all building water tank inspection documentation forwarded to, and received by, the department pursuant to section 17-194 of the administrative code. Such database shall be searchable by, at minimum, property address, and shall include each building’s complete history of water tank violations, if any. Such website shall include information to assist users in determining whether a building is required to have a water tank inspection pursuant to section 17-194 of the administrative code or section 141.07 of the health code, shall provide notice that failure to conduct a required water tank inspection is a violation of law, and shall include information about how to submit a complaint about a water tank, or drinking water from a water tank, to the department of health and mental hygiene.

§ 5. This local law takes effect 120 after it becomes law; provided, however, that section 4 of this bill takes effect 180 days after it becomes law.

DSH/DSS

LS 525

7/1/15