Staff:	Jennifer Wilcox, Senior Counsel

Guillermo Patino, Senior Legislative Policy Analyst

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Legislative Financial Analyst

THE COUNCIL

Committee Report of the Infrastructure Division

Matt Gewolb, Legislative Director

Jeff Baker, Deputy Director, Infrastructure Division

COMMITTEE ON HOUSING AND BUILDINGS

Jumaane D. Williams, Chair

August 13, 2015

PRECONSIDERED INT. NO. 866:	By The Speaker (Council Member Mark-Viverito) and Council Members Gibson, Johnson and Williams (in conjunction with the Mayor)

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to regulation of cooling towers

ADMINISTRATIVE CODE:	Adds a new section 17-194.1 and a new article 317 to chapter three of title 28

Introduction

On August 11, 2015, the Committee on Housing and Buildings, chaired by Council Member Jumaane D. Williams, held a hearing to consider Preconsidered Int. No. ___. The Committee received testimony from representatives of the Department of Health and Mental Hygiene (DOHMH) the Department of Buildings (DOB), building owners and other interested members of the public.

Background

According to the Centers for Disease Control and Prevention (CDC), Legionnaires’ disease is a pneumonia-like disease caused by a bacterium called Legionella. Legionella is commonly found in aquatic environments and can live in such environments for several months. The bacterium grows easily in warm water, especially if algae and scale deposits are present.

Legionella grows in many different warm water systems that may spread water as aerosols, sprays, or mists. For example, high concentrations of Legionella can grow in cooling towers and hot water tanks if they are not disinfected and maintained. Cooling towers function as part of many modern air conditioning systems for buildings; they are used to cool water and remove unwanted heat, in the form of water evaporation, to the atmosphere. The vapor or mist created by cooling towers allows Legionella, if present in the water, to be inhaled by a person.

The level of contamination in the water source, the vulnerability of the exposed person and the intensity of the exposure influences the probability of contracting Legionnaires’ disease. Legionella grows well in the lungs and causes people to have pneumonia. According to the CDC, the majority of healthy people will not contract the disease after being exposed to the bacteria. The people who are at higher risk of becoming sick are those who are current or former smokers, are over the age of 50 years old, have a chronic lung disease, have a weak immune system, or take drugs that suppress the immune system.

A person infected with Legionnaires’ disease can have symptoms like many other forms of pneumonia such as cough, shortness of breath, fever, muscle aches, and headaches. The symptoms begin to appear 2 to 14 days after being exposed to the bacteria. A person can completely recover in several weeks by using antibiotics but may need to be hospitalized to treat the disease. To distinguish Legionnaires’ from other forms of pneumonia several laboratories perform tests to detect Legionella bacteria within the body. In the United States, Legionnaires' disease is fairly common and serious with over 25,000 cases each year and more than 4,000 deaths. The fatality rate is similar to other forms of pneumonia, which is approximately 15 percent of cases.

DOHMH is currently investigating an outbreak of Legionnaires’ disease in the South Bronx by actively investigating and testing water from cooling towers and other potential sources of Legionella. According to City officials, as of August 10, 2015, 113 individuals have contracted Legionnaires’ disease as part of the outbreak, 12 individuals have died, and 76 were treated and discharged from the hospital. All of the deceased individuals had underlying medical conditions or were older adults.

In response to the outbreak, the Commissioner of DOHMH has ordered building owners to inspect and clean their cooling towers, keep a record on when the disinfection occurred, and make such records available to the City upon request. DOHMH has stated that the outbreak has not affected the City’s drinking or bathing water and that home air conditioner units and air-conditioned environments are unaffected and safe.

Preconsidered Int. No. ___

Preconsidered Int. No. ___ would require owners of cooling towers to register such towers with DOB and develop a plan for maintaining such towers. It would also require cooling towers to be inspected and tested on a quarterly basis. If any test comes back positive for microbes, such as the bacteria that cause Legionnaires’ disease, then the owner will have to clean and disinfect the system in accordance with DOHMH regulations.

Section one of Preconsidered Int. No. ___ would add a new Article 317, entitled “Cooling Towers” to chapter three of title 28 of the New York City Administrative Code (the Code).

New section 28-317.1 would require all cooling towers to comply with new article 317 and DOB rules.

New section 28-317.2, entitled “Definitions,” would set forth the definition of cooling towers.

New section 28-317.3, entitled “Registration,” would require all cooling towers to be registered with DOB before initial operation, except that existing cooling towers would have to be registered within 60 days of the law’s passage. New section 28-317.3.1, entitled “Discontinued use,” would require owners of cooling towers to notify DOB within 30 days of removing or permanently discontinuing use of a cooling tower and to include in such notice a statement that such tower was drained and sanitized in compliance with DOHMH regulations.

New section 28-317.4, entitled “Inspecting, cleaning, disinfecting and testing,” would require all cooling towers to be inspected, tested, cleaned and disinfected in accordance with new section 17-194.1.

New section 28-317.5, entitled “Annual certification,” would require owners of such cooling towers to certify compliance with new section 17-194.1 by November 1, 2016 and every November 1 thereafter.

New section 28-317.6, entitled “Fees,” would allow DOB to charge filing fees for registration, discontinuing of use and annual certification.

New section 28-317.7, entitled “Enforcement,” would make failure to register a cooling tower or submit a certification or statement required by new article 317 a major violation.

Section two of Preconsidered Int. No. ___ would add a new section 17-194.1 to chapter one of title 17 of the Code.  Chapter one of title 17 sets out requirements for DOHMH.

Subdivision a of new section 17-194.1, entitled “Definitions,” would set forth applicable definitions.

Subdivision b of new section 17-194.1, entitled “Registration,” would require owners of buildings with cooling towers to register such cooling towers with DOB.

Subdivision c of new section 17-194.1, entitled “Maintenance program and plan,” establishes requirements for developing and implementing a maintenance program and plan in accordance with Sections 5, 6 and 7.2 of Standard 188 from the American Society of Heating, Refrigeration and Air-Conditioning Engineers (ASHRAE), entitled “Legionellosis: Risk Management for Building Water Systems.” Such plans would have to be developed by qualified individuals.

Subdivision d, entitled “Cleaning and disinfection after extended shut-down,” would require an owner to clean and disinfect cooling towers, where a cooling system has been shut down for more than seven days, within 15 days before the use of such system.

Subdivision e of new section 17-194.1, entitled “Minimum requirements for inspections and testing,” would require cooling towers to be inspected and tested every three months while a cooling tower is in use. Paragraph 1 of subdivision e would require each inspection to include an evaluation of the cooling tower and associated equipment for the presence of organic materials, biofilm, algae and other visible contaminants.  Paragraph 2 would require each inspection to include a test for microbes in the water of the cooling tower and would require DOHMH to establish (1) the targets and acceptable methods of microbial testing and laboratory analysis, (2) the levels of microbes are indicative of a maintenance deficiency that requires mitigation to prevent potential health risks and (3) the levels that present a serious health threat and require immediate action and reporting. Subparagraph a of paragraph 3 would require the owner to, within forty-eight hours of any test revealing a level of microbes indicative of a maintenance deficiency which requires mitigation to prevent health risks, clean and disinfect the cooling tower. And subparagraph b of paragraph 3 would require the owner to, immediately after a test reveals levels of microbes which present a serious health threat, notify DOHMH, clean and disinfect the cooling tower, and include an additional application of biocide.

Subdivision f, entitled “Inspections, cleaning and disinfection,” would require all inspections, cleaning and disinfection be performed by or under the supervision of a qualified person.

Subdivision g of new section 17-194.1, entitled “Abatement,” would allow DOHMH, where an owner hasn’t cleaned and disinfected a cooling tower in accordance with new subdivision e, to serve an order on the owner requiring compliance within a specified time. DOHMH would also be empowered to authorize any agency of the city to execute the order and recover the costs of such execution from the owner, where such owner did not comply with the order.

Subdivision h of new section 17-194.1, entitled “Recordkeeping,” would require an owner to keep and maintain records of all cooling tower inspections and tests for at least three years and to keep the maintenance program and plan required by new subdivision c on the premises where the cooling tower is located. The records and the plan would have to be made available to DOHMH immediately upon request.

Subdivision i of new section 17-194.1, is entitled “Enforcement.”  Paragraph 1 would allow DOHMH to enter into any property to inspect the cooling tower.  Subparagraph (i) of paragraph 2 would make any owner who fails to comply with the provisions of new section 17-194.1 liable for a civil penalty of not more than $2000 for a first violation, and not more than $5000 for a second or subsequent violation, except that such owner would be liable for a penalty of not more than $10,000 for any violation that is accompanied by or results in a fatality or serious injury. Subparagraph (ii) would make a violation of an order pursuant to subdivision g of this section a misdemeanor punishable by a fine of not more than $25,000 or imprisonment for not more than one year, or both.

Subdivision j, entitled “Electronic reporting” would allow DOHMH to require any report required by new section 17-194.1 to be submitted electronically.

Section three of this legislation includes reporting and recommendation requirements. Subdivision a of such section requires DOHMH, in consultation with DOB, to submit a report to the mayor and the speaker on or before May 15 of each year until May 15, 2025 on the number of (1) cooling towers registered, (2) annual certifications received, (3) reports sent to DOHMH of tests on cooling towers that revealed levels of microbes that represent serious health threats, (4) inspections of cooling towers, and violations cited, by DOHMH, (5) cleanings, disinfections or other actions performed by or on behalf of the department and (6) the number of persons diagnosed with legionnaires’ disease in the city in each of the previous ten years. Subdivision b requires DOHMH to submit a report to the mayor and the speaker on or before March 1, 2016 that includes an assessment and recommendations on whether this local law should be amended to include requirements for any of the building water systems described in the American Society of Heating Refrigeration and Air-Conditioning Engineers standard 188 for the year 2015. Subdivision c of section three of this legislation requires DOHMH to submit a report to the mayor and the speaker on or before March 1, 2017 on (1) the implementation of this legislation, (2) the effectiveness of this legislation in preventing outbreaks of Legionnaires’ disease and (3) recommendations for improvements or modifications to this legislation.

Section four of this legislation contains the enactment clause and provides that this local law take effect immediately, except that subdivision c of new section 17-194.1 would take effect March 1, 2016, and that new section 28-317.4 and subdivisions e, f, g, h and i of new section 17-194.1 would take effect upon the promulgation of rules by DOHMH.

Changes to Preconsidered Int. No. ___

In addition to various technical edits, Preconsidered Int. No. ___ has been amended in the following manner:

- A list of information required to be included in the registration was added.

- Owners of existing cooling towers must now register such cooling towers with DOB within 30 days instead of 45 days.

- Maintenance plans now also have to comply with sections 5 and 6 of Standard 188 from the American Society of Heating, Refrigeration and Air-Conditioning Engineers.

- The length of the shutdown which would require owners to clean and disinfect their cooling towers has been expanded from three days to five days.

- The time for owners to clean and disinfect their cooling towers after a test revealed a level of microbes indicative of a maintenance deficiency which requires mitigation to prevent health risks has been reduced from seven days to forty-eight hours.

THIS PAGE INTENTIONALLY LEFT BLANK

Preconsidered Int. No.

By The Speaker (Council Member Mark-Viverito) and Council Members Gibson, Johnson and Williams (in conjunction with the Mayor)

..Title

A Local Law to amend the administrative code of the city of New York, in relation to regulation of cooling towers

..Body

Be it enacted by the Council as follows:

Section 1.  Chapter 3 of title 28 of the administrative code of the city of New York is amended by adding a new article 317 to read as follows:

ARTICLE 317

COOLING TOWERS

§ 28-317.1  General.  All owners of cooling towers shall comply with this article and the rules of the department.

§ 28-317.2  Definitions.  As used in this article, the following terms shall have the following meanings:

COOLING TOWER.  The term “cooling tower” means a cooling tower, evaporative condenser or fluid cooler that is part of a recirculated water system incorporated into a building’s cooling, industrial process, refrigeration, or energy production system.

§ 28-317.3  Registration.  All owners of cooling towers shall register such towers with the department prior to initial operation in a form and manner as required by the commissioner and shall include, at a minimum, the following information:

1. Address of the building at which the cooling tower is located;

2. Intended use of cooling tower;

3. Name, address, telephone number and email address of owner;

4. Manufacturer of the cooling tower;

5. Model number of the cooling tower;

6. Specific unit serial number of the cooling tower;

7. Cooling capacity (tonnage) of the cooling tower;

8. Basin capacity of the cooling tower; and

9. Commissioning date of the cooling tower.

Exception:  Owners of existing cooling towers shall register such towers within 30 days after the effective date of this section.

§ 28-317.3.1 Discontinued use.  The owner or operator of a cooling tower shall notify the department within 30 days after removing or permanently discontinuing use of a cooling tower.  Such notice shall include a statement that such cooling tower has been drained and sanitized in compliance with the requirements of the department of health and mental hygiene for discontinuance of a cooling tower.

§ 28-317.4 Inspecting, cleaning, disinfecting and testing. All cooling towers shall be inspected, tested, cleaned and disinfected in accordance with section 17-194.1 of the administrative code and the rules of the department of health and mental hygiene.

§ 28-317.5 Annual certification.  The owner or operator of a cooling tower shall file a certification each year that such cooling tower was inspected, tested, cleaned and disinfected in compliance with section 17-194.1 of the administrative code and the rules of the department of health and mental hygiene, and that a maintenance program and plan has been developed and implemented as required by such section.  Such certification shall be submitted by November 1, 2016 and by November 1 of each year thereafter, or as otherwise specified in the rules of the department.

§ 28-317.6  Fees.  The department may charge filing fees for registration, discontinuing of use and annual certification as set forth in the rules of the department.

§ 28-317.7  Enforcement.  Failure to register a cooling tower or submit a certification or statement required by this article shall be classified as a major violation.

§ 2.  The administrative code of the city of New York is amended by adding a new section 17-194.1 to read as follows:

§ 17-194.1  a. Definitions.  For the purposes of this section, the following terms have the following meanings:

Building.  The term “building” has the same meaning as in section 28-101.5 of this code.

Cooling tower.  The term “cooling tower” has the same meaning as in  section 28-317.2 of this code.

Owner.  The term “owner” has the same meaning as in section 28-101.5 of this code.

b.  Registration.  An owner of a building that has a cooling tower shall register the cooling tower with the department of buildings in accordance with article 317 of chapter 3 of title 28 of this code.

c.  Maintenance program and plan. An owner of a building that has a cooling tower shall develop and implement a maintenance program and plan for such cooling tower that is in accordance with sections 5, 6, and 7.2 of the American society of heating, refrigeration and air-conditioning engineers standard 188 for the year 2015 (ASHRAE 188-2015) and with the manufacturer’s instructions. Such program and plan shall be developed by a qualified person.

d.  Cleaning and disinfection after extended shut-down. At a minimum, an owner shall clean and disinfect cooling towers that are shut-down for more than five days. Cleaning and disinfection shall occur within 15 days before the use of such tower.

e.  Minimum requirements for inspections and testing.  At a minimum, cooling towers, other than cooling towers whose use has been permanently discontinued and for which a notice of such discontinuation has been sent to the department of buildings, shall be inspected and tested at least as frequently as  every three months during periods of the year such cooling towers are in use.

1. Each inspection shall include an evaluation of the cooling tower and associated equipment for the presence of organic material, biofilm, algae and other visible contaminants.

2.  Each inspection shall include a test for the presence of microbes in the water of the cooling tower.  The department shall by rule establish (i) the targets and acceptable methods of microbial testing and laboratory analysis, (ii) the levels of microbes in cooling towers that are indicative of a maintenance deficiency requiring mitigation, including but not limited to maintenance to prevent potential health risks, and (iii) the levels of microbes in cooling towers that present a serious health threat and require immediate action and reporting.

(a) Where the results of any such test indicate levels of microbes that are indicative of a maintenance deficiency requiring mitigation, including but not limited to maintenance to prevent potential health risks, the owner of the building that has such cooling tower shall, within 48 hours after such owner knows or reasonably should know of such results, clean and disinfect the cooling tower in accordance with the rules of the department.

(b) Where the results of any such test indicate levels of microbes that present a serious health threat, the owner of the building that has such cooling tower shall, within 24 hours after such owner knows or reasonably should know of such results, (i) notify the department and (ii) clean and disinfect the cooling tower, including an additional application of biocide, in accordance with the rules of the department.

f.  Inspections, cleaning and disinfection. All inspections, cleaning and disinfection required by this section shall be performed by or under the supervision of a qualified person.

g.  Abatement.  Where an owner does not clean and disinfect a cooling tower within the time and manner set forth in subdivision e, the department may serve an order on the owner requiring compliance within a specified time.  If such order is not complied with the department may authorize any agency of the city to act as agent of the department in executing such order and may recover the costs of such execution from the owner in accordance with any of the methods set forth in sections 17-149 through 17-158.

h.  Recordkeeping.  An owner shall keep and maintain records of all inspections and tests performed pursuant to this section for at least three years.  An owner shall maintain a copy of the maintenance program and plan required by subdivision c of this section on the premises where a cooling tower is located.  Such records and plan shall be made available to the department immediately upon request.

i.  Enforcement.  1.  An officer, employee or agent of the department may enter onto any property to inspect the cooling tower, and review and obtain a copy of any records or plan required to be kept under subdivision h of this section, for compliance with the requirements of this section or any of the rules promulgated thereunder, in accordance with applicable law.

2.  (i)  Any owner of a building who violates any provision of this section or any of the rules promulgated thereunder shall be liable for a civil penalty of not more than $2,000 for a first violation, and not more than $5,000 for a second or subsequent violation, except that such owner shall be liable for a penalty of not more than $10,000 for any violation that is accompanied by or results in a fatality or serious injury.

(ii)  In addition to any civil penalties under this subdivision, a violation of an order pursuant to subdivision g of this section shall be a misdemeanor punishable by a fine of not more than $25,000 or imprisonment for not more than one year, or both.

(iii)  A notice of violation served for civil penalties pursuant to this section shall be returnable at the environmental control board or any tribunal established within the office of administrative trials and hearings.

j.  Electronic reporting.  The department may require any submission required by this section be submitted electronically.

§ 3.  a. The commissioner of the department of health and mental hygiene, in consultation with the department of buildings, shall submit a report to the mayor and the speaker of the city council on or before May 15 each year until May 15, 2025 reporting on the following information for the prior year:

(i)  The number of new cooling tower registrations and the number of notifications of discontinued use of a cooling tower pursuant to section 28-317.3 of the administrative code received by the department of buildings through November 1 of the prior year;

(ii)  The number of annual certifications that a cooling tower was inspected, tested, cleaned and disinfected pursuant to section 28-317.5 of the administrative code received by the department of buildings through November 1 of the prior year;

(iii)  The number of reports of tests for the presence of microbes that reveal levels that present a serious health threat received by the department of health and mental hygiene pursuant to paragraph 2 of subdivision e of section 17-194.1 of the administrative code;

(iv)  The number of inspections of cooling towers conducted pursuant to subdivision h of section 17-194.1 of the administrative code and the rules of the department of health and mental hygiene, along with the number and types of any violations cited during such inspections;

(v)  The number of cleanings, disinfections or other actions performed by or behalf of the department pursuant to subdivision f of section 17-194.1 of the administrative code; and

(vi)  The number of persons diagnosed with legionnaires’ disease in the city in each of the previous 10 years, to the extent known or reasonably discoverable by the department of health and mental hygiene.

b. On or before March 1, 2016, the commissioner of the department of health and mental hygiene shall submit a report to the mayor and the speaker of the city council that includes an assessment and recommendations on whether this local law should be amended to include requirements for any of the building water systems described in the American society of heating, refrigeration and air-conditioning engineers standard 188 for the year 2015 (ASHRAE 188-2015) in addition to cooling towers.

c. On or before March 1, 2017, the commissioner of the department of health and mental hygiene shall submit a report to the mayor and the speaker of the city council detailing the implementation of this local law, the effectiveness of the requirements of this local law in preventing outbreaks of legionnaire’s disease, and recommendations for improvements or modifications to this local law and any rules promulgated thereunder to further the control of legionella bacteria.

§ 4.  This local law takes effect immediately, except that subdivision c of section 17-194.1 of the administrative code as added by section two of this local law shall take effect on March 1, 2016; and that section 28-317.4 of the administrative code, as added by section one of this local law, and subdivisions e, f, g, h and i of section 17-194.1 of the administrative code, as added by section two of this local law, shall take effect upon the promulgation of rules by the department of health and mental hygiene.

8/13/15 9:42AM

See Centers for Disease Control and Prevention, Legionella (Legionnaires’ Disease and Pontiac Fever) available at: http://www.cdc.gov/legionella/index.html

See Canadian Centre for Occupational Health and Safety, Legionnaire’s Disease, available at: http://www.ccohs.ca/oshanswers/diseases/legion.html

See United States Department of Labor: Occupational Safety & Health Administration, Section II:C-1. Domestic Hot-Water Systems, available at: https://www.osha.gov/dts/osta/otm/legionnaires/hotwater.html and See United States Department of Labor: Occupational Safety & Health Administration, Section II:A. Cooling Towers, Evaporative Condensers, and Fluid Coolers, available at:  https://www.osha.gov/dts/osta/otm/legionnaires/cool_evap.html

See Canadian Centre for Occupational Health and Safety, Legionnaire’s Disease, available at: http://www.ccohs.ca/oshanswers/diseases/legion.html

The Centers for Disease Control and Prevention defines Pneumonia as “an infection of the lungs that can cause mild to severe illness in people of all ages” available at: http://www.cdc.gov/pneumonia/

See Centers for Disease Control and Prevention, Legionella (Legionnaires’ Disease and Pontiac Fever) available at: http://www.cdc.gov/legionella/index.html

See Centers for Disease Control and Prevention, Legionella (Legionnaires’ Disease and Pontiac Fever) available at: http://www.cdc.gov/legionella/index.html

See Canadian Centre for Occupational Health and Safety, Legionnaire’s Disease, available at: http://www.ccohs.ca/oshanswers/diseases/legion.html

See United States Department of Labor: Occupational Safety & Health Administration,  Section I: What is Legionnaires’ disease, available at https://www.osha.gov/dts/osta/otm/legionnaires/disease_rec.html#Causative

See The New York City Department of Health and Mental Hygiene,  Legionnaires’ Disease – Commissioner’s Order, available at: http://www.nyc.gov/html/doh/html/diseases/legi-comm-order.shtml

See The New York City Department of Health and Mental Hygiene,  Legionnaires’ Disease – Commissioner’s Order, available at: http://www.nyc.gov/html/doh/html/diseases/legi-comm-order.shtml