Staff:	Baaba K. Halm

Counsel to the Committee

Laura Rogers

Legislative Attorney

Benjamin J. Goodman

Senior Legislative Policy Analyst

THE COUNCIL

REPORT OF THE INFRASTRUCTURE DIVISION

ROBERT NEWMAN, LEGISLATIVE DIRECTOR

COMMITTEE ON HOUSING AND BUILDINGS

Hon. Erik Martin Dilan, Chair

June 22, 2010

INT. NO. 262:	By: Council Member Cabrera, Brewer, Foster, James, Lander, Palma, Reyna and Sanders

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to reducing unnecessary artificial lighting in lobbies and hallways.

BUILDING CODE:	Amends sections 1006.1 and 1006.2 of the New York City Building Code and adds section 1006.2.1.

INT. NO. 266:	By: Council Member Garodnick, Barron, Brewer, Gonzalez, James, Lander, Palma, Vann and Williams.

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to energy efficiency in commercial buildings.

Energy Conservation Code:	Amends section 28-1001.2.

INT. NO. 273:	By: Council Members Levin, Barron, Ferreras, Fidler, Gentile, Gonzalez, James, Lander, Nelson, Palma, Recchia, Van Bramer, Williams.

TITLE: 	A Local Law to amend the New York city building code, in relation to lighting of temporary walkways at construction sites.

BUILDING CODE:	Amends sections BC 3302.1, BC 3307.2.1, BC 3307.2.2 and BC 3307.6.5

INT. NO. 277:	By: Council Members Ulrich, Oddo, Brewer, James, Lander, Van Bramer and Williams

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to improving lighting efficiency in dwellings.

ADMINISTRATIVE CODE:	Amends sections 27-2038 and 27-2039.

BACKGROUND AND ANALYSIS:

On June 22, 2010, the Committee on Housing and Buildings, chaired by Council Member Erik Martin Dilan, will conduct a hearing on a legislative package of bills related to enhancing the energy efficiency of buildings.  This committee report discusses four bills included in such package which relate to lighting efficiency:  Int. No. 262, “A Local Law to amend the administrative code of the city of New York, in relation to reducing unnecessary artificial lighting in lobbies and hallways”; Int. No. 266, “A Local Law to amend the administrative code of the city of New York, in relation to energy efficiency in commercial buildings”; Int. No. 273, “A Local Law to amend the New York city building code, in relation to lighting of temporary walkways at construction sites” and Int. No. 277, “A Local Law to amend the administrative code of the city of New York, in relation to improving lighting efficiency in dwellings.”

By enacting Local Law 22 of 2008, New York City committed to reducing its greenhouse gas emissions by 30% by 2017 for government operations and by 30% citywide by 2030. PlaNYC, the City’s comprehensive sustainability plan, sets an additional goal of reducing New York City’s daily water use by 60 million gallons.  Buildings are responsible for about 75% of our greenhouse gas emissions and 85% of our water use, making improved building efficiency a crucial component of reaching these environmental goals.  Lighting consumes approximately 20% of building energy use.   Because of the high proportion of building energy use and the low comparative cost of energy efficient fixtures and systems it is recognized that lighting improvements pay for themselves in decreased energy use.  Many of the provisions of the building codes that deal with lighting are outdated – lighting technology has advanced significantly in recent years.

Recognizing the important role of building performance, Mayor Bloomberg and Speaker Quinn convened the New York City Green Codes Task Force in July of 2008.  The Task Force was composed of industry experts, union representatives, tenant advocates, environmentalists, academics, developers, buildings owners, and representatives of City agencies as well as the Mayor’s office and the Speaker’s office. This group was divided into nine technical committees, a steering committee, and an industry advisory committee. After two years of work examining each of New York City’s construction codes, the task force presented 111 recommendations for “greening the codes.” The recommended improvements are intended to raise the bar for environmental performance in buildings throughout the City.  Moreover, by standardizing green building practices it is believe that economies of scale will be achieved, bringing down the cost of “building green.”

The four bills discussed in this report, with regard to reducing the energy use resulting from lighting, are part of a package of nine bills before the Committee today and are the first of these 111 recommendations to come before the Council as proposed legislation.  The Committee expects to hear testimony from representatives of the Department of Buildings (DOB), the Department of Housing Preservation and Development (HPD), industry experts, environmentalists, academics, developers, property owners, tenants, and other persons interested in this legislation.

Int. No. 262

The New York City Building Code (Building Code) currently requires all means of egress to be illuminated but the Building Code does not credit daylight as a source of illumination for means of egress. It also requires “exit access components,” such as corridors in offices and aisles in supermarkets, to be fully illuminated even when a space is unoccupied. 	This means that emergency lighting in a locked and vacant supermarket on the ground floor of a large commercial building is required to remain on even overnight if someone is working late on an upper floor. It is wasteful and unnecessary for light fixtures to operate at full output next to a sunny window or to light unoccupied fire stairs more brightly than the rest of the nation lights fire stairs.

Moreover, the Building Code requires twice the illumination as the rest of the nation for means of egress, even in an unoccupied building. Consequently, there are those who feel that existing code provisions unnecessarily waste energy without increasing safety. Since the Building Code does not recognize daylight as illumination in means of egress, buildings cannot use daylight responsive controls to turn off electric lights when those areas are sunlit. This proposal would credit natural light as a source of illumination in a means of egress. It would also allow lighting in exit access components to be turned off when an area is unoccupied. Finally, the proposal would permit occupant sensing lighting controls to set back the lighting in means of egress to national standard illumination levels when the space is not occupied.

There may be a concern that lighting controls will malfunction during an emergency and leave fire stairs dark. However, this proposal would maintain lighting in exits, exit discharges, and public corridors 24 hours a day. Since these spaces are used on a daily basis, any failure of the lighting controls would be as noticeable as a burned out light bulb, and much less likely.

Bill section one would provide the bill’s statement of findings and purpose.  In particular, this section indicates that the Council finds that current egress illumination requirements for lobbies and hallways under the Building Code result in the artificial lighting of egress spaces which are either sufficiently lit by natural lighting or which are unoccupied, and that the Council therefore finds that energy could be saved by reducing such excessive lighting requirements for such spaces.

Bill section two would amend section 1006.1 of the Building Code by providing that exits, exit discharges, and public corridors may be illuminated at all times by either natural light or electrical lighting fixtures.  Currently, the law provides only that such exits, discharges and corridors be illuminated at all times but does not specify in what manner, but typically electric lights are employed.  This bill would allow for natural light to be used with electric lighting to achieve the required illumination thereby reducing electricity usage. In addition, section 1006.1 would also be amended to provide that exit access components be illuminated by either natural light or electrical lighting fixtures at all times that the space serviced by the exit access component is occupied.  Current law only provides that exit access components be illuminated at all times during occupancy.  Existing exceptions noted in this section of the Building Code would remain unchanged.

Bill section two would also amend section 1006.2 of the Building Code.  Currently, that section provides that the illumination level of means of egress shall not be less than 2 foot-candles (22 lux) at the floor level in exits, at exit discharges, and in public corridors, nor less than 1 foot-candle (11 lux) at the floor level in exit access components other than public corridors.  Such illumination requirements would be reduced to a lighting requirement of 1 foot-candle (11 lux) at the “walking surface level.”

However, an additional exception would be added that would provide that in exits in existing buildings that contain photoluminescent exit path markings tested in laboratory conditions with 2 foot-candles (22 lux) of activating illumination, the illumination level shall not be less than 2 foot-candles (22 lux).

Bill section three would add a new section 1006.2.1 to the Building Code that would provide that automatic, occupant sensor or photo-sensor lighting controls may be permitted within means of egress, provided that the illumination level is not reduced to a level below the minimum requirements of section 1006.2. of the Building Code and is taken directly from the Life Safety Code of the National Fire Protection Association..

Bill section four would provide that this local law would take effect on January 1, 2011, except that the Commissioner of Buildings shall take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

Int. No. 266

Automatic lighting sensors are designed to save energy by detecting motion or lack thereof in a room or space and automatically turning the lights on and off as appropriate. Such sensors are required in commercial buildings by the New York City Energy Code, and result in energy savings. Because these sensors work by detecting motion and not ambient lighting levels, they will often turn on the lights in a room even if the room is drenched in sunlight or a person is merely passing through a room to another destination. It is also the case that many of these sensors work in such a manner that the lights that are automatically turned on do not turn off for a period of time much longer than is needed.   Lights that must be turned on manually, but shut off automatically, save more energy than lights that turn on and off automatically.

Bill section one would amend section 28-1001.2 of the New York City Energy Conservation Code (Energy Code), by adding certain provisions at the end of Chapter 5, entitled “Commercial Energy Efficiency.”  Specifically, language would be added in section 501.1 regarding adding between the words “Residential Buildings” and “or the requirements”, the phrase “as modified for New York City by Appendix A of this code”.  In addition, in section 505.2.2.2, after the Exception, a new paragraph would be added indicating that, in addition to other specified requirements, for certain spaces (see below), an occupant sensor must be installed that allows lighting to be turned on only by manual control.  While such occupant sensor could not have an override switch that converts from manual-on to automatic-on functionality, the sensor may have a grace period of up to 30 seconds to turn on the lighting automatically after it has turned off the lighting if occupancy is detected.  This new provision would apply to the following spaces:

1.	classrooms (not including shop classrooms, laboratory classrooms, and preschool classrooms),

2. 	conference/meeting rooms,

3. 	employee lunch and break rooms, and

4. 	offices smaller than 200 square feet.

In addition, bill section one would amend the end of Chapter 6, by adding a section entitled “Referenced Standards”, and by adding at the end of the first paragraph a requirement that DOB rules must be referred to for any subsequent modifications that may have been made to the referenced national standards set forth in the bill in accordance with the exception contained in section 28-103.19 of the New York City Administrative Code (Ad. Code).  The bill would also provide that the application of the referenced standards shall be as specified in Section 102.8.

Bill section one would also add an asterisk to the section titled, “ASHRAE,” after the row heading “90.1—2007”, and a footnote at the end of the section titled “ASHRAE”, indicating that: “* as modified in Appendix A”.

Additionally, bill section one would add a new Appendix A, entitled “Modified Energy Standard”, by adding such Appendix after Chapter 6 and before the Index.  The added headings would read as follows:

APPENDIX A

MODIFIED ENERGY STANDARD FOR BUILDINGS, EXCEPT FOR LOW-RISE RESIDENTIAL BUIDLINGS

SECTION ECC A101

SCOPE

In new A101.1, entitled “Scope”, it would be provided that this Appendix provides the modifications to the nationally recognized standard ASHRAE/IESNA Standard 90.1 Energy Standard for Buildings Except for Low-Rise Residential Buildings, governing commercial energy efficiency. The addition would further state that where a referenced publication has been modified for New York City as by the New York City Construction Codes and the New York City Energy Conservation Code, every reference to such publication shall be deemed to include all such modifications.

New section ECC A102, entitled “Energy Standard for Commercial Buildings”, would add section A102.1, entitled “General”, which would provide that the standards for energy efficiency in commercial buildings as defined in section 202 of this Code shall be in accordance with chapter 5 of this Code or in accordance with ASHRAE/IESNA Standard 90.1 Energy Standard for Buildings Except for Low-Rise Residential Buildings, 2007 edition, modified for New York City as follows.  In addition, section A102.1 would require that the rules of DOB must be referred to for any subsequent additions, modifications or deletions that may have been made to this standard in accordance with section 28-103.19 of the Ad. Code.

New section A102.1 would also add to the end of chapter 9 provisions entitled “Lighting” which would provide that paragraph (a) of section 9.4.1.2 would be deleted and replaced with a new paragraph (a) that would provide that an occupant sensor must be installed that turns lighting on by manual control and automatically turns lighting off within 30 minutes of all occupants leaving a space or by manual control in the following spaces:

1.	classrooms (not including shop classrooms, laboratory classrooms, and preschool classrooms),

2. 	conference/meeting rooms,

3. 	employee lunch and break rooms, and

4. 	offices less than 200 square feet (18.5 m2) in area.

In addition, such occupant sensor may not have an override switch that converts from manual-on to automatic-on functionality and may have a grace period of up to 30 seconds to turn on the lighting automatically after the sensor has turned off the lighting if occupancy is detected.  An exception would be added for offices less than 200 square feet (18.5 m2) in area equipped with lighting controls activated by photosensor.

Bill section two would provide that this local law would take effect on January 1, 2011, except that the Commissioner of Buildings shall take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

Int. No. 273

The proposal would also update outdated illumination standards for temporary walkways, foot bridges, and sidewalk sheds. Among other changes, these updates would allow sidewalk sheds to use photo-sensors to turn off artificial lighting when there is sufficient illumination from daylight. Implementing this proposal would save energy and money without compromising on safety.

For safety purposes, the City’s Building Code requires that temporary walkways and sidewalk sheds at construction sites be lit and requires them to be illuminated 24 hours a day with inefficient incandescent light bulbs, irrespective of how well lit these areas may be by natural light during different portions of the day, and with no standards currently in place for the efficiency of that lighting.  Though this construction lighting is temporary at any particular site, altering how these areas are lit at construction sites throughout the City, which can number in the hundreds or even thousands at any point in time, will have a lasting impact on energy use.

Bill section one would add the definition of “photosensor” to section BC 3302.1 of the Building Code in the appropriate alphabetical order in that section.  The definition of this term would be “[a] device that detects light and varies the electricity provided to a lamp or ballast according to ambient illumination. All photosensors shall operate in a manner such that if a photosensor stops working then lamps will receive electricity by default.”

Bill section two would amend the second unnumbered paragraph of section BC 3307.2.1 of the Building Code to revise the minimum lighting requirements for temporary walkways at construction sites, such as those that redirect pedestrian traffic, to be a minimum of 1 foot-candle (11 lux) measured at the level of the walking surface and would also require that all lamps that are used have a minimum luminous efficacy of 45 lumens per watt or greater, be instant start, and be rated to operate at temperatures of 5 degrees Fahrenheit and higher. This lighting would continue to be used in conjunction with natural lighting, as the Building Code currently permits, but that section would be further amended to authorize the use of photosensors to control the artificial lighting as a function of available natural light.

Bill sections three and four would amend the second unnumbered paragraph of section BC 3307.2.2 and item 2 of section BC 3307.6.5 of the Building Code, respectively, to establish similar lighting requirements for footbridges and sidewalk sheds.

Bill section five provides that this local law would take effect on January 1, 2011, except that the Commissioner of Buildings would have to take whatever actions were necessary for its implementation, including the promulgation of rules, prior to that effective date.

Int. No. 277

The Housing Maintenance Code (HMC) currently contains outdated requirements that hallways, stairs, and laundry rooms remain lighted at all times and that the lighting in those spaces be of a minimum number of watts, which is a measure of energy consumption, rather than using a standard of illumination.  This bill changes the standard used in the HMC from watts to foot-candles, and establishes a minimum level of illumination required in public halls and stairways.

Bill section one would set forth the statement of findings and purpose of the legislation.  Specifically, this section states that certain current lighting requirements of the HMC are outdated and do not conform with other New York City codes, in particular the New York City Energy Conservation Code.  In addition, this section would note that certain lighting requirements in the HMC also imply that lights in certain parts of apartment buildings, including hallways, stairs and common laundry facilities, be fully on continuously, even when those areas are unoccupied.  This section expresses the Council’s intent that these requirements should be updated and revised in order to improve lighting efficiency in New York City apartment buildings.

Bill section two would amend section 27-2038(a)(1) of the Ad. Code to require that in every public part of multiple dwellings and tenant-occupied two-family dwellings, that natural lighting is permitted as well as electric lighting fixtures and shall in the aggregate provide an illumination level of no less than 1 foot-candle, measured at the floor level, rather than using wattage levels.  Currently, section 27-2038 requires that incandescent or fluorescent lights of a certain wattage be used for lighting public halls, stairs, fire stairs and fire towers which would preclude the use of other, perhaps more energy efficient technologies, such as illumination through the use of light emitting diodes (LEDs).  This bill would change this by amending subdivision (a) to expand the illumination requirements to all public areas in a covered dwelling, not just those specifically recited and by deleting the incandescent and fluorescent lighting requirements found in Paragraphs (2) and (3) of section 27-2038, as well as current subdivision (b) of such section.  Current subdivision (c) of such section would be relettered as new subdivision (b).

Bill section three would amend section 27-2039 of the Ad. Code. The heading of such section would be amended to read: “Illumination to be provided day and night; owner’s responsibility”, changed from the current title: “Lighting to be provided at night; owner’s responsibility”.

The introductory clause of Section 27-2039(b) would be amended to read, “Notwithstanding the provisions of subdivision a of this section, the owner of a multiple dwelling shall keep all required lights on continuously,” deleting the word “burning” from immediately before “continuously” but would retain the substantive obligation to keep fire stairs and fire towers lit at all times, as well as stairs and hallways where there is no or inadequate natural lighting.  Section 27-2039(c) would be amended by deleting the requirement that multiple dwelling owners provide electric lights “at all hours of the day and night” in common laundry rooms when natural light is deemed insufficient by HPD and replacing it with language allowing the installation of automatic, occupant sensor or photo-sensor lighting controls in mechanical equipment rooms, storage rooms and laundry rooms, provided that certain, specified conditions are met.  These conditions include the presence of switch controllers equipped for fail-safe operation ensuring that if the sensor or control fails, the lighting levels will be at levels required by section 27-2038 of the Ad. Code; requiring illumination times set for a minimum 30-minute duration for occupant sensors; and requiring that occupant sensors be activated by occupant movement in the area served by the lighting fixtures.

Bill section four would provide that this local law would take effect on January 1, 2011, except that the Commissioner of Housing Preservation and Development shall take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

Int. No. 262

By Council Member Cabrera, Brewer, Foster, James, Lander, Palma, Reyna and Sanders

A LOCAL LAW

To amend the administrative code of the city of New York, in relation to reducing unnecessary artificial lighting in lobbies and hallways.

Be it enacted by the Council as follows:

Section 1.  Statement of findings and purpose.  The Council finds that current egress illumination requirements for lobbies and hallways under the New York City Building Code result in the artificial lighting of egress spaces which are either sufficiently lit by natural lighting or which are unoccupied.  The Council therefore finds that energy could be saved by reducing such excessive lighting requirements for such spaces.

§2.  Sections 1006.1 and 1006.2 of the New York City building code are amended to read as follows:

1006.1 Illumination Required. Exits, exit discharges, and public corridors shall be illuminated at all times by either natural light or electrical lighting fixtures. Exit access components shall be illuminated by either natural light or electrical lighting fixtures at all times [during occupancy] that the space served by the exit access component is occupied.

Exceptions:

1.  Occupancies in Group U.

2.  Aisle accessways in Group A.

3. Dwelling units and sleeping units in Groups I-1, R-1, R-2 and R-3.

4.  Sleeping units of Group I occupancies.

1006.2 Illumination level. The means of egress illumination level shall not be less than [2 foot-candles (22 lux) at the floor level in exits, at exit discharges, and in public corridors, and shall not be less than 1 foot-candle (11 lux) at the floor level in exit access components other than public corridors] 1 foot-candle (11 lux) at the walking surface level.

Exceptions:

1.	For auditoriums, theaters, concert or opera halls and similar assembly occupancies, the illumination at the floor level is permitted to be reduced during performances to not less than 0.5 foot-candle (5.38 lux) for aisles and cross aisles, and 0.2 foot-candle (2.15 lux) for other portions of the space, provided that the required illumination is automatically restored upon activation of a premise’s fire alarm system where such system is provided. Step lights shall be provided in accordance with Section 1024.11.4.

2. 	Safe areas in assembly occupancies shall be illuminated in accordance with Section 1024.17.3.2.

3. 	Open exterior spaces used to receive occupants as Class 1 or 2 exits in assembly occupancies shall be illuminated in accordance with Section 1024.17.4.

4.	In exits in existing buildings that contain photoluminescent exit path markings tested in laboratory conditions with 2 foot-candles (22 lux) of activating illumination, the illumination level shall not be less than 2 foot-candles (22 lux).

§3.  Section 1006 of the New York city building code is amended by adding a new section 1006.2.1 to read as follows:

1006.2.1 Sensors and Controls. Automatic, occupant sensor or photo-sensor lighting controls shall be permitted within means of egress, provided that the illumination level is not reduced to a level below the minimum requirements of section 1006.2.

§4.  This local law shall take effect on January 1, 2011, except that the commissioner of buildings shall take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

LS 1001

06-04-10, 11 am

db

Int. No. 266

By Council Member Garodnick, Barron, Brewer, Gonzalez, James, Lander, Palma, Vann and Williams.

A Local Law

To amend the administrative code of the city of New York, in relation to energy efficiency in commercial buildings.

Be it enacted by the Council as follows:

Section 1. Section 28-1001.2 of the administrative code of the city of new York is amended to read as follows:

Add at the end of chapter five

Chapter 5 – Commercial Energy Efficiency

501.1 Add the following phrase between the words “Residential Buildings” and “or the requirements”: , as modified for New York City by Appendix A of this code

505.2.2.2 After the Exception, add a new paragraph to read as follows:

In addition to the above requirements, for the following spaces, an occupant sensor shall be installed that turns lighting on by manual control, and such occupant sensor shall not have an override switch that converts from manual-on to automatic-on functionality; however, the occupant sensor may have a grace period of up to 30 seconds to turn on the lighting automatically after the sensor has turned off the lighting if occupancy is detected:

1.	classrooms (not including shop classrooms, laboratory classrooms, and preschool classrooms),

2. 	conference/meeting rooms,

3. 	employee lunch and break rooms, and

4. 	offices smaller than 200 square feet.

Add at the end of chapter six

Chapter 6 – Referenced Standards

Add at end of the first paragraph the following:

Refer to the rules of the department for any subsequent modifications that may have been made to the referenced national standards set forth herein in accordance with the exception contained in Section 28-103.19 of the Administrative Code.  The application of the referenced standards shall be as specified in Section 102.8.

Add to section titled, “ASHRAE,” after the row heading “90.1—2007” an asterisk.

Add at end of section titled, “ASHRAE” a footnote to read as follows: * as modified in Appendix A

Appendix A – Modified Energy Standard

Add a new Appendix A after chapter 6 and before the Index to read as follows:

APPENDIX A

MODIFIED ENERGY STANDARD FOR BUILDINGS, EXCEPT FOR LOW-RISE RESIDENTIAL BUIDLINGS

SECTION ECC A101

SCOPE

A101.1 Scope. This appendix provides the modifications to the nationally recognized standard ASHRAE/IESNA Standard 90.1 Energy Standard for Buildings Except for Low-Rise Residential Buildings, governing commercial energy efficiency. Where a referenced publication has been modified for the City of New York as by the New York City Construction Codes and the New York City Energy Conservation Code, every reference to such publication shall be deemed to include all such modifications.

SECTION ECC A102

ENERGY STANDARD FOR COMMERCIAL BUILDINGS

A102.1 General. The standards for energy efficiency in commercial buildings as defined in Section 202 of this code shall be in accordance with Chapter 5 of this code or in accordance with ASHRAE/IESNA Standard 90.1 Energy Standard for Buildings Except for Low-Rise Residential Buildings, 2007 edition, modified for New York City as follows. Refer to the rules of the department for any subsequent additions, modifications or deletions that may have been made to this standard in accordance with Section 28-103.19 of the Administrative Code.

Add to the end of chapter 9

Chapter 9 – Lighting

9.4.1.2  Delete paragraph (a) of Section 9.4.1.2 and replace with the following:

a. 	An occupant sensor shall be installed that turns lighting on by manual control and automatically turns lighting off within 30 minutes of all occupants leaving a space or by manual control in the following spaces:

1.	classrooms (not including shop classrooms, laboratory classrooms, and preschool classrooms),

2. 	conference/meeting rooms,

3. 	employee lunch and break rooms, and

4. 	offices less than 200 square feet (18.5 m2) in area.

Such occupant sensor shall not have an override switch that converts from manual-on to automatic-on functionality, and the occupant sensor may have a grace period of up to 30 seconds to turn on the lighting automatically after the sensor has turned off the lighting if occupancy is detected.

Exception: offices less than 200 square feet (18.5 m2) in area equipped with lighting controls activated by photosensor.

§2. this local law shall take effect on January 1, 2011, except that the commissioner of buildings shall take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

JH

6-4-10

EE 13

LS # 1003

Int. No. 273

By Council Member Levin, Barron, Ferreras, Fidler, Gentile, Gonzalez, James, Lander, Nelson, Palma, Recchia, Van Bramer, Williams.

A Local Law

To amend the New York city building code, in relation to lighting of temporary walkways at construction sites.

Be it enacted by the Council as follows:

Section 1.  Section BC 3302.1 of the New York city building code, as enacted by local law number 33 for the year 2007, is amended by adding a certain definition to be placed in appropriate alphabetical order to read as follows:

PHOTOSENSOR. A device that detects light and varies the electricity provided to a lamp or ballast according to ambient illumination. All photosensors shall [fail on] operate in a manner such that if a photosensor stops working then lamps will receive electricity by default.

§2. Section BC 3307.2.1 of the New York city building code shall be amended by amending the second unnumbered paragraph of such section to read as follows:

All temporary walkways shall be illuminated at all times either by natural or artificial light. The level of illumination shall be [the equivalent of that produced by 200 watt, 3400 lumen minimum, standard incandescent lamps enclosed in vandal-proof fixtures and spaced 15 feet (4572 mm) apart and 8 feet (2438 mm) above the floor level] a minimum of 1 foot-candle (11 lux) measured at the level of the walking surface. All lamps shall have a minimum luminous efficacy of 45 lumens per watt or greater, be instant start, and be rated to operate at temperatures of 5 degrees Fahrenheit and higher. Artificial lighting units shall be inspected [nightly] daily; and burned out or inoperative units shall be replaced or repaired immediately. Photosensors may be used to control artificial lighting according to the amount of natural light available.

§3. Section BC 3307.2.2 of the New York city building code is amended by amending the second unnumbered paragraph to read as follows:

All foot bridges shall be illuminated at all times either by natural or artificial light. The level of illumination shall be [the equivalent of that produced by 200 watt, 3400 lumen minimum, standard incandescent lamps enclosed in vandal-proof fixtures and spaced 15 feet (4572 mm) apart and 8 feet (2438 mm) above the floor level] a minimum of 1 foot-candle (11 lux) measured at the level of the sidewalk walking surface. All lamps shall have a minimum luminous efficacy of 45 lumens per watt or greater, be instant start, and be rated to operate at temperatures of 5 degrees Fahrenheit and higher. Artificial lighting units shall be inspected [nightly] daily; and burned out or inoperative units shall be replaced or repaired immediately. Photosensors may be used to control artificial lighting according to the amount of natural light available.

§4. Section BC 3307.6.5 of the New York city building code is amended by amending item 2 to read as follows:

2. The underside of sidewalk sheds shall be illuminated at all times either by natural or artificial light. The level of illumination shall be [the equivalent of that produced by 200 watt, 3400 lumen minimum, standard incandescent lamps enclosed in vandal-proof fixtures and spaced 15 feet (4572 mm) apart and 8 feet (2438 mm) above the floor level] a minimum of 1 foot-candle (11 lux) measured at the level of the sidewalk walking surface. All lamps shall have a minimum luminous efficacy of 45 lumens per watt or greater, be instant start, and be rated to operate at temperatures of 5 degrees Fahrenheit and higher.   Artificial lighting units shall be inspected [nightly] daily; and burned out or inoperative units shall be replaced or repaired immediately. Photosensors may be used to control artificial lighting according to the amount of natural light available.

§5. This local law shall take effect on January 1, 2011, except that the commissioner of buildings shall take such measures as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

6-4-10  12 pm

LS # 999

JH

EE 16

Int. No.277

By Council Member Ulrich, Oddo, Brewer, James, Lander, Van Bramer and Williams

A Local Law

To amend the administrative code of the city of New York, in relation to improving lighting efficiency in dwellings.

Be it enacted by the Council as follows:

Section 1.  Statement of findings and purpose.  Certain current lighting requirements of the New York City’s Housing Maintenance Code are outdated and do not conform with other New York City codes, in particular the New York City Energy Conservation Code.  In addition, certain of the lighting requirements in the Housing Maintenance Code also imply that lights in certain parts of apartment buildings, including hallways, stairs and common laundry facilities, be fully on continuously.  The Council therefore finds that these requirements should be updated and revised in order to improve lighting efficiency in New York City apartment buildings.

§2.  Section 27-2038 of the administrative code of the city of New York is amended to read as follows:

§ 27-2038 Electric lighting fixtures in certain public parts of dwellings; fixtures and lights required.  a. In every multiple dwelling and tenant-occupied two-family dwelling, the owner shall provide electric lighting fixtures for every public [hall, stair, fire stair and fire tower] part of such dwellings on every floor, in accordance with the following requirements:

[(1) If an incandescent lighting fixture is provided, it shall be capable of providing illumination of at least ten watts per twenty-five square feet of floor area or fraction thereof. Each lighting fixture shall be provided with one or more lights of a total of not less than sixty watts. Where, under this requirement, the number of watts per fixture would exceed one hundred, one or more additional fixtures shall be provided and shall be located as may be prescribed by the department, except where the distance from the fixture to the farthest intersecting wall does not exceed twenty feet.] Lighting fixtures and natural light shall in the aggregate provide an illumination level of no less than one foot-candle measured at the floor level in public parts of dwellings.

[(2) If a fluorescent lighting fixture is provided, it shall be capable of providing illumination of at least four watts cool white fluorescent light per twenty-five square feet of floor area or fraction thereof. Each lighting fixture shall be provided with one or more lights of a total of not less than twenty watts. Where, under this requirement, the number of watts per fixture would exceed forty, one or more additional fixtures shall be provided and shall be located as may be prescribed by the department, except where the distance from the fixture to the farthest intersecting wall does not exceed twenty feet.

(3) In every multiple dwelling hereafter erected, in addition to other lighting requirements, a sufficient number of incandescent or fluorescent fixtures shall be provided so that the distance between fixtures is not more than thirty feet and so that no wall is more than fifteen feet distant from a fixture.

b. The department may approve electric lighting for public halls, stairs, fire stairs and fire towers other than the incandescent and fluorescent lighting required in subdivision a of this section if such other method of electric lighting provides equivalent illumination, and meets the requirements of the electrical code.

c] b. Notwithstanding any other requirement of this section, the department may require fixtures to be so located, and additional fixtures to be installed, in order to assure that every part of every public hall, stair, fire stair or fire tower is adequately lighted.

§3.  Section 27-2039 of the administrative code of the city of New York is amended to read as follows:

§ 27-2039 [Lighting] Illumination to be provided [at] day and night; owner's responsibility. a. The owner of a multiple dwelling shall turn on all required lights in every public hall and stair at sunset every day and shall keep them on until sunrise the day following.

b. [The] Notwithstanding the provisions of subdivision a of this section, the owner of a multiple dwelling shall keep all required lights [burning] on continuously (1) in every fire stair and fire tower; (2) in every stair and public hall where there is no window opening on a street, court, yard, space above a setback, or on a shaft; and (3) in every stair and public hall where there is a window which in the opinion of the department does not provide adequate natural light in accordance with section 27-2038 of this subchapter.

c. [The owner of a multiple dwelling shall provide electric light at all hours of the day and night in rooms or spaces in multiple dwellings in which laundry equipment is provided for the common use of the occupants whenever natural light is insufficient in the opinion of the department.] Automatic, occupant sensor or photo-sensor lighting controls may be installed to operate lighting fixtures in mechanical equipment rooms, storage rooms, and laundry rooms, provided that all of the following conditions are satisfied:

1. 	the switch controllers are equipped for fail-safe operation ensuring that if the sensor or control fails, the lighting levels will be at the levels required by section 27-2038, and

2.	for occupant sensors, the illumination times are set for a minimum 30-minute duration, and

3.	for occupant sensors, the sensor is activated by any occupant movement in the area served by the lighting fixtures.

§4.  This local law will take effect on January 1, 2011, except that the commissioner of housing preservation and development shall take such measures as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

LS # 1005

6-4-10 12 pm

db

Mayor’s Office of Long-Term Planning and Sustainability, September 2009. Inventory of New York City Greenhouse Gas Emissions.

Mayor’s Office of Long-Term Planning, 2008.

Green Codes Task Force Proposals.  Available online at: http://www.urbangreencouncil.org/greencodes/

A foot-candle is a unit of measurement of the intensity of light falling on a surface, equal to one lumen per square foot.

A watt is a measure of an amount of energy used, whereas a foot-candle is a measure of the level of light in a space.