Staff:	Jennifer Wilcox, Assistant Deputy Director for Infrastructure

Meagan Chen, Counsel

Guillermo Patino, Senior Legislative Policy Analyst

Jose Conde, Legislative Policy Analyst

Sarah Gastelum, Legislative Financial Analyst

THE COUNCIL

Committee Report of the Infrastructure Division

Matt Gewolb, Legislative Director

Edward Atkin, Deputy Director, Infrastructure Division

Committee on Housing and Buildings

Jumaane D. Williams, Chair

September 15, 2016

INT. NO. 307:	By the Public Advocate (Ms. James) and Council Members Cornegy, Gentile, Gibson, Koo, Rose and Rosenthal

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to the maintenance of vacant buildings

ADMINISTRATIVE CODE:	Amends section 28-216.1.2

INT. NO. 1034:	By the Public Advocate (Ms. James) and Council Members Chin, Gentile, Koo, Lander, Mendez, Richards, Rodriguez, Rose, Torres, Levine, Johnson, Menchaca, Kallos Rosenthal, Cornegy, Palma and Levin

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to requiring the registration of owners of vacant property

ADMINISTRATIVE CODE: 	Adds a new chapter 12 of title 26

INT. NO. 1036:	By Council Members Rodriguez, Chin, Gentile, Mealy, Mendez, Richards, Wills, Lander, Torres, Levine, Johnson, Menchaca, Kallos, Cornegy, Rosenthal, Palma and Levin

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to an annual census of vacant properties

ADMINISTRATIVE CODE: 	Adds a new section 3-117

INT. NO. 1039:	By Council Members Williams, Chin, Koo, Mendez, Rodriguez, Wills, Lander, Torres, Levine, Johnson, Menchaca, Kallos, Cornegy, Rosenthal, Palma and Levin

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to publicly-owned vacant property that may be suitable for the development of affordable housing

ADMINISTRATIVE CODE: 	Adds a new chapter 12 of title 26

INT. NO.   1277:	By Council Member Williams (by request of the Mayor)

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to conforming the New York city energy conservation code to recent amendments to the 2016 New York state energy code

ADMINISTRATIVE CODE:	Amends sections 28-1001.1 and 28-1001.2.2

Introduction

On September 15, 2016, the Committee on Housing and Buildings, chaired by Council Member Jumaane D. Williams will hold a hearing to consider Int. No. 307, Int. No. 1034, Int. No. 1036 and Int. No. 1039 which would identify and locate vacant properties, and assess the viability of such buildings for permanent residence. The Committee held an oversight hearing on February 28, 2014 related to vacant properties. The Committee will also hear Int. No. 1277 which would conform the New York City Energy Conversation Code to recent amendments to the 2016 New York State Energy Code.  The Committee expects to receive testimony from representatives of the Department of Buildings (DOB), the Department of Housing Preservation and Development (HPD), housing advocates, legal service providers, members of the real estate industry, and other interested members of the public.

Int. No. 307

Int. No. 307 would require the installation of internal metal security panels on buildings that have remained vacant and insufficiently secured for more than six months.

Section one of the legislation includes the Council’s legislative intent and findings.

Section two of Int. No. 307 amends section 28-216.1.2 of the Administrative Code of the City of New York (the Code) and adds new sections 28-216.1.2.1, 28-216.1.2.2 and 28-216.1.2.3.  Section 28-216.1.2, entitled “Vacant buildings,” requires any vacant building that is not continuously guarded or sealed and kept secure against unauthorized entry to have all openings sealed in a manner approved by the Commissioner. Int. No. 307 would amend Section 28-216.1.2 by requiring owners of buildings that have been vacant for more than six months to implement and provide proof to DOB that said building either is secured in accordance with new Section 28-216.1.2.1 or contains all the security features set out in new Section 28-216.1.2.2.

New Section 28-216.1.2.1, entitled “Secured buildings” would define the term “secured” to mean a building that has a permanent door or window, as applicable, in each appropriate building opening; has each such door or window maintained in a manner so as to prevent unauthorized entry; and has all of its door and window components including, but not limited to, frames, jambs, stiles, muntins, mullions, panels, sashes, lights and panes, intact and unbroken.  	New Section 28-216.1.2.2, entitled “Steel security panels,” would require any building that been vacant for six months or more and found not to be secured as set forth in section 28-216.1.2.1  to have every exterior opening larger than one square foot, including door openings, which are in the cellar, basement or first story, on the course of a fire escape, are less than six feet measured horizontally from an opening in an adjoining building or which are less than ten feet from grade, closed and secured with a commercial-quality 14-gauge, rust-proof steel security panel or door.  Such panel or door would have to have an exterior finish that allows for easy graffiti removal and be secured from the interior of the building to prevent unauthorized removal.

New Section 28-216.1.2.3, entitled “Penalty” would require that where an owner has presented proof to DOB of compliance with new sections 28-216.1.2.1 or 28-216.1.2.2, but the Commissioner determines, based upon an inspection by DOB or a report prepared by another city agency and provided to DOB, that the owner is not in compliance, the Commissioner send by certified mail a written notice of violation to such owner. Within 30 days of the mailing of such notice of violation, such owner would be required to comply with the provisions of new section 28-216.1.2.2.

Section three of Int. No. 307 contains the enactment clause.

Int. No. 1034

Int. No. 1034 would require an owner of any real property in the city to register the property as vacant upon it being vacant for one year. Registrations would need to be renewed annually and failure to comply would result in a weekly fine of $100 to $500.

Section one of Int. No. 1034 would add a new Chapter 12, entitled “Reporting requirements for owners of vacant property,” to Title 26 of the Code. New Section 26-1201 would be entitled “Reporting.”  Subdivision a of new Section 26-1201 would set forth applicable definitions.

Subdivision b of new Section 26-1201 would require the owner of any real property within the city to register with HPD upon such property being vacant for one year. The registration would be in a manner to be determined by the Commissioner but would have to include, at a minimum, the name of the owner of such property and the electronic mail address and phone number of the contact person for the property. Such registration would have to be renewed annually thereafter with such additional information as HPD may require.  HPD would be able to impose a fee for such registration. Owners of property that has been vacant for one year or more as of the effective date of Int. No. 1034 would have to file such registration not more than 60 days following such effective date. When real property that has been vacant for one year or more is sold, the new owner of such real property would have to register within thirty days of taking ownership of such property.

Subdivision c of new section 26-1201 would subject any person who fails to register in accordance with subdivision b to a civil penalty of not less than $100 nor more than $500 for each week or portion thereof that there is a failure to register.

Section two of Int. No. 1034 contains the enactment clause.

Int. No. 1036

Int. No. 1036 would require the Mayor, or an agency designated by the Mayor, to annually conduct a citywide census of every vacant building and vacant lot.

Section one of Int. No. 1036 amends Subchapter one of Chapter one of Title three of the Code, by adding a new Section 3-117, entitled “Citywide census of vacant properties.” Subdivision a of new Section 3-117 would require the Mayor, or an agency designated by the Mayor, to conduct an annual census of every vacant building and vacant lot within the city and disaggregate the results by borough and community district. The first census would have to be initiated no later than 90 days after the effective date of this legislation, and be completed within 180 days thereafter. A new vacancy census would have to be conducted every 12 months thereafter.  Subdivision a would also define a “vacant building” as a building which is not being used for any purpose for which is may be lawfully used and a “vacant lot” as a parcel of land on which no lawful structure exists and which is not otherwise being used for any purpose for which it may be lawfully used.

Subdivision b of new Section 3-117 would require HPD, DOB, the Departments of Environmental Protection, Sanitation, and Fire, and any other agency upon request of the Mayor or such designated agency, to provide to the Mayor or such designated agency such records concerning the physical condition of and services provided to any building or parcel of land within the city in order to aid the mayor or such designated agency in determining whether any building or lot is vacant.

Subdivision c of new section 3-117 would require the Mayor or such designated agency to compile a list of vacant buildings and vacant lots disclosed as a result of such census, the owners of each such vacant building or vacant lot and when the Mayor or such designated agency was first able to determine when such building or lot became vacant. The Mayor or designated agency would also be required to track each such building or lot to determine when it is no longer vacant. Sources of information relating to ownership would include, but not be limited to, records of HPD, the Department of Finance, and DOB, and each agency would be required to provide to the Mayor or such designated agency such information as shall be requested.

Section two of Int. No. 1036 contains the enactment clause.

Int. No. 1039

Int. No. 1039 would require HPD to annually compile lists of vacant buildings and lots in the city that may be suitable for the development of affordable housing.

Section one of Int. No. 1039 would add a new chapter 12, entitled “Publicly-owned vacant property that may be suitable for the development of affordable housing,” to Title 26 of the Code. Subdivision a of new section 26-1201 would require that by July 1, 2018, and by July 1 of each year thereafter, HPD, with the cooperation of all other appropriate agencies, issue a report to the Mayor and the Speaker of the Council.  The report would have to include, disaggregated by community district and council district, a list of vacant City-owned buildings or lots located in the City that may be suitable for the development of affordable housing.  It would also have to include a list of vacant buildings or lots located in the city that are owned by federal or state governments, authorities or other instrumentalities and may be suitable for the development of affordable housing, to the extent known based on information provided by such governments, authorities or other instrumentalities.  For each vacant building or lot identified in such lists the report would have to include the street address, borough, block and lot numbers, and for each vacant building, the main use or dominant occupancy.  Finally, the report would have to include recommendations with respect to developing and, where necessary, rezoning such vacant buildings and lots for use as affordable housing.

Subdivision b of new section 26-1201 would require HPD to seek the cooperation of appropriate federal and state governments, authorities and other instrumentalities to obtain the information for such report.

Section two of Int. No. 1039 contains the enactment clause.

New York City Energy Code Background

The Energy Conservation Construction Code of New York State (State Energy Code) sets standards for the energy performance of buildings throughout New York. The State Energy Law permits municipalities to promulgate local energy conservation construction codes, provided that those codes are at least as stringent as the State Energy Code. The State recently amended the State Energy Code, so for New York City to continue having its own energy code, the City must update the local energy code to match the new State standards. Int. No. 1277 is intended to address this issue, and make several technical corrections to the New York City Energy Conservation Code.

Int. No. 1277

Section one of Int. No. 1277 makes technical edits to section 28-1001.1.1 of the Code.

Sections two, three, four, five, six and seven of Int. No. 1277 make technical edits to section 28-1001.2.2 of the Code.

Section eight of this legislation contains the enactment clause.

Int. No. 307

By the Public Advocate (Ms. James) and Council Members Cornegy, Gentile, Gibson, Koo, Rose and Rosenthal

..Title

A Local Law to amend the administrative code of the city of New York, in relation to the maintenance of vacant buildings.

..Body

Be it enacted by the Council as follows:

Section 1. Legislative findings and intent. The Council finds that inadequately secured vacant properties can be the cause of numerous problems affecting neighborhoods across New York City, such as fire and public safety hazards, urban blight, and depressing local property values. Currently rules promulgated by the Department of Buildings allow the use of concrete block or plywood to seal and secure doors and windows in vacant buildings. Rules promulgated by the Department of Housing Preservation and Development allow for the use of concrete block, sheet metal, or plywood to seal and secure buildings. Over time, doors and windows secured with concrete blocks, sheet metal or plywood can become vulnerable to the elements or torn off by vandals or criminals wishing to gain access to the building. Cities such as Boston and Chicago have addressed the issue of inadequately secured vacant properties by strengthening their ordinances to require the installation of internal metal security panels on windows and doors in buildings that have remained vacant for longer than a prescribed period of time. Amending the New York City Administrative Code to require the installation of internal metal security panels on buildings that have remained vacant and insufficiently secured for more than six months will increase the likelihood that such buildings will be protected from unauthorized entry, which will serve to stabilize and protect neighborhoods.

§2. Section 28-216.1.2 of the administrative code of the city of New York, as added by local law number 33 for the year 2007, is amended to read as follows:

§ 28-216.1.2 Vacant buildings. i Any vacant building not continuously guarded or not sealed and kept secure against unauthorized entry shall for the first six months it is vacant have all openings sealed in a manner approved by the commissioner, and it shall be the duty of the owner thereof promptly to make any repairs that may be necessary for the purpose of keeping such building sealed and secure.

ii. For any building that has been vacant for more than six months, the owner must implement and provide proof to the department that said building either (i) is secured as described in section 28-216.1.2.1 of this article or (ii) contains all of the security features set forth in section 28-216.1.2.2 of this article.

§ 28-216.1.2.1 Secured buildings. For purposes of this chapter the term “secured” refers to a building that has a permanent door or window, as applicable, in each appropriate building opening; has each such door or window maintained in a manner so as to prevent unauthorized entry; and has all of its door and window components including, but not limited to, frames, jambs, rails, stiles, muntins, mullions, panels, sashes, lights and panes, intact and unbroken.

§ 28-216.1.2.2 Steel security panels. Any building found not to be secured as set forth in section 28-216.1.2.1 of this article that has been vacant for six months or more must have every exterior opening larger than one square foot, including door openings, which are in the cellar, basement or first story, on the course of a fire escape, are less than six feet measured horizontally from an opening in an adjoining building or which are less than ten feet from grade closed and secured with a commercial-quality 14-gauge, rust-proof steel security panel or door. Such panel or door shall have an exterior finish that allows for easy graffiti removal and shall be secured from the interior of the building to prevent unauthorized removal.

§ 28-216.1.2.3 Penalty. In addition to any other penalty provided by law, it shall be a violation of this article for a vacant building not to be secured in accordance with the provisions of this section. Where the owner has presented proof to the department of compliance with section 28-216.1.2.1 or section 28-216.1.2.2 but the commissioner determines, based on an inspection by the department or a report prepared by another city agency and provided to the department, that the owner is not in compliance, the commissioner shall send by certified mail a written notice of violation to the owner of record. Within 30 days of the mailing of such notice of violation, the owner shall be required to comply with the provisions of section 28-216.1.2.2 of this article.

§3. This law shall take effect ninety days after its enactment, except that the commissioner of buildings and the commissioner of housing preservation and development shall take such actions necessary for its implementation, including the promulgation of rules, prior to such effective date.

WCJ

Int. 429-2010

LS 287-2014

2/18/2014 9:22 AM

LEFT INTENTIONALLY BLANK

Int. No. 1034

By the Public Advocate (Ms. James) and Council Members Chin, Gentile, Koo, Lander, Mendez, Richards, Rodriguez, Rose, Torres, Levine, Johnson, Menchaca, Kallos Rosenthal, Cornegy, Palma and Levin

..Title

A Local Law to amend the administrative code of the city of New York, in relation to requiring the registration of owners of vacant property.

..Body

Be it enacted by the Council as follows:

Section 1. Title 26 of the administrative code of the city of New York, is amended by adding a new chapter 12 to read as follows:

CHAPTER 12

REPORTING REQUIREMENTS FOR OWNERS OF VACANT PROPERTY

§26-1201 Reporting. a. As used in this chapter:

Department. The term "department" means the department of housing preservation and development.

Commissioner. The term "commissioner" means the commissioner of housing preservation and development.

b. The owner of any real property within the city shall register with the department upon such property being vacant for one year. Such registration shall be in a manner to be determined by the commissioner but shall, at a minimum, include the name of the owner of such property, along with the electronic mail address and phone number of an individual who shall be the contact person for such property. Such registration shall be renewed annually thereafter with such additional information as the department may require. The department may impose a fee necessary for administering the provisions of this section. The owner of any property that has been vacant for one year or more on the effective date of this section shall file such registration not more than 60 days following the effective date of this section. When real property that has been vacant for one year or more is sold, the new owner of such real property shall register in accordance with this section within 30 days of taking ownership of such property.

c. A person who fails to register as required by subdivision b of this section shall be subject to a civil penalty of not less than $100 nor more than $500 for every week or portion thereof that there is a failure to register.

§ 2. This local law takes effect 90 days after it becomes law, except that the commissioner of housing preservation and development shall take such actions as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

LF/ARP

LS#1523

Int. No. 652-2011

11/9/15 1:11PM

Int. No. 1036

By Council Members Rodriguez, Chin, Gentile, Mealy, Mendez, Richards, Wills, Lander, Torres, Levine, Johnson, Menchaca, Kallos, Cornegy, Rosenthal, Palma and Levin

..Title

A Local Law to amend the administrative code of the city of New York, in relation to an annual census of vacant properties

..Body

Be it enacted by the Council as follows:

Section 1. Subchapter 1 of chapter 1 of title 3 of the administrative code of the city of New York is amended by adding a new section 3-117 to read as follows:

§ 3-117 Citywide census of vacant properties. a. The mayor, or an agency designated by the mayor, shall conduct a census each year of every vacant building and vacant lot within the city and shall disaggregate the results by borough and community district. The first such census shall be initiated no later than 90 days after the effective date of this subdivision and shall be completed within 180 days thereafter. A new vacancy census shall be conducted every 12 months thereafter. For the purposes of this section, a “vacant building” is a building which is not being used for any purpose for which it may lawfully be used and a "vacant lot" is a parcel of land on which no lawful structure exists and which is not otherwise being used for any purpose for which it may lawfully be used.

b. The departments of housing preservation and development, environmental protection, buildings and sanitation and the fire department, and any other agency upon request of the mayor or such designated agency, shall provide to the mayor or such designated agency such records concerning the physical condition of and services provided to any building or parcel of land within the city in order to aid the mayor or such designated agency in determining whether any building or lot is vacant.

c. The mayor or such designated agency shall compile a list of the vacant buildings and vacant lots disclosed as a result of such census, the owners of each such vacant building or vacant lot and when the mayor or such designated agency was first able to determine when such building or lot became vacant. The mayor or such designated agency shall also track each such building or lot to determine when it is no longer vacant. Sources of information relating to ownership shall include, but not be limited to, records of the department of housing preservation and development, the department of finance and the department of buildings, and each agency shall provide to the mayor or such designated agency such information as shall be requested.

§ 2. This local law takes effect immediately.

BH/ARP

LS # 1657

Int. No. 48-2010

12/2/2015 2:17 PM

Int. No. 1039

By Council Members Williams, Chin, Koo, Mendez, Rodriguez, Wills, Lander, Torres, Levine, Johnson, Menchaca, Kallos, Cornegy, Rosenthal, Palma, Levin and Grodenchik

..Title

A Local Law to amend the administrative code of the city of New York, in relation to publicly-owned vacant property that may be suitable for the development of affordable housing

..Body

Be it enacted by the Council as follows:

Section 1. Title 26 of the administrative code of the city of New York is amended by adding a new chapter 12 to read as follows:

CHAPTER 12

PUBLICLY-OWNED VACANT PROPERTY THAT MAY BE SUITABLE FOR THE DEVELOPMENT OF AFFORDABLE HOUSING

§ 26-1201 Publicly-owned vacant property that may be suitable for the development of affordable housing. a. By no later than July 1, 2018, and by July 1 of each year thereafter, the department of housing preservation and development shall, with the cooperation of all other appropriate agencies, report to the mayor and the speaker of the council the following information disaggregated by community district and council district:

1. A list of vacant city-owned buildings or lots located in the city that may be suitable for the development of affordable housing;

2. A list of vacant buildings or lots located in the city that (i) are owned by federal or state governments, authorities or other instrumentalities and (ii) may be suitable for the development of affordable housing, to the extent known based on information provided by such governments, authorities or other instrumentalities;

3. For each vacant building or lot identified in a list required by paragraph 1 or 2 of this subdivision, the street address; borough, block and lot number; and, for each vacant building, the main use or dominant occupancy; and

4. Recommendations with respect to developing and, where necessary, rezoning such vacant buildings and lots for use as affordable housing.

b. The department of housing preservation and development shall seek the cooperation of appropriate federal and state governments, authorities and other instrumentalities to obtain the information described in paragraph 2 of subdivision a of this section.

§ 2. This local law takes effect immediately.

ARP

LS # 2128

11/13/15 3:06PM

Int. No. 1277

By Council Member Williams (by request of the Mayor)

..Title

A Local Law to amend the administrative code of the city of New York, in relation to conforming the New York city energy conservation code to recent amendments to the 2016 New York state energy code.

..Body

Be it enacted by the Council as follows:

Section 1.  Section 28-1001.1.1 of the administrative code of the city of New York, as added by local law number 91 for the year 2016, is amended to read as follows:

§28-1001.1.1 Definition.  As used in this chapter, the term “New York State Energy Code” means the New York State Energy Conservation Construction Code (the “New York State Energy Code”), constituting part 1240 of title 19 of the New York codes, rules and regulations (19 NYCRR Part 1240), and the publications incorporated by reference in such part, promulgated on [April 6, 2016] September 14,  2016, by the State Fire Prevention and Building Code Council pursuant to Article 11 of the New York State Energy Law.

§ 2.  Table C403.2.3(3), as set forth in section C403 of the local law amendments to the commercial chapters of the New York state energy code, as adopted pursuant to section 28-1001.2.2 of the administrative code of the city of New York, as added by local law 91 for the year 2016, is amended to read as follows:

Table C403.2.3(3) MINIMUM EFFICIENCY REQUIREMENTS: ELECTRICALLY Operated Packaged Terminal Air Conditioners, Packaged Terminal Heat Pumps, Single-Package Vertical Air Conditioners, Single-Package Vertical Heat Pumps, Room Air Conditioners, and Room Air-Conditioner Heat PumpS

Delete Table C403.2.3(3) in its entirety and replace with a new Table C403.2.3(3) to read as follows:

- TABLE C403.2.3(3)

- MINIMUM EFFICIENCY REQUIREMENTS:  ELECTRICALLY OPERATED PACKAGED TERMINAL AIR CONDITIONERS, PACKAGED TERMINAL HEAT PUMPS, SINGLE-PACKAGE VERTICAL AIR CONDITIONERS, SINGLE-PACKAGE VERTICAL HEAT PUMPS, ROOM AIR CONDITIONERS AND ROOM AIR-CONDITIONER HEAT PUMPS

| EQUIPMENT TYPE | SIZE CATEGORY (INPUT) | SUBCATEGORY OR RATING CONDITION | MINIMUM EFFICIENCY | TEST PROCEDURE a |
| --- | --- | --- | --- | --- |
| PTAC (cooling mode) standard size | All Capacities | 95°F db outdoor air | 14.0 – (0.300 × Cap/1000) EERc | AHRI 310/380 |
| PTAC (cooling mode) nonstandard sizeb | All Capacities | 95°F db outdoor air | 10.9 - (0.213 × Cap/1000)[c] EER |  |
| PTHP (cooling mode) standard size | All Capacities | 95°F db outdoor air | 14.0 - (0.300 × Cap/1000)[c] EER |  |
| PTHP (cooling mode) nonstandard sizeb | All Capacities | 95°F db outdoor air | 10.8 - (0.213 × Cap/1000)[c] EER |  |
| PTHP (heating mode) standard size | All Capacities | — | 3.7 - (0.052 × Cap/1000)[c] COPH |  |
| PTHP (heating mode) nonstandard sizeb | All Capacities | — | 2.9 - (0.026 × Cap/1000)[c] COPH |  |
| SPVAC (cooling mode) | < 65,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER | AHRI 390 |
|  | > 65,000 Btu/h and < 135,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
|  | > 135,000 Btu/h and < 245,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
| SPVHP (cooling mode) | < 65,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
|  | > 65,000 Btu/h and < 135,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
|  | > 135,000 Btu/h and < 245,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
| SPVHP (heating mode) | < 65,000 Btu/h | 47°F db/43°F wb outdoor air | 3.0 COPH | AHRI 390 |
|  | > 65,000 Btu/h and < 135,000 Btu/h | 47°F db/43°F wb outdoor air | 3.0 COPH |  |
|  | > 135,000 Btu/h and < 245,000 Btu/h | 47°F db/75°F wb outdoor air | 3.0 COPH |  |
| SPVAV (cooling mode) nonweatherized space constrained | [<] ≤ 30,000 Btu/h | 95°F db/75°F wb outdoor air | 9.2 EER |  |
|  | > 30,000 Btu/h and [<] ≤ 36, 000 Btu/h | 95°F db/75°F wb outdoor air | 9.0 EER |  |
| SPVHP (cooling mode) nonweatherized space constrained | [<] ≤ 30,000 Btu/h | 95°F db/75°F wb outdoor air | 9.2 EER |  |
|  | > 30,000 Btu/h and [<] ≤ 36, 000 Btu/h | 95°F db/75°F wb outdoor air | 9.0 EER |  |
| SPVHP (heating mode) nonweatherized space constrained | [<] ≤ 30,000 Btu/h | 47°F db/43°F wb outdoor air | 3.0 COPH |  |
|  | > 30,000 Btu/h and [<] ≤ 36, 000 Btu/h | 47°F db/43°F wb outdoor air | 3.0 COPH |  |
| Room air conditioners, with louvered sides | < 6,000 Btu/h | — | 11.0 CEER | 10 CFR Part 430 |
|  | ≥ 6,000 Btu/h and < 8,000 Btu/h | — | 11.0 CEER |  |
|  | ≥ 8,000 Btu/h and < 14,000 Btu/h | — | 10.9 CEER |  |
|  | ≥ 14,000 Btu/h and < 20,000 Btu/h | — | 10.7 CEER |  |
|  | ≥ 20,000 Btu/h and < 24,000 Btu/h | — | 9.4 CEER |  |
|  | ≥ 25,000 Btu/h | — | 9.0 CEER | 10 CFR Part 430 |
| Room air conditioners, without louvered sides | < 6,000 Btu/h | — | 10.0 CEER |  |
|  | ≥ 6,000 Btu/h and < 8,000 Btu/h | — | 10.0 CEER |  |
|  | ≥ 8,000 Btu/h and < 11,000 Btu/h | — | 9.6 CEER |  |
|  | ≥ 11,000 Btu/h and < 14,000 Btu/h | — | 9.5 CEER |  |
|  | ≥ 14,000 Btu/h and < 20,000 Btu/h | — | 9.3 CEER |  |
|  | ≥ 20,000 Btu/h | — | 9.4 CEER |  |
| Room air-conditioner heat pumps, with louvered sides | < 20,000 Btu/h | — | 9.8 CEER | 10 CFR Part 430 |
|  | ≥ 20,000 Btu/h | — | 9.3 CEER |  |
| Room air-conditioner heat pumps, without louvered sides | < 14,000 Btu/h | — | 9.3 CEER |  |
|  | ≥ 14,000 Btu/h | — | 8.7 CEER |  |
| Casement-only | All capacities | — | 9.5 CEER |  |
| Casement-slider | All capacities | — | 10.4 CEER |  |

For SI: 1 British thermal unit per hour = 0.2931 W, °C = [(°F) - 32]/1.8, wb = wet bulb, db = dry bulb.

“Cap” = The rated cooling capacity of the project in Btu/h. Where the unit’s capacity is less than 7000 Btu/h, use 7000 Btu/h in the calculation. Where the unit’s capacity is greater than 15,000 Btu/h, use 15,000 Btu/h in the calculations.

a.  Chapter 6 contains a complete specification of the referenced test procedure, including the referenced year version of the test procedure.

b.  Nonstandard size units must be factory labeled as follows: “MANUFACTURED FOR NONSTANDARD SIZE APPLICATIONS ONLY; NOT TO BE INSTALLED IN NEW STANDARD PROJECTS.” Nonstandard size efficiencies apply only to units being installed in existing sleeves having an external wall opening of less than 16 in. high or less than 42 in. wide and having a cross-sectional area less than 670 in.2.

c.  Before January 1, 2015 the minimum efficiency shall be 13.8 - (0.300 x Cap/1000) EER.

§ 3.  Section C406, as set forth in the local law amendments to the commercial chapters of the New York state energy code, as adopted pursuant to section 28-1001.2.2 of the administrative code of the city of New York, as added by local law 91 for the year 2016, is amended to add a new local law amendment to read as follows:

C406.7.1 Load Fraction.

Section C406.7.1 – Revise the first sentence of Section C406.7.1 to read as follows:

The building service water-heating system shall have one or more of the following that are sized to provide not less than 60 percent of hot water requirements, or sized to provide 100 percent of hot water requirements if the building shall otherwise comply with Section C403.4.5.

§ 4.  Appendix CA, as set forth in the local law amendments to the 2013 edition of the Energy Standard for Buildings Except Low-Rise Residential Buildings (“ASHRAE 90.1-2013”), as amended by Part 2 of the 2016 Supplement, as adopted pursuant to section 28-1001.2.2 of the administrative code of the city of New York, as added by local law 91 for the year 2016, is amended to add a new local law amendment to read as follows:

Section 4 – ADMINISTRATION AND ENFORCEMENT

4.2.1.1 New Buildings.

Section 4.2.1.1 – Delete Section 4.2.1.1 in its entirety and replace with a new Section 4.2.1.1 to read as follows:

New buildings shall comply with either the provisions of

a. Section 5, “Building Envelope”; Section 6, “Heating, Ventilating, and Air Conditioning”; Section 7, “Service Water Heating”; Section 8, “Power”; Section 9, “Lighting”; and Section 10, “Other Equipment”; or

b. Section 11, “Energy Cost Budget Method”; or

c.  Appendix G, “Performance Rating Method.”

When using Appendix G, the Performance Cost Index (PCI) shall be less than or equal to the Performance Cost Index Target (PCIt) when calculated in accordance with the following:

PCIt  = (BBUEC + (BPF x BBREC))/BBP

Where:

PCI      =    Performance     Cost     Index     calculated    in accordance with Section G1.2.

BBUEC = Baseline  Building  Unregulated  Energy  Cost. The portion of the annual energy cost of a baseline building design that is due to unregulated energy use.

BBREC =    Baseline Building Regulated Energy Cost. The portion of the annual energy cost of a baseline building design that is due to regulated energy use.

BPF = Building Performance Factor from Table 4.2.1.1. For building area types not listed in Table 4.2.1.1 use “All others.” Where a building has multiple building area types, the required BPF shall be equal to the area-weighted average of the building area types.

BBP =   baseline building performance.

Regulated energy cost shall be calculated by multiplying the total energy cost by the ratio of regulated energy use to total energy use for each fuel type. Unregulated energy cost shall be calculated by subtracting regulated energy cost from total energy cost.

§ 5.  Table 6.8.1-4, as set forth in section 6 of the local law amendments to the 2013 edition of the Energy Standard for Buildings Except Low-Rise Residential Buildings (“ASHRAE 90.1-2013”), as amended by Part 2 of the 2016 Supplement, as adopted pursuant to section 28-1001.2.2 of the administrative code of the city of New York, as added by local law 91 for the year 2016, is amended to read as follows:

Table 6.8.1-4 Electrically Operated Packaged Terminal Air Conditioners, Packaged Terminal Heat Pumps, Single-Package Vertical Air Conditioners, Single-Package Vertical Heat Pumps, Room Air Conditioners, and Room Air-Conditioner Heat Pumps-Minimum Efficiency Requirements

Revise Table 6.8.1-4 to read as follows:

TABLE 6.8.1-4

Electrically Operated Packaged Terminal Air Conditioners, Packaged Terminal Heat Pumps, Single-Package Vertical Air Conditioners, Single-Package Vertical Heat Pumps, Room Air Conditioners, and Room Air-Conditioner Heat Pumps-Minimum Efficiency Requirements

| Equipment Type | Size Category | Subcategory or Rating Condition | Minimum Efficiency | Test Procedurea |
| --- | --- | --- | --- | --- |
| PTAC (cooling mode) standard size | All capacities | 95°F db outdoor air | 14.0 - (0.300 × Cap/1000)c | AHRI 310/380 |
| PTAC (cooling mode) nonstandard sizeb | All capacities | 95°F db outdoor air | 10.9 - (0.213 × Cap/1000)c EER |  |
| PTHP (cooling mode) standard size | All capacities | 95°F db outdoor air | 14.0 - (0.300 × Cap/1000)c |  |
| PTHP (cooling mode) nonstandard sizeb | All capacities | 95°F db outdoor air | 10.8 - (0.213 × Cap/1000)c |  |
| PTHP (heating mode) standard size | All capacities | ________ | 3.7 - (0.052 × Cap/1000)cCOPH |  |
| PTHP (heating mode) nonstandard sizeb | All capacities | ________ | 2.9 - (0.026 × Cap/1000)cCOPH |  |
| SPVAC (cooling mode) | < 65,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER | AHRI 390 |
|  | ≥ 65,000 Btu/h and < 135,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
|  | ≥ 135,000 Btu/h and < 245,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
| SPVHP (cooling mode) | < 65,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
|  | ≥ 65,000 Btu/h and < 135,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
|  | ≥ 135,000 Btu/h and < 245,000 Btu/h | 95°F db/75°F wb outdoor air | 10.0 EER |  |
| SPVHP (heating mode) | < 65,000 Btu/h | 47°F db/43°F wb outdoor air | 3.0 COPH |  |
|  | ≥ 65,000 Btu/h and < 135,000 Btu/h | 47°F db/43°F wb outdoor air | 3.0 COPH |  |
|  | ≥ 135,000 Btu/h and < 245,000 Btu/h | 47°F db/43°F wb outdoor air | 3.0 COPH |  |
| SPVAC (cooling mode), nonweatherized space constrained | [<]≤ 30,000 Btu/h | 95°F db/75°F wb outdoor air | 9.2 EER | AHRI 390 |
|  | > 30,000 Btu/h and [<]≤ 36,000 Btu/h | 95°F db/75°F wb outdoor air | 9.0 EER |  |
| SPVHP (cooling mode) , nonweatherized space constrained | [<]≤ 30,000 Btu/h | 95°F db/75°F wb outdoor air | 9.2 EER |  |
|  | > 30,000 Btu/h and [<]≤ 36,000 Btu/h | 95°F db/75°F wb outdoor air | 9.0 EER |  |
| SPVHP (heating mode) , nonweatherized space constrained | [<]≤ 30,000 Btu/h | 47°F db/43°F wb outdoor air | 3.0 COPH |  |
|  | > 30,000 Btu/h and [<]≤ 36,000 Btu/h | 47°F db/43°F wb outdoor air | 3.0 COPH |  |
| Room air conditioners, with louvered sides | < 6,000 Btu/h | _____ | 11.0 CEER | 10 CFR Part 430 |
|  | ≥ 6,000 Btu/h and < 8,000 Btu/h | _____ | 11.0 CEER |  |
|  | ≥ 8,000 Btu/h and < 14,000 Btu/h | _____ | 10.9 CEER |  |
|  | ≥ 14,000 Btu/h and < 20,000 Btu/h | _____ | 10.7 CEER |  |
|  | ≥ 20,000 Btu/h and < 24,000 Btu/h | _____ | 9.4 CEER |  |
|  | ≥ 25,000 Btu/h | _____ | 9.0 CEER |  |
| Room air conditioners, without louvered sides | < 6,000 Btu/h | _____ | 10.0 CEER | 10 CFR Part 430 |
|  | ≥ 6,000 Btu/h and < 8,000 Btu/h | _____ | 10.0 CEER |  |
|  | ≥ 8,000 Btu/h and < 11,000 Btu/h | _____ | 9.6 CEER |  |
|  | ≥ 11,000 Btu/h and < 14,000 Btu/h | _____ | 9.5 CEER |  |
|  | ≥ 14,000 Btu/h and < 20,000 Btu/h | _____ | 9.3 CEER |  |
|  | ≥ 20,000 Btu/h | _____ | 9.4 CEER |  |
| Room air conditioner heat pumps, with louvered sides | < 20,000 Btu/h | _____ | 9.8 CEER |  |
|  | ≥ 20,000 Btu/h | _____ | 9.3 CEER | 10 CFR Part 430 |
| Room air conditioner heat pumps, without louvered sides | < 14,000 Btu/h | _____ | 9.3 CEER |  |
|  | ≥ 14,000 Btu/h | _____ | 8.7 CEER | 10 CFR Part 430 |
| Casement-only | All capacities | _____ | 9.5 CEER | 10 CFR Part 430 |
| Casement-slider | All capacities | _____ | 10.4 CEER |  |

a.  Section 12 contains a complete specification of the referenced test procedure, including the referenced year version of the test procedure.

b.  Nonstandard size units must be factory labeled as follows: “MANUFACTURED FOR NONSTANDARD SIZE APPLICATIONS ONLY; NOT TO BE INSTALLED IN NEW STANDARD PROJECTS.” Nonstandard size efficiencies apply only to units being installed in existing sleeves having an external wall opening of less than 16 in. high or less than 42 in. wide and having a cross-sectional area less than 670 in.2.

c.  “Cap” means the rated cooling capacity of the product in Btu/h. If the unit’s capacity is less than 7000 Btu/h, use 7000 Btu/h in the calculation. If the unit’s capacity is greater than 15,000 Btu/h, use 15,000 Btu/h in the calculation.

§ 6.   Section R202, as set forth in the local law amendments to the residential chapters of the New York state energy code, as adopted pursuant to section 28-1001.2.2 of the administrative code of the city of New York, as added by local law 91 for the year 2016, is amended to read as follows:

SECTION R202

GENERAL DEFINITIONS

Delete the definitions of “2016 Uniform Code Supplement,” “2015 International Building Code (As Amended),” “2015 International Fire Code (As Amended),” “2015 International Fuel Gas Code (As Amended),” “2015 International Mechanical Code (As Amended),” “2015 International Plumbing Code (As Amended),” “2015 International Property Maintenance Code (As Amended),” and “2015 International Residential Code (As Amended).”

Revise the definition of “Approved” after the definition of “Alteration,” to read as follows:

APPROVED. See Section 28-101.5 of the Administrative Code.

Add a new definition of “Approved agency” after the definition of “Approved,” to read as follows:

APPROVED AGENCY.  See Section 28-101.5 of the Administrative Code.

Delete the definitions of “ASHRAE 90.1-2013” and “ASHRAE 90.1-2013 (As amended)” after the definition of “Area weighted average.”

Add a new definition of “Authority having jurisdiction” after the definition of “Area weighted average” to read as follows:

AUTHORITY HAVING JURISDICTION. The commissioner or the commissioner’s designee.

Revise the definition of “Building site” after the definition of “Building,” to read as follows:

BUILDING SITE. A contiguous area of land that is under the ownership or control of one entity.

Revise the definition of “Building thermal envelope” after the definition of “Building [site] system,” to read as follows:

BUILDING THERMAL ENVELOPE. The exterior walls (above and below grade), floor, roof, and any other building elements that enclose conditioned space or provide a boundary between conditioned space and exempt or unconditioned space.

Revise the term “Code official” after the definition of “Climate Zone,” to read as follows:

CODE OFFICIAL. The commissioner or the commissioner’s designee.

Delete the definition of “Energy code”, after the definition of “Energy Analysis.”

Add a new definition of “Grade plane” after the definition of “General lighting,” to read as follows:

GRADE PLANE. A reference plane representing the average of finished ground level adjoining the building at exterior walls. Where the finished ground level slopes away from the exterior walls, the reference plane shall be established by the lowest points within the area between the building and the lot line or, where the lot line is more than 6 feet (1829 mm) from the building, between the building and a point 6 feet (1829 mm) from the building.

Add a new definition of “Lead energy professional” after the definition of “Labeled,” to read as follows:

LEAD ENERGY PROFESSIONAL. The registered design professional who signs and seals the energy analysis for an entire project. Such individual may be the same registered design professional who signs and seals the design drawings for the same project.

Add new definitions of “Professional certification” and “Project” after the definition of "Manual," to read as follows:

PROFESSIONAL CERTIFICATION. See Section 28-101.5 of the Administrative Code.

PROJECT.  A design and construction undertaking comprised of work related to one or more buildings and the site improvements. A project is represented by one or more plan/work applications, including construction documents compiled in accordance with Section 107 of the New York City Building Code, that relate either to the construction of a new building or buildings or to the demolition or alteration of an existing building or buildings. Applications for a project may have different registered design professionals and different job numbers, and may result in the issuance of one or more permits.

Delete the definition of “Uniform Code.”

§ 7.  The entry for “NYS”, as set forth in chapter R6 of the local law amendments to the residential chapters of the New York state energy code, as adopted pursuant to section 28-1001.2.2 of the administrative code of the city of New York, as added by local law 91 for the year 2016, is amended to read as follows

| NYS | New York Department of State One Commerce Plaza, 99 Washington Ave Albany, NY 12231-0001 |  |
| --- | --- | --- |
| Standard reference number | Title | Referenced in code section number |
| BCNYS-10 | Building Code of New York State | R202 |
| ECCCNYS- 16 | New York State Energy Conservation Construction Code | CH1 (Intro Statement), 101.1.1, 101.2.2, [101.3, C202] R202 |

§ 8.  This local law takes effect on the same date as local law number 91 for the year 2016 takes effect, and applies to applications filed on and after such effective date, except that if it becomes law after such effective date, it is retroactive to and deemed to have been in full force and effect as of such effective date.

See New York State Energy Law § 11-109.