Committee on Public Housing

Madiba Dennie, Counsel

Jose Conde, Senior Legislative Policy Analyst

Ricky Chawla, Policy Analyst

Sarah Gastelum, Principal Financial Analyst

The New York City Council

Committee Report of the Infrastructure Division

Jeffrey Baker, Legislative Director

Terzah Nasser, Deputy Director, Infrastructure Division

Committee on Public housing

Hon. Alicka Ampry-Samuel, Chair

January 15, 2020

“Oversight - NYCHA’s Winter Preparedness”

- Introduction

On January 15, 2020, the Committee on Public Housing, chaired by Council Member Alicka Ampry-Samuel, will hold an oversight hearing entitled “Oversight - NYCHA’s Winter Preparedness.” The Committee expects to hear testimony from officials of the New York City Housing Authority (NYCHA) regarding what steps it has taken to maintain its boilers, prevent heating outages, and respond to service disruptions when they occur. The Committee also expects to hear from the Office of the NYCHA Federal Monitor, established pursuant to the federal Agreement dated January 31, 2019; NYCHA tenants; resident associations; and advocacy groups regarding the impact of NYCHA’s heat policies and management on residents.

- Background on NYCHA and Public Housing

Former New York City Mayor Fiorello La Guardia created NYCHA in 1934 in order to replace dilapidated tenements using funds from The New Deal, three years before the Housing Act of 1937 established public housing nationwide. NYCHA originally served two purposes: (1) to provide low-cost housing for middle-class, working families temporarily unemployed because of the Great Depression and (2) to bolster the lagging economy by creating jobs for the building trades. Later, NYCHA’s purpose evolved into providing safe, decent housing for families with the lowest incomes.

Today, NYCHA has 316 developments, 2,351 buildings, and 173,762 units that are home to 381,159 authorized residents, making it the largest public housing authority in North America.

- Heat Season in New York City

Building owners in New York City are legally required to provide heat and hot water to tenants. Hot water must be provided 365 days per year at a consistent minimum temperature of 120 degrees Fahrenheit. From October 1 through May 31 (i.e. “heat season”), all residential building owners are required to provide tenants with heat between 6:00 AM and 10:00 PM if the outside temperature falls below 55 degrees, so that the inside temperature is at least 68 degrees. Between 10:00 PM and 6:00AM, the inside temperature is required to be at least 62 degrees, irrespective of the outside temperature.

- Background on NYCHA’s  Heating Systems  and the Heating Management Service Department

Heating for NYCHA housing is provided through a “heating plant” in each building or development. Each plant typically includes at least one boiler and a system of pipes and radiators. Heating plants are maintained by a combination of NYCHA staff, vendors, and private management. NYCHA’s heating operation contains 1,713 boilers, 1,492 vacuum tanks, and 847 instantaneous water heaters.

NYCHA’s heating operation is managed by the Heating Management Service Department (HMSD). HMSD utilizes federal operating dollars and City funding in order to manage and repair boiler plants, tank rooms, and ancillary equipment. The department’s total FY19 budget is $115 million. HMSD employs 549 full time staff as of October 31, 2019. The majority of HMSD’s frontline staff are organized into thirteen geographic clusters: three in the Bronx, four in Brooklyn, three in Manhattan, two in Queens, and one in Staten Island. Four administrators oversee the boroughs. The clusters are overseen by Superintendents and Assistant Superintendents who are responsible for dispatching Heating Plant Technicians (HPTs) and Maintenance Workers (MW) to the developments located within their clusters. The superintendents share plumbers and plumber helpers with other superintendents within the boroughs. The central office staff includes the Director of HMSD as well as more skilled teams that work on mobile boiler installations and compliance related projects in the portfolio.

As of October 31, 2019, the staff head count was the following:

| Clusters | Bronx | Manhattan | Brooklyn | Queens/SI | Central/Special Teams | Total |
| --- | --- | --- | --- | --- | --- | --- |
| Titles | 3 | 3 | 4 | 3 | N/A | 13 |
| Central Office | 0 | 0 | 0 | 0 | 7 | 7 |
| Administrator | 1 | 1 | 1 | 1 | 2 | 6 |
| Plumber/Plumber’s Helper | 0 | 0 | 0 | 0 | 21 | 21 |
| Oiler/ Oil Burner Specialist | 2 | 3 | 0 | 2 | 4 | 11 |
| Super/Asst. Super | 7 | 6 | 9 | 5 | 7 | 34 |
| Heat Plant Technician | 81 | 89 | 122 | 36 | 6 | 334 |
| Maintenance Worker | 25 | 38 | 43 | 25 | 5 | 136 |
| Total | 116 | 137 | 175 | 69 | 52 | 549 |

Background on Chronic Heat Issues, and Additional Oversight on NYCHA

NYCHA tenants have endured chronic heat and hot water outages for many years. Notably, NYCHA data reflects that from October 1, 2017-January 22, 2018, more than 80% of NYCHA’s residents experienced a heat outage or hot water outage. During the 2017/2018 heat season, the average time it took NYCHA to restore heat after an outage was thirty hours. NYCHA claims that the average restoration period for an outage improved from the 2017/2018 to the 2018/2019 heating season, dropping from 30 hours down to 8 hours – a reduction of 73 percent. However, these heating performance calculations have not yet been verified by the Federal Monitor, whose role is discussed later in this document. So far this heat season, over 23,000 public housing tenants have experienced a heat or hot water outage.  In one instance this season, 2,440 NYCHA tenants residing at the Pelham Parkway development in the Bronx lost heat on a day when the wind chill temperature was below freezing. While NYCHA claimed that the heat was restored in a few hours, tenants in at least one building reported that they had no heat for 24 hours.

- Proposed Consent Decree

Chronic heat and hot water outages was one of the many catalysts that led to the formation of the proposed consent decree, the HUD/NYCHA Agreement, and the appointment of the Federal Monitor. In recent years, NYCHA has been subjected to oversight and investigations by HUD, federal prosecutors, state lawmakers, the City Council, and others concerning alleged mismanagement at NYCHA. Among these was a lengthy investigation of conditions at NYCHA conducted by the United State Attorney’s office of the Southern District of New York (SDNY). On June 11, 2018, SDNY simultaneously filed a complaint and submitted a proposed consent decree between themselves, NYCHA, and the City of New York to a federal district court. In the decree, NYCHA made several admissions regarding: (1) statements to HUD; (2) lead paint; (3) mold growth; (4) adequate heating; (5) functional elevators; (6) pest infestations; (7) work order backlog; and (8) HUD inspections. In an opinion rejecting the proposed consent decree, the judge highlighted numerous failings by NYCHA, including failing to provide adequate heat, and stated that conditions in NYCHA are “reminiscent of the biblical plagues of Egypt.” The Court also cited a history of deceptive practices conducted by representatives of NYCHA, including lying to NYCHA tenants, elected officials, the general public, and HUD.

- HUD/NYCHA Agreement

On January 31, 2019, HUD entered into a new agreement with NYCHA and the City. The purpose of the Agreement was to remedy NYCHA’s physical conditions, ensure that NYCHA complies with its obligations under federal law, reform NYCHA’s management structure, and facilitate cooperation and coordination between HUD, NYCHA, and the City. The Agreement was made under HUD’s authority and, unlike the earlier consent decree, is not subject to court approval. It recognized the existence of a “substantial default” but did not impose a receiver or take possession of NYCHA. The Agreement required NYCHA to prepare ‘Action Plans’ setting forth policies, schedules milestones, and established other requirements  to  identify and respond to its physical deficiencies, including providing adequate heat. To assist NYCHA in its compliance with the HUD/NYCHA Agreement, the City will provide $1 billion in financial support for capital expenses provided in the action plan, including: the replacement of approximately 500 boilers by 2026 and the replacement of at least 425 elevators by 2024.

The Agreement prescribed that by March 31, 2019, NYCHA would create a 24/7 Heat Desk which would monitor heating metrics and dispatch appropriate staff to correct deficiencies during heat season. Under the Agreement, starting with the heating season that began on October 1, 2019 and continuing until further notice, NYCHA must restore a heating shortage within an average of twelve hours. Further, during the heating season, for 85 percent of heating shortfalls, NYCHA would be required to restore heat to affected units within 24 hours, and in no event more than 48 hours. This requirement becomes stricter over time: starting with the heating season beginning October 1, 2024, during the heating season for 85 percent of heating shortfalls, NYCHA would be required to restore heat to affected units within 12 hours, and in no event more than 24 hours. If heat is not able to be restored to a particular unit within 12 hours, the Agreement provides that NYCHA undertake an investigation to determine the root cause(s) of the heating system failure and the failure to restore service within the designated timeframe. The Agreement also required NYCHA to modernize the Building Management Systems, including introducing indoor temperature sensors, at 44 developments by December 31, 2019.

- Independent Monitor

On February 21, 2019, HUD selected Bart Schwartz to be NYCHA’s new Federal Monitor.  Schwartz’s biography indicates that he is the Chairman of Guidepost Solutions, an investigations, compliance, monitoring, and security and technology consulting firm. According to media reports, Schwartz is also a former federal prosecutor who once served under then United States Attorney Rudolph Giuliani as the chief of the SDNY Criminal Division where he prosecuted cases involving financial and business fraud, organized crime, narcotics and other criminal activities.

According to the NYCHA/HUD Agreement, the Federal Monitor is not responsible for the day-to-day operations of NYCHA but will have full access to all information in NYCHA’s possession and all programs, services, facilities, and premises under NYCHA’s control. HUD, SDNY and the United States Environmental Protection Agency are required to receive quarterly reports from the Federal Monitor on the work that was performed, data showing NYCHA’s progress, and any other information the monitor deems appropriate. These reports will be publicly available on NYCHA’s website. The monitor must also engage with NYCHA stakeholders by convening, at least quarterly, a Community Advisory Committee. This Committee is required to include the Resident Advisory Board and representatives of residents, the community, employees and senior NYCHA managers. The Monitor will also assist NYCHA in seeking regulatory relief from HUD, the City and the State.

The Agreement requires NYCHA to prepare Action Plans with policies and practices to achieve its obligations and submit them to the Monitor for approval. If the Monitor finds that an Action Plan is unacceptable, and NYCHA is not able to revise it in an acceptable manner, then the Monitor has the authority to submit a revised Action Plan to NYCHA, HUD, and SDNY. Each approved Action Plan will be posted on NYCHA’s website. The Monitor may direct NYCHA to select an independent contractor to perform work called for by an Action Plan or revisions made by the monitor. NYCHA’s Heating Action Plan has been approved by the Monitor and is currently available online.

- Third Party Consultant

The Agreement required the City and the Monitor to jointly select a third-party management consultant to examine NYCHA’s systems, policies, procedures, and management and personnel structures, and to make recommendations for improvement. Pursuant to the Agreement, the City selected KPMG, a network of firms offering audit, tax and advisory services, together with Bronner Group LLC, which defines its mission as “optimizing the business of government.”  One of the major concerns of KPMG and Bronner reflected in their assessment is emphasizing the collection of data, increasing data quality, and using data to monitor performance trends and determine priorities and gaps. The third party consultants have identified departments within NYCHA that tend to operate essentially in silos with wide variations in process execution; determined that there is a lack of staff and staff supports, a lack of effective communication, and a lack of holistic planning; and has suggested that NYCHA data and analytics to impact their strategic and operational decision-making.

The evaluation indicates that NYCHA stakeholders report difficulty with recruiting and hiring staff for several reasons, including the pipeline. NYCHA must collaborate with DCAS and abide by civil service law for civil service titles, but the civil service exams administered by DCAS do not generate a sufficient pool of candidates for NYCHA to recruit from as there are not enough people taking the exam when it is offered. For example, the list from a recent sanitation worker exam offered approximately 68,000 potential candidates and NYCHA’s Heating Plan Technician list only had 26 potential candidates.”

- Funding to Improve Heating Systems

On January 31, 2018, Mayor Bill de Blasio announced a $200 million investment to replace boilers and upgrade heating systems at twenty NYCHA developments experiencing chronic outages. Beginning in Fiscal 2019, this investment provided: $90 million for 39 new boilers at 10 developments and $110 million for the modernization of hot water systems at 12 developments and new heating controls at 15 developments. According to NYCHA and the Mayor’s Office, this upgrade and modernization would be completed by Fiscal 2022, and would impact approximately 45,000 NYCHA residents.

Further, on September 5, 2019, NYCHA entered an agreement, known as the Grant Disbursement Agreement (GDA), with the New York State Dormitory of the State of New York (DASNY), concerning the State’s allocation of $450 million in capital improvements at various NYCHA developments throughout New York City. These funds were originally allocated by the state in 2017 and 2018, however, were not available until the Monitor approved the Grant Disbursement Agreement. The GDA funding agreement requires NYCHA to create an action plan and present the action plan for approval to the Monitor. It also requires NYCHA to make and document full payment to the contractors, vendors and/or suppliers who have been selected for the capital improvement project.  DASNY would then review this paperwork and reimburse the costs of each individual project. The GDA action plan addresses a portion of NYCHA’s obligation under the Monitor by replacing 108 boilers at 25 developments and elevator systems consisting of 148 elevator cars at 10 developments.

- NYCHA’s Action Plan on Heating

The HUD/NYCHA agreement requires NYCHA to create an action plan that sets forth policies and practices for each development on how NYCHA will respond to heat and hot water outages. The Heating Action Plan is a protocol for how NYCHA plans to respond to complaints, address outages, and prepare long-term plans.

- Filing a Complaint at NYCHA

Tenants can file complaints with NYCHA by calling the Customer Contact Center (CCC) to report emergencies and schedule routine maintenance repairs.  A representative is available to answer calls 24 hours a day, 7 days a week. NYCHA considers heat and hot water complaints to be emergencies. When a tenant files a complaint with CCC, a service request is created in Siebel, which then creates a work order in Maximo The primary work order, also known as a “parent work order,” is the initial task that was called in by a NYCHA resident or NYCHA staff.  This work order remains open until all related work is completed, including all subsequent related work orders, known as “child work orders” in the Maximo system, that are connected to the parent work order. A child work order is created when NYCHA staff identifies additional work that is needed to repair or inspect the parent work order. According to the Action Plan, the CCC customer service agent will verify the phone number of the resident and HMSD will address the work order once it is created.

- Response to Heat and Hot Water Outages

When NYCHA’s heating equipment fails, it creates a disruption of heat service for tenants. The NYCHA Heat Management Services Department Heat Desk tracks, monitors, and reports all no heat and no hot water service disruptions until the service is restored. NYCHA notifies residents about planned and unplanned heat and/or hot water service interruptions. The Heat Action Plan calls on NYCHA staff to repair the equipment that caused the failure as quickly as possible. During regular business hours, the heating superintendent, assistant superintendent, property maintenance supervisor and assistant property maintenance supervisors and/or property manager are required to monitor Maximo at 8:00am, 10:00am, 12:00pm and 3:00pm, to determine if there are any outstanding work orders.  After business hours, the After-Hour Heat Desk is required to continuously monitor Maximo for heat complaints.

Inspections

In the event of a complaint about a heat service disruption, NYCHA’s frontline staff would investigate the heat complaint by measuring the outside temperature and investigating the position of the valves, the operation of the vacuum and condensation pumps, and noting the actual conditions in the tank room in the Tank Room Log.

The frontline staff would also visit the tenant’s apartment to check the apartment’s temperature, investigate the radiators in the apartment, and check if the windows or air conditioners are letting the outside air to enter the room. If the tenant is not home, a notice will be left underneath the door and NYCHA will check the apartments above and below to see if they are also experiencing a heat outage.  If the frontline staff cannot address the complaint, the HMSD supervisor, the property maintenance supervisor or the property manager should create a work order.

Daily Heat Calls

During the Heat Season, HMSD and property management are required to conduct a daily phone call to discuss current outages, high-ticket counts, heat, water and hot water outages and unplanned service disruptions. The HMSD Director or Deputy Director conducts the call, which includes developments that are privately managed.  During the call, HMSD informs relevant property management staff of the work being done to restore the heat outages. If there are issues that are outside of the boiler or tank room that is affecting the outages, the HMSD will ask for assistance to address those problems. Privately managed sites may use that time to require additional assistance from HMSD to help resolve a problem at their development.

Heat Plant Alarms

Building Management Systems (BMS) allows NYCHA to remotely monitor and automate building infrastructure such as heating systems.  The heat plant alarms are connected to BMS and these systems notify NYCHA’s personnel of emergencies at the heating plants. There are three type of alarms due to the different types of heating systems that are in installed at NYCHA. The first alarm is a system alarm. In a steam system, they are triggered if there is substantial pressure loss at a heating plant. In a hydronic system, the system alarm is triggered if there is substantial hot water temperature loss at the heating plant.  The second alarm type is the Electric Alarms. These alarms are triggered when there is an interruption or reduction of power in the heating plant. The third alarm is a water intrusion alarm. This alarm is triggered when there is an increase in the water level on the heating room floor.

These alarms are configured to send out automatic emails to the relevant HMSD administrators, superintendents, assistant superintendents and emergency service departments. The email contains the time of the alarm, alarm type, property management department/cluster, heating plant location, web link to the BMS and order ID. During after hours, the help desk frontline staff would respond to the alarm and must record all visits to the boiler room’s logbook in red ink and the heating plant service area nightly report. The BMS is also being configured to create automatic work orders in Maximo, and provide a real time status to the 24/7 Heat Desk.

The NYCHA/HUD Agreement requires NYCHA to install new BMS/temperature sensors at 44 developments by December 31, 2020. According to the Heating Action Plan, 23 percent of the 306 NYCHA developments will have a BMS/temperature sensor by 2020. The Heating Action Plan also states that 155 of these developments will receive new BMS and temperature sensors due to heating system upgrades or financing from HUD’s Energy Performance Contracts. Additionally, 93 of these developments are designated to receive an upgrade when RAD/PACT construction occurs. NYCHA further plans for 32 developments to receive BMS/temperature sensors as part of a comprehensive modernization plan. The remaining buildings do not have central plants, and NYCHA will have to develop a program to monitor these buildings. The chart below is a breakdown on when NYCHA plans to add BMS/temperature sensors at their developments.

24/7 Heat Desk and Operation Dashboard

NYCHA established a 24/7 HMSD Heat Desk to track, monitor and report all heat service disruptions by using that data that is collected from the heat sensors and heating dashboard. The heat dashboard uses predictive trends to provide a more comprehensive view on the operation of the heat systems.  The data collected helps HMSD dispatch their staff accordingly.

Sites Managed by Third Party Vendors

On October 1, 2019, NYCHA turned over the heating plant operations at 48 developments to third party management.  At these developments, the vendors are required to maintain the heating equipment and restore heat when an outage occurs. Property management is still responsible for performing daily inspections at the boiler room but at third party managed sites, the property management’s maintenance workers are required to respond, take apartment temperatures and make minor repairs in the apartment to heat radiators or valves.  The HMSD Heat Desk continues to monitor the BMS systems at sites that have third party vendors.  The Heat Desk will also dispatch a heating plant technician to a location monitored by a third party vendor if they receive a high number of complaints due to a potential heat outage.

Outage Notifications

According to the HUD/NYCHA Agreement, NYCHA is required to notify tenants by robocall within two hours of learning of any unplanned heating outage, and tenants will receive a 48-hour advance notice for any planned work that would affect heat service. The 48-hour advance notice would be posted by the elevator in the lobby of the affected buildings and their will also be automated phone calls.  However, by the beginning of January 2020, the MyNYCHA App now allows residents to opt in to receive heat outage notifications.

If there is an outage, the Heating Action Plan calls on the property management during regular business hours, and the Emergency Service Department during after hours, to notify the tenant association. If the property manager or emergency service department cannot reach the tenant association, then NYCHA will contact the elected officials of the area.

- Long Term Outages and Planning

If there is a major boiler room failure or if the restoration of heat will take longer than 24 hours, NYCHA will use mobile boilers to resolve heat outages.  As of October 1, 2019, NYCHA placed 62 mobile boilers at 37 developments. Five of the 62 mobile boilers are in place at high-risk boiler rooms – Melrose, Sotomayor, Pomonok, Van Dyke, and Rangel – as a precautionary measure.  The 62 locations represent NYCHA development sites that have been selected for boiler replacement, as well as sites that were damaged by Hurricane Sandy.

- Alternative Heated Community Spaces

The Heating Action Plan leaves it to the discretion at the General Manager whether to open the nearest senior or community center for use as a heated community space when the outside temperature drops below 32 degrees and an outage is expected to last longer than 12 hours. NYCHA currently has 241 senior and community centers that can be used as an alternative heating space. Staff from the New York City Department of Aging or the New York City Department of Youth and Community Development operate most of these spaces during normal operating hours and it will not require additional NYCHA staff. If an outage occurs during non-operating hours, NYCHA could provide Community Engagement and Partnerships (CEP) staff or use an existing security contract to assign someone to staff the heated space.

- Individual Action Plans

NYCHA is in the process of compiling a heat outage response for every development beginning with the worst performing developments with heat outages in the 2018/2019 heat season. The twenty worst performing developments during the 2018/2019 Heat Season were the following:

| Development | 2018/2019 Heat Outages |
| --- | --- |
| Baruch | 78 |
| Sotomayor Houses | 66 |
| Whitman | 38 |
| Independence | 30 |
| Claremont Parkway – Franklin Avenue | 28 |
| Pelham Parkway | 28 |
| Wagner | 23 |
| Ingersoll | 23 |
| Claremont Rehab (Group 4) | 22 |
| Williamsburg | 21 |
| South Bronx Area (Site 402) | 18 |
| Jefferson | 17 |
| Tapscott Street Rehab | 17 |
| RIIS | 16 |
| Washington | 13 |
| Marshall Plaza | 13 |
| WSUR (Brownstones) | 13 |
| Gravesend | 12 |
| Twin Parks East (Site 9) | 12 |
| Saint Mary’s Park | 12 |

Each development will have an action plan that will contain demographic information, heating system type, performance of these systems, and recent/upcoming heat related work. The plans will also contain detailed information and requirements for mobile boiler installation at each plant.

- Conclusion

New York City public housing residents have lost heat and hot water during multiple consecutive winters, endangering their health and wellbeing. NYCHA has an obligation to use every tool at its disposal to provide tenants with homes where they can live safely and with dignity. This hearing is a critical step to holding NYCHA accountable to the public, and will allow NYCHA to provide the Committee with an update on its ability to provide adequate heat and hot water to its residents as required by law.

Ferre-Sadurni, Luis, “The Rise and Fall of New York Public Housing: An Oral History,” The New York Times, available at https://www.nytimes.com/interactive/2018/06/25/nyregion/new-york-city-public-housing-history.html.

Housing Act of 1937, available at https://www.gpo.gov/fdsys/pkg/USCODE-2009-title42/pdf/USCODE-2009-title42-chap8.pdf.

Marcuse, 353-54; J.A. Stoloff, A Brief History of Public Housing, Paper presented at August 14 meeting of the American Sociological Association, at 3 (2004).

Marcuse, 354; Stoloff, 1; see also Judith D. Feins, et al., Revised Methods of Providing Federal Funds for Public Housing Agencies, US Department of Housing and Urban Development, at 9 (1994).

See NYCHA Fact Sheet, available at https://www1.nyc.gov/assets/nycha/downloads/pdf/NYCHA-Fact-Sheet_2019_08-01.pdf.

New York City Department of Housing and Preservation, Conditions: Heat and Hot Water, http://www1.nyc.gov/site/hpd/renters/important-safety-issues-heat-hot-water.page (last accessed Feb. 4, 2018).

Id.

Id.

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/. Instantaneous water heaters, also known as demand-type or tankless water heaters, provide hot water only as needed and do not produce the standby energy losses associated with storage water heaters.

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

New York City Council Joint Hearing of the Committee on Public Housing and the Committee on Oversight and Investigations, “Oversight – Chronic Heat and Hot Water Failures in NYCHA Housing” Committee Report (February 6, 2018), available at legistar.nyc.gov.

Kim, Elizabeth, NYCHA Issues Heat Action Plan, Gothamist,  Names 20 Complexes With Worst Outage Records available at https://gothamist.com/news/nycha-issues-heat-action-plan-names-20-complexes-worst-outage-records

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Kim, Elizabeth, NYCHA Issues Heat Action Plan, Gothamist,  More Than 10,000 NYCHA Tenants Without Heat, Hot Water in Largest Single Day Outage of the Season available at https://gothamist.com/news/more-10000-nycha-tenants-go-without-heat-hot-water-largest-single-day-outage-season

Kim, Elizabeth, NYCHA Issues Heat Action Plan, Gothamist,  Names 20 Complexes With Worst Outage Records available at https://gothamist.com/news/nycha-issues-heat-action-plan-names-20-complexes-worst-outage-records

Ferré-Sadurní, Luis and Goodman, J. David, New York Public Housing Set to Get Federal Monitor and $1 Billion in Repairs, available at https://www.nytimes.com/2018/05/31/nyregion/nycha-federal-monitor-repairs.html

United States of America v New York City Housing Authority, Consent Decree, (18 cv 05213) filed 6/11/18 available at: https://www.justice.gov/usao-sdny/page/file/1074871/download

United States of America v New York City Housing Authority Consent Decree, (18 cv 05213) filed 6/11/18 available at: https://www.justice.gov/usao-sdny/page/file/1074871/download

United States of America v New York City Housing Authority, Opinion & Order, (18 cv 05213) p. 4, filed 11/14/18 available at https://www.politico.com/states/f/?id=00000167-137a-de9f-a367-bb7b3b370001

United States of America v New York City Housing Authority, Opinion & Order, (18 cv 05213) p.11, filed 11/14/18 available at https://www.politico.com/states/f/?id=00000167-137a-de9f-a367-bb7b3b370001

United States Department of Housing and Urban Development, Agreement, p.1, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

United States Department of Housing and Urban Development, Agreement, p.2-3, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

United States Department of Housing and Urban Development, Agreement, p.2, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

United States Department of Housing and Urban Development, Agreement, p.4, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

See Final Executed HUD NYCHA Agreement signed January 31, 2019, pages 4 and 8

United States Department of Housing and Urban Development, Agreement, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

United States Department of Housing and Urban Development, Agreement, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

HUD Reportedly Selects Ex-Prosecutor As NYCHA’s New Federal Monitor, Amy Plitt, available at: https://ny.curbed.com/2019/2/21/18234731/nycha-hud-federal-monitor-selection

https://nychamonitor.com/about/

HUD Secretary Selects Former Prosecutor Bart Schwartz As NYCHA’s New Federal Monitor, CBS News, available at: https://newyork.cbslocal.com/2019/02/22/hud-selects-bart-schwartz-nycha/

United States Department of Housing and Urban Development, Agreement, p.6, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

United States Department of Housing and Urban Development, Agreement, p.6, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

United States Department of Housing and Urban Development, Agreement, p.7, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

United States Department of Housing and Urban Development, Agreement, p. 7, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

United States Department of Housing and Urban Development, Agreement, p.7, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

United States Department of Housing and Urban Development, Agreement, p.7, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

https://nychamonitor.com/wp-content/uploads/2019/12/Heating-Action-Plan-12.4.19.pdf

United States Department of Housing and Urban Development, Agreement, filed 1/31/19, available at https://www.hud.gov/sites/dfiles/PA/documents/HUD-NYCHA-Agreement013119.pdf

https://home.kpmg/xx/en/home/about/who-we-are.html

http://www.bronnergroup.com/about-us/mission-and-vision/

https://nychamonitor.com/wp-content/uploads/2019/12/KPMG-Context-FINAL29796.pdf and https://nychamonitor.com/wp-content/uploads/2019/12/NYCHA-Roadmap.pdf

https://nychamonitor.com/wp-content/uploads/2019/12/NYCHA-Current-State-Observations-and-Maturity-Assessment-Report.pdf

New York City Mayor’s Office, “Mayor de Blasio Invests $200 Million to Replace Boilers and Upgrade Heating Systems at 20 NYCHA Developments” available at: https://www1.nyc.gov/office-of-the-mayor/news/072-18/mayor-de-blasio-invests-200-million-replace-boilers-upgrade-heating-systems-20-nycha

The City of New York, Adopted Capital Commitment Plan Fiscal Year 2018, available at https://www1.nyc.gov/assets/omb/downloads/pdf/ccp-11-17a.pdf

New York City Mayor’s Office, “Mayor de Blasio Invests $200 Million to Replace Boilers and Upgrade Heating Systems at 20 NYCHA Developments” available at: https://www1.nyc.gov/office-of-the-mayor/news/072-18/mayor-de-blasio-invests-200-million-replace-boilers-upgrade-heating-systems-20-nycha

Monitor Approves Plan for $450 Million Action in State Funding, NYCHA Monitor, available at:  https://nychamonitor.com/monitor-approves-plan-for-450-million-in-state-funding/

Id.

Id.

Id.

Id.

NYCHA, Customer Contact Center, http://www1.nyc.gov/site/nycha/residents/customer-contact-center.page#_blank (last accessed Jan. 12, 2018).

The Siebel database keeps track of work orders that are initiated by residents at the CCC, NYCHA, Managing Maintenance Work Orders

Maximo is a computerized database that tracks all types of maintenance work, including inspections, emergency response, preventive care, seasonal work, and corrective work, NYCHA, Managing Maintenance Work Orders

NYCHA, Managing Maintenance Work Orders

NYCHA, Managing Maintenance Work Orders

NYCHA, Managing Maintenance Work Orders

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

NYCHA Standard Procedure Manual (rev. 9/30/19), as reproduced in Heating Action Plan Appendix https://nychamonitor.com/wp-content/uploads/2019/12/Heating-Action-Plan-Appendix.pdf

Id.

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

RAD/PACT are sites where NYCHA enters into a long-term ground lease with a development partner that will repair and manage the development. NYCHA will continue to own the land and will, maintaining a significant stake in the ownership structure of the buildings and overseeing major decisions as the Section 8 contract administrator.

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Heat Action Plan, NYCHA Monitor, available at https://nychamonitor.com/

Kim, Elizabeth, NYCHA Issues Heat Action Plan, Gothamist,  Names 20 Complexes With Worst Outage Records available at https://gothamist.com/news/nycha-issues-heat-action-plan-names-20-complexes-worst-outage-records