Committee Staff

Ze-Emanuel Hailu, Senior Legislative Counsel

Sara Liss, Legislative Counsel

Emily Balkan, Legislative Policy Analyst

Jeanette Merrill, Finance Analyst

## THE COUNCIL

# COMMITTEE REPORT OF THE HUMAN SERVICES Division

Jeffrey Baker, Legislative Director

Andrea Vazquez, Deputy Director, Human Services Division

COMMITTEE ON HEALTH

Hon. Mark Levine, Chair

#### October 30, 2018

Int. No. 1053:	By The Speaker (Council Member Johnson) and Council Members Ampry-Samuel and Ayala

Title:	A Local Law to amend the administrative code of the city of New York, in relation to requiring water tank inspection companies to submit annual inspection reports directly to the department of health and mental hygiene

Administrative Code:	Adds a new paragraph 6 to subdivision a of section 17-194; amends subdivision b of section 17-194

Int. No. 1056:	By Council Members Constantinides, Levine, Torres, Diaz, Ampry-Samuel and Ayala (by request of the Bronx Borough President)

Title:	A Local Law to amend the administrative code of the city of New York, in relation to requiring the department of health and mental hygiene to conduct periodic inspections of water tanks and to post the results online

Administrative Code:	Adds a new subdivision g to section 17-194

Int. No. 1138:	By Council Members Ampry-Samuel and Rosenthal

Title:	A Local Law to amend the administrative code of the city of New York, in relation to requiring the department of health and mental hygiene to conduct additional inspections of water tanks where harmful bacteria are found or where violations have occurred, and to post the results online

Administrative Code:	Adds a new subdivision g to section 17-194

Int. No. 1150:	By Council Members Kallos, Levine, Ampry-Samuel and Diaz

Title:	A Local Law amend the administrative code of the city of New York, in relation to requiring the inspection of water tanks prior to cleaning

Administrative Code:	Amends subdivision b of section 17-194

Int. No. 1157:	By Council Members Levine, Kallos and Diaz

Title:	A Local Law to amend the administrative code of the city of New York, in relation to qualifications for persons conducting inspections and maintenance on drinking water tanks

Administrative Code:	Amends section 17-194; amends section 28-408.1

Int. No. 1167:	By Council Member Salamanca

Title:	A Local Law to amend the administrative code of the city of New York, in relation to the repair of damaged water tanks

Administrative Code:	Adds a new subdivision g to section 17-194

Int. No. 1169:	By Council Members Torres and Kallos

Title:	A Local Law to amend the administrative code of the city of New York, in relation to requiring the visual documentation of water tanks during inspections, to be submitted to the department of health and mental hygiene

Administrative Code:	Amends subdivision b of section 17-194

Introduction

Today, the Committee on Health, chaired by Council Member Mark Levine, will hold a hearing on the City’s laws regarding the inspection and maintenance of water tanks. The Committees will hear a package of seven bills related to transparency and effectiveness of water tank inspection and maintenance. Among those invited to testify are representatives from the New York City Department of Health and Mental Hygiene (“DOHMH”) and the Department of Buildings (“DOB”), advocates, and other interested parties.

Background

Buildings in the City of New York have been using water tanks as part of their drinking water supply systems since the 19th century. The City’s water mains provide enough pressure to deliver water to about six stories of a building. Taller buildings use an electric pump to carry water into water tanks on the top of the building, and gravity distributes the water to the floors below. The large majority of water tanks in the City are constructed from wood due to its insulating properties, easy maintenance and low cost. Water for drinking, bathing and other everyday uses is drawn from the middle of the tank, while the water in the bottom is used for firefighting and sprinkler systems. When not maintained properly, the water tanks have been found to contain viruses, bacteria and parasites, such as E. coli, a bacterium carried in the feces of some animals.

In 2009, the Council passed Local Law 11 (“LL 11”), requiring that building owners have their water tanks inspected annually and submit inspection results to DOHMH when requested. LL 11 requires building owners to maintain a record of inspections for 5 years, and to post a public notice stating that inspection results are available upon request. LL 11 also requires DOHMH to report to the Council on compliance with inspection requirements each year for three years.

In an annual report to the Council in 2013 in accordance with the New York City Administrative Code, DOHMH estimated that 10,000 buildings in the City contain at least one water tank. DOHMH conducted inspections on a random selection of 110 buildings over seven stories in height (125 tanks) and found that only 33% were able to demonstrate proof of a water tank inspection in the previous year, 22% could show proof that records were maintained for five years, and 15% had posted public notices of the availability of inspection results. In 2014, the New York City Health Code was amended to require building owners to submit annual water tank inspection results to DOHMH by January 15 of each year, rather than by request.

In 2014, the New York Times conducted its own testing of 12 water tanks in Manhattan, Queens and Brooklyn and found E. coli in five of the tanks. These results came from the bottoms of the tanks, below the pipe level that feeds into the building. There is debate about whether these tests prove the water is contaminated or if they are flawed due to how the testing was conducted and lead to faulty conclusions.

In December 2017, the Council enacted Local Law 239 (LL 239), which codified in the City’s Administrative Code the inspection submission requirements that existed in the Health Code. LL 239 also required DOHMH to post documentation of annual inspections on its website and the City’s Open Data portal, to provide guidance on its site to assist users in determining whether a building is required to have a water tank inspection, and to post information on how to submit a complaint about a water tank or water from a water tank to DOHMH. The legislation also reinstated a lapsed requirement of annual reporting by DOHMH to the Council relating to water tank inspections, and introduced a new requirement that such reports include data on the number of inspection results received, including the number of received results that demonstrate compliance with the health-related requirements for water tanks. LL 239 came into effect in April 2018, and the uploading of reports to the City’s open data portal is ongoing.

The public’s attention recently became focused on the City’s water tank oversight and maintenance once again after a series of articles were published. One article raised concern that several major water tank cleaning companies state they investigate tanks only after the tanks are scrubbed and bleached, which, arguably, may skew the results of the tests and not accurately determine the quality of the building’s typical drinking water. A subsequent article about the water tanks at New York City Housing Authority (NYCHA) buildings spoke of large discrepancies between the inspectors’ reports and the reports NYCHA files with DOHMH. Several documents showed that inspectors found rodents, debris and other hazardous materials in NYCHA water tanks, yet those details were not shared with DOHMH. As a result, the Speaker of the City Council, Council Member Corey Johnson, hosted an emergency meeting with NYCHA residents and staff, and City health officials, about the matter. The Committee is thus holding this oversight hearing to follow up on issues and concerns raised in media reports and discussed at that meeting.

Int. No. 1053:

Int. No. 1053 would require water tank inspection companies to submit annual inspection reports directly to the Department of Mental Health and Hygiene, prior to submitting such reports to building owners.

This legislation would take effect 30 days after it becomes law.

Int. No. 1056:

Int. No. 1056 would require the Department of Health and Mental Hygiene to conduct periodic inspections of water tanks, without providing prior notice to building owners, and to post the results of those inspections online.

This legislation would take effect 60 days after it becomes law.

Int. No. 1138:

Int. No. 1138 would require the Department of Health and Mental Hygiene to conduct additional inspections of water tanks where harmful bacteria are found or where a violation occurred, without providing prior notice to building owners, and to post the results of those inspections online.

This legislation would take effect 60 days after it becomes law.

Int. No. 1150:

Int. No. 1150 would require that water tanks are inspected prior to being cleaned, to ensure the most accurate results.

This legislation would take effect 30 days after it becomes law.

Int. No. 1157:

Int. No. 1157 would require inspectors and those who perform maintenance work on drinking water tanks be Licensed Master Plumbers, have a certification from the New York State Department of Environmental Conservation for Category 7G pesticide application and have received training in fall protection under requirements set forth by the federal Occupational Safety and Health Administration to do such inspections and work.

This legislation would take effect 120 days after it becomes law.

Int. No. 1167:

Int. No. 1167 would require building owners to repair damage to water tanks within 90 days of becoming aware of the damage.

This legislation would take effect 60 days after it becomes law.

Int. No. 1169:

Int. No. 1169 would require visual evidence of water tanks, such as photographs or videos, to be submitted with inspection results to the Department of Health and Mental Hygiene.

This legislation would take effect 30 days after it becomes law.

Conclusion

The Committee is interested in gaining more clarity on the ways the City can improve water tank inspections and ensure the process is robust.

This Page Intentionally Left Blank

Int. No. 1053

By The Speaker (Council Member Johnson) and Council Members Ampry-Samuel and Ayala

A Local Law to amend the administrative code of the city of New York, in relation to requiring water tank inspection companies to submit annual inspection reports directly to the department of health and mental hygiene

Be it enacted by the Council as follows:

Section 1. Subdivision a of section 17-194 of the administrative code of the city of New York is amended by adding a new paragraph 6 to read as follows:

6.  “Water tank inspection company” shall mean any company authorized to inspect the water tank of a building.

§ 2. Subdivision b of section 17-194 of the administrative code of the city of New York, as amended by local law number 239 for the year 2017, is amended to read as follows:

b. Any owner of a building that has a water tank as part of its drinking water supply system shall have such water tank inspected at least once annually. Such inspection shall ensure that the water tank complies with all provisions of the administrative code of the city of New York, the construction codes of the city of New York and the health code of the city of New York. The results of such inspection shall be recorded in a manner prescribed by the commissioner. Such results shall be maintained by the owner and by the water tank inspection company for at least five years from the date of inspection and shall be made available to the department upon request within five business days. Documentation of such annual inspection shall be submitted to the department directly by the water tank inspection company, prior to submitting such documentation to building owners, in a form and manner prescribed by the department. Such documentation shall state whether or not all applicable requirements were met at the time of inspection and provide a description of any non-compliance with applicable requirements.

§ 3. This local law takes effect 30 days after it becomes law.

SIL

LS #7872

08/02/18

Int. No. 1056

By Council Members Constantinides, Levine, Torres, Diaz, Ampry-Samuel and Ayala (by request of the Bronx Borough President)

A Local Law to amend the administrative code of the city of New York, in relation to requiring the department of health and mental hygiene to conduct periodic inspections of water tanks and to post the results online

Be it enacted by the Council as follows:

Section 1. Section 17-194 of the administrative code of the city of New York is amended by adding a new subdivision g to read as follows:

g. Periodic inspections. 1. In addition to other inspections required by this section, the department shall conduct periodic inspections of water tanks. Such inspections shall ensure that such water tanks comply with all provisions of the administrative code of the city of New York, the construction codes of the city of New York and the health code of the city of New York, and shall audit for accuracy the annual inspection report required under subdivision b of this section. The department shall conduct such inspections without prior notice to the building’s owner.

2.  The department shall post the results of the periodic inspections required by paragraph 1 of this subdivision on its website and the web portal within 35 days of conducting such periodic inspections.

§ 2. This local law takes effect 60 days after it becomes law, except that the department of health and mental hygiene shall take such measures as are necessary for the implementation of this local law, including the promulgation of rules, before such date.

SIL

LS #7160

08/02/18

Int. No. 1138

By Council Members Ampry-Samuel and Rosenthal

A Local Law to amend the administrative code of the city of New York, in relation to requiring the department of health and mental hygiene to conduct additional inspections of water tanks where harmful bacteria are found or where violations have occurred, and to post the results online

Be it enacted by the Council as follows:

Section 1. Section 17-194 of the administrative code of the city of New York is amended by adding a new subdivision g to read as follows:

g. Additional inspections. 1. In addition to other inspections required by this section, the department shall conduct inspections of water tanks where harmful bacteria are found, or where violations of this section have occurred, to determine whether such water tanks comply with all provisions of the administrative code, the construction codes and the health code, and to audit for accuracy the annual inspection report required under subdivision b of this section. The department shall conduct such inspections without prior notice to the building’s owner.

2. The department shall post the results of the periodic inspections required by paragraph 1 of this subdivision on its website and the web portal within 35 days of conducting such additional inspections.

§ 2. This local law takes effect 60 days after it becomes law, except that the department of health and mental hygiene shall take such measures as are necessary for the implementation of this local law, including the promulgation of rules, before such date.

SIL

LS #7950

10/09/18

Int. No. 1150

By Council Members Kallos, Levine, Ampry-Samuel and Diaz

A Local Law to amend the administrative code of the city of New York, in relation to requiring the inspection of water tanks prior to cleaning

Be it enacted by the Council as follows:

Section 1. Subdivision b of section 17-194 of the administrative code of the city of New York, as amended by local law number 239 for the year 2017, is amended to read as follows:

b. Any owner of a building that has a water tank as part of its drinking water supply system shall have such water tank inspected at least once annually. Such inspection shall ensure that the water tank complies with all provisions of the administrative code of the city of New York, the construction codes of the city of New York and the health code of the city of New York. Such inspection shall occur prior to the cleaning of the water tank. The results of such inspection shall be recorded in a manner prescribed by the commissioner. Such results shall be maintained by the owner for at least five years from the date of inspection and shall be made available to the department upon request within five business days. Documentation of such annual inspection shall be submitted in a form and manner prescribed by the department. Such documentation shall state whether or not all applicable requirements were met at the time of inspection and provide a description of any non-compliance with applicable requirements.

§ 2. This local law takes effect 30 days after it becomes law.

SIL

LS #7163

10/09/18

Int. No. 1157

By Council Members Levine, Kallos and Diaz

A Local Law to amend the administrative code of the city of New York, in relation to qualifications for persons conducting inspections and maintenance on drinking water tanks

Be it enacted by the Council as follows:

Section 1.  Section 17-194 of the administrative code of the city of New York, as amended by local law number 239 for the year 2017 is amended to read as follows:

§ 17-194. Drinking water tank inspections.

a. Definitions. For purposes of this section, the following terms shall have the following meanings:

1. “Building” shall mean any building, structure, premises, or part thereof.

2. “Drinking water” shall mean water used for human consumption or used directly or indirectly in connection with the preparation of food for human consumption, including, but not limited to, the cleaning of utensils used in the preparation of food.

3. “Owner” shall mean any owner, manager, operator or other person or persons having control of a building and any authorized agent thereof.

4. “Water heater” shall mean any heating appliance or equipment that heats potable water and supplies such water to the potable hot water distribution system.

5. “Water tank” shall mean any device used to store drinking water that is distributed as part of the water supply system of a building, however such term shall not apply to domestic hot water heaters.

b. Any owner of a building that has a water tank as part of its drinking water supply system shall have such water tank inspected at least once annually. Such inspection shall ensure that the water tank complies with all provisions of the administrative code of the city of New York, the construction codes of the city of New York and the health code of the city of New York. The results of such inspection shall be recorded in a manner prescribed by the commissioner. Such results shall be maintained by the owner for at least five years from the date of inspection and shall be made available to the department upon request within five business days. Documentation of such annual inspection shall be submitted in a form and manner prescribed by the department. Such documentation shall state whether or not all applicable requirements were met at the time of inspection and provide a description of any non-compliance with applicable requirements.

c. No person shall perform an inspection of a water tank pursuant to subdivision b of this section or engage in the business of cleaning, painting or coating a water tank of this section unless such person:

1. is a licensed master plumber, pursuant to article 408 of chapter 4 of title 28, works under the direct supervision of a licensed master plumber or  holds a commercial pesticide applicator certification in category 7G issued by the new york state department of environmental conservation or works under the direct supervision of a person holding such certification; and

2. has received fall protection training under requirements set forth by the federal occupational safety and health administration.

[c]d. The owner of a building shall post a notice stating that (i) the water tank inspection results are maintained on file in a specific location and will be made available when a person makes such a request to either the building owner or manager and (ii) that a person may contact the department if the inspection results are not made available to such person by the building owner or manager. Upon receipt of such request, the owner or manager shall make a copy of the inspection results available within five business days. Such notice shall be posted in a location easily accessible to tenants and in a frame with a transparent cover, and may be combined with similar notices where not otherwise prohibited by law.

[d]e. Beginning March 1, 2019, and each year thereafter, the department shall submit to the council a report which shall provide information about water tank inspections for the preceding calendar year including, but not limited to:

1. the [estimated] number of building water tanks and the [estimated] number of buildings serviced by such tanks;

2. the number of complete building water tank inspection results received by the department pursuant to subdivision b of this section;

3. the number of building water tank inspection results received by the department that documented compliance with applicable requirements; and

4. the number of violations issued by the department pursuant to subdivision f of this section, section 141.07 of the health code or chapter 31 of title 24 of the rules of the city of New York.

[e]f. Water tank inspection information on website. Within 35 business days of receiving the documentation of an annual inspection required pursuant to subdivision b, the department shall post such documentation on its website and the web portal providing access to public data sets described in section 23-502. The department's website shall provide notice that failure to conduct a required water tank inspection is a violation of law. Information available to the public shall include:

1. guidance to assist users in accessing any prior inspection report for a building available on the web portal providing access to public data sets described in section 23-502;

2. guidance to assist users in determining whether a building is required to have a water tank inspection pursuant to this section or section 141.07 of the health code; and

3. information about how to submit a complaint about a water tank, or water from a water tank, to the department.

[f]g. Any owner of a building who violates subdivisions b or c of this section or any of the rules promulgated thereunder shall be liable for a civil penalty not less than [two hundred] $500 and not to exceed [two thousand dollars] $5000 for each violation. Any owner of a building who violates subdivision [c]d of this section or any of the rules promulgated thereunder shall be liable for a civil penalty not to exceed [two hundred fifty dollars] $1000 for each violation.

§ 2. Section 28-408.1. of the administrative code of the city of New York is amended to read as follows:

§ 28-408.1. Master plumber license required. It shall be unlawful for any person:

1. To perform plumbing work, perform an inspection of a water tank pursuant to section 17-194 of the administrative code or engage in the business of cleaning, painting or coating a water tank pursuant to section 141.09 (b) of the health code unless such person is a licensed master plumber or working under the direct and continuing supervision of a licensed master plumber except that a city employee who holds a master plumber license may only perform replacement, maintenance and repair plumbing work on existing buildings in the course of his or her employment.

2. To use the title licensed master plumber, master plumber or any other title in such manner as to convey the impression that such person is a licensed master plumber unless such person is licensed as such in accordance with the provisions of this article.

§ 3. This local law takes effect 120 days after it becomes law, except that the commissioner of health and mental hygiene may take such action as is necessary for its implementation, including the promulgation of rules, before such effective date.

KS

LS 7097

7/20/18 12:30PM

Int. No. 1167

By Council Member Salamanca

A Local Law to amend the administrative code of the city of New York, in relation to the repair of damaged water tanks

Be it enacted by the Council as follows:

Section 1. Section 17-194 of the administrative code of the city of New York is amended by adding a new subdivision g to read as follows:

f. Repair of a water tank. Any owner of a building shall repair damage of a water tank within 90 days of becoming aware of such damage. The commissioner may extend the provided time period, based upon a determination that such extension would be in the best interest of the city.

[f.] g. Any owner of a building who violates subdivision b of this section or any of the rules promulgated thereunder shall be liable for a civil penalty not less than [two hundred] $200and not to exceed [two thousand dollars] $2000 for each violation. Any owner of a building who violates subdivision c of this section or any of the rules promulgated thereunder shall be liable for a civil penalty not to exceed [two hundred fifty dollars] $250 for each violation. Any owner of a building who violates subdivision f of this section shall be liable for a civil penalty not less than $200 and not to exceed $2000 for each violation.

§ 2. This local law takes effect 60 days after it becomes law.

SIL

LS #7284

10/09/18

Int. No. 1169

By Council Members Torres and Kallos

A Local Law to amend the administrative code of the city of New York, in relation to requiring the visual documentation of water tanks during inspections, to be submitted to the department of health and mental hygiene

Be it enacted by the Council as follows:

Section 1. Subdivision b of section 17-194 of the administrative code of the city of New York, as amended by local law number 239 for the year 2017, is amended to read as follows:

b. Any owner of a building that has a water tank as part of its drinking water supply system shall have such water tank inspected at least once annually. Such inspection shall ensure that the water tank complies with all provisions of the administrative code of the city of New York, the construction codes of the city of New York and the health code of the city of New York. The results of such inspection shall be recorded in a manner prescribed by the commissioner. Such results shall be maintained by the owner for at least five years from the date of inspection and shall be made available to the department upon request within five business days. Documentation of such annual inspection shall be submitted in a form and manner prescribed by the department. Such documentation shall state whether or not all applicable requirements were met at the time of inspection and provide a description of any non-compliance with applicable requirements.Such documentation shall include visual depictions, such as photographs or videos, which display a full view of the interior and exterior of the water tank.

§ 2. This local law takes effect 30 days after it becomes law.

SIL

LS #7940

10/09/18

Ray Rivera, Frank G. Runyeon and Russ Buettner. Inside City’s Water Tanks, Layers of Neglect, N.Y. Times, Jan. 27, 2014, https://www.nytimes.com/2014/01/27/nyregion/inside-citys-water-tanks-layers-of-neglect.html.

Id.

Sean Joseph. Water towers: NYC's misunderstood icons, N.Y. Times, Apr. 7, 2009, https://www.amny.com/real-estate/city-living/water-towers-nyc-s-misunderstood-icons-1.6982696

Rivera, supra note 1.

Id.

The New York City Council, Int 0408-2006, https://legistar.council.nyc.gov/LegislationDetail.aspx?ID=446233&GUID=FB04DEEE-9497-49BF-B4E6-EF17704EBB7A&Options=&Search=

Id.

Id.

NYC Dep’t of Health & Mental Hygiene, New York City Building Drinking Water Inspection Report 2013.

Id.

NYC Health Code §31-02.

Rivera, supra note 1.

Id.

Id.

The New York City Council, LL239/2017, https://nyc.legistar.com/LegislationDetail.aspx?ID=2170499&GUID=B5502C50-E7BF-4689-AB24-B362CA1BF718&Options=ID|Text|&Search=239.

Id.

Id.

Id.

Frank G. Runyeon. Lawmakers criticize city for water tank neglect, City & State, May 30, 2018, https://www.cityandstateny.com/articles/politics/new-york-city/lawmakers-criticize-water-tank-neglect.html.

Frank G. Runyeon. Inspectors reported contamination in water tanks. NYCHA had it erased, City & State, July 31, 2018, https://www.cityandstateny.com/articles/politics/new-york-city/nycha-contamination-water-tanks

Id.

Frank G. Runyeon. Council speaker calls emergency meeting on NYCHA’s water tanks, City & State, August 1, 2018, https://www.cityandstateny.com/articles/politics/new-york-city/council-speaker-calls-emergency-meeting-nychas-water-tanks.html