Staff:	Terzah N. Nasser

Counsel to the Committee

Sara Marks

Policy Analyst

David Pechefsky

Finance Division

### THE COUNCIL

REPORT OF THE INFRASTRUCTURE DIVISION

MARCEL VAN OOYEN, LEGISLATIVE DIRECTOR and DEPUTY CHIEF-OF-STAFF

### COMMITTEE ON HOUSING AND BUILDINGS

###### Madeline Provenzano, Chair

November 30, 2004

INT. NO. 368:	By:  Council Members Jackson, Quinn, Barron, James, DeBlasio, Fidler, Gennaro, Liu, Martinez, Palma, Recchia, Stewart, Addabbo, Gentile, Gioia, Reed, Yassky, Seabrook, Monserrate, Boyland, Foster, Perkins, Gerson, Vann, McMahon, Weprin, Comrie, Serrano, Gonzalez, Nelson and Reyna.

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to the National Fire Protection Association NFPA 5000™ Building Construction and Safety Code™ and the repeal of subchapters 2 through 19 of chapter one of title 27 of such code.

BACKGROUND AND INTENT:

This Committee was convened to hear testimony concerning Int. No. 368 and to explore the issue of whether a Model Building Code is right for New York City.  Building Codes provide for minimum standards for the construction of buildings in order to protect the health, safety and welfare of the public.  The Committee hopes that this hearing will provide valuable information and knowledge to provoke thoughtful comments as the Council discusses, deliberates and determines whether or not to alter and improve this City’s Building Code through the adoption of a model code, and if adopted which model code.

Int. No. 368 provides for the adoption of the National Fire Protection Association NFPA 5000™ Building Construction and Safety Code™ to replace the current Building Code of the City of New York.  The Committee on Housing and Buildings anticipates hearing testimony from Patricia Lancaster, Commissioner of Buildings, and representatives of model code organizations, architects, engineers, fire safety professionals, labor, and the real estate industry, and other persons interested in this issue.

OVERVIEW:

New York City’s Building Code

In 1850, New York City was the first City in the United States to adopt a comprehensive Building Code.  However history reveals that rules for the types and locations of houses in New Amsterdam, now known as New York City, were first established in 1625 by the Dutch West India Company and applied to the colonists.  The current version of the Building Code was first enacted as Local Law 76 of 1968 and has been the subject of numerous amendments.  That Building Code became effective on December 6, 1968 and superseded the Building Code enacted in 1938.  The current Building Code applies to the construction, alteration, repair, demolition, removal, maintenance, occupancy and use of both new and existing buildings in the City.  The purpose of the Building Code is:

to provide reasonable minimum requirements and standards, based upon current scientific and engineering knowledge, experience and techniques, and the utilization of modern machinery, equipment, materials, and forms and methods of construction, for the regulation of building construction in the city of New York in the interest of public safety, health and welfare, and with due regard for building construction and maintenance costs.

Although the Building Code was based largely upon nationally accepted performance standards and specifications for materials and construction assemblies, there have been many modern advances and changes due, in part, to the advent of new technologies that have not been incorporated into the Building Code.  In November of 2002, Mayor Michael R. Bloomberg, in cooperation with Patricia Lancaster, the Commissioner of Buildings and Madeline Provenzano, the Chair of this Committee announced the formation of a Commission to formulate recommendations for the adoption of a model Building Code by the City to supplant the current antiquated Building Code.

Model Codes

A model code is a document that a State or municipality could adopt in its entirety, or adopt with such modifications as it deems to be suitable.  Model codes are often viewed as being advantageous to jurisdictions as they offer legislative bodies contemporary and technical information from a reputable source and are kept current through review by the nationally recognized model code organization that issued the particular code.  Most model codes are updated on a regular basis by the code organization that issued the respective code and is usually developed through a review process that encourages sound practices and use of acceptable state-of-the-art technology.  Even when a model code has not been adopted in a jurisdiction, architects and engineers often utilize model code parameters in their building designs, so long as they do not conflict with the applicable local code.

Prior to 2002, the model code organizations in the United States were the Building Officials and Code Administrators (BOCA) International, Inc., which produced the BOCA National Building Code, the International Conference of Building Officials (ICBO), which produced the Uniform Building Code, and the Southern Building Code Conference International, Inc. (SBCCI), which produced the Standard Building Code.  The International Code Council (ICC) is an umbrella organization that was established as a nonprofit organization in 1994 by the aforementioned model code organizations and is dedicated to developing a single set of comprehensive and coordinated national model construction codes.  The International Code Council produces the International Building Code, first released as the 2000 edition and then updated by the 2003 edition.  In 2002, the National Fire Protection Association (NFPA) released the final publication of its own new model building code entitled the NFPA 5000: Building Construction and Safety Code™, 2003 edition.

In 2002, the State of New York significantly reformed the State’s Building Code by adopting several International Codes, which are model codes produced by the International Code Council, with amendments, as the new State Building Code.  The new State Building Code replaced New York State's Uniform Fire Prevention and Building Codes that had been in effect since 1984.  The application of these coordinated model codes with amendments, with the exception of the State’s Energy Code, do not apply within the jurisdiction of New York City as the City has historically been deemed exempt from the application of the State’s Building Code due to the more stringent nature of the City’s Building Code.

National Fire Protection Association (NFPA)

The mission of the NFPA is “to reduce the worldwide burden of fire and other hazards on the quality of life by developing and advocating scientifically based consensus codes and standards, research, training, and education.”  The NFPA was founded in 1896 as the National Fire Protection Association, however the NFPA is now an international nonprofit membership organization with over 75,000 members representing nearly 100 nations and 320 employees around the world.  The NFPA advocates for fire prevention and public safety and from this standpoint, develops, publishes, and disseminates more than 300 consensus codes and standards intended to minimize the possibility and effects of fire and other risks.  According to the NFPA, their code development process encourages the broadest possible participation whereby interested parties are encouraged to provide NFPA technical committees with input.  All NFPA members have the opportunity to vote on proposed and revised codes and standards.

Examples of NFPA-developed codes include the following:

- NFPA 1, Fire Prevention CodeTM

Provides the requirements necessary to establish a reasonable level of fire safety and property protection in new and existing buildings.

- NFPA 54, National Fuel Gas Code

The safety benchmark for fuel gas installations.

- NFPA 70, National Electrical Code®

The world's most widely used and accepted code for electrical installations.

- NFPA 101®, Life Safety Code®

Establishes minimum requirements for new and existing buildings to protect building occupants from fire, smoke, and toxic fumes.

- NFPA 5000®, Building Construction and Safety Code®

The first building code developed through an open, consensus-based process that is accredited by ANSI. NFPA 5000 is a cornerstone of the Comprehensive Consensus Codes™ (C3) set.

Int. No. 368

Int. No. 368 adopts the 2003 edition of the National Fire Protection Association NFPA 5000™ Building Construction and Safety Code™ (the “NFPA Code”) as a replacement for the current Building Code of the City of New York by repealing Subchapters 2 through 19 of Chapter one of Title 27 of the Administrative Code and replaces it by the provisions of the National Fire Protection Association Building and Construction Code™, NFPA 5000™, 2003 edition.  The NFPA Code would apply to the construction, alteration, repair, demolition, removal, maintenance, occupancy and use of new and existing buildings in the City of New York, including the installation, alteration, repair, maintenance and use of service equipment.  The Commissioner of Buildings would be required to make a copy of the National Fire Protection Association Building and Construction Code™, NFPA 5000™, 2003 edition, available for public inspection.

The bill would effect and apply to work performed on and after January 1, 2005, except that, the Commissioner of Buildings is permitted to promulgate rules to extend the date of application for no more than 180 days, for any rule or technical standard of the Commissioner as he or she deems necessary.

Reducing the Cost of New Housing Construction in New York City, prepared by Jerry J. Salama, Michael H. Schill and Martha E. Starks, The New York University School of Law, Center for Real Estate and Urban Policy, at 93.  Building Code History, provided by the New York City Department of Buildings, at http://www.nyc.gov/html/dob/html/bhistory.html.

New Amsterdam history at http://www.usahistory.info/colonies/New-Amsterdam.html.

Building Code History, provided by the New York City Department of Buildings, at http://www.nyc.gov/html/dob/html/bhistory.html.

See the Department of Building’s website at http://www.nyc.gov/html/dob/html/code.html.

Administrative Code of the City of New York §27-103.

Administrative Code of the City of New York §27-102.

On November 1, 2002, Mayor Bloomberg announced that he will issue an executive order to study the feasibility of adopting the International Building Code (IBC). New York City's current Building Code is the largest and most complex in the country and takes up hundreds of pages in the City's Administrative Code.  http://www.nyc.gov/html/om/html/2002b/pr284-02.html

See International Code Council’s website at http://www.iccsafe.org/news/about.  The International Code Council was founded with the mission “to promulgate a comprehensive and compatible regulatory system for the built environment, through consistent performance-based regulations that are effective, efficient and meet government, industry and public needs.”  See International Code Council’s website at http://www.iccsafe.org/government/Toolkit/01-background.pdf and at http://www.iccsafe.org/news/annual/Forum2004/Blueprint.pdf.

The  NFPA 5000 Building Code™ was released in July 2002.  According to the NFPA, the NFPA 5000 is the first building code developed through an American National Standards Institute (ANSI)-accredited process. NFPA 5000 is an integral part of the Comprehensive Consensus Codes® (C3) set, the only full set of integrated consensus-based safety codes and standards, developed by NFPA and its partners, the International Association of Plumbing and Mechanical Officials (IAPMO), the American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE), and the Western Fire Chiefs Association (WFCA).  http://www.nfpa.org/aboutthecodes/AboutTheCodes.asp?DocNum=5000.

On March 6, 2002 the Fire Prevention and Building Code Council of the State of New York adopted the 2000 International Building Code (IBC), the 2000 International Fire Code (IFC), the 2000 International Residential Code (IRC), the 2000 International Plumbing Code (IPC), the 2000 International Mechanical Code (IMC), the 2000 International Fuel Gas Code (IFGC) and the 2000 International Property Maintenance Code (IPMC).

See “Governor Pataki Announces Agreement On Model Building Code” at http://www.state.ny.us/governor/press/year99/nov18_2_99.htm.

New York City’s Building Code has historically been deemed more stringent than the State’s Building Code.  The statutory basis for this exemption is found in subdivision c of Executive Law §383.

NFPA website information at http://www.nfpa.org/itemDetail.asp?categoryID=495&itemID=17991&URL=About%20Us/Overview

NFPA website information at http://www.nfpa.org/categoryList.asp?categoryID=124

NFPA website information at http://www.nfpa.org/itemDetail.asp?categoryID=495&itemID=17991&URL=About%20Us/Overview

Id.