Int. No. 1100

By Council Members Vacca, Williams, Palma, Richards, Gentile, Rodriguez, Crowley, Rosenthal, Menchaca, Lander, Cohen, Van Bramer and Levin

..Title

A Local Law to amend the administrative code of the city of New York and the New York city building code, in relation to requiring natural gas alarms in dwelling units.

..Body

Be it enacted by the Council as follows:

Section 1. Sections 27-2045, 27-2046, 27-2046.1 and 27-2046.2 of the administrative code of the city of New York are REPEALED and a new section 27-2045 is added to read as follows:

§ 27-2045 Duties of owner and occupant with respect to installation and maintenance of smoke detecting devices, carbon monoxide detecting devices and natural gas detecting devices.

a. As used in this section, the following terms shall have the following meanings:

CLASS A MULTIPLE DWELLING. A “class A multiple dwelling” as defined in paragraph eight of subdivision a of section 27-2004 of this code except that such term shall include garden-type maisonette dwellings constructed before April eighteenth, nineteen hundred fifty-four.

GARDEN-TYPE MAISONETTE DWELLING. A dwelling project consisting of a series of dwelling units which together and in their aggregate are arranged or designed to provide three or more apartments, and are provided as a group collectively with all essential services such as, but not limited to, house sewers and heat, and which are operated as a unit under single ownership, notwithstanding that certificates of occupancy were issued for portions thereof as private dwellings, as such term is defined by paragraph six of subdivision a of section 27-2004 of this code.

PRIVATE DWELLING. A dwelling unit in a one-family or two-family home which is occupied by a person or persons other than the owner of such unit or the owner’s family.

b. The owner of a class A multiple dwelling or private dwelling shall:

(1) provide and install one or more approved and operational (i) smoke detecting devices as required by section 907.2 of the New York city building code or sections 27-978, 27-979, 27-980 and 27-981 of the 1968 building code, as applicable; (ii) carbon monoxide detecting devices, as required by section 908.7 of the New York city building code or sections 27-981.1, 27-981.2 and 27-981.3 of the 1968 building code, as applicable; and (iii) natural gas detecting devices, as required by section 908.10 of the New York city building code or section 28-315.2.3 of the administrative code of the city of New York, as applicable;

(2) replace such devices in accordance with article 312 of title 28 of the administrative code of the city of New York;

(3) replace any such device that has been stolen, removed, found missing or rendered inoperable except where the occupant is required to replace such device in accordance with subdivision c of this section;

(4) where any such device becomes inoperable within one year after installation due to a defect in the manufacture of such device and through no fault of the occupant of the dwelling unit in which such device is installed, the owner shall replace such device within thirty calendar days after receiving written notice that such device is inoperable;

(5) post in a common area or, for private dwellings, provide to the occupants thereof a notice indicating that (i) the owner is required by law to install one or more approved and operational smoke detecting devices, carbon monoxide detecting devices and natural gas detecting devices in each dwelling unit and to periodically replace such devices upon the expiration of their useful life; and (ii) each occupant is responsible for the maintenance and repair of such devices that are battery-operated and within his or her dwelling unit and for replacing, in accordance with article 312 of title 28 of the administrative code of the city of New York, any or all such devices which are stolen, removed, missing or rendered inoperable during his or her occupancy of such dwelling unit;

(6) provide to at least one adult occupant of each dwelling unit in such dwelling information relating to (i) the risks posed by carbon monoxide poisoning and natural gas leaks; (ii) the testing and maintenance of smoke detecting devices, carbon monoxide detecting devices and natural gas detecting devices; (iii) what to do if such devices alert; (iv) the useful life of such devices; (v) the owner’s duty to replace such devices pursuant to article 312 of title 28 of the administrative code of the city of New York; and (vi) the occupant’s duty to maintain and repair such devices that are battery-operated and within his or her dwelling unit and replace any or all such devices within his or her dwelling unit that are stolen, removed, missing or rendered inoperable during his or her occupancy of the dwelling unit; provided further that the information provided in accordance with this paragraph may include material that is distributed by the manufacturer or material prepared or approved by the department of buildings; and

(7) keep such records as the commissioner shall prescribe relating to the installation and maintenance of smoke detecting devices, carbon monoxide detecting devices and natural gas detecting devices in the dwelling, including the manufacturer’s suggested useful life of such devices, and make such records available to the commissioner upon request.

c. Notwithstanding the provisions of subdivision a of section 27-2005 and subdivision c of section 27-2006 of this chapter, the occupant of each dwelling unit in a class A multiple dwelling or private dwelling in which a battery-operated smoke detecting device, carbon monoxide detecting device or natural gas detecting device has been provided and installed shall:

(1) keep and maintain such device in good repair; and

(2) replace such device if it is stolen, removed, missing or rendered inoperable during the occupant’s occupancy of such dwelling unit.

d. The owner of a class B multiple dwelling shall:

(1) provide and install (i) one or more approved and operational smoke detecting devices as required by section 907.2 of the New York city building code or sections 27-978, 27-979, 27-980 and 27-981 of the 1968 building code, as applicable, or, in the alternative, a line-operated zoned smoke detecting system with central annunciation and central office tie-in for all public corridors and public spaces, in accordance with rules and regulations promulgated by the commissioner of buildings; (ii) one or more approved and operational carbon monoxide detecting devices, as required by section 908.7 of the New York city building code or sections 27-981.1, 27-981.2 and 27-981.3 of the 1968 building code, as applicable, or, in the alternative, a line-operated zoned carbon monoxide detecting system with central annunciation and central office tie-in for all public corridors and public spaces, pursuant to rules promulgated by the commissioner in consultation with the department of buildings and the fire department; and (iii) one or more approved and operational natural gas detecting devices, as required by section 908.10 of the New York city building code or section 28-315.2.3 of the administrative code of the city of New York, as applicable;

(2) keep and maintain such devices in good repair and replace such devices in accordance with article 312 of title 28 of the administrative code;

(3) replace any such device that has been stolen, removed, found missing or rendered inoperable;

(4) keep such records as the commissioner shall prescribe relating to the installation and maintenance of such devices in the dwelling, including the manufacturer’s suggested useful life of such devices, and make such records available to the commissioner upon request.

e. It shall be unlawful for any person to tamper with or render inoperable a required smoke detecting device, carbon monoxide detecting device or natural gas detecting device except to replace the batteries of such device or for other maintenance purposes.

f. The occupant of a dwelling unit within a class A multiple dwelling or private dwelling in which a battery-operated smoke detecting device, carbon monoxide detecting device or natural gas detecting device is newly installed or installed to replace a device that has exceeded the manufacturer’s useful life or as a result of such occupant’s failure to maintain such device or where such device has been lost or damaged by such occupant, shall reimburse the owner for the cost of such work up to a maximum of (i) twenty-five dollars for each smoke detecting device, carbon monoxide detecting device or natural gas detecting device; (ii) fifty dollars for each combined smoke and carbon monoxide detecting device, combined smoke and natural gas detecting device and combined carbon monoxide and natural gas detecting device and (iii) seventy-five dollars for each combined smoke, carbon monoxide and natural gas detecting device.

g. The provisions of this section may be enforced by the department, the department of buildings, the fire department and the department of health and mental hygiene.

§2. Article 312 of title 28 of the administrative code of the city of New York, as amended by local law number 112 for the year 2013, is amended to read as follows:

ARTICLE 312

CARBON MONOXIDE, [AND] SMOKE AND NATURAL GAS ALARMS

§ 28-312.1 General. Required carbon monoxide, [and] smoke and natural gas alarms shall comply with the provisions of this article.

§ 28-312.2[.] Periodic replacement of carbon monoxide alarms. Carbon monoxide alarms required pursuant to section 908.7 of the New York city building code or sections 27-981.1, 27-981.2 and 27-981.3 of the 1968 building code shall be replaced when the time elapsed since the installation of such alarm exceeds the manufacturer’s suggested useful life of the alarm.

Exception: A carbon monoxide alarm installed prior to the effective date of this article shall be replaced when the time elapsed since the installation of such alarm exceeds the manufacturer’s suggested useful life of the alarm or within 6 months after the effective date of this article, whichever is later.

§ 28-312.3[.] Audible notification of expiration of useful life of carbon monoxide alarms. All carbon monoxide alarms installed after the effective date of this article shall comply with UL 2034 and be of a type that emits an audible notification at the expiration of the useful life of such alarm.

§ 28-312.4 Periodic replacement of smoke alarms. Smoke alarms required pursuant to section 907.2 of the New York [City] city building code or sections 27-978, 27-979, 27-980 and 27-981 of the 1968 building code shall be replaced when the time elapsed since the installation of such alarm exceeds the manufacturer’s suggested useful life of the alarm.

Exception: A smoke alarm installed prior to the effective date of this section and whose end of useful life is not known shall be replaced with an alarm that complies with section 28-312.5 within 7 years after the effective date of this section.

§ 28-312.5 Audible notification of expiration of useful life of smoke alarms. All smoke alarms installed after the effective date of this section shall comply with UL 217, shall employ a non-removable, non-replaceable battery that powers the alarm for a minimum of 10 years, and shall be of the type that emits an audible notification at the expiration of the useful life of the alarm.

§ 28-312.6 Periodic replacement of natural gas alarms. Natural gas alarms required pursuant to section 908.10 of the New York city building code shall be replaced when the time elapsed since the installation of such detector exceeds the manufacturer’s suggested useful life of the alarm.

§ 28-312.7 Audible notification of expiration of useful life of natural gas alarms. All natural gas alarms installed after the effective date of this section shall comply with UL 1484 and shall be of the type that emits an audible notification at the expiration of the useful life of the alarm.

§3. Section 28-315.2 of the administrative code of the city of New York, as added by local law number 141 for the year 2013, is amended by adding a new section 28-315.2.3 to read as follows:

§ 28-315.2.3 Natural gas alarms. Natural gas alarms shall be provided and installed in all dwelling units in accordance with section 908.10 of the New York city building code by May 1, 2017.

Exception: In existing buildings, natural gas alarms shall not be required to comply with the power source and interconnection requirements as required for smoke alarms in accordance with Sections 907.2.11.2 through 907.2.11.3.

§4. Section 202 of the New York city building code, as amended by local law number 141 for the year 2013, is amended by adding a new definition for “NATURAL GAS ALARM,” in appropriate alphabetical order, to read as follows:

NATURAL GAS ALARM. See Section 902.1.

§5. Section 902.1 of the New York city building code, as amended by local law number 141 for the year 2013, is amended by adding a new definition for “NATURAL GAS ALARM,” in appropriate alphabetical order, to read as follows:

NATURAL GAS ALARM. A single- or multiple- station alarm responsive to natural gas.

§6. Section 908.7.1.1.2 of the New York city building, as amended by local law number 141 for the year 2013, is amended to read as follows:

908.7.1.1.2 Installation requirements. Carbon monoxide alarms or detectors shall comply with the power source, interconnection[,] and acceptance testing requirements as required for smoke alarms in accordance with Sections 907.2.11.2 through 907.2.11.3 and Section 907.7.1.

§7. Section 908 of the New York city building code is amended by adding a new section 908.10 to read as follows:

908.10 Natural gas alarms. Natural gas alarms shall be provided and installed in accordance with Sections 908.10.1 and 908.10.2.

908.10.1 Dwelling units. Natural gas alarms listed in accordance with UL 1484 shall be provided and installed in all dwelling units. The department shall adopt rules and/or reference standards governing the installation and location of required natural gas alarms.

908.10.2 Additional installation requirements. Natural gas alarms shall comply with the power source, interconnection and acceptance testing requirements as required for natural gas alarms in accordance with Sections 907.2.11.2 through 907.2.11.3 and Section 907.7.1.

§8. Chapter 35 of the New York city building, as amended by local law number 141 for the year 2013, is amended by adding a new standard reference number UL 1484 of Underwriters Laboratories (UL), in appropriate order, to read as follows:

| UL |  | Underwriters Laboratories 333 Pfingsten Road Northbook, IL 60062-2096 |  |
| --- | --- | --- | --- |
| Standard Reference Number |  | Title | Referenced in code section number |

1484-2000		Standard for Residential Gas Detectors . . . . . . . . . . . . . . . . . . . . . .  908.10

§9. This local law shall take effect on January 1, 2017, except that this local law shall not apply to work related to applications for construction document approval filed prior to such effective date, and except that the commissioner of buildings shall take such measures as are necessary for its implementation, including the promulgation of rules, prior to such effective date.

EAA

LS # 1092-2014

2/18/16 – 1120a