Staff:	Baaba K. Halm

Counsel to the Committee

Laura Rogers

Legislative Attorney

Benjamin J. Goodman

Senior Legislative Policy Analyst

Ralph P. Hernandez

Legislative Financial Analyst

THE COUNCIL

REPORT OF THE INFRASTRUCTURE DIVISION

ROBERT NEWMAN, LEGISLATIVE DIRECTOR

COMMITTEE ON HOUSING AND BUILDINGS

Hon. Erik Martin Dilan, Chair

December 8, 2010

PROPOSED INT. NO. 343-A:	By Council Members Dilan, Comrie, Garodnick, Gentile, Vann, Williams, Rodriguez, Mendez, Mark-Viverito, James, Crowley and Van Bramer (by request of the Mayor).

TITLE:	A Local Law to amend the administrative code of the city of New York, in relation to amending the New York city energy conservation code.

ADMINISTRATIVE CODE:	Amends item 3 of section 28-105.2 and section 28-1001.1, repeals and reenacts section 28-1001.2 and amends sections BC 106.2.1, 106.7.1 and 1704.15.2.

BACKGROUND AND ANALYSIS:

The Committee on Housing and Buildings, chaired by Council Member Erik Martin Dilan, will conduct a hearing on Proposed Int. No. 343-A, A Local Law to amend the administrative code of the city of New York, in relation to amending the New York city energy conservation code. The Energy Conservation Construction Code of New York State (“State Energy Code”) sets standards for the energy performance of residential and commercial buildings throughout New York.  The State Energy Law permits a municipality to promulgate a local energy conservation construction code that is more stringent than the State Energy Code. In 2009, the Council established such an energy conservation code, with the enactment of Local Law 85 which established the New York City Energy Conservation Code (ECC).  However, in April 2010 the New York State Fire Prevention and Building Code Council amended the New York State Energy Code in its entirety, by adopting the 2009 edition of the International Energy Conservation Code, a model code published by the International Code Council.  The New York State amendments are scheduled to take effect on December 28, 2010.  In order for New York City to maintain its own energy code, the City must establish an energy code that is more stringent than the new State Energy Code, Proposed Int. No. 343-A, is intended to address such issue.

On November 12, 2010, the Committee heard and received testimony from representatives of the Department of Buildings (DOB), as well as represenatives of the real estate industry on Int. No. 343.  The bill was amended following this initial hearing.

Model Codes

A model code is a document that a State or municipality can adopt in its entirety or adopt with such modifications as it deems to be suitable.  Most model codes are updated on a regular basis by the code organization that issued the respective code and is usually developed through a review process that encourages sound practices and use of acceptable state-of-the-art technology.  Model codes are often viewed as being advantageous for jurisdictions as they offer legislative bodies contemporary and technical information from a reputable source and because they are kept current through review by the nationally recognized model code organization that issued the particular code.

In 2002, the State of New York significantly reformed the State’s Building Code by adopting several International Codes, which were model codes produced by the International Code Council, with amendments, as the new State Building Code.  The new State Building Code replaced New York State's Uniform Fire Prevention and Building Codes that had been in effect since 1984.  The application of these coordinated model codes with amendments, do not apply within the jurisdiction of New York City as the City has historically been deemed exempt from the application of the State’s Building Code due to the more stringent nature of the City’s Building Code.

Although the State Energy Code sets standards for the energy performance of buildings throughout New York, State Energy Law §11-109 permits a municipality to enact a local energy conservation construction code and allows such code to be more stringent than the State Code.  In certain respects, the 2010 State Energy Code is more stringent than the City’s current Energy Conservation Code and would consequently apply within the City if the EEC is not amended before the State’s new code takes effect on December 28, 2010.  Proposed Int. No. 343-A adopts the 2010 State Energy Code, amends certain sections of Chapter 10 of Title 28 of the Administrative Code of the City of New York (Ad. Code or Code) and amends certain sections of the Building Code to ensure that the ECC remains more stringent than the new State Energy Code.

Proposed Int. No. 343-A

Bill section one contains the legislative intent expressing the need for this legislation.

Bill section two amends item 3 of section 28-105.2 of the Ad. Code, to add foundation insulation as an additional type of work for which a foundation and earthwork permit is required.

The provisions of bill section three would amend section 28-1001.1 of the Ad. Code to substitute references to the 2010 Energy Conservation Construction Code for references to the 2007 Energy Conservation Construction Code.

Bill section four repeals current section 28-1001.2, by which the 2007 State Energy Conservation Code was enacted with specific New York City amendments, and enacts a new section 28-1001.2 entitled “The New York city amendments to the 2010 energy conservation construction code of New York state,” (ECC) and establishes certain amendments to the State Energy Code.

Chapter one of the ECC contains administrative provisions relating to its scope and general requirements. Section 101.1 of such chapter establishes the ECC with New York City amendments as the “New York City Energy Conservation Code” and provides that the administration and enforcement of such Code will be in accordance with Title 28 of the Ad. Code.

Section ECC 101.2 provides that the ECC applies to both residential and commercial buildings and the bill also provides that whenever any provision of the Energy Conservation Construction Code of New York State is more stringent than the City’s Code, the more stringent requirement shall govern (ECC 101.2.3). The bill also provides that determinations of occupancy classifications are to be made in accordance with the New York City Building Code (“Building Code” or “BC”) (ECC 101.2.2).

Section ECC 101.3 contains the intent provisions of the ECC and specifies that the ECC seeks to regulate the design and construction of buildings for the effective use of energy while recognizing the need to provide flexibility to permit the use of innovative approaches and techniques taking into account safety considerations and to utilize to the greatest extent practical solar and other renewable energy sources.

Section ECC 101.4 provides that the ECC shall apply to the construction of buildings and that a specific requirement of the Code shall govern rather than a general requirement.  ECC 101.4.1 provides that the Energy Code is not intended to be used to require the removal, alteration or abandonment or prevent the continued use and maintenance of a building in existence at the time of the adoption of the ECC.  Alterations or renovations to an existing building or structure listed or eligible for listing in the New York State Register of Historic Places or National Register of Historic Places are exempt from compliance with the ECC (ECC 101.4.2).  This reflects a change to the former State Energy Code which had excluded buildings that locally are designated as landmarks or are located in historic districts.

Section ECC 101.4.3 provides that additions, alterations, renovations or repairs to a building, building system, equipment or portion thereof, other than repairs of equipment, must comply with the ECC but that unaltered portions of the building, building system or equipment are not required to comply with the Code.  An addition will be deemed to comply with the Code if the addition alone complies or if the existing building and addition comply with the ECC as a single building. This section also provides that certain types of work are exempt from compliance with the ECC so long as the energy use of the building is not increased.  Exempt work includes: storm windows installed over existing fenestration; glass only replacements in an existing sash and frame; alterations, renovations or repairs to existing roof/ceiling, wall or floor cavities exposed during construction, including spaces between furring strips, provided that the cavities are insulated to the full existing cavity depth with insulation having a minimum nominal value of R-3.0/inch; alterations, renovations or repairs to walls and floors where an existing structure is without framing cavities and no new framing cavities are created; reroofing where neither the sheathing nor the insulation is exposed; replacement of existing doors separating conditioned space from exterior wall; an alteration that replaces less than 50% of the luminaries in a space and an alteration that replaces only the bulb and ballast within the existing luminaries in a space.  Exception three, which relates to alterations and renovations or repairs to existing roof/ceiling, wall or floor cavities, is more stringent than the State Energy Code in that the State Energy Code does not include spaces between furring strips within its requirements.

Sections ECC 101.4.4, 101.4.5 and 101.4.6 provide that in the following instances compliance with the ECC is required: spaces undergoing a change in occupancy or use, which would result in an increase in demand for either fossil fuel or electrical energy; alteration of a non-conditioned space to a conditioned space; and in buildings which include both residential and commercial occupancies, such occupancies must be separately considered and meet the relevant provisions of Chapter 4 (residential buildings) and Chapter 5 (commercial buildings) of the ECC, respectively.

Section ECC 101.5 states that residential buildings shall meet the provisions of Chapter 4 and commercial buildings shall meet the provisions of Chapter 5 of the ECC. Compliance may be determined through the use of certain computer software developed by the United States Department of Energy (DOE), or any other building energy modeling or home energy rating software approved by the New York State Secretary of State. Where a building is undergoing energy modeling, the Commissioner may accept an energy cost budget worksheet based on ASHRAE 90.1 or Section 506 (of the ECC) and any information and/or reports showing acceptable results of the energy modeling. Any software programs used to demonstrate compliance to reflect the actual requirements of this code and certain software programs (such as REM Rate/REM Design) must indicate compliance with 2010 Energy Conservation Construction Code of New York State.

Section ECC 101.5.2 provides that with regards to low-energy buildings, buildings that do not contain conditioned space or buildings with a peak design rate of energy use of less then 3.4 Btu/h per square foot or 1.0 watt per square floor of floor area for space conditioning purposes, are exempt from the building thermal envelope provisions of the ECC.

Pursuant to the provisions of section ECC 101.5.3 for each project not exempt from the ECC a registered design professional or a lead energy professional must submit a statement certifying that the project meets the requirements of the ECC. Compliance with the ECC is demonstrated by submitting documents to the Department of Buildings (DOB), which must include: an energy analysis for any project requiring a work permit in accordance with section 28-105 of the Ad. Code.  The energy analysis must identify the compliance path followed, demonstrate how the design complies with the ECC, be in a form prescribed by the rules of DOB, and meet the requirements of the ECC for the entire project.  Projects that utilize trade-offs among disciplines must use DOE2-based energy modeling programs or other energy-modeling programs as described in DOB rules and must be signed and sealed by a lead energy professional.

Section ECC 101.5.3.3 requires that any application, which is not exempt from the ECC and requires a work permit in accordance with section 28-105 of the Ad. Code, must have supporting documentation as part of the approved construction drawings.

Section ECC 101.6 provides a severability clause which states that should any section, subsection, sentence, clause, phrase or other portion of the ECC, for any reason be declared unconstitutional, such unconstitutionality shall not affect the validity of the remaining portions of the ECC, which remaining portions shall remain in full force and effect.

Section ECC 102 relates to alternate materials, methods of construction, design or insulating systems.  Section ECC 102.1 states that the ECC is not intended to prevent the use of any material, method of construction, design or insulating system not specifically required by the ECC, so long as such use has been approved by the Commissioner of Buildings when finding that certain standards are meet including that the energy savings are equal to or greater than those that would be achieved by using prescribed materials, methods of construction, designs or insulating systems and that the materials meet the requirements of Art. 113 of the Chapter 1 of the Title 28 of the Ad. Code.  However, pursuant to the provisions of section 102.1.1 the Commissioner may issue a finding that a national, state or local energy efficiency program exceeds the energy efficiency required by the ECC.  Consequently, buildings approved in writing by such permitted energy efficiency program will be considered in compliance with the ECC. However, requirements identified as “mandatory” in Chapters 4 and 5 of the ECC would still apply.

Section ECC 103 contains provisions related to construction documents and provides that such documents must be prepared in accordance with the provisions of Chapter 1 of Title 28 of the Ad. Code, the New York City Construction Codes, including the ECC, and DOB rules.

Section ECC 103.2 requires that supporting documents include construction documents that show compliance with the ECC and demonstrate conformance of approved drawings to the energy analysis for every element and value of the energy analysis; demonstrate conformance of approved drawings to other mandatory requirements of the ECC; identify required progress inspections in accordance with the scope of work being performed, the ECC, the Ad. Code, the New York City Building Code and DOB rules and must comply with any other requirements set forth in rules (ECC 103.2.1).

Pursuant to the provisions of ECC 103.2.2, construction documents must be drawn to scale upon suitable material but electronic media documents are permitted to be submitted in accordance with DOB procedures. Construction documents for a project must be fully coordinated and of sufficient clarity to indicate the location, nature and extent of the work proposed and show in sufficient detail relevant data and features of the building, building systems and equipment. This section also provides that certain details are required to be included in construction documents.

Section ECC 103.3 requires that in accordance with Article 104 of Chapter 1 of Title 28 of the Ad. Code, DOB must examine the accompanying construction documents and must determine whether the construction indicated on the documents is in accordance with the ECC and any other relevant laws, rules and regulations.

Section 103.4 states that changes during construction that are not in compliance with the approved construction documents must be resubmitted for approval by DOB as an amended set of construction documents.

Section ECC 104 contains provisions related to inspections. Section 104.1 states that inspections required by the ECC or by DOB during the progress of work may be performed on behalf of the owner by an approved agency.  All inspections must be performed at the sole cost and expense of the owner.  In addition to any inspections otherwise required by this Code or DOB rules, the following inspections are mandatory: progress inspections, which must be performed in accordance with DOB rules; final inspections, which must be performed in accordance with the Ad. Code and DOB rules; and issuance of certificates of compliance, which must be performed in accordance with the Ad. Code.  However, the requirements of this section are not meant to prohibit the operation of any heating equipment or appliances installed to replace existing heating equipment or appliances serving an occupied portion of a building provided that a request for an inspection must have been filed with DOB not more than 48 hours after the replacement work is completed and before any portion is concealed by any permanent portion of the structure.

Section ECC 104.1.1 refers to Article 114 of Chapter 1 of Title 28 of the Ad. Code and DOB rules in relation to approved agencies.

Pursuant to Section ECC 104.1.2, prior to the issuance of a work permit for a prefabricated construction assembly having concealed mechanical work, DOB must require the submittal of an evaluation report by the manufacturer or an approved agency on each prefabricated construction assembly, indicating the complete details of the mechanical system, including a description of the system and its components, the basis upon which the system is being evaluated for energy use, test results and similar information and other data as necessary for the Commissioner to determine that the prefabricated construction assembly would conform to the ECC.

Section ECC 104.1.2.1 requires test and inspection records to be made available to the Commissioner at all times during the building of the mechanical system and the erection of the building or any other records that the Commissioner may designate to be filed.

Pursuant to the provisions of section ECC 104.2 all envelope, heating, ventilating, air conditioning, service water heating, lighting and electrical systems shall be tested as required by the ECC and in accordance with sections ECC 104.2.1 through ECC 104.2.3. Tests must be made by the permit holder and witnessed by an approved agency.

Section ECC 104.2.1 requires new envelope, heating, ventilating, air conditioning, service water heating, lighting, and electrical installations or systems and parts of existing systems that have been altered, extended, renovated or repaired to be test as required pursuant to section ECC 104 or pursuant to DOB rules in order to disclose any leaks and defects.

Section ECC 104.2.2 requires apparatus, instruments, material and labor required for testing an envelope, heating, ventilating, air conditioning, service water heating, lighting and/or electrical installation or system or part of the system to be supplied by the permit holder.

Pursuant to section ECC 104.2.3 for any work or installation that does not pass an initial test or inspection, the necessary corrections must be made in order to achieve compliance with the New York City Construction Codes, including the ECC.  The work or installation must then be reinspected or retested by the approved agency.

Section ECC 104.3 states that in addition to the requirements of Article 116 of Chapter 1 of Title 28 of the Ad. Code, section 103.4 of the ECC and any other requirements for sign-off, the project team must either certify that construction does not differ from the last approved energy analysis or provide a whole-project as-built energy analysis and supporting documents, signed and sealed, for approval before sign-off.  The as-built energy analysis and supporting documents must reflect the materials, equipment and values actually used in the construction of the project and must demonstrate compliance of the constructed project with the ECC.  DOB may accept signed and sealed documents with less than a full examination based upon the professional certification of the registered design professional.

Section ECC 104.4 allows the Commissioner the authority to allow the temporary connection of an installation to the sources of energy testing the installation or for use under a temporary certificate of occupancy.

Section ECC 105 contains provisions relating to referenced standards and provides that the standards referenced in the ECC are those that are listed in Chapter 6 and in DOB rules and are considered part of the ECC requirements.  In the event that there are differences between the provisions of the ECC and the referenced standards, the provisions of the ECC apply.

Certain definitions were added to section 202 of the ECC or were revised including definitions of the terms: “addition;” “approved;” “approved agency;” “authority having jurisdiction;” “building;” “code enforcement official;” “lead energy professional;” “professional certification;” and “project.”  However, the definition of “vapor retarder class” was deleted.

Section 601 of Chapter 6 of the ECC is amended to revise the reference standard “ICC” after “DOE” to read as follows:

| ICC | International Code Council, Inc. 500 New Jersey Avenue, NW 6th Floor Washington, D.C. 20001 |  |
| --- | --- | --- |
| Standard reference number | Title | Referenced in code section number |
| BCNYS-10 | Building Code of New York State | 101.2.1, 201.3, 303.1.5, 303.2, T402.1.1, 502.2.8, 502.2.8.1, 502.2.8.2, Table 502.2.8.2, 502.5.3 |
| EBNYS-10 | Existing Building Code of New York State | 101.2.1 |
| ECCCNYS-10 | Energy Conservation Construction Code of New York State | 101.2.3, 101.5.1 |
| FCNYS-10 | Fire Code of New York State | 101.2.1, 201.3 |
| FGNYS-10 | Fuel Gas Code of New York State | 101.2.1, 201.3 |
| MCNYS-10 | Mechanical Code of New York State | 101.2.1, 201.3, 503.2.5, 503.2.5.1, 503.2.6, 503.2.7, 503.2.7.1, 503.2.7.1.1, 503.2.7.1.2, 503.2.9.1, 503.3.1, 503.4.5 |
| ECC-10 | New York City Energy Conservation Code | 101.1, 101.5.3.2, 101.5.3.3, 104.3, |
| PCNYS-10 | Plumbing Code of New York State | 101.2.1, 201.3 |
| PMNYS-10 | Property Maintenance Code of New York State | 101.2.1 |
| RCNYS-10 | Residential Code of New York State | 101.2.1, 201.3, 202, 303.1.5, T402.1.1, 402.1.5.1, 402.1.5.2, 402.2.1.1, 402.4.1(12), 403.2.2, T405.5.2(1) |
| NYCAC-08 | New York City Administrative Code | 101.1, 101.2.1, 101.5.3.2, 101.5.3.3, 102.1, 103.1, 103.2.1, 103.3, 104.1, 104.1.1, 104.3, 105.1 |
| NYCBC-08 | New York City Building Code | 101.2.1, 101.2.2, 102.1, 103.1, 103.2.1, 201.3, 303.1.5, 303.2 |
| NYCEC-08 | New York City Electrical Code | 101.2.1, 201.3 |
| NYCFC-08 | New York City Fire Code | 101.2.1, 201.3 |
| NYCFG-08 | New York City Fuel Gas Code | 102.1, 201.3 |
| NYCMC-08 | New York City Mechanical Code | 102.1, 201.3, 403.2.2, 503.2.5, 503.2.5.1, 503.2.6, 503.2.7, 503.2.7.1, 503.2.7.1.1, 503.2.7.1.2, 503.2.9.1, 503.3.1, 503.4.5 |
| NYCPC-08 | New York City Plumbing Code | 102.1, 201.3 |

The reference referenced standard "IESNA" after "ICC," is revised to read as follows:

| IESNA | Illuminating Engineering Society of North America 120 Wall Street, 17th Floor New York, NY 10005-4001 |  |
| --- | --- | --- |
| Standard reference number | Title | Referenced in code section number |
| *90.1-07 | Energy Standard for Buildings Except Low-rise Residential Buildings | 101.5.1, 501.1, 501.2, 502.1.1, Table 502.2(2) |

A new referenced standard "NYC" after "NFRC," is added to read as follows:

| NYC | New York City Department of Buildings 280 Broadway New York, NY 10007 |  |
| --- | --- | --- |
| Standard reference number | Title | Referenced in code section number |
| NYCBC-68 | 1968 Building Code of the City of New York | 101.2.1 |

Bill section five amends section 106.2.1 of the Building Code by allowing the submittal of composite plans that illustrate the related energy use systems of a building so that a clear understanding of each part and system is not impaired.

Bill section six amends section 106.7.1 of the Building Code to require foundation plans to include insulation details as required by the ECC.

Bill section seven amends item 5 of section 1704.15.2 of the Building Code to require that ventilation-balancing reports must state that the system is operating as designed in the professional opinion of the special inspector.

Bill section eight provides that the provisions of this local law shall take effect on December 28, 2010 and shall apply to work for which constriction document approval are submitted to DOB on or after December 28, 2010.  The Commissioner must promulgate all necessary rules prior to such effective date.

Amendments to Int. No. 343

The original bill was modified or amended in the following ways:

- Section ECC 101.4.2, entitled, “Additions, alterations, renovations or repairs” was amended to clarify that repairs of equipment do not need to conform with the ECC;

- Section ECC 101.5.3.2, entitled, “Energy analysis,” was amended to require that the energy analysis must be signed and sealed by a lead energy professional;

- A technical correction was made to section ECC 103.2.2 to clarify that construction documents must show in sufficient detail pertinent data and features of the building, building system and equipment;

- Section ECC 104, entitled, “Inspections” was amended to provide that all required inspections may be performed on behalf of the owner by an approved agency;

- The title of section ECC 104.1.1 was amended to now read “Approved agencies” rather than “Approved inspection agencies” and refers to Article 114 of Title 28 of the Ad. Code which relates to the functions of an approved agency;

- Section ECC 104.1.2, entitled, “Inspection of prefabricated construction assemblies” was amended to allow DOB to accept the submittal of an evaluation report by the manufacturer of such assemblies or an approved agency to determine if the prefabricated construction assemblies conform with the ECC prior to the issuance of a work permit;

- Section ECC 104.2.3, entitled, “Reinspection and testing” was amended to require that where any work or installation does not pass an initial test or inspection, after the necessary corrections are made to achieve compliance with applicable codes, such work or installation must be reinspected or retested by the approved agency;

- Section ECC 105, entitled, “Referenced Standards” was amended to add certain definitions for “approved agency” and “lead energy professional.” An approved agency is now defined pursuant to section 28-101.5 of the Ad. Code and a lead energy professional is defined as “the registered design professional who signs and seals the energy analysis for an entire project.  Such individual may be the same registered design professional who signs and seals the design drawings for the same project.”  This section of the bill was also amended to delete the definition of “special inspector;”

- Lastly, bill section seven was amended to now require that the ventilation-balancing reports must state that the system is operating as designed in the professional opinion of the special inspector as opposed to the approved agency.

Proposed Int. No. 343-A By Council Members Dilan, Comrie, Garodnick, Gentile, Vann, Williams, Rodriguez, Mendez, Mark-Viverito, James, Crowley and Van Bramer (by request of the Mayor) A LOCAL LAW ..Title To amend the administrative code of the city of New York, in relation to amending the New York city energy conservation code. Be it enacted by the Council as follows:

Section 1.  Statement of findings and purpose. The Energy Conservation Construction Code of New York State (“State Energy Code”), authorized by Article 11 of the New York State Energy Law, sets standards for the energy performance of buildings throughout New York.  The State Energy Law expressly permits a municipality to promulgate a local energy conservation construction code that is more stringent than the State Energy Code.  In 2009, New York City established such a local energy conservation code, the New York City Energy Conservation Code, with the enactment of Local Law 85 of 2009.  In April 2010, the New York State Fire Prevention and Building Code Council amended the State Energy Code in its entirety. The amendment is based on the 2009 edition of the International Energy Conservation Code, published by the International Code Council, Inc. (“2009 IECC”). Such 2010 State Energy Code is scheduled to take effect on December 28, 2010.

Section 101.3.1 of the 2010 State Energy Code provides that such code “is intended to comply with the requirements of the American Recovery and Reinvestment Act of 2009 (the ‘ARRA’), i.e., to be a building energy code for residential buildings and for commercial buildings that meets or exceeds the model codes mentioned in the ARRA, or achieves equivalent or greater energy savings.”  Section 410 of Title IV of Division A of the ARRA specifies that states and localities should implement the 2009 IECC and the 2007 edition of standard ANSI/ASHRAE/IESNA 90.1, entitled “Energy Standard for Buildings Except Low-Rise Residential Buildings,” published by the American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc. (“ASHRAE 90.1-2007”).

Section 101.3.1 of the 2010 State Energy Code further provides that the New York State Department of State has determined:

1.	That a building energy code that is applicable to both residential buildings and commercial buildings and that meets or exceeds the 2009 IECC, or achieves equivalent or greater energy savings, meets or exceeds the requirements of the ARRA;

2. That the 2010 State Energy Code meets or exceeds the 2009 IECC, or achieves equivalent or greater energy savings; and

3.	Accordingly, that the 2010 State Energy Code meets or exceeds the requirements of the ARRA.

The Council finds that it is reasonable and necessary to amend certain sections of Chapter 10 of Title 28 of the Administrative Code of the City of New York in order to ensure that the New York City Energy Conservation Code remains at least as stringent as the 2010 State Energy Code, as the State Energy Law requires.

§2. Item 3 of Section 28-105.2 of the administrative code of the city of New York as added by local law number 33 for the year 2007, is amended to read as follows:

3.  Foundation and earthwork permits:  for the construction or alteration of foundations, including earthwork, excavation, [and] fill, and foundation insulation.

§3. Section 28-1001.1 of the administrative code of the city of New York, as added by local law number 85 for the year 2009, is amended to read as follows:

§28-1001.1 Adoption of the energy code. In accordance with section 11-109 of the New York state energy law, [that] which permits any municipality to promulgate a local energy conservation construction code, the city of New York hereby adopts the [2007] 2010 energy conservation construction code of New York state in effect and any amendments thereto that are more stringent than such code adopted by the city of New York as the minimum requirements for the design, construction and alteration of buildings for the effective use of energy in the city. Such adoption shall be subject to amendments pursuant to local law and set forth in section 1001.2 of this chapter, which shall be known and cited as the “New York city amendments to the [2007] 2010 energy conservation construction code of New York state.” Such edition of the [2007] 2010 energy conservation construction code of New York state with such New York city amendments shall together be known and cited as the “New York city energy conservation code.”

§4. Section 28-1001.2 of the administrative code of the city of New York, as added by local law number 85 for the year 2009, is REPEALED and reenacted to read as follows:

§28-1001.2 New York city amendments to the 2010 energy conservation construction code of New York state. The following New York city amendments to the 2010 energy conservation construction code of New York state are hereby adopted as set forth in this section:

Chapter 1

Chapter 1 is deleted in its entirety and a new Chapter 1 is added to read as follows:

CHAPTER 1

ADMINISTRATION

SECTION ECC 101

SCOPE AND GENERAL REQUIREMENTS

101.1 General. These provisions shall be known and cited as the “New York City Energy Conservation Code,” “NYCECC” or “ECC,” and are referred to herein as “this code.” All section numbers in this code shall be deemed to be preceded by the designation “ECC.” Administration and enforcement of this code shall be in accordance with Title 28 of the Administrative Code.

101.2 Scope. This code applies to residential buildings and commercial buildings as defined in Chapter 2.

101.2.1 References. Where reference is made within this code to the Building Code of New York State, Existing Building Code of New York State, Fire Code of New York State, Fuel Gas Code of New York State, Mechanical Code of New York State, Plumbing Code of New York State, Property Maintenance Code of New York State or Residential Code of New York State, the reference shall be deemed to be to the analogous provision(s) of Title 28 of the Administrative Code (the New York City Construction Codes), the 1968 Building Code, the New York City Fire Code or the New York City Electrical Code.

101.2.2 Occupancy classifications.  For determination of occupancy classification and use within this code, a comparable occupancy classification shall be made to the New York City Building Code.

101.2.3 Reconciliation with Energy Conservation Construction Code of New York State. Whenever any provision of the Energy Conservation Construction Code of New York State provides for a more stringent requirement than imposed by this code, the more stringent requirement shall govern.

101.2.4 Other laws. The provisions of this code shall not be deemed to nullify any federal, state or local law, rule or regulation relating to any matter as to which this code does not provide.

101.3 Intent.  This code shall regulate the design and construction of buildings for the effective use of energy.  This code is intended to provide flexibility to permit the use of innovative approaches and techniques to achieve the effective use of energy.  This code is not intended to abridge safety, health or environmental requirements contained in other applicable codes or ordinances.  To the fullest extent feasible, use of modern technical methods, devices and improvements that tend to minimize consumption of energy and utilize to the greatest extent practical solar and other renewable energy sources without abridging reasonable requirements for the safety, health and security of the occupants or users of buildings shall be permitted. As far as may be practicable, the improvement of energy conservation construction practices, methods, equipment, materials and techniques shall be encouraged.

101.4 Applicability.  The provisions of this code shall apply to the construction of buildings.  Where, in any specific case, different sections of this code specify different materials, methods of construction or other requirements, the most restrictive shall govern.  Where there is a conflict between a general requirement and a specific requirement, the specific requirement shall govern.

101.4.1 Existing buildings. Except as specified in this chapter, this code shall not be used to require the removal, alteration or abandonment of, nor prevent the continued use and maintenance of, an existing building or building system lawfully in existence at the time of adoption of this code.

101.4.2 Historic buildings.  An alteration or renovation to an existing building or structure that (1) is listed in the New York State Register of Historic Places, either individually or as a contributing building to a historic district, (2) is listed in the National Register of Historic Places, either individually or as a contributing building to a historic district, (3) has been determined to be eligible for listing in either the New York State or National Register of Historic Places, either individually or as a contributing building to a historic district, by the New York State Commissioner of Parks, Recreation and Historic Preservation, or (4) has been determined to be eligible for listing in the National Register of Historic Places, either individually or as a contributing building to a historic district, by the United States Secretary of the Interior, need not comply with this code.

101.4.3 Additions, alterations, renovations or repairs.  Additions, alterations, renovations or repairs to an existing building, building system, equipment or portion thereof, other than repairs of equipment, shall conform to the provisions of this code as they relate to new construction without requiring the unaltered portion(s) of the existing building, building system or equipment to comply with this code.  Additions, alterations, renovations or repairs shall not create an unsafe or hazardous condition or overload existing building systems.  An addition shall be deemed to comply with this code if the addition alone complies or if the existing building and addition comply with this code as a single building.

ExceptionExceptionException:  The following need not comply with the provisions of this code provided that the energy use of the building is not increased:

1.	Storm windows installed over existing fenestration.

2.	Glass-only replacements in an existing sash and frame, provided that the U-factor and the solar heat gain coefficient (SHGC) shall be equal to or lower than before the glass replacement.

3.	Alterations, renovations or repairs to roof/ceiling, wall or floor cavities, including spaces between furring strips, provided that such cavities are insulated to the full existing cavity depth with insulation having a minimum nominal value of R-3.0/inch (R-2.0/cm).

4.  Alterations, renovations or repairs to walls and floors in cases where the existing structure is without framing cavities and no new framing cavities are created.

5.	Reroofing where neither the sheathing nor the insulation is exposed.  Roofs without insulation in the cavity and where the sheathing or insulation is exposed during reroofing shall be insulated either above or below the sheathing.

6.  Replacement of existing doors that separate conditioned space from the exterior shall not require the installation of a vestibule or revolving door, provided, however, that an existing vestibule that separates a conditioned space from the exterior shall not be removed.

7.	An alteration that replaces less than 50 percent of the luminaires in a space, provided that such alteration does not increase the installed interior lighting power.

8.	An alteration that replaces only the bulb and ballast within the existing luminaires in a space, provided that such alteration does not increase the installed interior lighting power.

101.4.4 Change in occupancy or use.  Spaces undergoing a change in occupancy that would result in an increase in demand for either fossil fuel or electrical energy shall comply with this code.  Where the use of a space changes from one use in Table 505.5.2 to another use in Table 505.5.2, the installed lighting wattage shall comply with Section 505.5.

101.4.5 Change in space conditioning.  Any non-conditioned space that is altered to become conditioned space shall comply with this code.

101.4.6 Mixed occupancy.  Where a building includes both residential and commercial occupancies, each occupancy shall be separately considered and shall meet the applicable provisions of Chapter 4 for residential and Chapter 5 for commercial.

101.5 Compliance.  Residential buildings shall meet the provisions of Chapter 4.  Commercial buildings shall meet the provisions of Chapter 5.

101.5.1 Compliance software.  Compliance may be determined through the use of computer software developed by the United States Department of Energy, including REScheck, COMcheck or DOE2; of REM/Rate home energy rating and REM/Design home energy analysis software specifically developed for the 2010 Energy Conservation Construction Code of New York State; or of other building energy modeling or home energy rating software (“HERS”) approved by the New York State Secretary of State.  In the case of energy modeling, the commissioner may accept an energy cost budget worksheet based on ASHRAE 90.1 or Section 506 and any information and/or reports showing acceptable results of the energy modeling. Software programs used to show compliance must indicate compliance with the 2010 Energy Conservation Construction Code of New York State to reflect the actual requirements of this code. REScheck or COMcheck printout forms must show “Energy Conservation Construction Code of New York State” in the title of the printout. Other software programs (for example, REM Rate/REM Design) shall clearly indicate compliance with 2010 Energy Conservation Construction Code of New York State parameters. Compliance with the mandatory code provisions of Chapters 4 and 5 is required when using the software approach to show compliance.

101.5.2 Low-energy buildings.  The following buildings, or portions thereof separated from the remainder of the building by building thermal envelope assemblies complying with this code, shall be exempt from the building thermal envelope provisions of this code:

1.	Those with a peak design rate of energy use less than 3.4 Btu/h per square foot (10.7 W/m2) or 1.0 watt per square foot (10.7 W/m2) of floor area for space conditioning purposes.

2.  Those that do not contain conditioned space.

101.5.3 Demonstration of compliance. For a building project application or applications required to be submitted to the department, the following documentation, as further described in the rules of the department, shall be required in order to demonstrate compliance with this code:

101.5.3.1 Professional statement. Any registered design professional or lead energy professional filing an application or applications for a new building or alteration project shall provide on a signed and sealed drawing a statement of compliance or exemption in accordance with the rules of the department.

101.5.3.2 Energy analysis. For any application that is not exempt from this code and for which a work permit is required in accordance with Section 28-105 of the Administrative Code, an energy analysis shall be provided on a sheet or sheets within the construction drawing set.  The energy analysis shall identify the compliance path followed, demonstrate how the design complies with this code and be in a format as prescribed in the rules of the department.  The energy analysis shall meet the requirements of this code for the entire project. Projects that utilize trade-offs among disciplines shall use DOE2-based energy modeling programs or other energy-modeling programs as prescribed in the rules of the department and shall be signed and sealed by a lead energy professional.

101.5.3.3 Supporting documentation. For any application that is not exempt from this code and for which a work permit is required in accordance with Section 28-105 of the Administrative Code, supporting documentation shall be required in the approved construction drawings.  See Section 103 for further requirements.

101.6 Severability. If a section, subsection, sentence, clause or phrase of this code is, for any reason, held to be unconstitutional, such decision shall not affect the validity of the remaining portions of this code.

SECTION ECC 102

ALTERNATE MATERIALS, METHOD OF CONSTRUCTION, DESIGN OR INSULATING SYSTEMS

102.1 General.  This code is not intended to prevent the use of any material, method of construction, design or insulating system not specifically prescribed herein, provided that such material, method of construction, design or insulating system has been approved by the commissioner as (1) meeting the intent of this code, (2) achieving energy savings that are equivalent to or greater than would be achieved using prescribed materials, methods of construction, designs or insulating systems, and (3) meeting the requirements of Article 113 of Chapter 1 of Title 28 of the Administrative Code and the remaining New York City Construction Codes.

102.1.1 Above-code programs.  The commissioner shall be permitted to find that a national, state or local energy efficiency program exceeds the energy efficiency required by this code.  Buildings approved in writing by such an energy efficiency program shall be considered in compliance with this code.  Notwithstanding approval by such an energy efficiency program, the requirements identified as “mandatory” in Chapters 4 and 5 of this code shall still apply.

SECTION ECC 103

CONSTRUCTION DOCUMENTS

103.1 General.  Construction documents shall be prepared in accordance with the provisions of Chapter 1 of Title 28 of the Administrative Code, the New York City Construction Codes, including this code, and the rules of the department.

103.2 Supporting documentation on construction documents. Supporting documentation shall include those construction documents that demonstrate compliance with this code.

103.2.1  Intent.  Supporting documentation shall accomplish the following:

1.  Demonstrate conformance of approved drawings to the energy analysis for every element and value of the energy analysis;

2.  Demonstrate conformance of approved drawings to other mandatory requirements of this code, including, but not limited to, sealing against air leakage from the building envelope and from ductwork as applicable, insulation of ducts and piping as applicable, mechanical and lighting controls with devices shown and operational narratives for each, and additional requirements as set forth in this section;

3.  Identify required progress inspections in accordance with the scope of work, this code, the Administrative Code, the New York City Building Code and the rules of the department; and

4.  Comply with other requirements as may be set forth in the rules of the department.

103.2.2 Detailed requirements.  Construction documents shall be drawn to scale upon suitable material. Electronic media documents are permitted to be submitted in accordance with department procedures. Construction documents for a project shall be fully coordinated and of sufficient clarity to indicate the location, nature and extent of the work proposed, and show in sufficient detail pertinent data and features of the building, building systems and equipment as herein governed. Details shall include, but are not limited to, as applicable, insulation materials and their R-values; fenestration U-factors and SHGCs; area-weighted U-factor and SHGC calculations; mechanical system design criteria; mechanical and service water heating system and equipment, types, sizes and efficiencies; economizer description; equipment and systems controls; fan motor horsepower and controls; duct sealing, duct and pipe insulation and location; lighting fixture schedule with wattages and control narrative; and air sealing details.

103.3 Examination of documents.  In accordance with Article 104 of Chapter 1 of Title 28 of the Administrative Code, the department shall examine or cause to be examined the accompanying construction documents and shall ascertain by such examinations whether the construction indicated and described is in accordance with the requirements of this code and other pertinent laws, rules and regulations.

103.4 Changes during construction.  Changes made during construction that are not in compliance with the approved construction documents shall be resubmitted for approval as an amended set of construction documents.

SECTION ECC 104

INSPECTIONS

104.1 General.  Except as otherwise specifically provided, inspections required by this code or by the department during the progress of work may be performed on behalf of the owner by an approved agency.  All inspections shall be performed at the sole cost and expense of the owner.  Refer to Article 116 of Chapter 1 of Title 28 of the Administrative Code for additional provisions relating to inspections.  In addition to any inspections otherwise required by this code or the rules of the department, the following inspections shall be required:

1.  Progress inspections.  Progress inspections shall be performed in accordance with the rules of the department.

2.  Final inspection.  Refer to Article 116 of Chapter 1 of Title 28 of the Administrative Code and the rules of the department.

3.  Issuance of Certificate of Compliance.  Refer to Section 28-116.4.1 of the Administrative Code.

The requirements of Section 104.1 shall not be read to prohibit the operation of any heating equipment or appliances installed to replace existing heating equipment or appliances serving an occupied portion of a structure provided that a request for inspection of such heating equipment or appliances has been filed with the department not more than 48 hours after such replacement work is completed, and before any portion of such equipment or appliances is concealed by any permanent portion of the structure.

    - Approved agencies.  Refer to Article 114 of Chapter 1 of Title 28 of the Administrative Code and the rules of the department.

    - Inspection of prefabricated construction assemblies.  Prior to the issuance of a work permit for a prefabricated construction assembly having concealed mechanical work, the department shall require the submittal of an evaluation report by the manufacturer or approved agency on each prefabricated construction assembly, indicating the complete details of the mechanical system, including a description of the system and its components, the basis upon which the system is being evaluated for energy use, test results and similar information, and other data as necessary for the commissioner to determine conformance to this code.

      - Test and inspection records.  Required test and inspection records shall be made available to the commissioner at all times during the fabrication of the mechanical system and the erection of the building; or such records as the commissioner designates shall be filed.

  - Testing.  Envelope, heating, ventilating, air conditioning, service water heating, lighting and electrical systems shall be tested as required in this code and in accordance with Sections 104.2.1 through 104.2.3.  Except as otherwise required in this code or in the rules of the department, tests shall be made by the permit holder and witnessed by an approved agency.

    - New, altered, extended, renovated or repaired systems.  New envelope, heating, ventilating, air conditioning, service water heating, lighting and electrical installations or  systems, and parts of existing systems that have been altered, extended, renovated or repaired, shall be tested as prescribed herein or in the rules of the department to disclose leaks and defects.

    - Apparatus, instruments, material and labor for tests.  Apparatus, instruments, material and labor required for testing an envelope, heating, ventilating, air conditioning, service water heating, lighting and/or electrical installation or system or part thereof shall be furnished by the permit holder.

    - Reinspection and testing.  Where any work or installation does not pass an initial test or inspection, the necessary corrections shall be made so as to achieve compliance with the New York City Construction Codes, including this code.  The work or installation shall then be reinspected or retested by the approved agency.

104.3 Sign-off of completed work.  In addition to the requirements of Article 116 of Chapter 1 of Title 28 of the Administrative Code, Section 103.4 of this code and other requirements for sign-off, the project team shall either certify that construction does not differ from the last approved energy analysis or provide a whole-project as-built energy analysis and supporting documents, signed and sealed, for approval prior to sign-off.  The as-built energy analysis and supporting documents shall reflect the materials, equipment and values actually used in the construction of the project, and shall demonstrate compliance of the constructed project with this code.  Such signed and sealed documents may be accepted with less than full examination by the department based on the professional certification of the registered design professional.

104.4 Temporary connection.  The commissioner shall have the authority to allow the temporary connection of an installation to the sources of energy for the purpose of testing the installation or for use under a temporary certificate of occupancy.

SECTION ECC 105

REFERENCED STANDARDS

105.1 Referenced standards. The standards referenced in this code shall be those that are listed in Chapter 6 and in the rules of the department and such standards shall be considered part of the requirements of this code to the prescribed extent of each such reference. Where differences occur between provisions of this code and the referenced standards, the provisions of this code shall apply. Refer to Article 103 of Chapter 1 of Title 28 of the Administrative Code for additional provisions relating to referenced standards.

Chapter 2

Section 202

Revise the definition of “Addition” after the definition of “Accessible,” to read as follows:

ADDITION. An extension or increase in the conditioned space floor area or height of a building or structure.

Revise the definition of “Approved” after the definition of “Alteration,” to read as follows:

APPROVED. See Section 28-101.5 of the Administrative Code.

Add a new definition of “Approved agency” after the definition of “Approved,” to read as follows:

APPROVED AGENCY.  See Section 28-101.5 of the Administrative Code.

Add a new definition of “Authority having jurisdiction” after the definition of “Area weighted average,” to read as follows:

AUTHORITY HAVING JURISDICTION.  The commissioner or the commissioner’s designee.

Revise the definition of “Building” after the definition of “Basement wall,” to read as follows:

BUILDING.  See Section 28-101.5 of the Administrative Code.

Revise the term “Code enforcement official” after “C-factor (thermal conductance),” to read as follows:

CODE ENFORCEMENT OFFICIAL. The commissioner or the commissioner’s designee.

Add a new definition of “Lead energy professional” after the definition of “Labeled,” to read as follows:

LEAD ENERGY PROFESSIONAL.  The registered design professional who signs and seals the energy analysis for an entire project.  Such individual may be the same registered design professional who signs and seals the design drawings for the same project.

Add a new definition of “Professional certification” after the definition of “Nameplate horsepower,” to read as follows:

PROFESSIONAL CERTIFICATION. See Section 28-101.5 of the Administrative Code.

Add a new definition of “Project” after the definition of “Professional certification,” to read as follows:

PROJECT.  A design and construction undertaking comprised of work related to one or more buildings and the site improvements. A project is represented by one or more plan/work applications, including construction documents compiled in accordance with Section 106 of the New York City Building Code, that relate either to the construction of a new building or buildings or to the demolition or alteration of an existing building or buildings. Applications for a project may have different registered design professionals and different job numbers, and may result in the issuance of one or more permits.

Delete the definition for “Vapor retarder class” after “U-factor (thermal transmittance).”

Chapter 6

Section 601

Revise the referenced standard “ICC” after “DOE,” to read as follows:

| ICC | International Code Council, Inc. 500 New Jersey Avenue, NW 6th Floor Washington, D.C. 20001 |  |
| --- | --- | --- |
| Standard reference number | Title | Referenced in code section number |
| BCNYS-10 | Building Code of New York State | 101.2.1, 201.3, 303.1.5, 303.2, T402.1.1, 502.2.8, 502.2.8.1, 502.2.8.2, Table 502.2.8.2, 502.5.3 |
| EBNYS-10 | Existing Building Code of New York State | 101.2.1 |
| ECCCNYS-10 | Energy Conservation Construction Code of New York State | 101.2.3, 101.5.1 |
| FCNYS-10 | Fire Code of New York State | 101.2.1, 201.3 |
| FGNYS-10 | Fuel Gas Code of New York State | 101.2.1, 201.3 |
| MCNYS-10 | Mechanical Code of New York State | 101.2.1, 201.3, 503.2.5, 503.2.5.1, 503.2.6, 503.2.7, 503.2.7.1, 503.2.7.1.1, 503.2.7.1.2, 503.2.9.1, 503.3.1, 503.4.5 |
| NYCECC-10 | New York City Energy Conservation Code | 101.1, 101.5.3.2, 101.5.3.3, 104.3, |
| PCNYS-10 | Plumbing Code of New York State | 101.2.1, 201.3 |
| PMNYS-10 | Property Maintenance Code of New York State | 101.2.1 |
| RCNYS-10 | Residential Code of New York State | 101.2.1, 201.3, 202, 303.1.5, T402.1.1, 402.1.5.1, 402.1.5.2, 402.2.1.1, 402.4.1(12), 403.2.2, T405.5.2(1) |
| NYCAC-08 | New York City Administrative Code | 101.1, 101.2.1, 101.5.3.2, 101.5.3.3, 102.1, 103.1, 103.2.1, 103.3, 104.1, 104.1.1, 104.3, 105.1 |
| NYCBC-08 | New York City Building Code | 101.2.1, 101.2.2, 102.1, 103.1, 103.2.1, 201.3, 303.1.5, 303.2 |
| NYCEC-08 | New York City Electrical Code | 101.2.1, 201.3 |
| NYCFC-08 | New York City Fire Code | 101.2.1, 201.3 |
| NYCFG-08 | New York City Fuel Gas Code | 102.1, 201.3 |
| NYCMC-08 | New York City Mechanical Code | 102.1, 201.3, 403.2.2, 503.2.5, 503.2.5.1, 503.2.6, 503.2.7, 503.2.7.1, 503.2.7.1.1, 503.2.7.1.2, 503.2.9.1, 503.3.1, 503.4.5 |
| NYCPC-08 | New York City Plumbing Code | 102.1, 201.3 |

Revise the referenced standard “IESNA” after “ICC,” to read as follows:

| IESNA | Illuminating Engineering Society of North America 120 Wall Street, 17th Floor New York, NY 10005-4001 |  |
| --- | --- | --- |
| Standard reference number | Title | Referenced in code section number |
| *90.1-07 | Energy Standard for Buildings Except Low-rise Residential Buildings | 101.5.1, 501.1, 501.2, 502.1.1, Table 502.2(2) |

Add a new referenced standard “NYC” after “NFRC,” to read as follows:

| NYC | New York City Department of Buildings 280 Broadway New York, NY 10007 |  |
| --- | --- | --- |
| Standard reference number | Title | Referenced in code section number |
| NYCBC-68 | 1968 Building Code of the City of New York | 101.2.1 |

§5.  Section 106.2.1 of the New York city building code, as added by local law number 33 for the year 2007, is amended to read as follows:

106.2.1 Composite plans.  Composite plans showing architectural, structural, and mechanical parts and related energy use systems of a building may be submitted provided that a clear understanding of each part and system is not impaired.

§6.  Section 106.7.1 of the New York city building code, as added by local law number 33 for the year 2007, is amended to read as follows:

106.7.1 Foundation plans. Foundation plans shall show compliance with the requirements of Chapter 18 of this code regarding foundation design and shall show the plan locations, design elevations of the bottoms, and details as to sizes, reinforcements, and construction of all footings, piers, foundation walls, pile groups, and pile caps.  The levels of footings of adjacent structures shall be indicated or, if the adjacent structures are pile supported, this shall be stated.  Where applicable, the plans shall include underpinning details.  In addition, there shall be a statement indicating the character and minimum class of the soil strata required for the support of the foundation; the allowable soil pressure used for the design of footings; and the character, class, and presumptive bearing capacity of the bearing stratum to which piling is required to penetrate.  The types and design capacities of piling and the records of required borings or test pits shall also be shown.  In addition, foundation plans shall include insulation details as required by the New York City Energy Conservation Code.

§7.  Item 5 of Section 1704.15.2 of the New York city building code, as added by local law number 33 for the year 2007, is amended to read as follows:

- Ventilation balancing report is complete and in accordance with design documents and, in the professional opinion of the special inspector, the system is operating as designed.

§8.  This local law shall take effect on December 28, 2010 and shall apply to work for which applications for construction document approval are submitted to the department of buildings on or after such date; provided that the commissioner of buildings may take all actions necessary to implement this local law, including the promulgation of rules, on or before such effective date.

11/30/2010 9:59 PM

The International Code Council (ICC) was formed to produce a single set of building codes so that code enforcement officials, architects, engineers, designers and contractors can work with a more consistent set of requirements throughout the United States. See, International Code Council’s website at http://www.iccsafe.org/ABOUTICC/Pages/default.aspx

On March 6, 2002 the Fire Prevention and Building Code Council of the State of New York adopted the 2000 International Building Code (IBC), the 2000 International Fire Code (IFC), the 2000 International Residential Code (IRC), the 2000 International Plumbing Code (IPC), the 2000 International Mechanical Code (IMC), the 2000 International Fuel Gas Code (IFGC) and the 2000 International Property Maintenance Code (IPMC).

See “Governor George E. Pataki Adopts New Fire Prevention and Building Codes” at http://www.edenny.org/buildny.html

New York City’s Building Code has historically been deemed more stringent than the State’s Building Code.  The statutory basis for this exemption is found in subdivision (c) of Executive Law §383.

Article 114 relates to approved agencies.

Article 116 relates to inspections and sign-off of completed construction work.