Int. No. 105

By Council Members Feliz, Ariola, Sanchez, Abreu, Hanif, Hudson, Riley, Krishnan, Stevens, Williams, Won, Holden, Farías, Avilés, Ayala, Menin, Ung, Ossé, Richardson Jordan, Gennaro, Velázquez, Hanks, Schulman, Cabán, Narcisse, Barron, Dinowitz, Bottcher, Marte, Rivera and Nurse (by request of the Bronx Borough President)

..Title

A Local Law to amend the administrative code of the city of New York, in relation to housing and fire safety

..Body

Be it enacted by the Council as follows:

Section 1. Section 27-2041.1 of the administrative code of the city of New York, as added by local law number 111 for the year 2018, is amended to read as follows:

§ 27-2041.1 Self-closing doors. a. It shall be the duty of the owner of a multiple dwelling, which is required to be equipped with self-closing doors pursuant to section 28-315.10, or any other applicable law, to keep and maintain such doors in good repair.

b. Any owner required to keep and maintain self-closing doors pursuant to subdivision a of this section who fails to keep or maintain such doors shall be liable for a class C immediately hazardous violation. Notwithstanding any other provision of law to the contrary, the time within which to correct such violation shall be [twenty-one] 10 days after service of the notice of violation.

c. The department shall conduct an inspection of such violation no later than 14 days after the expiration of the 10-day correction period specified by subdivision b, notwithstanding any submission of a certification of correction.

§ 2. Subdivision (a) of section 27-2115 of the administrative code of the city of New York, as amended by local law number 65 for the year 1987, is amended to read as follows:

(a) A person who violates any law relating to housing standards shall be subject to a civil penalty of not less than ten dollars nor more than fifty dollars for each non-hazardous violation, not less than twenty-five dollars nor more than one hundred dollars and ten dollars per day for each hazardous violation, fifty dollars per day for each immediately hazardous violation, occurring in a multiple dwelling containing five or fewer dwelling units, from the date set for correction in the notice of violation until the violation is corrected, and not less than two hundred fifty dollars nor more than [one] five hundred [fifty] dollars and, in addition, [one] two hundred [twenty-five] fifty dollars per day for each immediately hazardous violation, occurring in a multiple dwelling containing more than five dwelling units, from the date set for correction in the notice of violation until the violation is corrected. A person [wilfully] willfully making a false certification of correction of a violation shall be subject to a civil penalty of not less than [fifty] five hundred dollars nor more than [two hundred fifty] one thousand dollars for each violation falsely certified, in addition to the other penalties herein provided.

§ 3. Section 28-315.10 of the administrative code of the city of New York, as amended by local law number 126 for the year 2021, is amended to read as follows:

§ 28-315.10 Self-closing doors. All doors providing access to interior corridors or stairs in occupancy groups R-1 and R-2 shall be self-closing or equipped with a device that will ensure [closing] the doors close shut and self-latch after having been opened by July 31, 2021.

§ 4. This local law takes effect immediately.

NAW/CP

LS #7097/7098/7100/7101/7102

3/9/2022 10:20 AM