Int. No. 308

By Council Members Borelli and Joseph

..Title

A Local Law to amend the administrative code of the city of New York and the New York city building code, in relation to fire lanes in open parking lots that can store over 100 vehicles

..Body

Be it enacted by the Council as follows:

Section 1. Article 315 of chapter 3 of title 28 of the administrative code of the city of New York is amended by adding a new section 28-315.2.5 to read as follows:

§ 28-315.2.5 Fire lanes. Fire lanes shall be provided and installed in accordance with section 406.7.10.5 of the New York city building code by no later than January 1, 2024.

§ 2. Chapter 4 of the New York city building code is amended by adding a new section 406.7.10.5 to read as follows:

406.7.10.5 Fire lanes. In an open parking lot that has the capacity for storage of more than 100 motor vehicles at any given time, one or more fire lanes shall be provided to permit access to all parts of the garage or lot.

§ 3. This local law takes effect immediately.

Session 12

MMB

LS #1740

3/24/22; 1:09 p.m.

Session 11

AM

LS #8368

Int. #1341-2019